PERFORMANCE WORK STATEMENT (PWS)

VISN 04 Window, Glass, and Surface Cleaning Service

# SECTION 1 - ACRONYMS AND DEFINITIONS

1.1 	Acronyms.  Following are acronyms which may be used in place of full text throughout this Performance Work Statement

| AQL | Acceptable Quality Level |
| --- | --- |
| CAP | Corrective Action Plan |
| CC | Cleaning Cycle |
| CCE | Cleaning Cycle Evaluation |
| CLIN | Contract Line Item Number |
| CO | Contracting Officer |
| CPARS | Contractor Performance Assessment Reporting System |
| CPR | Contract Performance Report |
| EMS | Environmental Management Services |
| FAR | Federal Acquisition Regulation |
| FCOR | Facility Contracting Officer Representative |
| GFM | Government Furnished Materials |
| GFP | Government Furnished Property |
| GFS | Government Furnished Services |
| IDIQ | Indefinite Delivery Indefinite Quantity |
| IWCA | International Window Cleaning Association (www.iwca.org) |
| OSHA | Occupational Safety and Health Administration |
| POC | Point of Contact |
| PRS | Performance Requirements Summary |
| PWS | Performance Work Statement |
| QASP | Quality Assurance Surveillance Plan |
| QCP | Quality Control Plan |
| SDS | Safety Data Sheet |
| TO | Task Order |
| VA | Department of Veterans Affairs |
| VAMC | Veterans Administration Medical Center |
| VCOR | VISN04 Contracting Officer Representative |
| VHA | Veterans Health Administration |
| VISN | Veterans Integrated Service Network |

1.2 	Definitions.  Following are definitions for words or phrases used throughout this PWS.

1.2.1 	Calendar Days.  Every consecutive day on the calendar, including holidays and weekends.

1.2.2 	Cleaning Cycle.  The cleaning cycle is the unit of service to be acquired

by the Government.   The CC is further defined in Section 5 and Section 6 of this PWS. The Government will acquire cleaning cycle(s) through issued TOs

1.2.3 	Contractor.  A supplier or vendor having a contract to provide specific supplies or service to the Government.  The term used in this PWS refers to the prime Contractor

1.2.4 	Contracting Officer.  A person with authority to award, administer, and terminate contracts and make related determinations and findings on behalf of the Government.  The only individual legally authorized to bind the Government.

1.2.5 	FCOR.  An employee of the U. S. Government appointed by the CO to assist with contract administration at the facility level and to liaison between the Contractor, CO and VCOR.  A CO issued delegation memo will further define the roles of the FCOR.

1.2.6           Quality Assurance.  The Government procedures to verify provided.    Contractor services are performed according to acceptable standards.

1.2.7 	Quality Control.  All measures taken by the Contractor to assure the quality of services provided meets contract requirements.

1.2.8 	QASP.  A written document specifying the methodology to be used to surveil Contractor performance.

1.2.9 	Task Order.  An order for services placed against the Window, Glass, Surface Cleaning Service contract.

1.2.10 	VCOR.  An employee of the U. S. Government appointed by the CO to assist with contract administration at the VISN level and to liaison between the Contractor, CO and FCOR.  A CO issued delegation memo will further define the roles of the VCOR.

# SECTION 2 – GENERAL INFORMATION

2.1 	General. VISN04 requires window, glass, and surface cleaning services at the VISN04 VAMC’s as indicated in this PWS

2.2 	Description of Services. Contractor must provide all personnel, equipment, supplies, facilities, transportation, tools, materials, supervision, and other items and non-personal services necessary to perform Window, Glass, and Surface Cleaning Service as defined in this Performance Work Statement.  The Contractor must perform to the standards in this contract.

2.3 	Background.  The VISN04 is comprised of nine Veterans Administration Medical Centers. Past award was for a 5-Year Fixed Priced (per unit) Indefinite Delivery (ID): Requirements contract. Unilateral Task Order will be issued to authorize and fund performance contingent upon availability of funding. VISN04 intends to pursue the same type of contract to provide service to all nine sites in VISN04.

2.4 	Objectives.

- Window, Glass, and Surface Cleaning Services

- Availability for use by the VISN04 Medical Centers

  - Records.  The records of inspections and any other required documentation must be kept and made available to the FCOR, VCOR, and CO, when requested, throughout the term of the contract and for the period after contract completion until final settlement of any claims under the contract.

  - Quality Assurance.  The Government will evaluate the Contractor’s performance under this contract in accordance with the attached QASP included as Attachment 1. This plan is primarily focused on what the Government must do to ensure that the Contractor has performed in accordance with the performance standards.  It defines how the performance standards will be applied, the frequency of surveillance, and the minimum acceptable defect rate(s).  The FCOR will conduct performance surveillance and when defective performance is observed will make known the defective performance to the

Contractor’s Facility Manager or acting alternate.  Government surveillance of tasks other than those listed in the QASP, may occur during the performance period of the contract.

  - Holidays.  Contractor may perform services on any of the below Federal holidays if preapproved by the applicable FCOR:

New Year’s Day 	 	 	Martin Luther King Day

President’s Day 	 	 	Memorial Day

Juneteenth

Independence Day 	 	 	Labor Day

Columbus Day 	 	 	Veteran’s Day

Thanksgiving  	 	 	Christmas

  - Hours of Operation.  Generally, cleaning services will occur between 0700 – 1700 Monday through Friday, excluding Federal Holidays; however, the Contractor may be required to provide services after hours (1700 – 0700) and on the weekends and must have the capability to do so.  Issued TOs will identify when cleaning services are required after hours and on the weekends.  The Contractor may request to perform services after hours or on weekends, such requests must be presented to the FCOR and written approval must be obtained from the FCOR prior to service performance.

  - Place of Performance.  The Contractor must have the capability to perform cleaning services at any of the following facilities.  Issued TOs will define locations.

| Facility | Official Name | Address | County |
| --- | --- | --- | --- |
| Altoona | James E VanZandt VAMC | 2907 Pleasant Valley Road, Altoona, PA 16602 | Blair |
| Butler | Butler VAMC | 353 North Duffy Road, Butler, PA 16001 | Butler |
| Coatesville | Coatesville VAMC | 1400 Blackhorse Hill Road, Coatesville, PA 19320 | Chester |
| Erie | Erie VAMC | 135 East 38th Street, Erie, PA 16504 | Erie |
| Lebanon | Lebanon VAMC | 1700 South Lincoln Avenue, Lebanon, PA 17042 | Lebanon |
| Philadelphia | Corporal Michael J Crescenz VAMC | 3900 Woodland Avenue, Philadelphia, PA 19104 | Philadelphia |
| Pittsburgh | Pittsburgh VAMC University Drive Campus | University Drive Pittsburgh, PA 15240 | Allegheny |
| Pittsburgh | Pittsburgh VAMC H. J. Heinz Campus | 1010 Delafield Road Pittsburgh, PA 15215 | Allegheny |
| Wilkes Barre | Wilkes Barre VAMC | 1111 East End Boulevard Wilkes Barre, PA 18711 | Luzerne |
| Wilmington | Wilmington VAMC | 1601 Kirkwood Highway Wilmington, DE 19805 | New Castle |

  - Insurance.  The Government requires insurance as specified in incorporated Clauses.

  - Physical Security.  The Contractor is responsible for safeguarding all Government equipment, information and property and is liable for any Contractor caused damage.

  - Access Control.  The Contractor must adhere to the following:

    - Each facility will determine accessibility to restricted areas.  Access to restricted areas must be coordinated with the FCOR and may require Government provided escort.

    - The Contractor must establish and implement methods of ensuring all keys, access badges, access passes, and lock combinations issued to the Contractor are not lost or misplaced and are not used by unauthorized persons.  The Contractor will not duplicate any keys, access badges, or access passes issued by the Government.

    - The Contractor must immediately notify the FCOR or CO any occurrences of lost or duplicated keys, access badges, and/or access passes.  Additional parties may require notification (e.g. facility police, safety office, etcetera) as identified by the FCOR.

    - The Contractor must prohibit the use of issued keys, access badges, access passes, and lock combinations by any person(s) other than the Contractor’s employees.  Opening of locked areas by Contractor employees to permit entrance of persons other than Contractor employees engaged in contract performance is prohibited.

    - Accessed restricted areas must be secured and locked at work conclusion.

  - Post Award Conference/Periodic Progress Meetings.  The Contractor agrees to attend any post award conference requested by the VCOR, FCOR, or Contracting Officer in accordance with Federal Acquisition Regulation Subpart 42.5. The Contracting officer, VCOR, FCOR or other Government personnel, as appropriate, may meet periodically with the Contractor to review the contractor's performance.  At these meetings the Government will apprise the contractor of how the government views the contractor's performance and the Contractor will apprise the Government of problems, if any, being experienced.  Appropriate action must be taken to resolve outstanding issues.  These meetings will be at no additional cost to the Government

  - Identification of Contractor Employees.  All Contractor personnel attending meetings, answering Government telephones, and working in other situations where their contractor status is not obvious to third parties are required to identify themselves as such to avoid creating an impression in the minds of members of the public they are Government officials.  The Contractor must also ensure all documents or reports produced by Contractors are suitably marked as Contractor products or that contractor participation is appropriately disclosed.

    - Contractor employees must be clean and present a neat appearance.  Hair must be neatly trimmed and combed. Contractor employees must wear Contractor provided uniforms or comply with Contractor’s dress code which must include pants, shirts or blouses, and protective clothing when applicable.  The dress code must be the same color or color combinations for all Contractor employees and distinguishable from VAMC staff and facility population.  All apparel, whether uniform or dress code requirements, will be worn as designed by the manufacturer. Open toe shoes or sandals are not permitted. All personnel will display a Contractor provided identification badge while on campus.  The badge must include:  1) Name of employee, 2) Contractor name, and 3) Employee photograph and must be visible and attached to employee clothing at chest level.

    - Facility access requirements vary amongst the VISN04 facilities.  To ensure compliance, the Contractor must obtain the facility requirements from the FCOR prior to work commencement.

2.15 	Phase In/Phase Out Period.  To minimize any decreases in productivity and to prevent possible negative impacts on additional services, the Contractor must have personnel on board, during the TBD phase in/ phase out periods.  During the phase in period, the Contractor must become familiar with performance requirements in order to commence full performance of services on the contract start date.

# SECTION 3 – CONTRACTOR PERSONNEL

3.1 	Project Manager and Facility Managers.  The Contractor must provide a Project Manager and Facility Managers who are responsible for the performance of the work.

The Contractor must also provide alternates for the Project Manager and Facility Managers during absences.  The names and contact information of these individuals must be designated in writing to the CO prior to contract award and subsequent changes must be presented to the CO and applicable FCOR within one business day of the change.   Each participating VISN04 VAMC requires an assigned Facility Manager and alternate(s).

3.1.1 	The Project Manager and Facility Managers or alternate(s) must have full authority to act for the Contractor on all contract matters.

3.1.2 	The Facility Manager or alternate must be on-site, at the applicable facility, and reachable via cell phone during times Contractor employees are performing contract work and must be available to meet with the FCOR, when

requested, within 30 minutes.  A cell phone contact number must be provided to the FCOR prior to contract work commencement.

3.1.3 	The Project Manager and Facility Managers or alternate(s) must be able to read, write, speak, and understand English.

3.2 	Contractor Employees. The Contractor must not employ persons for work on this contract if such employee is considered by the CO or FCOR to be a potential threat to the facility’s operational mission or the health, safety, security, general well-being of the VISN04 VAMC’s employees and facility population.

3.2.1 	The Contractor must comply with the applicable facility’s Infection Control Policy, Tuberculosis Surveillance Policy, and Infectious Disease Policy.  Guidance and policy requirements will be provided by the FCOR and the facility’s Infection Prevention and Control Office. Costs incurred to establish and maintain Contractor compliance will be borne by the Contractor.

3.2.2 	The Contractor employees also employed by the U. S. Government must be identified.  A list of such individuals must be presented to the FCOR prior to work commencement.  The list must include: 1) name of employee, 2) address of employee, 3) contact telephone number of the employee, 4) position the employee holds with the Contractor, and 5) agency and position the employee holds with the U. S. Government.   The FCOR and the CO will determine if the employee(s) is granted approval to perform work under the contract.

3.3 	Safety.  The Contractor must perform all work in a safe manner, ensuring the protection of facility buildings and equipment from damage and Contractor employees and facility population from injury.

3.3.1 	The Contractor must comply with all applicable VA, VHA, VISN04 VAMC, Federal, State, and Local Municipality directives, standards, ordinances, laws, and regulations to include but not limited to OSHA, IWCA, and IWCA Alliance directives, standards, laws, regulations, and guides.

3.3.2 	The Contractor must coordinate with the FCOR a site visit at each VISN04 VAMC prior to work commencement. The visit will familiarize Contractor with the facility and offer opportunity for the FCOR to provide the facility’s guidelines and policies.  It will also afford opportunity to identify and mitigate any site-unique hazards or obstacles.

3.3.3 	The Contractor must adhere to site-specific requirements (e.g., check-in checkout procedures, site parking restrictions, etcetera) provided by the FCOR.

3.3.4 	Prior to work commencement, the Contractor must verify, with the FCOR, the cleaning solutions, compounds, and/or chemicals the Contractor intends to use are permitted.  The Contractor must provide the FCOR any requested SDS.

3.3.5 	Contractor employees performing the services must be IWCA certified in any multiple of the following IWCA certifications:  1) Certified Commercial Ground, 2) Certified Rope Descent Systems, and 3) Certified Suspended

Scaffolds.  Equivalent certifications bestowed by organizations other than IWCA may be substituted with CO and FCOR approval.  An employee’s certification must be congruent with work performed.  Contractor must provide proof of employee certification within three business days when requested by the FCOR.

3.3.6 	The FCOR reserves the right to stop work if unsafe practices are observed.  The Contractor must make corrections prior to work resumption at no cost to the Government.

3.3.7 	At no time may a contractor employee use VAMC furniture, windowsills, or equipment as substitute stools or ladders.

3.3.8 	Any window or door open during the cleaning process must be closed and locked (if applicable) at completion.

SECTION 4 – GOVERNMENT FURNISHED PROPERTY, EQUIPMENT, AND SERVICE

# 4.1		Government Furnished Property.  The Government will not provide GFP

# 4.2 	Government Furnished Materials.  The Government will not provide GFM

4.3 	   Government Furnished Services.  The Government will permit us of limited utility services, i.e., electric and water.   Water will be available for the filling and re-filling of buckets, spray bottles and other containers needed during the cleaning process.  The Government will permit use of 120volt AC electricity for Contractor owned equipment operation.   The Contractor must ensure all Contractor employees use methods to conserve utilities.

4.3.1 	Lights must be turned off when no longer required in work areas.

4.3.2 	Contractor employees must not adjust controls for heating, ventilation, air conditioning, or any other environmental systems.

4.3.3 	Water faucets or valves must be turned fully closed when no longer in use.

# SECTION 5 – CONTRACTOR FURNISHED ITEMS AND RESPONSIBILITIES

5.1 	The Contractor must provide all property, equipment, apparatus, materials, supplies, safety equipment, and services required to ensure all terms and conditions are met.

5.2 	The Government reserves the right to have removed from the work site any Contractor equipment or apparatus not meeting standards expressed in Section 3.3 of this PWS.

# SECTION 6 – TASKS AND CAPABILITY

6.1 	The Contractor must be capable of meeting and accomplishing all elements of this PWS.

6.2 	The Contractor must provide all labor, material, equipment, apparatus, maintenance, repair, supplies, transportation, management, expertise and supervision necessary to perform the requirements of this service contract.  In executing the requirements of this PWS, the Contractor must satisfy the performance requirements included in this PWS and the requirements set forth in the attached QASP.

6.3 	Contractor Capability.

6.3.1 	Contractor must be capable of conducting simultaneous, contract compliant, cleaning operations at any combination of four VISN04 VAMCs.

6.3.2 	Excluding Pittsburgh’s campuses, the Contractor must be capable of completing all of the Cleaning Cycles (refer to Section 6.7 of this PWS) at any one facility within four weeks of work commencement.  Cleaning at Pittsburgh’s campuses must be accomplished within eight weeks of work commencement.  Completion time deviation requests must be presented to the FCOR, VCOR and CO.  The CO will make final determination.

6.3.3 	Contractor must be capable of starting work, as specified in issued TOs, within

eight weeks of the TO’s award date.  Extension requests to this time constraint must be presented to the FCOR, VCOR and CO.  The CO will make final determination.

6.4  Window, Glass, and Panel surfaces.

6.4.1 The quantity and location of window, glass, and panel surfaces are estimated in Section 6.7 of this PWS.  The FCOR will provide clarification during pre-award site-visit.

6.4.2 Window, glass, and surfaces include but are not limited to:

- Windows

- Glass indoors

- Glass ventilators and /or transoms

- Blanks

- Fiberglass panels

6.4.3 All surfaces must be cleaned and free of streaks, smears, soap residue, dirt, paint specs, or other foreign debris.  Following the cleaning, the cleaning solutions, compounds and chemicals used in the cleaning process must be wiped and absorbed; the window, frame, sills, screens, tracks and floor in the work area must be made dry.

6.4.4 Any items, furniture, equipment, etcetera, moved to allow for cleaning purposes must be returned to the original location and be wiped dry of any cleaning solutions, compounds and chemicals.

6.4.5 When working in building interiors, opportunity must be given to VAMC staff to clear work areas prior to cleaning.  The Contractor will coordinate with the FCOR methods of notification.

  - Window Frames, Sills, Screens, and Window/Screen tracks.

    - The quantity and location of the window frames, sills, screens, and window/screen tracks are estimated in Section 6.7 of this PWS.  The FCOR will provide clarification during pre-award site-visit.

    - All frames, sills, screens, tracks, etcetera must be cleaned and free of streaks, stains, soap residue, dirt, paint specs, dust, or other foreign debris.  Following the cleaning, the cleaning solutions, compounds and chemicals used in the cleaning process must be wiped and absorbed; the window, frame, sills, screens, tracks and floor in the work area must be made dry.

    - Any screens or components removed for cleaning purposes must be reinstalled after completion. Any items, furniture, equipment, etcetera, moved to allow for cleaning purposes must be returned to the original location and be wiped dry of any cleaning solutions, compounds and chemicals.

    - When working in building interiors, opportunity must be given to VAMC staff to clear work areas prior to cleaning.  The Contractor will coordinate with the FCOR methods of notification.

6.6 Additional Services.

6.6.1 Condition Report.  During the cleaning process, the Contractor must evaluate the condition of the windows, panels, glass, frames, sills, screens, etcetera.  The following or similar conditions must be reported to the FCOR:

      - Screen tears or holes

      - Cracked or broken windows, panes, panels

      - Damaged or torn window seals

      - Inoperable windows

      - Any other conditions considered poor or in need of repair

The report must be in Word or PDF format and, at a minimum, must include the reportable condition, the location (building – room number), the date discovered and the name of the Contractor employee making the observation.   The report is due at the conclusion of a CC unless the Contractor determines the condition presents a safety concern; it must then be reported immediately to the FCOR.

    - Cleaning Cycle Schedule.  Prior to the start of a CC the Contractor must present to the FCOR a Cleaning Cycle Schedule.  The schedule must identify locations (e.g., rooms, floors, wings, etcetera) and the anticipated date cleaning will occur in those locations.  As schedule deviations occur, they must be reported to the FCOR.  The FCOR will define the report format.

    - Post Cleaning Report.  During a CC, Post Cleaning Reports must be presented to the FCOR.  The Post Cleaning Reports will identify locations recently cleaned. The FCOR will determine the frequency the reports are required (daily, weekly, etcetera) and will define the report format.

6.7 	VISN04 VAMC Requirements. Facility requirements follow Section 6.7 of this PWS.  The requirements identified in each table must be worked as an independent project, be completed in entirety, and hereinafter will be referred to as a Cleaning Cycle.  The window counts in Sections 6.7 PWS, are estimates and the window sizes vary.  The pre-award site visits are crucial and will provide Contractor opportunity to evaluate and appraise the site requirements.

    - James E. Van Zandt Veterans Affairs Medical Center (Altoona VAMC).  At this time Altoona VAMC will not be participating; However, within the life of the contract Altoona VAMC may elect to participate.  Contractor must ensure they have resources and capability to include Altoona in the future.   Altoona VAMC will provide CC tables.  Fair and reasonable pricing will be negotiated with the CO, VCOR and FCOR.

    - Butler VAMC:

## 6.7.2.1

CC 1A

| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient area |
| --- | --- | --- | --- | --- | --- | --- |
| 2 – 1st floor | Yes | Yes | 159 | Varies | 2 Story | No |
| 2 – 2nd floor | Yes | Yes | 157 | Varies | 2 Story | No |
| 20 | Yes | Yes | 868 | Varies | 1 Story | Yes |
| 21 | Yes | Yes | 129 | Varies | 1 Story | No |
| 22 | Yes | Yes | 78 | Varies | 2 Story | Yes |
| 23 | Yes | Yes | 106 | Varies | 2 Story | Yes |
| 24 | Yes | Yes | 106 | Varies | 2 Story | Yes |
| 25 | Yes | Yes | 62 | Varies | 1 Story | Yes |

| CC 1B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 2 – Entrance | Yes | Yes |  | Varies | 2 Story | No |
| 20 – Entrance | Yes | Yes |  | Varies | 1 Story | Yes |

| CC 1C |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 2 – 20 Tunnel | Yes | Yes | 10 | Varies | 1 Story | No |

6.7.2.2 	Suspended scaffolds and rope descents from the roof top are not permitted at the Butler campus.

6.7.2.3 	FCOR will provide special safety requirements and lift equipment/apparatus constraints.

6.7.2.4 	The exterior windows of assigned buildings must be cleaned regardless of interior accessibility.

6.7.2.5 	Building 20 skylights can only be accessed from the rooftop.

6.7.3 	Coatesville VAMC:

## 6.7.3.1

| CC 2A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient area |
| 3 | No | Yes | 100 | Varies | 3 Story | Yes |
| 3 MRI | No | Yes |  | Varies | 3 Story | Yes |
| 69 | No | Yes | 75 | Varies | 1 Story | Yes |
| 69 – Pool area | No | Yes | 60 | Medium | 3 Story | Yes |
| 138 – E | No | Yes | 100 | Varies | 2 Story | Yes |
| 138 | No | Yes | 200 | Varies | 2 Story | Yes |
| 138 – Atrium | No | Yes |  | Varies | 1 Story | Yes |
| 39 | No | Yes | 200 | Varies | 3 Story | Yes |
| 57 | No | Yes | 200 | Varies | 3 Story | Yes |
| 59 | No | Yes | 200 | Varies | 3 Story | Yes |
| 38 | No | Yes | 200 | Varies | 3 Story | No |
| 1 | No | Yes | 200 | Varies | 3 Story | Yes |
| 2 | No | Yes | 200 | Varies | 3 Story | Yes |
| 4 | No | Yes | 200 | Varies | 3 Story | Yes |
| 6 | No | Yes | 200 | Varies | 3 Story | Yes |
| 7 | No | Yes | 200 | Varies | 3 Story | Yes |
| 8 | No | Yes | 200 | Varies | 3 Story | Yes |
| 9 | No | Yes | 200 | Varies | 3 Story | Yes |
| 72 | No | Yes | 200 | Varies | 1 Story | Yes |
| 70 | No | Yes | 200 | Varies | 1 Story | No |
| 58 | No | Yes | 200 | Varies | 3 Story | Yes |
| 139 | No | Yes | 60 | Varies | 1 Story | Yes |

| CC 2B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient area |
| 3 –Urgent Care Entrance | Yes | Yes | 25 | Varies | 3 Story | Yes |
| Building 138Hospice Entrance | Yes | Yes | 10 | Varies | 2 Story | Yes |

| CC 2C |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient area |
| 3 | Yes | No | 100 | Varies | 3 Story | Yes |
| 3 MRI | Yes | No |  | Varies | 3 Story | Yes |
| 69 | Yes | No | 75 | Varies | 1 Story | Yes |
| 69 – Pool area | No | No | 60 | Medium | 3 Story | Yes |
| 138 – E | Yes | No | 100 | Varies | 2 Story | Yes |
| 138 | Yes | No | 200 | Varies | 2 Story | Yes |
| 138 – Atrium | Yes | No |  | Varies | 1 Story | Yes |
| 39 | Yes | No | 200 | Varies | 3 Story | Yes |
| 57 | Yes | No | 200 | Varies | 3 Story | Yes |
| 59 | Yes | No | 200 | Varies | 3 Story | Yes |
| 38 | Yes | No | 200 | Varies | 3 Story | No |
| 1 | Yes | No | 200 | Varies | 3 Story | Yes |
| 2 | Yes | No | 200 | Varies | 3 Story | Yes |
| 4 | Yes | No | 200 | Varies | 3 Story | Yes |
| 6 | Yes | No | 200 | Varies | 3 Story | Yes |
| 7 | Yes | No | 200 | Varies | 3 Story | Yes |
| 8 | Yes | No | 200 | Varies | 3 Story | Yes |
| 9 | Yes | No | 200 | Varies | 3 Story | Yes |
| 72 | Yes | No | 100 | Varies | 1 Story | Yes |
| 70 | Yes | No | 100 | Varies | 1 Story | No |
| 58 | Yes | No | 200 | Varies | 3 Story | Yes |
| 139 | Yes | No | 60 | Varies | 1 Story | Yes |

6.7.3.2 	Suspended scaffolds and rope descents from the roof top are not permitted at the Coatesville campus.

6.7.3.3 	Outside windows are to be accessed and cleaned from the outside.  The inside panes must be accessed and cleaned from the inside. The FCOR will provide any exceptions.  Windows may not be removed for cleaning unless specific approval has been received from the FCOR.

6.7.3.4 	The exterior windows of assigned buildings must be cleaned regardless of interior accessibility.

6.7.3.5 	Outside window cleaning to be accomplished on all floors of assigned buildings except for the following:  windows above the second floor on the front side of Building One do not require outside cleaning.

6.7.4 	Erie VAMC:

## 6.7.4.1

| CC 3A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient area |
| 1 | Yes | Yes | 1228 | Varies | 7 Story | Yes |
| 6 | Yes | Yes | 20 | Varies | 1 Story | No |
| 8 | Yes | Yes | 188 | Varies | 2 Story | Yes |
| CLC | Yes | Yes | 60 | Varies | 1 Story | Yes |
| Parking Garage | Yes | Yes | 20 | Varies | 2 Story | No |
| New Boiler Plt | Yes | Yes | 3 | Varies | 2 Story | No |

| CC 3B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 – Entrances | Yes | Yes | 20 | Varies | 7 Story | Yes |
| 8 – Entrance | Yes | Yes | 10 | Varies | 2 Story | Yes |
| CLC – Entrance | Yes | Yes | 8 | Varies | 1 Story | Yes |
| Park Garage - Ent | Yes | Yes | 18 | Varies | 2 Story | No |

6.7.4.2 	Suspended scaffolds and rope descents from the roof top are permitted at the Erie Campus. The facility’s Engineering and Safety Office must be consulted prior to use.

6.7.4.3 	The locations identified in the CC 3A table require outside cleaning from the ground through the 7th floor regardless of interior accessibility.

6.7.5 	Lebanon VAMC:

## 6.7.5.1

| CC 4A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient area |
| 1 – Ground- 1st Fl | Yes | Yes | 122 | Varies | 7 Story | Yes |
| 1 – Ground Lab | Yes | Yes | 75 | Varies | 1 Story | No |
| 18 – Basement- 1st Fl | Yes | Yes | 72 | Varies | 6 Story | Yes |
| 19 – 1st Fl- 2nd Fl | Yes | Yes | 108 | Varies | 3 Story | No |
| 22 – 1st Fl -2nd Fl | Yes | Yes | 92 | Varies | 3 Story | No |
| 99 – 1st Floor | Yes | Yes | 92 | Varies | 1 Story | No |
| 2 – 1st Fl- 2nd Fl | Yes | Yes | 48 | Large | 3 Story | No |
| 23 – 1st Floor | Yes | Yes | 66 | Varies | 3 Story | No |
| 24 – 1st Floor | Yes | Yes | 16 | Varies | 1 Story | No |
| 106 – 1st Floor | Yes | Yes | 8 | Varies | 1 Story | No |
| 4-1st Fl and 2nd Fl | Yes | Yes | 60 | Varies | 2 Story | No |
| 5-1st Fl and 2nd Fl | Yes | Yes | 40 | Varies | 2 Story | No |
| 17 – Canteen | Yes | Yes | 100 | Varies | 1 Story | Yes |
| 17 – 1st Fl- 2nd Fl | Yes | Yes | 336 | Varies | 5 Story | Yes |
| 17 South – 1st Fl | Yes | Yes | 60 | Varies | 1 Story | Yes |
| 101 – 1st Floor | Yes | Yes | 14 | Varies | 1 Story | Yes |
| 102 – 1st Floor | Yes | Yes | 8 | Varies | 1 Story | Yes |
| 100 – 1st Floor | Yes | Yes | 40 | Varies | 2 Story | Yes |
| 104-1st Floor | Yes | Yes | 116 | Varies | 1 Story | Yes |
| 144 – 1st Floor | Yes | Yes | 10 | Varies | 1 Story | Yes |
| 34- 1st Fl to 2nd Fl | Yes | Yes | 144 | Varies | 2 Story | Yes |
| 35- 1st Fl to 2nd Fl | Yes | Yes | 164 | Varies | 2 Story | Yes |
| 36- 1st Fl to 2nd Fl | Yes | Yes | 112 | Varies | 2 Story | Yes |
| 37 – 1st Fl-2nd Fl | Yes | Yes | 150 | Varies | 2 Story | Yes |

| CC 4B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 – 2nd - 5th Fl | Yes | No | 490 | Varies | 7 Story | Yes |
| 18 – 2nd Fl-5th Fl | Yes | No | 432 | Varies | 6 Story | No |
| 19 – 3rd Fl | Yes | No | 108 | Varies | 3 Story | No |
| 22 – 3rd Fl | Youes | No | 46 | Varies | 3 Story | No |
| 2 – 3rd Fl | Yes | No | 48 | Large | 3 Story | No |
| 17 – 3rd Fl - 5th Fl | Yes | No | 504 | Varies | 5 Story | Yes |

| CC 4C |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 17-18 Tunnel | Yes | Yes | 63 | Medium | 1 Story | No |
| 19 Tunnel | Yes | Yes | 48 | Medium | 1 Story | No |
| 22 Tunnel | Yes | Yes | 12 | Medium | 1 Story | No |
| 24 Tunnel | Yes | Yes | 10 | Medium | 1 Story | No |
| 136 Tunnel | Yes | Yes | 20 | Medium | 1 Story | No |

6.7.5.2 	Suspended scaffolds and rope descents from the roof top are not permitted at the Lebanon campus.

6.7.5.3 	The FCOR will provide special safety requirements and lift equipment/apparatus constraints.

6.7.6 	Corporal Michael J Crescenz Veterans Affairs Medical Center (Philadelphia VAMC):

## 6.7.6.1

| CC 5A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 | Yes | Yes | 1513 | Varies | 9 Story | Yes |
| 2 | Yes | Yes | 1073 | Varies | 8 Story | Yes |
| 21 | Yes | Yes | 67 | Varies | 8 Story | Yes |
| 3 | Yes | Yes | 35 | Varies | 2 Story | Yes |
| CLC | Yes | Yes | 923 | Varies | 2 Story | Yes |
| CLC Atrium 1st Floor | Yes | Yes | 11 | 10 Feet | 2 Story | Yes |
| CLC Atrium 2nd Floor | Yes | Yes | 11 | 19 Feet | 2 Story | Yes |
| CLC Atrium | Yes | Yes | 4 | 20 Feet | 2 Story | Yes |
| Employee Garage | Yes | Yes | 506 | Varies | 4 Story | No |
| Engineering | Yes | Yes | 52 | Varies | 1 Story | No |

| CC 5B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 – Entrance | Yes | Yes | 1513 | Varies | 9 Story | Yes |
| 2 – Entrance | Yes | Yes | 1073 | Varies | 8 Story | Yes |
| 21 – Entrance | Yes | Yes | 67 | Varies | 8 Story | Yes |
| 3 – Entrance | Yes | Yes | 35 | Varies | 2 Story | Yes |
| CLC – Entrance | Yes | Yes | 923 | Varies | 2 Story | Yes |
| Employee Garage – Entrance | Yes | Yes | 506 | Varies | 4 Story | No |
| Engineering – Entrance | Yes | Yes | 52 | Varies | 1 Story | No |

6.7.6.2 	The facility’s outside windows cannot be accessed from the

interior.

6.7.6.3 	Exterior window cleaning can only be accomplished on weekends.

The FCOR will identify the outside panes to be cleaned during a

CC and will coordinate scheduling with the Contractor’s Facility Manger and the facility’s EMS Manager.

6.7.6.4 	Suspended scaffolds and rope descents from the roof top are permitted. The facility’s Engineering and Safety Office must be consulted prior to use.

6.7.7 	Pittsburgh VAMC:

6.7.7.1 	University Drive Campus:

## 6.7.7.2

| CC 6A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 | Yes | Yes | 5351 | Varies | 13 Story | Yes |
| 1 – Lincoln Wall | Yes | N/A | 1 | Large | 3 Story | Yes |
| 29 | Yes | Yes | 1356 | Varies | 6 Story | Yes |
| 30 | Yes | Yes | 447 | Varies | 4 Story | No |
| Parking Garage | Yes | Yes | 386 | Varies | 8 Story | Yes |
| 33 | Yes | Yes | 71 | Varies | 3 Story | No |
| Police Booth | Yes | Yes | 4 | 120 SqFt | 1 Story | No |
| 1 – Kalwall Surfaces |  |  |  |  |  |  |
| Elevator Tower Walls, East, West, Floors 1 - 5 |  |  |  |  | 5 Story | Yes |
| Room 2N174, Connecting Corridor |  |  |  |  | 1 Story | Yes |
| Stairwells 2,3,6,7 |  |  |  |  | 13 Story | Yes |
| 11th Floor Breezeways, East & West |  |  |  |  | 1 Story | Yes |
| Smoking shelter | Yes | Yes |  | 40x16x10 | 1 Story | No |

6.7.7.3 	Building 29 lobby, Lincoln Wall requires cleaning.  It is constructed of honed limestone.  There is a staircase at the bottom of the wall.  The wall is approximately 30 feet wide and 43 feet tall at the bottom of the staircase and 31 feet tall at the top of the staircase.  The Terrazzo flooring around the wall must be protected during cleaning.  The FCOR will provide special safety requirements and lift equipment/apparatus constraints.

6.7.7.4 	Building 29 lobby includes an arched glass ceiling of approximately 258 panes with a total area of approximately 4,620 square feet.  The maximum interior height is 43feet.  The Terrazzo floor must be protected during cleaning.  The FCOR will provide special safety requirements and lift equipment/apparatus constraints.

6.7.7.5 	Building 29 (Chapel) stained glass window, squeegee cleaning may not be effective.

6.7.7.6 	Outside windows are to be accessed and cleaned from the outside.  The inside panes must be accessed and cleaned from the inside. The FCOR will provide any exceptions.  Windows may not be removed for cleaning unless specific approval has been received from the FCOR.

6.7.7.7 	Heinz Campus:

## 6.7.7.8

| CC 6B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 49 | Yes | Yes | 108 | Varies | 1 Story | No |
| 32 | Yes | Yes | 310 | Varies | 3 Story | No |
| 50 | Yes | Yes | 974 | Varies | 2 Story | Yes |
| 51 | Yes | Yes | 580 | Varies | 4 Story | Yes |
| 69 | Yes | Yes | 301 | Varies | 3 Story | Yes |
| 69 Vestibules | Yes | Yes | 18 | Varies | 3 Story | Yes |
| 70 | Yes | Yes | 350 | Varies | 3 Story | No |
| Villas | Yes | Yes | 414 | Varies | 3 Story | Yes |
| 71 | Yes | Yes | 635 | Varies | 3 Story | Yes |
| 71 – Lt Fixture | Yes | N/A | 1 | Medium |  | Yes |
| 52 | Yes | Yes | 52 | Varies | 3 Story | Yes |
| 53 | Yes | Yes | 24 | Varies | 3 Story | Yes |
| Canopy to Shelter | Yes | Yes | 4 | Varies | 1 Story | Yes |
| 50 Smoking Shelter 1 | No | Yes |  | 40x16x10 |  | No |
| 50 Smoking Shelter 2 | No | Yes |  | 25x16x10 |  | No |
| 50 | No | Yes | 251 | Small |  |  |
| 51 | No | Yes | 257 | Small |  |  |
| Police Booth | Yes | Yes | 3 | 80SqFt | 1 Story | No |

| CC 6C |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 50 – 51 Tunnel | Yes | Yes | 88 | Varies | 2 Story | Yes |
| 50 – 51 Tunnel | No | Yes | 102 | Small | 2 Story | Yes |
| 51 – 71 Tunnel | Yes | Yes | 123 | Varies | 2 Story | Yes |

6.7.7.9 	Building 69 vestibule glass ceilings located at two entrances must be cleaned from the top-side and from the bottom-side.  Each entrance has nine panes with a 120 square foot area.  Top of glass must be accessed from floor of lobby area

6.7.7.10 	Building 71 lobby lighting fixture must be cleaned.  The following heights and dimensions are approximate.  The four-sided fixture is a unique design (20ft x 5ft x 5ft) constructed with metal and glass hanging from a 45foot high ceiling.  Top of fixture is 40feet high.  Bottom of fixture is 20feet high.  Two metal plates are positioned between the fixture and the ceiling which require cleaning.  The total fixture surface area is 350 square feet.  The FCOR will provide special safety requirements and lift equipment/apparatus constraints.

6.7.7.11 	Building 71 glass partition around the second-floor stairwell requires cleaning on both sides.

6.7.7.12 	Suspended scaffolds and rope descents from the roof top are not permitted at the Heinz Campus

6.7.7.13 	Outside windows are to be accessed and cleaned from the outside.  The inside panes must be accessed and cleaned from the inside. The FCOR will provide any exceptions.  Windows may not be removed for cleaning unless specific approval has been received from the FCOR.

6.7.8 	Wilkes-Barre VAMC:

## 6.7.8.1

| CC 7A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 8 | Yes | Yes | 34 | Medium | 1 Story | No |
| 42 | Yes | Yes | 19 | Medium | 1 Story | No |
| 35 | Yes | Yes | 21 | Medium | 1 Story | No |
| 7 | Yes | Yes | 54 | Medium | 1 Story | No |
| 5 | Yes | Yes | 49 | Medium | 2 Story | No |
| 3 | Yes | Yes | 50 | Medium | 2 Story | No |
| 2 | Yes | Yes | 40 | Medium | 2 Story | No |
| 1 | Yes | Yes | 1910 | Varies | 11 Story | Yes |

6.7.8.2 	Any suspension equipment must be in compliance with Section 3.3

and Section 5 of the PWS. Exterior panes will only be cleaned if accessible from the inside when performing services outlined in CLIN 0017.

6.7.8.3 	Many of the facilities outside windows can be accessed and cleaned from the inside. The Contractor must clean the outside when accessible as outlined in section 6.7.8.2. The FCOR will identify windows not to be opened in order to access the outside. Such windows will not require outside cleaning during the CC for CLIN 0017.

6.7.9 	Wilmington VAMC:

## 6.7.9.1

| CC 8A |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 | Yes | Yes | 1046 | Medium | 10 Story | Yes |
| 10 | Yes | Yes | 20 | Medium | 1 Story | No |
| 9 | Yes | Yes | 100 | Medium | 4 Story | Yes |
| 5 | Yes | Yes | 35 | Medium | 1 Story | No |
| 6 | Yes | Yes | 30 | Medium | 2 Story | No |
| 7 | Yes | Yes | 15 | Large | 2 Story | No |
| 13 | Yes | Yes | 50 | Small | 1 Story | No |
| 15 | Yes | Yes | 20 | Small | 2 Story | No |
| 17 | Yes | Yes | 100 | Small | 1 Story | No |

| CC 8B |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Location/ Building | Inside Cleaning | Outside Cleaning | Estimated Window Count | Window Size | Building Height | Patient Area |
| 1 – ground and 1st floor | Yes | Yes | 56 plus 9 glass entrances | Medium | 10 Story | Yes |
| 10 – ground and 1st floor | Yes | Yes | 32 plus 1 glass entrance | Medium | 1 Story | No |
| 9 – ground and 2nd, 3rd, and 4th floor | Yes | Yes | 100 | Medium | 4 Story | Yes |
| 5 – ground and 1st floor | Yes | Yes | 21 plus 5 glass doors and 1 glass entrance | Medium | 1 Story | No |
| 6 – ground and 1st floor | Yes | Yes | 11 plus 2 glass doors | Medium | 2 Story | No |
| 17 – ground and 1st floor | Yes | Yes | 34 plus 5 glass entrances | Small | 1 Story | No |
| 15 – ground and 1st floor | Yes | Yes | 10 | Small | 2 Story | No |
| 13 – ground floor | Yes | Yes | 44 plus 4 glass entrances | Small | 1 Story | No |

6.7.9.2 	There are some rooftop anchors permitting limited suspended scaffolds and rope descent systems for exterior window cleaning.  The FCOR will identify anchor locations and the facility’s Engineering Office must be consulted prior to use.

6.7.9.3 	Exterior windows not accessible from the ground, by lifts, by scaffolding, or suspended systems do not require cleaning; the FCOR will identify such windows.

# SECTION 7 – ATTACHMENT/TECHNICAL EXHIBIT LISTING

7.1 	Attachment 1 – Quality Assurance Surveillance Plan

7.2 	Attachment 2 – Cleaning Cycle Evaluation

7.3 	Attachment 3 – Contractor Performance Report

7.4 	Attachment 4 – Corrective Action Plan

Attachment 1- Quality Assurance Surveillance Plan

QUALITY ASSURANCE SURVEILLANCE PLAN (QASP)

The Contractor will be evaluated in accordance with the following QASP

- Purpose.

This QASP provides a method to evaluate performance.  This QASP explains the following:

- What will be monitored

- How monitoring will take place

- Who will conduct the monitoring

- How monitoring efforts and results will be documented

This QASP does not detail how the Contractor accomplishes the work.  Rather, the QASP is created with the premise that the Contractor is responsible for management and quality control actions to meet the terms of the contract.  It is the Government’s responsibility to be objective, fair, and consistent in evaluating performance.

The Government may review and revise this QASP; revisions will be coordinated with the Contractor.  Updates will ensure that the QASP remains a valid, useful, and enforceable document.  Copies of the original QASP and revisions will be provided to the Contractor and Government officials implementing surveillance activities.

- Government Roles and Responsibilities.

The following personnel will oversee and coordinate surveillance activities:

| Name | Role | Email | Telephone |
| --- | --- | --- | --- |
| Rayburg, Pamela | CO | pamela.rayburg@va.gov | 412-275-7450 |
| Parker, Anne | VCOR | anne.parker@va.gov | 717-272-6621 x3526 |
| Pfeffercorn, Keith | FCOR – Butler | keith.pfeffercorn@va.gov | 724-282-5602 |
| Edmondson, Betty | FCOR – Coatesville | betty.edmondson@va.gov | 610-384-7711 x3404 |
| Sanfratello, Matthew | FCOR - Erie | matthew.sanfratello@va.gov | 814-860-2196 |
| Pedrick, Shannon | FCOR – Lebanon | shannon.pedrick@va.gov | 717-272-6621 x6191 |
| Thornabar, Cheryle | FCOR - Philadelphia | cheryle.thornabar@va.gov | 215-823-4696 |
| Albertson, Peter | FCOR – Pittsburgh | peter.albertson@va.gov | 412-360-3691 |
| Erwine, Matthew | FCOR – Wilkes-Barre | matthew.erwine@va.gov | 570-824-3521 x27328 |
| Haar, Robert | FCOR - Wilmington | robert.haar@va.gov | 302-994-2511 x34033 |

Roles:

- Contracting Officer (CO) – The CO will ensure performance of all necessary actions for effective contracting, ensure compliance with the contract terms, and will safeguard the interests of the Government in the contractual relationship.  The CO will also assure the Contractor receives impartial, fair, and equitable treatment under this contract. The CO is ultimately responsible for the final determination of the adequacy of the Contractor’s performance.

- VISN04 Contracting Officer Representative (VCOR) – The VCOR has authority to provide direction to the Contractor if within scope of the contract, does not constitute a change to the contract, and has no funding implications.  The VCOR liaisons between the CO, the Facility Contracting Officer Representative (FCOR), and the Contractor.  The VCOR does not have authority to change the terms and conditions of the contract.

- Facility COR (FCOR) – The FCOR is responsible for technical administration of the contract and will assure proper Government surveillance of the Contractor’s performance. The FCOR will keep a quality assurance file for the applicable facility and at contract conclusion or when requested by the CO or VCOR, will provide contract performance documentation to the CO or VCOR.  The FCOR will meet with the Contractor’s Facility Manager regularly during a CC. The FCOR is not empowered to make any contractual commitments or to authorize any contractual changes on the Government’s behalf.  The Contractor must refer any changes they deem may affect contract price, terms, or conditions to the CO for action.

- Contractor Representatives.  The Contractor must provide contact information for the Project Manager and all Facility Managers and alternates to the CO and applicable FCOR as presented in Section 2 of this QASP.

- Performance Standards.  Performance standards define desired services.  The Government performs surveillance to determine if the Contractor exceeds, meets or does not meet these standards contained within the Performance Work Statement. The Government will use the standards to determine Contractor performance and will compare Contractor performance to the AQL.

- Incentives.  The Government will report performance through the Contractor Performance Assessment Reporting System (CPARS).  The report will be based on the Contractor meeting or not meeting performance standards.

- Surveillance Methods.  Various methods exist to monitor performance.  The FCOR will use the surveillance methods listed below in the administration of this QASP.  Regardless of the surveillance method, the FCOR will contact the Contractor’s Facility Manager or alternate when unacceptable performance is observed and provide the Facility Manager the observation specifics for immediate remediation.

| Task | Standard | PWS Reference | Acceptable Quality Level (AQL) | Method of Surveillance | Remedy | Incentive |
| --- | --- | --- | --- | --- | --- | --- |
| Clean Window, Glass, and Surfaces | All surfaces must be clean and free of streaks, smears, soap residue, dirt, paint specs, or other foreign debris. | Section 6 | 100% | Direct Observation | Contractor must remedy within the Cleaning Cycle | Document performance in CPARS |
| Clean Window Frames, Sills, Screens, and Window/Screen tracks | Frames, sills, screens, and tracks must be clean and free of dirt, insects, other foreign debris, and cleaning solutions used during the cleaning process. | Section 6 | 100% | Direct Observation | Contractor must remedy within the Cleaning Cycle | Document performance in CPARS |
| Submission of required documents | Required documents must be received timely | Sections: 2.5; 3.1; 3.2; 3.3; 6.6 | 100% | Receipt of documents | Contractor must remedy within the Cleaning Cycle | Document performance in CPARS |
| Services performed safely | Services are performed safely and meet safety requirements | Section 3.3 | 100% | Direct Observation | Contractor must remedy immediately | Document performance in CPARS |

- Ratings.  A rating system will be used to determine if Contractor performance exceeds, meets, or does not meet requirements and AQL.

| Rating Structure |  |
| --- | --- |
| Exceptional | Performance significantly exceeds contract requirements to the Government’s benefit. |
| Satisfactory | Performance meets contractual requirements |
| Unsatisfactory | Performance does not meet contractual requirements |

  - Satisfactory and Exceptional Performance.  The FCOR will record satisfactory and exceptional performance following the conclusion of a Cleaning Cycle (CC) by completing the attached Cleaning Cycle Evaluation (CCE) form.

  - Unsatisfactory Performance.  When unsatisfactory performance occurs the FCOR will inform the Contractor’s Facility Manager.

    - In situations when the remedy can be easily accomplished (e.g., re-cleaning, returning equipment to original location, etc.) informing the Contractor through written notification is not required; verbal notification of the unsatisfactory performance is acceptable.  The FCOR will log issued verbal notifications and the remedy results.

    - The FCOR determines when written notification is required; if required, the FCOR will complete the attached Contract Performance Report (CPR) and provide it to the Contractor’s Facility Manager or alternate.

- The Facility Manager must acknowledge receipt of the CPR in writing by signing a copy of the CPR.

- Issued CPRs will be included in the FCOR file; a copy must be forwarded to the VCOR and CO.

- The CPR will specify if the Contractor is required to prepare a written Corrective Action Plan (CAP) to include the remedy and strategies to preclude reoccurrence.  The CAP is attached.  The FCOR will determine CAP submission dates.

- When applicable, the FCOR will review the Contractor’s CAP to determine acceptability.  An unacceptable CAP will be returned to the Contractor to allow for modification and resubmission.  Copies of acceptable CAPs must be forwarded to the VCOR and CO.

- CPRs requiring work stoppage resulting from unsafe conditions require a written CAP; the CAP remedy must be approved by the FCOR prior to work recommencement.

  - The CO will assure the Contractor receives impartial, fair, and equitable treatment. The CO is ultimately responsible for the final determination of the adequacy of the contractor’s performanc

- Documentation.

  - The Government will document both positive and negative performance. All reports may become a part of supporting documentation for any contractual action and the annual past performance reporting within CPARS

  - Cleaning Cycle Evaluation (CCE).  At the conclusion of a CC, the FCOR will complete the CCE form and submit it to the VCOR.  This form must be completed within five days of CC conclusion.

  - Contract Performance Report (CPR).  Unsatisfactory performance notification may be verbal or written depending on severity.  The FCOR determines the method of notification.  Written notification will be accomplished by completing the CPR.  The CPR must be presented to the Contractor’s Facility Manager or alternate and to the VCOR and CO.

  - Corrective Action Plan (CAP).  The FCOR may determine a CAP is required to resolve unsatisfactory performance.  The Contractor must complete and return the CAP within time constraints the FCOR determines.  CPRs requiring work stoppage resulting from unsafe conditions require a written CAP; the CAP remedy must be approved by the FCOR prior to work recommencement.

- Measurement Frequency.

  - Surveillance Frequency.  The surveillance frequency is defined in the contract or otherwise in this document.  The CO, VCOR, or FCOR will periodically analyze whether the surveillance frequency is meeting Government’s needs and will adjust when required.

  - Performance Reporting Frequency.  The FCOR will communicate regularly with the Contractor during contract performance.  The FCOR will provide Contractor performance to the VCOR and CO at the conclusion of each Cleaning Cycle.

- QASP Acknowledgement.

Signed:

____________________________________

Contractor Name/Title                          Date

Signed:

____________________________________

Butler FCOR/Title                          Date

Signed:

___________________________________

Coatesville FCOR/Title                          Date

Signed:

___________________________________

Erie FCOR/Title                          Date

Signed:

____________________________________

Lebanon FCOR/Title                          Date

Signed:

___________________________________

Philadelphia FCOR/Title                          Date

Signed:

____________________________________

Pittsburgh FCOR/Title                          Date

Signed:

____________________________________

Wilkes Barre FCOR/Title                          Date

Signed:

___________________________________

Wilmington FCOR/Title                          Date

Attachment 2 – Cleaning Cycle Evaluation

CLEANING CYCLE EVALUATION

|  | Response |
| --- | --- |
| Facility |  |
| Task Order Award Date & Number |  |
| Cleaning Cycle Start Date |  |
| Cleaning Cycle End Date |  |
| Did Cleaning Cycle start and end within contract constraints? If not, include a narrative. |  |
| Were any verbal performance notifications issued? If yes, summarize and attach supporting documentation. Refer to Section 7.2.1 of the QASP. |  |
| Were any Contract Performance Reports (CPR) issued? If yes, summarize and attach supporting documentation. |  |
| Were any Corrective Action Plans (CAP) required? If yes, summarize and attach supporting documentation. |  |
| Overall rating: Exceptional, Satisfactory, Unsatisfactory. If rated Exceptional or Unsatisfactory include a justification narrative and any applicable documentation |  |

Attachment 3 – Contractor Performance Report

Contract Performance Report

|  | Response |
| --- | --- |
| Name and contact information of FCOR |  |
| Facility |  |
| Task Order Award Date & Number |  |
| Create a unique identifier for this CPR |  |
| Location of observed unsatisfactory performance |  |
| Date of Observance |  |
| Describe unsatisfactory performance |  |
| Will a CAP be required? |  |
| Does an unsafe condition exist? If yes, explain in detail |  |
| Does the unsafe condition require work stoppage? |  |
| Date CAP must be submitted to FCOR |  |
| Was Contractor’s remedy acceptable? To be answered following remedy completion. If no, explain in detail. |  |

|  | Response |
| --- | --- |
| CPR unique identifier |  |
| Date CPR received |  |
| Cate CAP submission required |  |
| Provide detailed plans to correct unsatisfactory performance and strategies to preclude reoccurrence |  |

Attachment 4 – Corrective Action Plan

Corrective Action Plan