STATEMENT OF WORK

FOR WATER JETTER TRAILER

PURPOSE OF CONTRACT:

TO PROVIDE A WATER JETTER TRAILER THE ROSEBUD INDIAN HEALTH SERVICE UNIT IN ROSEBUD SOUTH DAKOTA. THIS IS AN ALL INCLUSIVE CONTRACT WHICH MEANS ALL TRAVEL, LODGING, PER DIEM, STATE, LOCAL AND FEDERAL TAXES ARE INCLUDED.

SPECIFICATIONS OF WATER JETTER TRAILER WILL BE AS FOLLOWS:

- FUEL INJECTED ELECTRIC START 12 GPM 4000 PSI ENGINE, FULL GAUGES AND CONTROL PANELS. PREMIUM PUMP SYSTEM REQUIRED.

- TRAILER FRAME 5 FOOT x 12 FOOT, TANDEM AXLE 7000 LB EACH. DOT BRAKE SYSTEM WITH ALLOY RIMS AND SPARE TIRE

- CLEAN LINES FROM 2 INCH TO 12 INCH IN DIAMETER, ROOT CLEANING SYSTEM TO CLEAN 3 TO 6 INCH PIPES.

- 12 GALLON TANKS FOR ANITFREEZE AND SOAP APPLICATIONS WITH 3/8” HOSE IN LENGTHS OF 100FT, 500 FT. 330 GALLON HYDRANT CONNECTION COLD TANK. FULL HYDRAULIC DRIVE HOSE REEL.

- HEAVY DUTY LOCKABLE TOOL STORAGE BOXES.

- INDUSTRIAL UPC UNDERCOATING EPOXY PAINT AND PRIMER, OR POWDER COAT PAINT.