5. PROJECT NUMBER (if applicable)

CODE

7. ADMINISTERED BY

2. AMENDMENT/MODIFICATION NUMBER

CODE

6. ISSUED BY

8. NAME AND ADDRESS OF CONTRACTOR

4. REQUISITION/PURCHASE REQ. NUMBER

3. EFFECTIVE DATE

9A. AMENDMENT OF SOLICITATION NUMBER

9B. DATED

PAGE        OF     PAGES

10A. MODIFICATION OF CONTRACT/ORDER NUMBER

10B. DATED

BPA NO.

1. CONTRACT ID CODE

FACILITY CODE

CODE

Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods:

The above numbered solicitation is amended as set forth in Item 14.  The hour and date specified for receipt of Offers

E. IMPORTANT:

is extended,

(a) By completing Items 8 and 15, and returning __________ copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the

offer submitted; or (c) By separate letter or electronic communication which includes a reference to the solicitation and amendment numbers.  FAILURE OF YOUR

ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATE SPECIFIED MAY

is not extended.

12. ACCOUNTING AND APPROPRIATION DATA

(REV. 11/2016)

is required to sign this document and return ___________ copies to the issuing office.

is not,

A. THIS CHANGE ORDER IS ISSUED PURSUANT TO:    (Specify authority)   THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A.

15C. DATE SIGNED

B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES

SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b).

RESULT IN REJECTION OF YOUR OFFER.  If by virtue of this amendment you desire to change an offer already submitted, such change may be made by letter

or electronic communication, provided each letter or electronic communication makes reference to the solicitation and this amendment, and is received prior to

the opening hour and date specified.

C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF:

D. OTHER

Contractor

16C. DATE SIGNED

14. DESCRIPTION OF AMENDMENT/MODIFICATION

16B. UNITED STATES OF AMERICA

Except as provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect.

15A. NAME AND TITLE OF SIGNER

16A. NAME AND TITLE OF CONTRACTING OFFICER

15B. CONTRACTOR/OFFEROR

STANDARD FORM 30

PREVIOUS EDITION NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.243

(Type or print)

(Type or print)

(Organized by UCF section headings, including solicitation/contract subject matter where feasible.)

(Number, street, county, State and ZIP Code)

(If other than Item 6)

(Specify type of modification and authority)

(such as changes in paying office, appropriation date, etc.)

(If required)

(SEE ITEM 11)

(SEE ITEM 13)

(X)

CHECK

ONE

13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS,

IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14.

11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS

AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT

(Signature of person authorized to sign)

(Signature of Contracting Officer)

1

3

0001

05-06-2026

36C528

Department of Veterans Affairs

Network Contracting Office (NCO) 2

3495 Bailey Avenue

Building 3, 2nd floor

Buffalo NY 14215

36C528

Department of Veterans Affairs

Network Contracting Office (NCO) 2

3495 Bailey Avenue

Building 3, 2nd floor

Buffalo NY 14215

To all Offerors/Bidders

36C24226Q0549

X

X

X

X

1

The purpose of Amendment #0001 is to provide answers to the following questions.

CONTINUATION PAGE

Solicitation # 36C24226Q0549, Attachment A, Amendment A0001

Question 1: Would you be able to provide me with the serial numbers of the

Answer 1:

Please be advised that the equipment list provided herein is incomplete. Several units — particularly ceiling-mounted mini-split systems — could not be fully documented at this time due to access limitations. The 22 ceiling-mounted units and 64 wall units noted below present logistical challenges for on-site photography and data collection.

Note: Individual serial numbers for the 22 ceiling-mounted Mitsubishi (PLFY-P15NFMU-E) units and the 64 LG wall units (ARNU153SJA4) were not obtainable prior to solicitation issuance due to access constraints. Complete records may be compiled by the awarded contractor during initial and ongoing PM visits.

The following is a partial equipment inventory for reference:

──────────────────────────────────────────────

Brand                    Model                              Serial #

──────────────────────────────────────────────

Liebert                  BF067ASAD0I476A               1508461

Liebert                  BF067ASAD0I476A               1508463

Liebert                  BU068C-ADEI593A               1675610

Liebert                  BU068C-ADEI593A               1675611

Liebert                  MMD23C2XHE00                  1675612

Liebert                  PX018UW1A8S738                Y16C6S022

Liebert                  BU068C-ADEI186S               N15D74004

Mitsubishi             PUHY-P168YNU-A <H>           9ZP00085

Mitsubishi             PLFY-P15NFMU-E                  22 units – CLC Hallway (ceiling-mounted)

Mitsubishi             PVFY-P24NAMU-E1               4 units – CLC Entrance

LG                         ARNU153SJA4                      64 wall units

LG                         ARNU073SJA4                      904KCSF1LS26

LG (Bldg. 16)        ARUM168DTE5                      05KCGW0SY67

LG (Bldg. 16)        ARUM168DTE5                      905KCLH0VD24

LG (Bldg. 16)        ARUM168DTE5                      905KCTB0SY69

Question and answers to the solicitation. See attached.