# STATEMENT OF WORK FOR

Installation of new radio suite at 195 Brims St Building 91259

- DESCRIPTION OF SERVICES. Install a 2-way radio console and required antennas that will enable 2-way communications on both VHF and UHF frequencies out to 80 miles. The radio console will need to be able to transmit and receive. It will be located on the second floor of a 2-story building with the antennas placed on the top of the building. The distance between radio console and the antenna is estimated to be no greater than 250 feet. There is an existing radio (PRC-117G), wiring and antenna in place that will need to be completely replaced. The radio console will need to be able to simultaneously monitor at least 2 channels at a time preferably up to 4.

# GENERAL INFORMATION.

    - Contractor Personnel. The contractor must validate that the employees assigned to this requirement are certified to work on and possess the required experience to work on the radio console and install antennas.

    - Contract Manager. The contractor shall provide a contract manager who shall be responsible for the performance of the work. The name of this person and an alternate or alternates, who shall act for the contractor when the manager is absent, shall be designated in writing to the contracting officer prior to the contract start date. The contract manager or alternate shall have full authority to act for the contractor on all contract matters relating to daily operation of this contract.

    - Contractor Employees. Contractor personnel shall present a neat appearance and be easily recognized as contractor employees. The contractor shall provide each employee with an identification badge that shall include the employee’s name, employee’s photograph, and contractor’s name. Identification shall be available prior to employment and shall be worn or attached to the outer garment at all times.

    - Physical Security. The contractor shall safeguard all government property. At the close of each work period, facilities shall be secured.

    - Storage Areas. The contractor shall be responsible for the orderliness and cleanliness of government furnished storage area. The area shall be clean and neat, free of fire and safety hazards, and free of unsanitary conditions.

    - Government Remedies. The contracting officer shall follow FAR 52.212-4(a), Inspection and Acceptance Clause, for contractor’s failure to perform satisfactory services or failure to correct non-conforming services.

    - Hours of Operation: Normal operation is Monday through Friday, 0800 to 1600, except for federal holidays. There may be mission situations that may require the contractor to work other than normal hours. Some of these situations are military exercises, contingency operations, or weather emergencies.

    - Federal Holidays. The following is a list of federal holidays observed by this installation. New Year's Day, January 1 or the Friday preceding or Monday following

Martin Luther King's Birthday, 3rd Monday in January President's Day, 3rd Monday in February

Memorial Day, last Monday in May

Independence Day, July 4 or the Friday preceding or Monday following Labor Day, first Monday in September

Columbus Day, 2nd Monday in October

Veterans Day, November 11 or the Friday preceding or Monday following Thanksgiving Day, 4th Thursday in November

Christmas Day, December 25 or the Friday preceding or Monday following

    - Contractor/Employee Base Pass and Identification, Special Clearances, and Vehicle Passes.

    - The contractor shall obtain base identification and vehicle passes, if required, for all contractor personnel who make frequent visits to or perform work on the Air Force installation(s) cited in the contract. Contractor personnel are required to wear or prominently display installation identification badges or contractor-furnished contractor identification badges while visiting or performing work on the installation.

    - The Contractor shall be required to complete the following forms (to be provided at the pre-performance conference) in order for employees to gain access to the installation:

      - Contractor Employee Listing

      - Hurlburt Field Contractor Access Badge Affidavit (CAB)

      - Department of Homeland Security Form I-9 (DHS I-9)

    - The Contractor Employee List. This form shall list every employee requiring access. Every time employees change, it shall be updated to reflect additions and/or deletions. Identify those individuals who require escort authority by including the word “escort” next to their names. Limit the number of individuals designated as escorts to a reasonable number (i.e. one or two). The Contracting Officer will then prepare and attach a cover letter, and forward the Employee List to the Visitor Control Center.

    - Upon notification that the Employee List has been forwarded to the Visitor Control Center, the other two forms (DHS I-9 & CAB) shall be completed and hand carried to the Visitor Control Center by the employee. If everything is in order, they will receive a contractor badge. If an employee will be driving on Hurlburt Field they are required to provide a valid driver’s license, vehicle registration, and proof of insurance. NOTE: The section of the Visitor Control Center administrating this function is closed after 1400 (2:00 p.m.), therefore, employees must arrive prior to this time in order for their documentation to be processed.

    - Upon completion or termination of the contract or expiration of the identification passes, the contractor shall ensure that all base identification passes issued to employees are returned to the issuing office.

    - Failure to comply with these requirements may result in withholding of final payment.