Is there a defined number of required maintenance visits?

•	1 annual preventative maintenance visit

Is the LN2 system configured as an open-loop or closed-loop system?

•	I assume this is about model # ULT7150-9-D19. I’ve attached additional information. This ultra-low temp freezer does not use LN2 as a cooling medium.