Salient Characteristics for Building Sign Letters with Logo

- Cut out letters with logo:

a. Manufactured USARPAC Logo (L36" x H36")

b. Manufactured letters must be made out of aluminum or plastic materials.

c. Letters must be Helvetica Neue 85 Font (IAW with DPW UFC 3-120-01 standards)

d. Letter size must be twenty-four inches in height by half an inch in depth

e. Letters need to be all capitalized

f.  Letters must be painted black in color

g. Letters will be placed outdoors therefore, materials must be able to withstand outdoor elements

h. Vendor must install letters and logo.

According to DPW historian Mr. Brian Padgett, this building is not considered historical.