Trayline

Onsite visit 5/4/2026

Questions:

What is the average daily census ?

375 (we prepare for approximately 400 servings)

Are you looking to change the configuration ?

Yes, we are open to changing the configuration or keeping the current footprint.

There is a half wall near the side of the current trayline that can be removed and refrigerators next to trayline that can be relocated.

Do both sides of the current trayline operate ?

Yes, we have cold items typically on one side and hot items on the other side of trayline.

Does this trayline still work ?

Yes, current trayline works.

Along with the trayline what else is needed for it to operate ?

Electrical and plumbing

Are you planning on changing the tray ticket process to be digital ?

No, we have printed tray tickets, that process is not changing with the new trayline.

What access is there for bringing in items and removing items ?

There is a loading dock right off the nutrition and food services areas.

The doors entering / exiting the kitchen would be the ones used to bring in items and remove items from.

Does the top conveyor rotate ?

Yes, the current trayline works. The top conveyor is missing some pieces but still rotates.

Are these cold tables ? Do they still work ?

Yes, there are cold top tables on one side of the tray line that work.

Please provide drawings.

See attached.