Questions and Answers

- Could the VA clarify the estimated annual or monthly propane usage at the cemetery site?

Annual usage is 3000 to 5000 gallons annually.

- Will the contractor be responsible for propane tank maintenance, or does the site already have infrastructure in place?

Contractor will be required to install their tank and be responsible for maintenance. The contractor shall remove their tank at the end of the contract.

- What are the required delivery schedules or frequency expectations?

Task orders will be issued as need.

- Is there a specific propane tank size or number of tanks currently on-site?

Sizes are stated on the statement of need in the solicitation.

- Are there pricing templates or formats required with the offer?

Please use the price schedule in the solicitation.

- Will the VA accept electronic signatures on documents and forms submitted?

Yes, e-signature is acceptable.

- Are there any site visits or pre-bid conferences scheduled before the quote due date?

There is no site visit scheduled for this requirement.