## SOI
Arapaho and Roosevelt National Forests and Pawnee National Grassland PROJECT TITLE: GAOA SMV Building 97 Heat Cable and Snow Retention Schedule of Items Date: 4.23.2026
Vendor Name:
UEI:
Item No. | Description | Method of Measurement | Quantity | Unit Price | Total
CLIN 0001 BASE ITEMS
1 | Mobilization | LSQ | 1 | 0 | 0
2 | North Side Heat Cable Install - Install approximately 250 LNFT of heat cable on North side gutter and downspout, with the remaining length following a serpentine pattern on roof. This item includes reconditioning of electrical system to sustain this heat cable system separately from other heat cable systems and the rest of electricity to the building, meeting city, county, and state local codes. SB-190 (or equivalent) shall be used to waterproof roof as necessary during and after installation. | LSQ | 1 | 0 | 0
3 | South Side Heat Cable Install - Install approximately 250 LNFT of heat cable on South side gutter and downspout, with the remaining length following a serpentine pattern on roof. This item includes reconditioning of electrical system to sustain this heat cable system separately from other heat cable systems and the rest of electricity to the building, meeting city, county, and state local codes. SB-190 (or equivalent) shall be used to waterproof roof as necessary during and after installation. | LSQ | 1 | 0 | 0
4 | Snow Retention Guards - Install S-5 Colorgard 2.0 metal roof snow guards (or approved equivalent) on both North and South sides of the building. | LSQ | 1 | 0 | 0
|  |  |  | TOTAL CLIN 0001 BASE ITEMS | 0
Item No. | Description | Method of Measurement | Quantity | Unit Price | Total
OPTION CLIN 1001 OPTION ITEM
1 | Soffit Repair - Replace approximately two hundred (200) square feet of damaged soffit with soffit that matches material and color (or approved equivalent) | AQ | 200 SQFT | 0 | 0
|  |  |  | TOTAL OPTION CLIN 1001 | 0
|  |  |  | TOTAL BASE CLIN 0001 & OPTION CLIN 1001 | 0
NOTES:
All individual line-item pricing provided shall be rounded up to the nearest whole dollar, do not include cents, the total pricing should equate to the individual line-item amounts.