Amendment 0001 Questions and Answers

- We would like to use a steel track Excavator if that is possible. Please let me know if this will be okay. Answer: Wheeled equipment is mandatory. The requirement comes from concerns of equipment damaging soils in the project area.

- Will there be a mandatory pre bid meeting for this event? Answer: No scheduled site visit. Vendors can visit location at their convenience. Site visit is not mandatory; however, interested vendors may reach out to COR if they would like to do a walk-through with the COR. This is also identified in the solicitation cover sheet.