SALIENT CHARACTERISTICS

- The trailer shall be an enclosed trailer with motorized spools sufficient to store and transport 4000’ of 4/0 type W cable.

- Generator power to operate the motorized spools. Solar battery charger to maintain the battery that starts the generator.

- Aluminum or galvanized steel frame, including cover to ensure long life in various conditions.

- 2 Axles, 4 wheels, 4 tires

- 9,000 lb. weight capacity

- Electric breaks

- 5 cord reels capable of holding 1000’ each of 3/0 type W copper cable. Reels need to be capable of retracting via an electric motor, independently of one another

- Gasoline powered portable generator capable of driving reel motors

- Deep cycle battery and solar charger

- Pendant forward/reverse controller

- Pentile hitch

- DOT compliant lighting

- Swivel jack for raising and lowering hitch