14816 PAO Chiller

Q. Could you please assist in providing the following information requested by the manufacturer? They require additional technical details to properly size the equipment, such as the chiller ΔT (temperature difference) and the design flow rates.

A. Assume 350 GPM and 48F water for the chilled water system.