## Sheet1
FA445226SC001 Question/Comment Matrix
Offerors |  |  |  |  | Government Only
Question # | Attachment | Pg # | Par. # | Comment/Question | Answer
1 | AOI | 1 | 1 | Can you please confirm if the Air Mobility Command (AMC) Base Information Technology (BIM) Modernization, SAM Notice ID FA445226SC001, Area of Interest (AOI) and Commercial Solutions Opening (CSO) are only for Service-Disabled Veteran Owned Small Businesses (SDVOSBs) or is it Full and Open? | The CSO is not restricted to any socioeconomic category- that determination is made at the AOI level. For the base modernization AOI, it is a SDVOSB set-aside.
2 | AOI | 1 | 1 | We would like to know if this is a brand new contract OR if there is (was) an incumbent performing these services. If not brand new, could you please provide the current / previous contract number? | This is a brand-new effort so there is no current incumbent or contract number.
3 | AOI | 1 | 1 | Is the solicitation for AMC/A6 Information Technology Needs Commercial Solutions Opening (CSO)open to all small businesses? The summary in GovTribe says it seeks "comprehensive base information technology modernization services limited to Service-Disabled Veteran Owned Small Businesses (SDVOSBs)." However, the summary also states that "this is an unrestricted, non-set-aside competitive solicitation with no identified incumbent contractors." Any clarity you could provide would be greatly appreciated. Thank you. | The CSO is not restricted to any socioeconomic category, however, the Area of Interest is restricted to SDVOSB. Future AOIs may be full and open or may be set asides, that will be determined at each AOI posting.
4 | AOI | 1 | 1 | Can the government please confirm the effort issued under FA4452-26-S-C001 via SAM.gov titled AMC/A6 IT Needs Commercial Solutions Opening (CSO) is reserved for Service-Disabled Veteran Owned Small Businesses (SDVOSB) only? We saw it noted in the AOI but wanted to confirm since it was not noted elsewhere. | Yes, the posted Area of Interest (AOI) is set aside for SDVOSB. The CSO itself does not have a set aside, as that is determined at the AOI level; future AOIs may be posted as fully open or set aside.
5 | AOI | 1 | 1 | For planning purposes only, given the base-level modernization focus of this AOI do you anticipate similar efforts remaining installation-specific, or could they evolve into broader, enterprise-aligned implementations potentially executed through vehicles such as Enterprise Information Technology as a Service – Base Infrastructure Modernization (EITAAS/BIM)? | Thank you for reaching out, at this time, we intend to issue a separate CSO in the future to meet the needs of Air Mobility Command (AMC) but right now we only have the A6 CSO published. I know that that’s not a perfectly clear answer, but I want to be as transparent as I can.
6 | AOI | 1 | 1 | I'm reaching out regarding the AMC/A6 Information Technology Needs Commercial Solutions Opening (CSO) valued at $2M. As an SBA 8(a) Certified and SDVOSB Verified contractor, PIC'D Group LLC offers unique contracting advantages for your IT requirements. Under FAR 19.805-1, agencies may award sole-source contracts up to $4.5M to 8(a) participants, and awards to our firm count toward both 8(a) AND SDVOSB contracting goals—providing valuable dual credit for your agency's socioeconomic objectives. I'd welcome the opportunity to provide a capability briefing to discuss how our IT solutions can support this requirement and any upcoming AMC/A6 initiatives. Are you available for a brief conversation in the coming weeks? | Thank you for your interest in the AMC A6 Commercial Solutions Opening! Unfortunately, we are unable to hold a brief conversation at this time but feel free to submit a White Paper if interested in this effort!
7 | AOI | 1 | 1 | I know the formal Q&A window is open through April 10th, but I wanted to reach out early with a quick clarification that will help us get started. We didn’t see any specific guidance in the AOI regarding page limits for the white paper submission. Would you be able to confirm if there is a defined page (or slide) limit we should be working toward? | Great question! I just posted an Amendment to the CSO AOI posting with clarification on this question. To answer it, White Papers shall not exceed 10 pages OR 15 slides excluding title page/slide and table of contents. Font shall be 12 pt Times New Roman. Hope this helps!
8 | AOI | 1 | 1 | My company is interested in responding to the AMC/A6 CSO, but we have a couple questions: - What is the page limit for the Step 1 white paper or briefing slides? - Does the government have a preference between the white paper or slides? | Great questions! I just posted an Amendment to the CSO AOI posting with clarification on these questions. To answer them, White Papers shall not exceed 10 pages OR 15 slides excluding title page/slide and table of contents. Font shall be 12 pt Times New Roman. Also, the government does not have a preference between the White Paper or slides! Hope this helps!
9 | CSO | 2/3 |  | White Paper Page Limit: The CSO states page limits will be specified in each AOI, but we were unable to locate a specific page limit in the AOI-1 document. Could you please confirm the maximum number of pages (excluding title page and table of contents) for the AOI-1 White Paper, or confirm that no page limit applies? | White Paper Page Limit - White papers shall not exceed 10 pages OR 15 slides excluding title page/slide and table of contents. Font shall be 12 pt Times New Roman. (This has been updated in Amendment 01)
10 | CSO | 1 |  | Period of Performance: What is the anticipated period of performance for the resulting contract or agreement under AOI-1? Understanding the Government's timeline expectations will allow us to scope our phased approach and project schedule appropriately. | Period of Performance – Each company can propose their own period of performance which they believe will meet the objectives of the Area of Interest.
11 | AOI | 3 |  | Government-Furnished Data: During the assessment phase, will the Government provide existing network documentation, architecture diagrams, system authorization packages, and historical performance data to the selected contractor? Or should offerors budget for fully independent discovery and documentation of the existing infrastructure? | Government-Furnished Data – Offerors should budget for fully independent discovery and documentation of the existing infrastructure.
12 | AOI |  |  | Budget Expectations: Is there an estimated ceiling value, budget range, or not-to-exceed amount for AOI-1 that offerors should consider when developing their Total Project Price in Section C of the White Paper? | Budget Expectations – No budget in place, we look to offerors for a ROM for meeting the objectives of the Area of Interest.
13 | AOI | 3 |  | Teaming Partner Evaluation: For the White Paper evaluation (Step One), will the Government consider the qualifications and capabilities of identified teaming partners and subcontractors in addition to the prime offeror's qualifications? Our submission identifies teaming partners contributing complementary technical capacity for large-scale execution. | Teaming Partner Evaluation – Yes, provided that the SDVOSB does 51% of the work, we will view all capabilities of teaming partners.
14 | CSO | 2 | 5 | Please confirm that companies forming a JV may rely on their individual facility clearances to meet the CSO requirement, rather than requiring the JV itself to hold a clearance. | As long as work is being done at the location with the Clearance it is okay. No work can be done by the company that does not have the Facility Clearance.
15 | AOI | 3 |  | Can the government confirm that front matter (i.e., cover page and table of contents) are excluded from the 10-page page limit? | Yes, this is updated in the new Amendment 01. "White papers shall not exceed 10 pages OR 15 slides excluding title page/slide and table of contents. Font shall be 12 pt Times New Roman."
16 | AOI | 2 | 2 | Within the “Detailed Scope of Work & Technical Requirements" section, the Technical Approach Narrative (item II, p. 2) instructs offerors to provide a Statement of Work (SOW) and a detailed project schedule. Can the government confirm if offerors are to include a SOW and a detailed project schedule in both Step One: White Paper and Step Two submissions? | Yes, offerors are to include a SOW and a detailed schedule in both Step One and Step Two. The Step Two version should include any updates/lessons learned in the period between Step One and Two.
17 | AOI | 2 | 2 | If the SOW and detailed project schedule are required in Step One: White Paper, can the government confirm that the SOW and detailed project schedule excluded from the 10-page limit? | The SOW and detailed project schedule are excluded from the 10-page limit.
18 | AOI | 1 | 1 | For AOI 1, what is the controlling NAICS code and corresponding size standard? The System for Award Management (sam.gov) shows the North American Industry Classification System (NAICS) code for this synopsis/solicitation is 541512. The parent CSO states that the NAICS code and associated description is specified in each Area of Interest (AOI); however, AOI 1 does not appear to identify the NAICS code on its face, although it does state that "responses will only be accepted from Service-Disabled Veteran Owned Small Businesses (SDVOSBs)". Please see related question #2 below. Please confirm the effective NAICS code and size standard for AOI 1 and whether offeror size status will be evaluated against that code. | 541512 was selected during our market research but is not solidified. If vendors believe there is a NAICS code that fits this effort more closely, they should provide it along with their reasoning.
19 | AOI | 1 | 1 | Is AOI 1 intentionally restricted to SDVOSBs, notwithstanding the parent CSO statement that “[t]his is an unrestricted solicitation”? Please clarify whether AOI 1 is a deliberate SDVOSB-only competitive opportunity or whether either statement in the CSO (i.e., unrestricted) or AOI 1 (i.e, SDVOSB) were included in error. | Yes, the posted Area of Interest (AOI) is set aside for SDVOSB. The CSO itself does not have a set aside, as that is determined at the AOI level; future AOIs may be posted as fully open or set aside.
20 | AOI | 1 | 1 | If AOI 1 is assigned a NAICS code and size standard that limits competition to small business concerns, does the Government anticipate that most or a substantial portion of future AOIs issued under this CSO will likewise be set aside or otherwise restricted to small business concerns (e.g., SDVOSB, 8(a), HUBZone, WOSB), or does the Government anticipate that future AOIs will vary by requirement and may include unrestricted opportunities? Because the CSO contemplates future AOIs, please clarify whether small business eligibility restrictions are expected to be the norm across future AOIs, or whether eligibility will be determined separately for each AOI based on the specific requirement. | Future AOIs may be posted as fully open or set aside. There is no way to determine what these future AOIs will be but it was left open to allow maximum flexibility.
21 | AOI | 1 | 1 | For AoI 1 under the AMC CSO, does the Government intend to assign a NAICS code aligned with traditional IT systems integration (e.g., 541512/541519), or is the effort being considered within the broader context of the CSO’s emphasis on innovative, non-traditional approaches? Specifically, can AoI 1 be structured to prioritize novel solution development, iterative design, and technical experimentation—such as the creation and evaluation of new architectures, cross-domain capabilities, and prototype environments—rather than being treated as a conventional integration and deployment effort? Would an offeror be able to propose a solution using 541715 (Research and Development)? | 541512 was selected during initial market research. Therefore, we are happy to change this if offerors believe there is a NAICS code that fits this effort more closely. Hence, an offeror would be able to propose a solution using 541715 (R&D).
22 | AOI | 1 | 1 | Given that the CSO explicitly encourages innovative solutions, includes research and development within its definition of innovation, and contemplates the use of Other Transactions for Prototype Projects, would NAICS 541715 be considered appropriate for AoI 1 where offerors propose applied R&D approaches? For example, approaches that emphasize prototyping, test-and-evaluation cycles, technical risk reduction, and pilot-based validation prior to enterprise-scale implementation—thereby accelerating innovation, improving mission outcomes, and reducing downstream integration risk. | Yes, 541715 would be considered appropriate.
23 | AOI | 1 | 1 | How does the Government intend to align NAICS selection with its objectives to promote innovation and enable robust SDVOSB participation, particularly where traditional receipts-based NAICS codes may constrain eligibility for capable mid-sized firms? Would consideration of an employee-based NAICS such as 541715 better support a more diverse and innovative industrial base while still meeting the technical intent of AoI 1? | As I stated with my previous answers, our NAICS selection is not set in stone. Therefore, if your company and others believe there is a better NAICS for this effort, we are happy to accommodate such a change.
24 |  |  |  | Is there a page limit for the White Paper? The CSO document references the AOI for page limits, but AOI 1 does not specify a page count. Please confirm the maximum White Paper length and whether slide format is acceptable or if a written narrative is preferred. | White Papers shall not exceed 10 pages OR 15 slides excluding title page/slide and table of contents. Font shall be 12 pt Times New Roman.
25 |  |  |  | What is the approximate number of buildings, physical network closets (IDFs/MDFs), and end-user devices (NIPR and SIPR combined) at a representative AMC installation such as Scott AFB or Travis AFB? Will the Government provide existing network topology documentation or drawings to Selectable offerors in Step 2? | The sample size across the AMC installations can vary greatly. For the large bases like Travis and Scott you can expect about 400 buldings. Smaller bases like Fairchild and JBLM is around 200 buildings. A sample topology can be provided in step 2 but the government reserves the right to limit detailed topology that would highlight critical ITNs and IPNs.
26 |  |  |  | Does the scope include Outside Plant (OSP) fiber infrastructure replacement, or is OSP limited to assessment and repair only? Are there existing AFCEC-funded OSP replacement projects underway that would affect scope? | OSP is included and the Government is looking for the current condition, repairs that may need to be accomplished soon, and potential future expansion especially if there are manholes that are full.
27 |  |  |  | Does the scope include flight line and airfield communications infrastructure (e.g., ATIS, Ground Control communications, aircraft parking area data connectivity), or is the BAN scope limited to administrative and operations facilities? | All buildings that require connectivity, which is 90% of them. This includes airfield buildings, fuel storage and warehouses.
28 |  |  |  | Are geographically separated units (GSUs) and tenant organizations on each AMC installation included in scope, or is the requirement limited to AMC-owned/operated facilities? | GSU's are on a case by case basis. For example CENTCOM or SOCOM are not included at MacDill. JBMDL would not include the Navy network, WADS at JBLM is not included. There may be instances that house AF network resources for COOP purposes thay may require a survey.
29 |  |  |  | Will the Government provide existing network equipment inventories, current software license agreements, and maintenance contract data to Selectable offerors prior to Step 2 submission? | Licensing agreements fall in line with AFNET Enterprise purchases. AMC mostly uses only the enterprise resources except for flight simulator locations who use their own interconnections. A sample topology can be provided.
30 |  |  |  | Is there a current incumbent IT services contractor performing network operations or managed IT services at any of the listed AMC installations? If so, what transition-in obligations will apply (e.g., knowledge transfer period, incumbent personnel interviews, equipment inventory handover), and will the Government provide a list of existing contracts, service level agreements, and key personnel to support continuity of operations during transition? | Almost every AMC base has a Base Telecommunications Services contract to take care of OSP and telecomm services.
31 |  |  |  | Is the requirement to design and implement a new Cross-Domain Solution (CDS) from scratch, or to integrate with an existing or forthcoming enterprise CDS solution (e.g., a DISA-provided or DAF-enterprise CDS)? If an existing solution, which product and what is its current accreditation status? | No CDS required.
32 |  |  |  | What classification domains beyond NIPRNET and SIPRNET must be accommodated (e.g., JWICS, Coalition networks, SCI systems)? Are there specific data types or mission systems that require cross-domain capability such as flight plans, logistics data, or personnel records? | Just NIPR and SIPR in this contract.
33 |  |  |  | Will the contractor be required to author the CDS Assessment and Authorization (A&A) package independently, or will there be Government RMF support and an existing System Security Plan to build upon? | The Government will require assistance writing the package and providing artifacts. This will include any updates to the base ATO due to changes that occur in later stages of the contract or as needed during the life of this contract (but no CDS will be required).
34 |  |  |  | Is there a preferred or mandated NSA-evaluated CDS product list, or is the Government open to the contractor proposing the CDS product(s) subject to NCDSMO approval? | Equipment should fall in line with previously approved equipment that provides the best network bandwidth in demand today
35 |  |  |  | Is AMC's target cloud architecture hybrid (on-premises core plus commercial cloud burst) or fully cloud-hosted for applicable workloads? What Impact Levels (IL2, IL4, IL5, IL6) are required for NIPR versus SIPR workloads? | Yes, on the workloads. Up to IL5 and IL6. AMC has several HCI/SAN systems on prem and would like to invest in a hybrid with the majority of the files/servers in the cloud and a small amount on prem to resilance.
36 |  |  |  | How does this AMC A6 CSO relate to the enterprise DAF Base Infrastructure Modernization (BIM) IDIQ? Will AMC A6 task orders compete for award under BIM, or is this a separate contracting mechanism that runs parallel to BIM? | This is a separate contract. BIM timeline is TBD and to early to determine. This contract is to maintain or improve the quality of service for our customers until BIM is available.
37 |  |  |  | Are there currently-active EITaaS or BIM task orders at any of the 14 listed AMC installations? If so, how will scope deconfliction be managed? | EITaaS is in use for help desk functions for the end devices to include patching and scanning. The base is responsible for touch maintenance and infrastructure work.
38 |  |  |  | What cloud connectivity infrastructure currently exists at AMC installations (e.g., Commercial Cloud Services gateways, DISA Cloud Access Points)? Will the contractor be required to provision new cloud connectivity, or leverage existing infrastructure? | AMC has no cloud instances presently. There is one instance AMC has been offered but AMC is not ready. AMC would be the consumer of the cloud for test purpose and start moving some bases data to this cloud offering. We are still in the survey stage and have not made a decision on best way forward.
39 |  |  |  | Is the contractor expected to achieve ATO (Authority to Operate) for the modernized infrastructure, or only IATT (Interim Authority to Test)? Who is the designated Authorizing Official (AO) for this effort? | The contractor shall provide any artifacts, drawings, or other intellectual data to the Government for recordkeeping and updating RMF/ATO
40 |  |  |  | What is the current status of Next Generation Gateway (NGG) deployment at AMC installations? Has JRSS sundown occurred at all identified locations, or will the contractor be expected to support JRSS-to-NGG transition? | Unknown. NGG is a DAF-level initiative.
41 |  |  |  | Is Comply-to-Connect (C2C) currently deployed at any AMC installations? If so, what is the existing C2C platform, and is the contractor expected to integrate with or replace it? | Yes. C2C is mainly in stage 4. There is a mix of CISCO and FORESCOUT. This contract would be to optimize the C2C on premise or replace to keep compliant with ZT and network efficiency.
42 |  |  |  | What is the expectation for Zero Trust maturity achievement under this contract — baseline (FY2027 DoD target) or intermediate (FY2028 DAF target)? Are there specific Zero Trust capability pillars prioritized for this effort? | DOW target according to the framework.
43 |  |  |  | Does AMC have a preferred or currently-deployed GRC platform for managing RMF documentation, A&A workflows, and C-SCRM tracking (e.g., eMASS, a commercial GRC tool, or manual processes)? Understanding the existing tooling will help offerors propose compatible or integrated compliance management solutions. | EMASS is the system of record
44 |  |  |  | During the modernization transition, what are the uptime and availability SLAs required for NIPRNET and SIPRNET respectively? What maintenance windows are permissible given 24/7 airlift operations at most AMC bases? | Should be 99.999% with minimum scheduled downtime advantageous to local base operations.
45 |  |  |  | Is the contractor expected to perform operate-and-sustain functions after modernization is complete (similar to the BIM task order model), or is the scope limited to design, install, and handoff to Government operations? | The Government is seeking a comprehensive, end-to-end solution for our Base IT Infrastructure modernization, from initial site survey and design through full installation and system acceptance testing. The successful partner will be responsible for a complete and seamless turnover of the fully operational system, to include all as-built documentation and the training required for government personnel to assume sustainment.
46 |  |  |  | How many simultaneous installation threads will be expected — can the contractor work one base at a time sequentially, or is there a Government expectation for parallel execution across multiple installations simultaneously? | The contractor can work numerous bases at once keeping in mind the operations tempo may cause delays due to limited manning to provide escorts. The Government will make every effort for the contractor to work unimpeded at every installation.
47 |  |  |  | What is the expected period of performance for this effort (base year plus options)? Is there a notional program budget range the Government can share to bound cost proposals? | The PoP is to be proposed by each contractor based on the time it would take to resolve this issue/implement their solution. There is no notional program budget range the Government can share to bound cost proposals.
48 |  |  |  | The AOI states the White Paper must describe how the concept 'uniquely and innovatively meets the requirements.' What specific technical differentiators is the Government most interested in evaluating — for example: Zero Trust maturity, speed of deployment, CDS innovation, or edge computing capability? | When reviewing white paper proposals, the government will be most interested in a comprehensive and low-risk solution that demonstrates the best value. Industry partners should clearly articulate their survey approach, proposed implementation of the task, and a realistic schedule, as these elements form the basis of the technical solution. Furthermore, the government will heavily weigh a contractor's proven performance, scrutinizing relevant experience on similar projects and past Contractor Performance Assessment Reporting System (CPARS) ratings to gauge reliability. Ultimately, a compelling proposal will seamlessly integrate a credible technical plan and a strong performance history with a competitive cost structure.
49 |  |  |  | Given the SDVOSB-only set-aside, may Selectable SDVOSBs team with large business subcontractors in Step 2 for specialized capabilities such as Cross-Domain Solutions or cloud integration? Are there restrictions on large business subcontracting percentages or a minimum SDVOSB self-performance requirement? | Yes.
50 |  |  |  | Must the prime contractor hold active SBA VetCert SDVOSB certification at the time of white paper submission, or is certification required only at the time of award? Additionally, will the Government issue a DD Form 254 (Contract Security Classification Specification) at contract award, and if so, at what classification level? Understanding the DD Form 254 classification level will help offerors accurately scope personnel clearance requirements and facility accreditation obligations for this effort. | You must have certification before award and A6 can produce a DD254. The classification is SECRET.
51 |  |  |  | Does the scope of the future-state architecture include edge computing capabilities for locations where traditional wired infrastructure is impractical or operationally insufficient — such as flight line areas, forward operating locations, or OCONUS installations with degraded/disconnected/intermittent/limited (DDIL) connectivity requirements? If so, what are the performance and latency requirements for edge nodes, and is there a preference for a specific edge compute platform or standard? | This contract is for CONUS locations as we can determine today. There are 11 AMC bases.
52 |  |  |  | Given the DoW's AI Acceleration Strategy and enterprise rollout of GenAI.mil, does AMC A6 envision AI-driven capabilities — such as AIOps for automated network monitoring and incident response, predictive infrastructure maintenance, or intelligent configuration management — as in-scope for this modernization effort, or as a future phase? Additionally, will the modernized infrastructure be expected to provide sufficient compute and bandwidth at the base level to support integration with DoW-wide AI platforms and workloads? | To prepare for future network infrastructure requirements, the government requires industry partners to propose forward-thinking solutions that are inherently modular, scalable, and ready for the demands of artificial intelligence. Proposals must detail a high-bandwidth, low-latency architecture that is prepared for massive data volumes and complex traffic patterns, leveraging technologies like software-defined networking, all underpinned by a Zero-Trust security model to safeguard against evolving threats while adhering to both current and emerging industry standards.
53 | AOI | 1-3 | Step 1 | Request the Government clarify the required structure and content for the Step One White Paper, as Amendment 01 includes both a “Technical Approach” format and a separate “White Paper Content” (Sections A–C) format. Please confirm whether both are required, or if one takes precedence. | This has been updated in Amendment 03.
54 | AOI | 3 | Section B | Additionally, if Section B (“Technical Solution”) is required, please confirm whether the “Detailed Scope of Work & Technical Requirements” referenced should be used as the primary basis for response. | Correct.
55 | AOI | 3 | Section C | For Step One White Paper submissions, please confirm the level of detail required for the “Total Project Price” (Section C). Is a high-level Firm Fixed Price sufficient, or is supporting cost/price detail expected at this stage? | This will be an ROM.
56 | AOI | 3 | Technical Approach Narrative (Bullet 4) | The fourth bullet under “II. Technical Approach Narrative” requires submission of a Statement of Work (SOW) and a detailed project schedule. If these elements are required as part of the White Paper, please confirm whether they are excluded from the stated page/slide limitations. | The SOW and detailed project schedule are excluded from the 10-page limit.
57 | AOI | N/A | N/A | What is the approximate scale of the BAN at the representative installations (number of endpoints, buildings, square footage)? | N/A
58 | AOI | N/A | N/A | Is the intent a full operate-and-sustain model post-modernization, or design and implement only? | Design and implement only.
59 | AOI | N/A | N/A | Are there incumbent contractors currently supporting base IT operations at AMC installations? | No
60 | AOI | N/A | N/A | What classification level are partner networks beyond NIPR and SIPR (i.e., does "other required domains" include JWICS or coalition networks)? | Only NIPR/SIPR
61 | AOI | N/A | N/A | Is there a preferred CDS product or vendor already in use at AMC installations? | No CDS required.
62 | AOI | N/A | N/A | Specific to AMC mission how is related to the work being performed under the BIM contract? | BIM is not in use at this time
63 | AOI | N/A | N/A | Is this an AMC specific network inside the AFN at each location? | We utilize NIPR and SIPR. There are no specialized networked as part of this task
64 | AOI | N/A | N/A | How will our proposed zero trust and SD-WAN interface with the Air Force's Next Generation Gateway? | Best industry practice
65 | AOI | N/A | N/A | Will the Government provide a best known infrastructure document and asset inventory to enable the contractor to determine the size, scope and complexity? | This will be included before the site survey begin
66 | AOI | N/A | N/A | Are Operations and Maintenance after migration within scope of this effort? | Negative.
67 | AOI | N/A | N/A | Is the contractor required to perform or assist with the DRMO process for the decommissioned equipment? | Contractor shall palletize and provide an inventory for the Government to utilize
68 | AOI | 2 | Technical Approach Narrative | Is the contractor furnished SOW and project schedule included in the ten-page white paper? | The SOW and detailed project schedule are excluded from the 10-page limit.
69 | AOI | 2 | Technical Approach Narrative | Should the contractor's white paper address a typical site or all AMC sites listed on page 6? | The Government will provide the information for one base.
70 | AOI | 2 | White Paper due date | Will the Government provide a 2 week extension to allow time to incorporate answers to questions? | Yes, the response date will be extended due to the extended time taken to provide answers to all the questions.
71 | AOI | 3 | Section C: Total Project Price | Any additional details on the size, scope or number of users? Will the Government provide a "typical site" specification and asset inventory to be modernized? | N/A
72 | AOI | 3 | Travel Assumption | For evaluation purposes only, assume one person travelling to two of the locations listed in Section 5 and indicate which two were selected in your proposal. Price each trip at 2 weeks, including Air Fare, Lodging, etc. Will the contractor be eligible for award for only the two sites visited in Phase 2? | The contractor will be eligible for full award, not just two sites.
73 | AOI | 4 | Proposed Future State Architecture | Is the contractor to provide a notional architecture for all sites, two sites selected for Phase 2, or a single site? | Please provide a response for the two bases selected in phase two.
74 | AOI | 6 | Location of Work | Does the Government intend to complete all sites simultaneously, sequential, or based on the availability of funds? | Based on the availability of funds.
75 | AOI | N/A | General | Should the contractor assume that all OSP and ISP is capable of supporting new technology? If not, what is the estimated percentage that would need to be replaced? | No. The contractor should provide the recommended OSP/ISP and then during the survey determine what areas require upgrade for optimum performance
76 |  |  |  | Will the envisioned IT architecture need to encompass Agile Combat Employment (ACE) environments or stay focused on main AMC installations? | Focused on fixed at this time
77 |  |  |  | Are designing/building/accrediting secure locations and SCIFs within scope of this IT infrastructure effort? | IT infrastructure
78 |  |  |  | Is it possible to share some types or uses of legacy software systems that would most benefit from modernization? | AMC is not aware of any legacy software
79 |  |  |  | Will the government consider adding in NAICS Code 541519 Exception 2 INFORMATION TECHNOLOGY VALUE ADDED RESELLERS in addtion to 541512 Computer Systems Design Services? Still with SDVOSB. | The government is not set on the NAICS Code chosen. Therefore, the government is open to changing the selected NAICS to one that is provided by an offeror so long as it makes sense.
80 |  |  |  | Can the government share how the BIM contract will affect these AMC location in contrast to the ask in the CSO? | BIM is not in use at this time
81 |  |  |  | Can the government provide a high-level overview of the current NIPRNET and SIPRNET Base Area Network (BAN) configurations at the listed installations? | The bases utilize a mesh network to the internal router
82 |  |  |  | Can the government share the specific manufacturers and models of the primary server and storage hardware currently supporting AMC base operations? | The bases utilize dell hardware for storage and migrating to VMWARE for mgt. RUBRIK is the backup solution.
83 |  |  |  | Can the government share the current volume and nature of data flows between NIPR and SIPR? | No CDS required.
84 |  |  |  | Has the government identified a preferred or pre-approved CDS vendor? | No CDS required.
85 |  |  |  | Which edge computing environments are considered highest priority? | C2 nodes
86 |  |  |  | Will the phased rollout sequence across 15 AMC installations be driven by the Government's prioritization? | Yes
87 |  |  |  | What is the governments tolerance for operational downtime during the phased rollout? | All work shall be scheuled in advance by at least two weeks. Any extended outage lasting more than 24 hours is unacceptable.
88 |  |  |  | Can the government share what, if any are the connectivity constraints at the 15 AMC locations? | Must comply with all STIGs. Five 9's is required for connections
89 |  |  |  | Can the government share what MIL cloud providers should our proposal be aligned to? Or are you open to any provider. | Open to various providers who are FEDRAMP certified
80 |  |  |  | Can the government share what legacy operating systems and enterprise applications are currently causing the highest maintenance burden or frequent outages? | No legacy software that we are aware of.
91 |  |  |  | Can the government share what the specific high-to-low and low-to-high data transfer requirements between NIPRNET, SIPRNET, and other coalition networks? | N/A
92 |  |  |  | Which FedRAMP-authorized cloud service providers (CSPs) is AMC currently using, and what is the extent of the hybrid cloud integration? | AMC does not have a current contract with any cloud providor for the IT infrastructure or file storage
93 |  |  |  | Are you looking for a total project (15 sites) price and a break out of individual site prices? | No
94 |  |  |  | Do you want a SOW to demonstrate past proformance of work equal to the scope or will the government be providing more detailed requirements on a site to site based for a more realistic SOW and project schedule? | Vendor should demonstrate how the work is accomplished leading to the final result and any recommended action items the Government should complete that leads AMC toward a secure, expedient, and relaible network or systems that meet the demand of users as AI and additional information traverse the networks. The Government does not want to lock into one set standard but to utilize best industry standards that maintain a high level of cyber security , reliability and STIG complaint. Any hardware provide must be TAA complaint and verified before installation.
95 |  |  |  | Would you please review these two sets of instructions, confirm if they conflict, and, if so, consider amending the AOI ahead of the deadline for questions? Having a single set of instructions regarding the white paper's structure will help me think through the questions I would like to ask. | The instructions have been updated.
96 |  |  |  | The instructions for the Step One: White Paper submission reference two formats for the required content. On pages 1–2, the White Paper is described as including: I. Title Page II. Technical Approach Narrative III. Government Support Required On pages 2–3, the White Paper is described as including: Section A: Company Information Section B: Technical Solution Section C: Total Project Price Could the Government please clarify the required content and format for the Step One White Paper submission and confirm which structure should be followed? | The instructions have been updated with clarifications on what is required.
97 |  |  |  | Page 2 states that Section B: Technical Solution should include “a description of how your concept uniquely and innovatively meets the requirements detailed in the ‘Detailed Scope of Work & Technical Requirements.’” The Scope section indicates that the technical approach narrative should include a Statement of Work (SOW) and a detailed project schedule, noting that offerors may refer to the White Paper but should not duplicate its content. Can the Government please clarify the expected content for Section B of the White Paper, particularly regarding the level of detail required for the technical approach, given that the SOW and detailed project schedule are requested as part of Step Two? | A simple SOW/project schedule is requested in step/phase one. This SOW will be updated for phase two with more detail. Also the instructions have been updated to read more clearly as well.
98 |  |  |  | Is communication with aircraft either on the ground or in the air within scope of this effort? | IP based transport, for example WAVE may be used on the network but not part of this task
99 | AOI Amend 01 | 3 | Step Two, Travel Assumption | The travel assumption specifies pricing one person for two weeks at two locations. Should offerors interpret this as the full scope of on-site assessment labor, or is this a pricing placeholder only, with the expectation that the actual assessment methodology may require additional personnel and time beyond this assumption? | Actual assessment methodology may require additional personnel and time beyond this assumption.
100 | AOI Amend 01 | 3-4 | Sections A & B | For the Step Two Detailed Approach, should the assessment methodology and future-state architecture address only the two representative installations, or should offerors propose an approach scalable across all 15 listed AMC locations with the two sites serving as pilots? | Only the two
101 | AOI Amend 01 | 4 | Section B, CDS | Does AMC currently operate any accredited Cross-Domain Solutions between NIPRNET and SIPRNET at the installation level, or should offerors assume greenfield CDS implementation? If existing CDS capabilities are in place, can the Government characterize the general technology family (e.g., hardware-based transfer guard, software-based filtering appliance)? | No CDS required.
102 | AOI Amend 01 | 4 | Section B, Cloud | Should offerors assume the target cloud environment intended to be USTRANSCOM UGC or a different cloud enviornment? | N/A
103 | CSO / AOI Amend 01 | 1-2 / 5 | Type of Contract / Pricing Strategy | The CSO reserves the right to award an Other Transaction (OT) for prototype per 10 U.S.C. 3458 and 4022, while the AOI states any resulting award will be FFP under FAR. Should offerors assume the award will definitively be FFP FAR-based, or is the Government still considering the OT prototype path for this AOI? | For this AOI, the award will be FFP FAR based.
104 | AOI Amend 01 | 3 | White Paper Content, Section C | Section C requires a total project price at the white paper stage. Given that the assessment of current infrastructure has not yet occurred and scope spans up to 15 installations, what level of pricing granularity does the Government expect at Step One? Should offerors provide a ROM-level estimate with stated assumptions, or a binding FFP price? | ROM-level estimate with stated assumptions.
105 | AOI Amend 01 | 5 | Section E, RMF | For the RMF deliverables and IATT, should offerors assume they are responsible for the full A&A package development and submission to the authorizing official, or is AMC A6 (or a designated ISSM/ISSO) the system owner who will sponsor and submit the package with contractor support? | RMF of each base network is accomplished by the base. The contractor shall assist and provide the artifacts required for AO approval
106 | AOI Amend 01 | 4 | Section B, Edge Computing | The AOI references edge computing environments as part of the future-state architecture. Can the Government clarify whether 'edge' refers to installation-level on-prem compute, forward-deployed or flightline-adjacent processing, or both? | On-prem and flightline
107 | AOI Amend 01 | 3 | White Paper Evaluation | The CSO lists Technical, Importance to Agency, and Price as evaluation factors. Are all three factors equally weighted at the white paper stage, or does Technical carry more weight than Price for Step One selection? | All 3 factors equally weighted.
108 | AOI Amend 01 | 4 | Section C, Transition Roadmap | Should offerors assume a specific period of performance for the transition roadmap, or is proposing the timeline part of the offeror's solution? If there is a target completion window, can the Government provide it? | Timeline is part of the offeror's solution.
109 | AOI Amend 01 | 4 | Section D, Multi-Solution Testing | Should offerors assume they will stand up their own test and evaluation environment, or will AMC provide access to an existing lab or staging environment for solution validation? | All testing and GWT shall be in vendor areas
110 | AOI Amend 01 | 3 | Travel Assumption / Location of Work | The travel assumption references 'Section 5' for locations, but the AOI does not contain a labeled Section 5. Can the Government confirm that the 15 installations listed under 'Location of Work' on page 6 constitute the referenced location list? | Yes, the 15 installations referenced under location of work on page 6 constitute the referenced location list.
111 | AOI | 2 | Detailed Scope of Work & Technical Requirements | Detailed Scope of Work & Technical Requirements: Step One: White Paper Submission -- Technical Approach: Section II Technical Approach Narrative: 1st bullet states: "Describe the backgound, objectives...needed for the solution proposed in the White Paper." The language here is confusing. Step One is the White Paper. How can we describe the background, objectives, methodolgies "proposed in the White Paper" in the White Paper? This is circular logic. Please clarify. | Apologies for the confusion. Amendment 03 has updated this confusing language.
112 | AOI | 2 | Detailed Scope of Work & Technical Requirements | Detailed Scope of Work & Technical Requirements: Step One: White Paper Submission -- Technical Approach: Section II Technical Approach Narrative: 4th bullet states: "Provide a Statement of Work (SOW) and a detailed project schedule. You may refer to the White Paper but should not duplicate its content." This is a Step Two requirement in the CSO yet identified as part of Step One in the AOI. If a SOW and Schedule are required for Step One, can the government clarify and if necessary provide guidance on SOW and Schedule expectations, page limitations, etc? | The SOW and detailed project schedule are excluded from the 10-page limit. The rest of the information in the section has been updated to provide clarification.
113 | AOI | 3 | Submission & Evaluation Process | Submission & Evaluation Process: Step One: White Paper Content: Section B: Technical Solution states: "A description of how your concept uniquely and innovatively meets the requirements detailed in 'Detailed Scope & Technical Requirements' section." While this guidance seems clear it also seems to conflict with the previous guidance of providing a SOW. Please clarify. | This part of the AOI has been updated. To be clear, a simple SOW is requested in phase one and then it will be updated and expanded upon in phase two.
114 | AOI | 4 | Submission & Evaluation Process | Step One White Paper Content: Section C: Total Project Price: states "Propose a total price and provide supporting data...to help the Government determine a fair and reasonble price." Without As-Is topologies and equipment lists, site surveys, and some initial design work, a Price at the White Paper stage is unrealistic. A Rough Order of Magnitude is the best that can be provided based on similar past experience and work. Please clarify the government's intent for Total Price, a full BOE workup of actual Price, or a Rough Order of Magnitude with justifications? | A Rough Order of Magnitude is requested for the pricing data. This information has been updated in Amendment 03.
115 | AOI | 1-3 |  | General comment: Step One defines the White Paper content twice with overlapping and conflicting guidance (once in the Detailed Scope of Work Technical Approach, and once in the Submission & Evaluation Process White Paper Content). Can the government restructure the Step One: White Paper section to normalize the guidance and clarify the conflicting guidance? | Yes, the format and guidance have been updated in Amendment 03 to provide clarification.
116 | AOI | 4 | 4 | Section D. Core Technical Capabilities & Approach: Please clarify if the contractor is expected to provide an off-site NOC or are network management functions to be performed on-base? | There is no expectations of standing up a help desk for this effort. GOGO.
117 | AOI | 4 | 2 | For the proposed Cross‑Domain Solution enabling data exchange between NIPRNET, SIPRNET, and other required domains, does the Government expect offerors to propose an existing accredited CDS, a path to accreditation for a new CDS, or an integration of government‑furnished CDS capabilities? Additionally, should White Papers assume responsibility for full CDS A&A activities, or only architectural design and integration planning? | N/A
118 | AOI | 4 | 3 | Are offerors expected to align proposed hybrid or multi‑cloud architectures to specific government‑approved cloud service providers or environments (e.g., IL4/IL5/IL6‑capable platforms), or may White Papers propose cloud‑agnostic architectures pending further guidance in Step Two? | There is no expectations of standing up a help desk for this effort. GOGO.
119 | AOI | 4 | 3 | Does the Government have preferred or existing AMC‑level performance metrics (e.g., network availability, latency thresholds, recovery objectives, cybersecurity posture metrics) that offerors should align proposed KPIs to, or should White Papers define KPIs independently based on industry and DoD best practices? AOI requires KPIs and success metrics but does not reference an existing baseline architecture or framework. | AFNET standards
120 | AOI | 5 | 3 | Regarding this statement in the detailed evaluation approach paragraph: "Proposals will be evaluated on Technical Merit, Importance to Agency, and Price. All factors are of equal importance. They will be categorized as Acceptable (recommended for funding) or Not Acceptable." Will the government provide specific criteria that determine whether a proposal is considered acceptable or not acceptable? For example, technical solutions must deliver significant network performance or security improments to be considered acceptable. Likewise, pricing must be reasonable to be considered acceptable. And so on. Further, will the government clarify what "importance to agency" means? Is this mission related importance, base support, specific capabilities (as identified in the detailed approach sections A, B, C, D, and E, other)? | The evaluation team will determine the criteria.
121 | AOI | 6 | 1 | Location of Work: Can you provide the size of each base and approximate quatity of network devices and users. | N/A
122 | AOI | 3 | 2 | What format would you prefer for the pricing component or will you be providing a pricing workbook? | No format is preferred. The pricing information can be formatted to the respondents liking. Also, only an ROM is required for the pricing data.
123 | AOI | 4 | 2 | Section B, Proposed Future State Architecture: Please confirm that the contractor is to provide Tier 2, Tier 3 and Tier 4 Support in coordination with the EITaaS Tier 1 Service Provider | There is no expectations of standing up a help desk for this effort. GOGO.
124 | AOI | 4 | 2 | Section B, Proposed Future State Architecture: Please clarify whether the contractor solution is to be fully GOCO or can we utilize some of our tools and equipment to deliver the services. | There is no expectations of standing up a help desk for this effort. GOGO.
125 | AOI | 1, 2, 3 |  | In the section Detailed Scope of Work & Technical Requirements, Step One: White Paper Submission, Technical Approach, four bullets are listed under Technical Approach Narrative that the bidder must answer. But under Submission & Evaluation Process, White Paper Content, Technical Solution, different instructions are given for what the bidder should respond to. Can the Government confirm that the instructions under Submission & Evaluation Process, White Paper Content, Technical Solution are the correct ones, and the Government is not looking for a reponse to the four bullets obn page 2 at this Step 1 White Paper phase? | These instructions have been updated in Amendment 03. Please review the updates and see what changes occurred.
126 |  |  |  | What specific mission outcomes or policy objectives does AMC seek to achieve by limiting this competition to SDVOSBs, and has AMC conducted market research indicating sufficient SDVOSB capacity exists to deliver enterprise-scale IT modernization including secure cross-domain solutions, multi-region cloud architecture, and IL6-capable infrastructure within the required timeline? | This was decided because market research indicates that there are a large number of SDVOSBs that are capable of providing a solution to the outstanding issue identified.
127 | AOI | 1 | Bullet 1 | What are the specific details on the aging hardware and antiquated software? | Various devices are EOL
128 | AOI | 1 | I | Because the AOI is exclusively limited to SDVOSBs, are there any restrictions on subcontracting specific hardware provisioning or specialized engineering tasks to non-SDVOSB partners, provided the SDVOSB maintains the role of Prime Integrator and adheres to the standard 50% rule for services? | No restriction apart from the 50% rule.
129 | AOI | 2 | II | Does the Government have a target timeline or expectation for achieving an Interim Authority to Test (IATT) after a Step 2 award is made? | This question will be answered in phase 2
130 | AOI | 2 | II | Given the size of the scope of this CSO, to what level of detail does the Government expect the Statement of Work (SOW) to be in the 10-page Step 1 White Paper? | The government is expecting a simple SOW for phase one of this AOI.
131 | AOI | 2 | II | Given that Step 2 involves a collaborative assessment phase to determine the "As-Is" architecture, can the Step 1 SOW be submitted as a "notional" roadmap, with the understanding that the definitive, binding SOW will be finalized during Step 2? | The government is requesting a very simple SOW for phase one and then this SOW will be updated with more detail in phase two, similar to your suggestion.
132 | AOI | 2 | II | To what level of detail does the Government expect the "detailed project schedule" to be in the 10-page Step 1 White Paper? | With as much detail as possible.
133 | AOI | 2 | II | Given that Step 2 involves a collaborative assessment phase to determine the Transition & Implementation Roadmap, can the Step 1 Project Schedule be submitted as a "notional" schedule, with the understanding that the definitive, binding Roadmap will be finalized during Step 2? | Yes, we are not looking for a binding project schedule or SOW for phase one. These will both be updated in phase two.
134 | AOI | 2 | III | "Government Support Required" is identified in the Step 1 White Paper submission technical approach, but not listed in the white paper content. Should we include section D in the white paper to cover "Government Support Required"? | This section of the AOI has been updated in Amendment 03 to provide clarification.
135 | AOI | 2 | III | Will AMC A6 provide a dedicated Authorizing Official (AO) representative or RMF sponsor to expedite the assessment and authorization processes for the proposed solution? | The Government will be the interface to the AO through the base RMF lead to HQ AMC lead to ACC for approval.
136 | AOI | 2 | III | Does the Government have existing facility(s) to leverage for receiving and staging of equipment? | Yes, storage should be limited to no more than 3 months and only accepted by the Government upon delivery to the installation.
137 | AOI | 2 | Evaluation | Given that the White Paper is a high-level concept submission and the Government has indicated it will provide additional equipment and software specifications at the Step 2 stage, to what level of technical specificity should offerors price at the White Paper stage? Will the Government provide any additional scope clarification, bill of materials guidance, or technical parameters prior to the White Paper due date to enable offerors to submit a technically compliant and accurately scoped price? | The pricing information requested in phase one is a rough order of magnitude (ROM) estimate.
138 | AOI | 3 | C | If a vendor proposes integrating an existing Government-Off-The-Shelf (GOTS) solution as part of the solution, how should the licensing or software transfer costs be represented in the Step 1 Total Project Price? | Contractor shall outline any hardware/software service the Government provides in the documents.
139 | AOI | 3 | C | Is it a correct assumption that the Government expects hardware/software purchases to be processed as ODCs? | No
140 | AOI | 3 | C | Is it a correct assumption that the Government expects travel purchases to be processed as reimbursables? | No
141 | AOI | 3 | C | Will the Government accept an attachment of a commercial price list or catalog (e.g., GSA Schedule pricing) as supporting documentation, or is the expectation a narrative justification of price reasonableness based on the offeror's proposed methodology and approach? | GSA pricing. Labor shall be categorized seperately
142 | AOI | 6 | 1 | Will the Government provide the selected vendor(s) with existing network topology diagrams, hardware inventories, and current cross-domain matrices for the representative bases, or is network discovery entirely the responsibility of the contractor during step 2? | In phase two the vendor will receive the topology for the two bases
143 | AOI Amendment 01 | 3 |  | Can the Government please confirm the title page (containing the abstract) AND Section A: Company Information are excluded from the 10 page limitation? | Correct, the title page and company info are excluded from the page limitation.
144 | AOI Amendment 01 | 3 |  | Would the Government please consider excluding Section C: Total Project Price from the 10 page limitation to allow for full inclusion of supporting data to better judge price reasonableness? | No, pricing data/information is to be included in the page limitations.
145 | AOI Amendment 01 / CSO | 3 |  | Will the Government permit the use of 10-point Times New Roman font for tables and graphics? | Yes, this is permitted.
146 | AOI Amendment 01 | 4 |  | For the Cross-Domain Solution (CDS), what specific protocols and file types/extensions are required to traverse the CDS? | No CDS required.
147 | AOI Amendment 01 | 1, 4 |  | What classification levels and domain pairings must the CDS support (e.g., NIPRNET to SIPRNET, Unclassified to NIPRNET, NATO Secret to U.S. Secret)? | No CDS required.
148 | AOI Amendment 01 | 4 |  | Can the Government clarify whether the White Paper should include the full scope and cost of Data Center modernization, or should it focus on integration with existing Data Centers? | Integration
149 | AOI Amendment 01 | 4 |  | Can the Government provide an estimated number of applications requiring refactoring and an assessment of their cloud readiness? | Unknown quantity , some work has been accomplished by the Zero Trust team
150 | AOI Amendment 01 | 6 |  | For tenant locations, can the Government provide a list of buildings and services required for each base included in scope? | No
151 | AOI Amendment 01 | 1, 4 |  | Can the Government confirm whether Wireless LAN (WLAN) is within the scope of this effort? | Yes, best industry practice
152 | AOI Amendment 01 | 4 |  | Can the Government provide a current high-level network topology and/or equipment inventory for the base installations in scope? | Due to the sensitive nature of the current archeticture a sample diagram can be provided
153 | AOI Amendment 01 | 4 |  | Can the Government provide the current-state architecture for the base installations included in this effort? | Due to the sensitive nature of the current archeticture a sample diagram can be provided
154 | AOI Amendment 01 | 4 |  | Can the Government please confirm the CSPs in use across the listed base installations are AWS, GCP, OCI, Azure? | AMC does not have a CSP
155 |  |  |  | For the required accredited Cross-Domain Solution enabling data exchange between NIPRNet and SIPRNet, can the Government clarify its preference regarding how scalable file/object storage platforms should integrate with CDS (domain-specific storage instances with CDS-mediated transfers, or expectations around data labeling/regrading workflows)? | N/A
156 |  |  |  | Regarding the Assessment & Analysis phase at representative AMC installations, can the Government share any high-level details about current unstructured data volumes and overall size (total TBs across core/edge environments), and primary data types ( sensor, geospatial, logistics, video), or known storage-related bottlenecks that would inform the ‘as-is’ architecture mapping and future-state design? | Unknown.
157 |  |  |  | In the proposed future-state architecture spanning core, edge, and cloud environments, does the Government have any specific requirements or constraints around multi-tenancy and data isolation within a single storage platform when supporting multiple classification levels? Or, is the expectation that storage remains strictly domain-separated with CDS handling all cross-domain movement? | N/A
158 |  |  |  | Regarding Compute, will a detailed list of the current environment be provided with the specifications of the server and storage utilization? Are there any GPU requirements? | The government can give the vendor estimated compute for each location
159 |  |  |  | Is there a network diagram and list of materials of the current environments of each base? | You will receive a diagram for the first two bases
160 |  |  |  | Where would the SDN be applicable to? All WAN/LAN/Cloud/Datacenters? | All in concert with zero trust compliance
161 |  |  |  | Will it be required to set up a new network for the proposed environment prior to cutover? If so, is there rack space, power and cooling at each site to do so? | It is required that any new equipment installed at the bases is done in increments to prevent any loss of service for the customers on the installation
162 |  |  |  | Does the Government have a site priority for installations? | Two bases are in the planning stages first and then prioritized on leadership and mission needs
163 |  |  |  | Will CACs or Security Clearances be provided for the awardee? | To compete on this contract the vendor must have personnel who already posess a SECRET ot higher clearance.
164 |  |  |  | Are Offerors to identify the amount of power and cooling required, for the Government to provide the appropriate amount? | Yes
165 |  |  |  | Is the CDS only a one-way transfer guard or does the Government want a full CDS solution as well for access? | No CDS required.
166 |  |  |  | Is there enough rack space to run two environments side by side? | Reviewed on a case by case basis
167 |  |  |  | Is it the Government's intention to have Testing Evaluation completed prior to shipping to Government sites? | The contractor shall test and configure components in a lab before adding to the network. The Government does not have the floor space for a lab
168 |  |  |  | Does the Government require an ISO-certified secure supply chain? | Yes. And any component must have TAA compliance and no gray maket equipment. Check will occur by serial number with the manufactuer
169 |  |  |  | Are Offerors to provide a solution for all pillars of ZTE or are there select ones? If there are select pillars, which ones would be required? | Integration with all the pillars is required
170 |  |  |  | Is the ZTE solution to be the same across both networks (NIPRNet/SIPRNet)? | Yes
171 |  |  |  | Will KPIs be detailed in a kickoff meeting or will they be provided by the Government? | Yes
172 |  |  |  | Does the Government have a generic plan for base transition? Will it be similar to the previous deployment of the of the current environment? One base at a time, then Scott AFB? | Prioritization will occur as the contract progresses. The Government is focused on two locations at this time
173 |  |  |  | Do Microsoft licenses need to be procured or will they be provided by the Government? | Government Provided.
174 |  |  |  | Will the gov’t be providing a list of applications in use today and future potential applications along with their associated “cloud readiness”? | A partial list can be provided. The survey accomplished by the contractor should capture all the applications on the network to determine the best recommended hardware and configurations that allow the Government to provide high QOS with little latency and can meet the future AI demands.
175 |  |  |  | Are there current “Network” or “Application” deficiencies that AMC would like the new solution to overcome? | Complaince with ZT, bandwidth issues, reliability
176 |  |  |  | Are there any Security considerations for the new solution? Is there a certain risk framework that the AF must incorporate into the new solution? | Any solution must comply with RMF and STIGs
177 |  |  |  | Is a Facilities Clearance required? If down selected, would an SDVOSB without a FCL be sponsored for a FCL? | Yes, a Facilities Clearance is required. An SDVOSB must have an FCL for award as sponsorship after award will cause delays.
178 |  |  |  | Is wireless (Fixed or 5G) a consideration under this effort? | Yes
179 |  |  |  | Is AMC targeting a specific bandwidth for future growth at the bases? | Contractor should recommend BW that is best commercial practice
180 |  |  |  | What is the timeline for CSO Award? | Timeline is part of the offeror's solution.
181 |  |  |  | Will the CSO be single award? | The AOI off this CSO will have a single awardee. However, the CSO may have multiple AOI postings in the future so technically it may have multiple awardees.
182 |  |  |  | What is the duration of the down select period? | Duration of the down select period is undefined because the timing is unknown.
183 | AMC A6 AOI_Final_Amendment 01 | N/A | N/A | For Phase 1 (assessment / roadmap), would the Government be open to treating this effort more in the nature of a market research / RFI like activity that informs a subsequent, separate acquisition for implementation of the selected solution? For any post Phase 1 implementation procurement, would the Government consider either (a) using an alternative NAICS code more aligned to IT value added reseller work (e.g., 541519 with the ITVAR Exception 18 and obtaining a wavier for the Nonmanufacturer Rule from the SBA), or (b) utilizing an existing GWAC/IDIQ such as NASA SEWP V or similar vehicles to enable broader competition and comprehensive hardware/software/services solutions, while still maintaining strong small business and SDVOSB participation goals? | The government is requesting innovative solutions to solve the problem in our AOI to be used in developing a solution. Responses will be evaluated and future award decision will be made.
184 | AOI | 1 | 2 | For Step One White Papers, what level of technical depth is expected when describing the assessment of existing AMC base IT infrastructure (e.g., conceptual methodology vs. specific tools, scripts, and data sources), given that access to installation‑specific architectures and classified environments may not be available at this stage? | N/A
185 | AOI | 2 | 2 | Regarding this statement in section II: Technical Approach: "Provide a Statement of Work (SOW) and a detailed project schedule. You may refer to the White Paper but should not duplicate its content." Should we assume that the SOW and schedule are not included in the 10 page/15 slide limit? | Correct, the SOW and schedule are not included in the page limitation.
186 | AOI | 3 | 2 | For the total project price required in the White Paper, should offerors propose a rough‑order‑of‑magnitude (ROM) estimate based on assumptions, or a fully burdened price inclusive of all anticipated phases (assessment, design, pilot, phased rollout), despite uncertainties that would normally be resolved during Step Two? | Offerors should propose a rough order of magnitude (ROM) estimate based on assumptions.
187 | AOI | 3 | 2 | Should pricing include sustainment costs for future years? | Negative.
188 | AOI | 3 | 3 | Considering the broad scope of the solicitation, does the government anticipate the total project price to be delivered as a ROM or full price proposal? Relatedly, should pricing be submitted as one number or broken down into price components (e.g., hardware, professional services, etc.)? If a full price proposal, does the government anticipate delivering a pricing workbook? | An ROM with assumptions will suffice. Please break it down as much as possible and utilize whatever format is preferred.
189 | AOI | 3 | 6 | Regarding this statement in the travel assumptions section: " For evaluation purposes only, assume one person travelling to two of the locations listed in Section 5 and indicate which two were selected in your proposal. Price each trip at 2 weeks, including Air Fare, Lodging, etc." For ease of evaluation, will the government consider identifying two bases to use for pricing? This will support apples-to-apples pricing versus the potential for disparate travel costs. | Each response is standalone and will not be compared to any other submissions.
190 | AOI | 4 | 2 | Section B, Proposed Future State Architecture: Please clarify the scope of the required solition, i.e. BAN, WAN, wireless, voice, cloud hosting, secure internet, etc. | All, mainly focused on BAN. WAN, wireless, voice and cloud readiness
191 | AOI | 4 | 2 | Section B, Proposed Future State Architecture: If Data center and cloud hosting is in scope, please clarify which services and applications are to be hosted. | Incorporation of cloud is requested with the ability to also utilize disconnected ops
192 | AMC+A6+AOI_Final_Amendment+01 | 3 | White Paper Evaluation | What are the primary discriminators for a “Selectable” rating in Step One (e.g., innovation, feasibility, scalability, cost realism)? | All are applicable
193 | AMC+A6+AOI_Final_Amendment+01 | 3 | Section C: Total Project Price | Can the Government confirm that the supporting Section C Pricing and related documentation (e.g., commercial price catalogs) are excluded from the 10-page White Paper limit? | Pricing and related documentation are excluded from the page limitation.
194 | AMC+A6+AOI_Final_Amendment+01 | 3 | Section C: Total Project Price | Could the Government clarify the required format and level of detail required for the pricing submission, including any specific templates, file types, or structure to be followed? | An ROM with assumptions will suffice for the requested pricing data.
195 | AMC+A6+AOI_Final_Amendment+01 | 3 | Section C: Total Project Price | Can the Government provide the anticipated period of performance for this effort (e.g. 1-year base period plus 4, 1-year options)? | The estimated PoP is to be provided by each contractor.
196 | AMC+A6+AOI_Final_Amendment+01 | 3 | Section C: Total Project Price | Can the Government provide the anticipated Project Start (PS) date for this effort? | This will depend on the estimated PoPs provided by offerors. It will also depend on the CSO timeline so this is currently unknown.
197 | AMC+A6+AOI_Final_Amendment+01 | 3 | Section C: Total Project Price | The AMC AOI instructions state, "Any resulting award will be a firm-fixed-price contract subject to RFO FAR 12.205 Solicitation provisions and contract clauses." Can the government confirm that both FFP and Time & Material line items will be acceptable as part of the total project price? | No CLIN structure has been determined at this point in time. For commercial item acquisition, the standard is firm fixed price
198 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | If a statement of work has to be provided as part of Phase I, can the government clarify whether this is to be provided as a separate attachment outside of the 10 page White Paper page limit? | The SOW and projected schedule are excluded from the page limitation.
199 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | How should this effort integrate with AFNET/AFIN enterprise network services? | 100% compatible
200 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | What is the expected timeline for achieving IATO/ATO for the modernized environment? | Before the end of the POP
201 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | Are there existing enterprise service desks or support models that must be integrated? | Yes
202 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | Does AMC have an existing accredited Cross-Domain Solution (CDS) or preferred vendor approach that offerors should leverage, or is the expectation for offerors to propose a new CDS architecture and accreditation path? | No CDS required.
203 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | Are there specific legacy systems or mission applications that must be retained or present elevated migration risk? | Unknown and part of discovery by the contractor
204 | AMC+A6+AOI_Final_Amendment+01 | 3 | Detailed Scope of Work & Technical Requirements - Step One: White Paper Submission | Would the Government consider allowing smaller font sizes within tables and graphics, provided the content remains clear and fully legible? | Yes, 10-point Times New Roman is permitted.
205 | AMC+A6+AOI_Final_Amendment+01 | N/A | N/A | Are there any specific mission critical legacy systems or components that are in-scope with this effort that must remain operational during the period of performance which are currently (or will be) out of compliance and/or no longer supported by the vendor or service provider? | Unknown and part of discovery by the contractor
206 | AOI Amendment 01 | N/A | N/A | What is the approximate scale of the BAN at the representative installations (number of endpoints, buildings, square footage)? | N/A
207 | AOI Amendment 01 | N/A | N/A | Is the intent a full operate-and-sustain model post-modernization, or design and implement only? | The Government is seeking a comprehensive, end-to-end solution for our Base IT Infrastructure modernization, from initial site survey and design through full installation and system acceptance testing. The successful partner will be responsible for a complete and seamless turnover of the fully operational system, to include all as-built documentation and the training required for government personnel to assume sustainment.
208 | AOI Amendment 01 | N/A | N/A | Are there incumbent contractors currently supporting base IT operations at AMC installations? | N/A
209 | AOI Amendment 01 | N/A | N/A | What classification level are partner networks beyond NIPR and SIPR (i.e., does "other required domains" include JWICS or coalition networks)? | NIPR/SIPR
210 | AOI Amendment 01 | N/A | N/A | Is there a preferred CDS product or vendor already in use at AMC installations? | No CDS required.
211 | AOI Amendment 01 | N/A | N/A | Will the Government provide representative installation-level data, including existing asset inventories and infrastructure baselines, to inform pricing? | N/A
212 | AOI Amendment 01 | N/A | N/A | What is the Government’s expectation for price in the White Paper submission, give the request for supporting price data? Is such data within or out of page count limitations? | A simple ROM estimate with assumptions will suffice. The pricing data is included in the page limitation.
213 | AOI Amendment 01 | N/A | N/A | Is the Government expecting a full hardware, software, and labor price catalog with this submission? | The government expects a ROM estimate broken out as much as possible.
214 | AOI Amendment 01 | N/A | N/A | The Government requests a total price with the submission of the white paper, which places a significant risk to vendors at this stage of this type of effort. Will vendors be allowed to update pricing in Step 2, once more details are available? | Yes, the vendors will be allowed to update pricing. Also, an ROM is all that is requested in phase one.
215 | AOI Amendment 01 | N/A | N/A | For the White Paper submission is the Government requesting that the Travel Assumption listed in Step 2 be included in the White Paper, although it is listed in Step 2? | Yes, it is to be included in the white paper even though it was listed in step two.
216 | AOI Amendment 01 | N/A | N/A | What are the data types that the AF wants to move between NIPR and SIPR? | Just NIPR and SIPR in this contract.
217 | AOI | 1 | 7 | What are the RTO and RPO objectives for AMC? If it varies by application, is there general guidance or categorizations that have different RTO and RPO objectives? | Restoral priorities are defined by the base
218 | AOI | 2 | 21 | At the bottom of Page 1, the Government specifies requirements for the white paper contents (I: Title Page, II: Technical Approach Narrative, III: Government Support Required) and then specifies a different set of requirements at the bottom of Page 2 (Section A: Company Information, Section B: Technical Solution, and Section C: Total Project Price). Would the Government please provide a single, consolidated structure for respondents to use in structuring the white paper. | This has been updated in Amendment 03.
219 | AOI | 2 | 7 | The AOI asks for "software development methodologies to be used." Is code refactoring in scope for migrating legacy applications? Or will changes to applications be handled under a different AOI? | Any discovery and resolution shall be determined on a case by case basis. AMC is unaware of any such software on the network today.
220 | AOI | 2 | 10 | Are the SOW and project schedule part of the 10 pages for the white paper? It's a little confusing because it says these can reference the white paper, suggesting that maybe they aren't part of it. | No, the SOW and project schedule are not included in the page limitation.
221 | AOI | 2 | 10 | The Government is asking for a "project schedule", but there is no period of performance specified. Do vendors have latitude to specify the length required to do the project or does the Government have a period of performance in mind? | Vendors have the latitude to specify the length required to do the project.
222 | AOI | 4 | 4 | What objectives does AMC have for a multi-cloud solution? Avoid vendor lock-in? Distribute workloads to cheapest CSP? Take advantage of different cloud native offerings? Knowing the objectives of multi-cloud will help us craft a solution aligned to stated objectives. | Best industry practice
223 | AOI | 4 | 5 | What cross-domain sharing is being done today? Is there an existing solution? Where does the Government see their gaps in what is being used today? | N/A
224 | CSO | 2 | 2 | How should vendors approach creating a firm-fixed price if the scope could be divided across awardees? How do we know what scope to price? | The Government is just looking for a ROM estimate with assumptions.
225 | AOI | 2 | 8 | Has AMC identified specific use cases for generative AI capabilities (e.g., intelligent document processing, automated workflow optimization, predictive maintenance, decision support), and what are the data classification levels and compliance requirements for AI/ML workloads? | No
226 | AOI | 4 | 5 | Will AMC require private connectivity to critical mission applications (GDSS, DAWS, CATS, and others?) | Will be identified during the assessment.
227 | AOI | 4 | 5 | Is there a target user population for virtual desktop services, what are the performance requirements (graphics-intensive vs. standard productivity), and would AMC require virtual desktop access from both NIPRNET and SIPRNET networks? | This would be a separate initiative separate from this AoI.
228 | AMC+A6+AOI | 1, 2, & 3 | I & Sec A | Could you please clairy the difference between the Detailed Scope of Work & Technical Requirements Technical Approach I, Title Page (page 1) and the White Paper Content, Section A: Company Information (pages 2 & 3)? As I understand the requirement, the Technical Approach I, Title Page is the information that makes up the title page of the White Paper (the first page of the document prior to the Table of Contents that does not count as page count) and the Section A: Company Information is the first section of the White Paper that does count towards page count. Is my understanding correct? | Title page, company information, SOW and project schedule are all excluded from the page limitation.