## A.1  52.212-3  OFFEROR REPRESENTATIONS AND CERTIFICATIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION FEB 2025)

The Offeror shall complete only paragraph (b) of this provision if the Offeror has completed the annual representations and certification electronically in the System for Award Management (SAM) accessed through https://www.sam.gov. If the Offeror has not completed the annual representations and certifications electronically, the Offeror shall complete only paragraphs (c) through (v) of this provision.

(a) Definitions.  As used in this provision—

Covered telecommunications equipment or services has the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Economically disadvantaged women-owned small business (EDWOSB) concern means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States and who are economically disadvantaged in accordance with 13 CFR 127, and the concern is identified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300. It automatically qualifies as a women-owned small business eligible under the WOSB Program.

Forced or indentured child labor means all work or service—

(1) Exacted from any person under the age of 18 under the menace of any penalty for its nonperformance and for which the worker does not offer himself voluntarily; or

(2) Performed by any person under the age of 18 pursuant to a contract the enforcement of which can be accomplished by process or penalties.

Highest-level owner means the entity that owns or controls an immediate owner of the offeror, or that owns or controls one or more entities that control an immediate owner of the offeror. No entity owns or exercises control of the highest level owner.

Immediate owner means an entity, other than the offeror, that has direct control of the offeror. Indicators of control include, but are not limited to, one or more of the following: Ownership or interlocking management, identity of interests among family members, shared facilities and equipment, and the common use of employees.

Inverted domestic corporation means a foreign incorporated entity that meets the definition of an inverted domestic corporation under 6 U.S.C. 395(b), applied in accordance with the rules and definitions of 6 U.S.C. 395(c).

Manufactured end product means any end product in product and service codes (PSCs) 1000-9999, except—

(1) PSC 5510, Lumber and Related Basic Wood Materials;

(2) Product or Service Group (PSG) 87, Agricultural Supplies;

(3) PSG 88, Live Animals;

(4) PSG 89, Subsistence;

(5) PSC 9410, Crude Grades of Plant Materials;

(6) PSC 9430, Miscellaneous Crude Animal Products, Inedible;

(7) PSC 9440, Miscellaneous Crude Agricultural and Forestry Products;

(8) PSC 9610, Ores;

(9) PSC 9620, Minerals, Natural and Synthetic; and

(10) PSC 9630, Additive Metal Materials.

Place of manufacture means the place where an end product is assembled out of components, or otherwise made or processed from raw materials into the finished product that is to be provided to the Government. If a product is disassembled and reassembled, the place of reassembly is not the place of manufacture.

Predecessor means an entity that is replaced by a successor and includes any predecessors of the predecessor.

Reasonable inquiry has the meaning provided in the clause 52.204–25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted pursuant to specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

Sensitive technology—

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically—

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3) of the International Emergency Economic Powers Act (50 U.S.C. 1702(b)(3)).

Service-disabled veteran-owned small business (SDVOSB) concern means a small business concern—

(1)(i) Not less than 51 percent of which is owned and controlled by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a service-disabled veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran; or

(2) A small business concern eligible under the SDVOSB Program in accordance with 13 CFR part 128 (see subpart 19.14).

(3) Service-disabled veteran, as used in this definition, means a veteran as defined in 38 U.S.C. 101(2), with a disability that is service-connected, as defined in 38 U.S.C. 101(16), and who is registered in the Beneficiary Identification and Records Locator Subsystem, or successor system that is maintained by the Department of Veterans Affairs’ Veterans Benefits Administration, as a service-disabled veteran.

Service-disabled veteran-owned small business (SDVOSB) concern eligible under the SDVOSB Program means an SDVOSB concern that—

(1) Effective January 1, 2024, is designated in the System for Award Management (SAM) as certified by the Small Business Administration (SBA) in accordance with 13 CFR 128.300; or

(2) Has represented that it is an SDVOSB concern in SAM and submitted a complete application for certification to SBA on or before December 31, 2023.

Service-disabled veteran-owned small business (SDVOSB) Program means a program that authorizes contracting officers to limit competition, including award on a sole-source basis, to SDVOSB concerns eligible under the SDVOSB Program.

Small business concern—

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and size standards in this solicitation.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

Small disadvantaged business concern, consistent with 13 CFR 124.1001, means a small business concern under the size standard applicable to the acquisition, that—

(1) Is at least 51 percent unconditionally and directly owned (as defined at 13 CFR 124.105) by—

(i) One or more socially disadvantaged (as defined at 13 CFR 124.103) and economically disadvantaged (as defined at 13 CFR 124.104) individuals who are citizens of the United States; and

(ii) Each individual claiming economic disadvantage has a net worth not exceeding the threshold at 13 CFR 124.104(c)(2) after taking into account the applicable exclusions set forth at 13 CFR 124.104(c)(2); and

(2) The management and daily business operations of which are controlled (as defined at 13 CFR 124.106) by individuals, who meet the criteria in paragraphs (1)(i) and (ii) of this definition.

Subsidiary means an entity in which more than 50 percent of the entity is owned—

(1) Directly by a parent corporation; or

(2) Through another subsidiary of a parent corporation.

Successor means an entity that has replaced a predecessor by acquiring the assets and carrying out the affairs of the predecessor under a new name (often through acquisition or merger). The term “successor” does not include new offices/divisions of the same company or a company that only changes its name. The extent of the responsibility of the successor for the liabilities of the predecessor may vary, depending on State law and specific circumstances.

Veteran-owned small business concern means a small business concern—

(1) Not less than 51 percent of which is owned and controlled by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

Women-owned business concern means a concern which is at least 51 percent owned by one or more women; or in the case of any publicly owned business, at least 51 percent of its stock is owned by one or more women; and whose management and daily business operations are controlled by one or more women.

Women-owned small business concern means a small business concern—

(1) That is at least 51 percent owned by one or more women; or, in the case of any publicly owned business, at least 51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

Women-owned small business (WOSB) concern eligible under the WOSB Program (in accordance with 13 CFR part 127), means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300.

(b)(1) Annual Representations and Certifications. Any changes provided by the Offeror in paragraph (b)(2) of this provision do not automatically change the representations and certifications in SAM.

(2) The offeror has completed the annual representations and certifications electronically in SAM accessed through http://www.sam.gov. After reviewing SAM information, the Offeror verifies by submission of this offer that the representations and certifications currently posted electronically at FAR 52.212–3, Offeror Representations and Certifications—Commercial Products and Commercial Services, have been entered or updated in the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard(s) applicable to the NAICS code(s) referenced for this solicitation), at the time this offer is submitted and are incorporated in this offer by reference (see FAR 4.1201), except for paragraphs .

(c) Offerors must complete the following representations when the resulting contract is for supplies to be delivered or services to be performed in the United States or its outlying areas, or when the contracting officer has applied part 19 in accordance with 19.000(b)(1)(ii). Check all that apply.

(1) Small business concern. The offeror represents as part of its offer that—

(i) It [  ] is, [  ] is not a small business concern; or

(ii) It [  ] is, [  ] is not a small business joint venture that complies with the requirements of 13 CFR 121.103(h) and 13 CFR 125.8(a) and (b). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.]

(2) Veteran-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents as part of its offer that it [  ] is, [  ] is not a veteran-owned small business concern.

(3) SDVOSB concern. [Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (c)(2) of this provision.] The offeror represents that it [ ] is, [ ] is not an SDVOSB concern.

(4) SDVOSB concern joint venture eligible under the SDVOSB Program. The offeror represents that it [ ] is, [ ] is not an SDVOSB joint venture eligible under the SDVOSB Program that complies with the requirements of 13 CFR 128.402. [Complete only if the offeror represented itself as an SDVOSB concern in paragraph (c)(3) of this provision.] [The offeror shall enter the name and unique entity identifier of each party to the joint venture:__.]

(5) Small disadvantaged business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [  ] is, [  ] is not a small disadvantaged business concern as defined in 13 CFR 124.1001.

(6) Women-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it [  ] is, [  ] is not a women-owned small business concern.

(7) WOSB join venture eligible under the WOSB Program. [Complete only if the offeror represented itself as a women-owned small business concern in paragraph (c)(5) of this provision.] The offeror represents that it [ ] is, [ ] is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.]

(8) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The offeror represents that it [ ] is, [ ] is not a joint venture that complies with the requirements of 13 CFR part 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.]

Note to Paragraphs (c)(9) and (10): Complete paragraphs (c)(9) and (10) only if this solicitation is expected to exceed the simplified acquisition threshold.

(9) Women-owned business concern (other than small business concern). [Complete only if the offeror is a women-owned business concern and did not represent itself as a small business concern in paragraph (c)(1) of this provision.]  The offeror represents that it [  ] is a women-owned business concern.

(10) Tie bid priority for labor surplus area concerns.  If this is an invitation for bid, small business offerors may identify the labor surplus areas in which costs to be incurred on account of manufacturing or production (by offeror or first-tier subcontractors) amount to more than 50 percent of the contract price:

___________________________________________

(11) HUBZone small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents, as part of its offer, that—

(i) It [ ] is, [ ] is not a HUBZone small business concern listed, on the date of this representation, as having been certified by SBA as a HUBZone small business concern in the Dynamic Small Business Search and SAM, and will attempt to maintain an employment rate of HUBZone residents of 35 percent of its employees during performance of a HUBZone contract (see 13 CFR 126.200(e)(1)); and

(ii) It [ ] is, [ ] is not a HUBZone joint venture that complies with the requirements of 13 CFR Part 126.616(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: __________________.] Each HUBZone small business concern participating in the HUBZone joint venture shall provide representation of its HUBZone status.

(d)  [Reserved]

(e) Certification Regarding Payments to Influence Federal Transactions (31 U.S.C. 1352). (Applies only if the contract is expected to exceed $200,000.) By submission of its offer, the offeror certifies to the best of its knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress or an employee of a Member of Congress on his or her behalf in connection with the award of any resultant contract. If any registrants under the Lobbying Disclosure Act of 1995 have made a lobbying contact on behalf of the offeror with respect to this contract, the offeror shall complete and submit, with its offer, OMB Standard Form LLL, Disclosure of Lobbying Activities, to provide the name of the registrants. The offeror need not report regularly employed officers or employees of the offeror to whom payments of reasonable compensation were made.

(f) Buy American Certificate.  (Applies only if the clause at Federal Acquisition Regulation (FAR) 52.225-1, Buy American—Supplies, is included in this solicitation.)

(1)(i) The Offeror certifies that each end product, except those listed in paragraph (f)(2) of this provision, is a domestic end product and that each domestic end product listed in paragraph (f)(3) of this provision contains a critical component.

(ii) The Offeror shall list as foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select ‘‘no’’.

(iii) The Offeror shall separately list the line item numbers of domestic end products that contain a critical component (see FAR 25.105).

(iv) The terms ‘‘commercially available off-the-shelf (COTS) item,’’ ‘‘critical component,’’ ‘‘domestic end product,’’ ‘‘end product,’’ ‘‘foreign end product,’’ and ‘‘United States’’ are defined in the clause of this solicitation entitled ‘‘Buy American—Supplies.’’

(2) Foreign End Products:

| Line item No. | Country of origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |

[List as necessary]

(3) Domestic end products containing a critical component: Line Item No. ___________

[List as necessary]

(4) The Government will evaluate offers in accordance with the policies and procedures of FAR part 25.

(g)(1) Buy American—Free Trade Agreements—Israeli Trade Act Certificate. (Applies only if the clause at FAR 52.225-3, Buy American—Free Trade Agreements—Israeli Trade Act, is included in this solicitation.)

(i)(A) The Offeror certifies that each end product, except those listed in paragraph (g)(1)(ii) or (iii) of this provision, is a domestic end product and that each domestic end product listed in paragraph (g)(1)(iv) of this provision contains a critical component.

(B) The terms ‘‘Bahraini, Moroccan, Omani, Panamanian, or Peruvian end product,’’ ‘‘commercially available off-the-shelf (COTS) item,’’ ‘‘critical component,’’ ‘‘domestic end product,’’ ‘‘end product,’’ ‘‘foreign end product,’’ ‘‘Free Trade Agreement country,’’ ‘‘Free Trade Agreement country end product,’’ ‘‘Israeli end product,’’ and ‘‘United States’’ are defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act.’’

(ii) The Offeror certifies that the following supplies are Free Trade Agreement country end products (other than Bahraini, Moroccan, Omani, Panamanian, or Peruvian end products) or Israeli end products as defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act.’’

Free Trade Agreement Country End Products (Other than Bahraini, Moroccan, Omani, Panamanian, or Peruvian End Products) or Israeli End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(iii) The Offeror shall list those supplies that are foreign end products (other than those listed in paragraph (g)(1)(ii) of this provision) as defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act.’’ The Offeror shall list as other foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select ‘‘no’’.

Other Foreign End Products:

| Line item No. | Country of origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |

[List as necessary]

(iv) The Offeror shall list the line item numbers of domestic end products that contain a critical component (see FAR 25.105). Line Item No. ___________

[List as necessary]

(v) The Government will evaluate offers in accordance with the policies and procedures of FAR part 25.

(2) Buy American—Free Trade Agreements—Israeli Trade Act Certificate, Alternate II. If Alternate II to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Israeli end products as defined in the clause of this solicitation entitled “Buy American—Free Trade Agreements—Israeli Trade Act”:

Israeli End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(3) Buy American—Free Trade Agreements—Israeli Trade Act Certificate, Alternate III. If Alternate III to the clause at 52.225–3 is included in this solicitation, substitute the following paragraphs (g)(1)(i)(B) and (g)(1)(ii) for paragraphs (g)(1)(i)(B) and (g)(1)(ii) of the basic provision:

(g)(1)(i)(B) The terms ‘‘Korean end product’’, ‘‘commercially available off-the shelf (COTS) item,’’ ‘‘critical component,’’ ‘‘domestic end product,’’ ‘‘end product,’’ ‘‘foreign end product,’’ ‘‘Free Trade Agreement country,’’ ‘‘Free Trade Agreement country end product,’’ ‘‘Israeli end product,’’ and ‘‘United States’’ are defined in the clause of this solicitation entitled ‘‘Buy American— Free Trade Agreements—Israeli Trade Act.’’

(g)(1)(ii) The Offeror certifies that the following supplies are Korean end products or Israeli end products as defined in the clause of this solicitation entitled ‘‘Buy American—Free Trade Agreements—Israeli Trade Act’’:

Korean End Products or Israeli End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(4) Trade Agreements Certificate. (Applies only if the clause at FAR 52.225-5, Trade Agreements, is included in this solicitation.)

(i) The offeror certifies that each end product, except those listed in paragraph (g)(4)(ii) of this provision, is a U.S.-made or designated country end product, as defined in the clause of this solicitation entitled “Trade Agreements”.

(ii) The offeror shall list as other end products those end products that are not U.S.-made or designated country end products.

Other End Products:

| Line item No. | Country of origin |
| --- | --- |

[List as necessary]

(iii) The Government will evaluate offers in accordance with the policies and procedures of FAR Part 25.  For line items covered by the WTO GPA, the Government will evaluate offers of U.S.-made or designated country end products without regard to the restrictions of the Buy American statute. The Government will consider for award only offers of U.S.-made or designated country end products unless the Contracting Officer determines that there are no offers for such products or that the offers for such products are insufficient to fulfill the requirements of the solicitation.

(h) Certification Regarding Responsibility Matters (Executive Order 12689). (Applies only if the contract value is expected to exceed the simplified acquisition threshold.) The offeror certifies, to the best of its knowledge and belief, that the offeror and/or any of its principals—

(1) [  ] Are, [  ] are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(2) [  ] Have, [  ] have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a Federal, state or local government contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or Commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, violating Federal criminal tax laws, or receiving stolen property;

(3) [  ] Are, [  ] are not presently indicted for, or otherwise criminally or civilly charged by a Government entity with, commission of any of these offenses enumerated in paragraph (h)(2) of this clause; and

(4) [  ] Have, [  ] have not, within a three-year period preceding this offer, been notified of any delinquent Federal taxes in an amount that exceeds the threshold at 9.104–5(a)(2) for which the liability remains unsatisfied.

(i) Taxes are considered delinquent if both of the following criteria apply:

(A) The tax liability is finally determined. The liability is finally determined if it has been assessed. A liability is not finally determined if there is a pending administrative or judicial challenge. In the case of a judicial challenge to the liability, the liability is not finally determined until all judicial appeal rights have been exhausted.

(B) The taxpayer is delinquent in making payment. A taxpayer is delinquent if the taxpayer has failed to pay the tax liability when full payment was due and required. A taxpayer is not delinquent in cases where enforced collection action is precluded.

(ii) Examples.

(A) The taxpayer has received a statutory notice of deficiency, under I.R.C. Sec.  6212, which entitles the taxpayer to seek Tax Court review of a proposed tax deficiency. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek Tax Court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(B) The IRS has filed a notice of Federal tax lien with respect to an assessed tax liability, and the taxpayer has been issued a notice under I.R.C. Sec.  6320 entitling the taxpayer to request a hearing with the IRS Office of Appeals contesting the lien filing, and to further appeal to the Tax Court if the IRS determines to sustain the lien filing. In the course of the hearing, the taxpayer is entitled to contest the underlying tax liability because the taxpayer has had no prior opportunity to contest the liability. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek tax court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(C) The taxpayer has entered into an installment agreement pursuant to I.R.C. Sec.  6159. The taxpayer is making timely payments and is in full compliance with the agreement terms. The taxpayer is not delinquent because the taxpayer is not currently required to make full payment.

(D) The taxpayer has filed for bankruptcy protection. The taxpayer is not delinquent because enforced collection action is stayed under 11 U.S.C. 362 (the Bankruptcy Code).

(i) Certification Regarding Knowledge of Child Labor for Listed End Products (Executive Order 13126).

(1) Listed end products.

| Listed end product | Listed countries of origin |
| --- | --- |

(2) Certification. [If the Contracting Officer has identified end products and countries of origin in paragraph (i)(1) of this provision, then the offeror must certify to either (i)(2)(i) or (i)(2)(ii) by checking the appropriate block.]

[ ] (i) The offeror will not supply any end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product.

[ ] (ii) The offeror may supply an end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product. The offeror certifies that it has made a good faith effort to determine whether forced or indentured child labor was used to mine, produce, or manufacture any such end product furnished under this contract. On the basis of those efforts, the offeror certifies that it is not aware of any such use of child labor.

(j) Place of manufacture. (Does not apply unless the solicitation is predominantly for the acquisition of manufactured end products.) For statistical purposes only, the offeror shall indicate whether the place of manufacture of the end products it expects to provide in response to this solicitation is predominantly—

(1) __ In the United States (Check this box if the total anticipated price of offered end products manufactured in the United States exceeds the total anticipated price of offered end products manufactured outside the United States); or

(2) __ Outside the United States.

(k) Certificates regarding exemptions from the application of the Service Contract Labor Standards. (Certification by the offeror as to its compliance with respect to the contract also constitutes its certification as to compliance by its subcontractor if it subcontracts out the exempt services.) [The contracting officer is to check a box to indicate if paragraph (k)(1) or (k)(2) applies.]

[] (1) Maintenance, calibration, or repair of certain equipment as described in FAR 22.1003-4(c)(1). The offeror [  ] does [  ] does not certify that—

(i) The items of equipment to be serviced under this contract are used regularly for other than Governmental purposes and are sold or traded by the offeror (or subcontractor in the case of an exempt subcontract) in substantial quantities to the general public in the course of normal business operations;

(ii) The services will be furnished at prices which are, or are based on, established catalog or market prices (see FAR 22.1003- 4(c)(2)(ii)) for the maintenance, calibration, or repair of such equipment; and

(iii) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract will be the same as that used for these employees and equivalent employees servicing the same equipment of commercial customers.

[] (2) Certain services as described in FAR 22.1003- 4(d)(1). The offeror [  ] does [  ] does not certify that—

(i) The services under the contract are offered and sold regularly to non-Governmental customers, and are provided by the offeror (or subcontractor in the case of an exempt subcontract) to the general public in substantial quantities in the course of normal business operations;

(ii) The contract services will be furnished at prices that are, or are based on, established catalog or market prices (see FAR 22.1003-4(d)(2)(iii));

(iii) Each service employee who will perform the services under the contract will spend only a small portion of his or her time (a monthly average of less than 20 percent of the available hours on an annualized basis, or less than 20 percent of available hours during the contract period if the contract period is less than a month) servicing the Government contract; and

(iv) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract is the same as that used for these employees and equivalent employees servicing commercial customers.

(3) If paragraph (k)(1) or (k)(2) of this clause applies—

(i) If the offeror does not certify to the conditions in paragraph (k)(1) or (k)(2) and the Contracting Officer did not attach a Service Contract Labor Standards wage determination to the solicitation, the offeror shall notify the Contracting Officer as soon as possible; and

(ii) The Contracting Officer may not make an award to the offeror if the offeror fails to execute the certification in paragraph (k)(1) or (k)(2) of this clause or to contact the Contracting Officer as required in paragraph (k)(3)(i) of this clause.

(l) Taxpayer Identification Number (TIN) (26 U.S.C. 6109, 31 U.S.C. 7701).  (Not applicable if the offeror is required to provide this information to SAM to be eligible for award.)

(1) All offerors must submit the information required in paragraphs (l)(3) through (l)(5) of this provision to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325(d), reporting requirements of 26 U.S.C. 6041, 6041A, and 6050M, and implementing regulations issued by the Internal Revenue Service (IRS).

(2) The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror's relationship with the Government (31 U.S.C. 7701(c)(3)).  If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror's TIN.

(3) Taxpayer Identification Number (TIN).

[  ] TIN:  _____________________.

[  ] TIN has been applied for.

[  ] TIN is not required because:

[  ] Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States;

[  ] Offeror is an agency or instrumentality of a foreign government;

[  ] Offeror is an agency or instrumentality of the Federal Government.

(4) Type of organization.

[  ] Sole proprietorship;

[  ] Partnership;

[  ] Corporate entity (not tax-exempt);

[  ] Corporate entity (tax-exempt);

[  ] Government entity (Federal, State, or local);

[  ] Foreign government;

[  ] International organization per 26 CFR 1.6049-4;

[  ] Other _________________________.

(5) Common parent.

[  ] Offeror is not owned or controlled by a common parent;

[  ] Name and TIN of common parent:

Name _____________________.

TIN _____________________.

(m) Restricted business operations in Sudan. By submission of its offer, the offeror certifies that the offeror does not conduct any restricted business operations in Sudan.

(n) Prohibition on Contracting with Inverted Domestic Corporations.

(1) Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with either an inverted domestic corporation, or a subsidiary of an inverted domestic corporation, unless the exception at 9.108-2(b) applies or the requirement is waived in accordance with the procedures at 9.108-4.

(2) Representation. The Offeror represents that—

(i) It [ ] is, [ ] is not an inverted domestic corporation; and

(ii) It [ ] is, [ ] is not a subsidiary of an inverted domestic corporation.

(o) Prohibition on contracting with entities engaging in certain activities or transactions relating to Iran.

(1) The offeror shall email questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(2) Representation and certifications. Unless a waiver is granted or an exception applies as provided in paragraph (o)(3) of this provision, by submission of its offer, the offeror—

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Iran Sanctions Act; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds the threshold at FAR 25.703–2(a)(2) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (50 U.S.C. 1701 et seq.) (see OFAC’s Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx).

(3) The representation and certification requirements of paragraph (o)(2) of this provision do not apply if—

(i) This solicitation includes a trade agreements certification (e.g., 52.212–3(g) or a comparable agency provision); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products.

(p) Ownership or Control of Offeror. (Applies in all solicitations when there is a requirement to be registered in SAM or a requirement to have a unique entity identifier in the solicitation).

(1) The Offeror represents that it [ ] has or [ ] does not have an immediate owner. If the Offeror has more than one immediate owner (such as a joint venture), then the Offeror shall respond to paragraph (2) and if applicable, paragraph (3) of this provision for each participant in the joint venture.

(2) If the Offeror indicates “has” in paragraph (p)(1) of this provision, enter the following information:

Immediate owner CAGE code: ____.

Immediate owner legal name: ____.

(Do not use a “doing business as” name)

Is the immediate owner owned or controlled by another entity: [ ] Yes or [ ] No.

(3) If the Offeror indicates “yes” in paragraph (p)(2) of this provision, indicating that the immediate owner is owned or controlled by another entity, then enter the following information:

Highest-level owner CAGE code: ____.

Highest-level owner legal name: ____.

(Do not use a “doing business as” name)

(q) Representation by Corporations Regarding Delinquent Tax Liability or a Felony Conviction under any Federal Law.

(1) As required by sections 744 and 745 of Division E of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235), and similar provisions, if contained in subsequent appropriations acts, The Government will not enter into a contract with any corporation that—

(i) Has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability, where the awarding agency is aware of the unpaid tax liability, unless an agency has considered suspension or debarment of the corporation and made a determination that suspension or debarment is not necessary to protect the interests of the Government; or

(ii) Was convicted of a felony criminal violation under any Federal law within the preceding 24 months, where the awarding agency is aware of the conviction, unless an agency has considered suspension or debarment of the corporation and made a determination that this action is not necessary to protect the interests of the Government.

(2) The Offeror represents that—

(i) It is [ ] is not [ ] a corporation that has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability; and

(ii) It is [ ] is not [ ] a corporation that was convicted of a felony criminal violation under a Federal law within the preceding 24 months.

(r) Predecessor of Offeror. (Applies in all solicitations that include the provision at 52.204-16, Commercial and Government Entity Code Reporting.)

(1) The Offeror represents that it [ ] is or [ ] is not a successor to a predecessor that held a Federal contract or grant within the last three years.

(2) If the Offeror has indicated “is” in paragraph (r)(1) of this provision, enter the following information for all predecessors that held a Federal contract or grant within the last three years (if more than one predecessor, list in reverse chronological order):

Predecessor CAGE code: ____ (or mark “Unknown”).

Predecessor legal name: ____.

(Do not use a “doing business as” name).

(s) [Reserved]

(t) [Reserved]

(u)(1) In accordance with section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions), Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with an entity that requires employees or subcontractors of such entity seeking to report waste, fraud, or abuse to sign internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting such waste, fraud, or abuse to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information.

(2) The prohibition in paragraph (u)(1) of this provision does not contravene requirements applicable to Standard Form 312 (Classified Information Nondisclosure Agreement), Form 4414 (Sensitive Compartmented Information Nondisclosure Agreement), or any other form issued by a Federal department or agency governing the nondisclosure of classified information.

(3) Representation. By submission of its offer, the Offeror represents that it will not require its employees or subcontractors to sign or comply with internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting waste, fraud, or abuse related to the performance of a Government contract to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information (e.g., agency Office of the Inspector General).

(v) Covered Telecommunications Equipment or Services—Representation. Section 889(a)(1)(A) and section 889(a)(1)(B) of Public Law 115-232.

(1) The Offeror shall review the list of excluded parties in the System for Award Management (SAM) (https://www.sam.gov) for entities excluded from receiving federal awards for “covered telecommunications equipment or services”.

(2) The Offeror represents that—

(i) It [ ] does, [ ] does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument.

(ii) After conducting a reasonable inquiry for purposes of this representation, that it [ ] does, [ ] does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services.

(End of Provision)

PAGE 1 OF

1. REQUISITION NO.

2. CONTRACT NO.

3. AWARD/EFFECTIVE DATE

4. ORDER NO.

5. SOLICITATION NUMBER

6. SOLICITATION ISSUE DATE

a. NAME

b. TELEPHONE NO.  (No Collect Calls)

8. OFFER DUE DATE/LOCAL

TIME

9. ISSUED BY

CODE

10. THIS ACQUISITION IS

UNRESTRICTED OR

SET ASIDE:

% FOR:

SMALL BUSINESS

HUBZONE SMALL

BUSINESS

SERVICE-DISABLED

VETERAN-OWNED

SMALL BUSINESS

WOMEN-OWNED SMALL BUSINESS

(WOSB) ELIGIBLE UNDER THE WOMEN-OWNED

SMALL BUSINESS PROGRAM

EDWOSB

8(A)

NAICS:

SIZE STANDARD:

11. DELIVERY FOR FOB DESTINA-

TION UNLESS BLOCK IS

MARKED

SEE SCHEDULE

12. DISCOUNT TERMS

13a.  THIS CONTRACT IS A

RATED ORDER UNDER

DPAS (15 CFR 700)

13b. RATING

14. METHOD OF SOLICITATION

RFQ

IFB

RFP

15. DELIVER TO

CODE

16. ADMINISTERED BY

CODE

17a. CONTRACTOR/OFFEROR

CODE

FACILITY CODE

18a. PAYMENT WILL BE MADE BY

CODE

TELEPHONE NO.

UEI:

EFT:

PHONE:

FAX:

17b. CHECK IF REMITTANCE IS DIFFERENT AND PUT SUCH ADDRESS IN OFFER

18b. SUBMIT INVOICES TO ADDRESS SHOWN IN BLOCK 18a UNLESS BLOCK BELOW IS CHECKED

SEE ADDENDUM

19.

20.

21.

22.

23.

24.

ITEM NO.

SCHEDULE OF SUPPLIES/SERVICES

QUANTITY

UNIT

UNIT PRICE

AMOUNT

(Use Reverse and/or Attach Additional Sheets as Necessary)

25. ACCOUNTING AND APPROPRIATION DATA

26. TOTAL AWARD AMOUNT (For Govt. Use Only)

27a. SOLICITATION INCORPORATES BY REFERENCE FAR 52.212-1, 52.212-4. FAR 52.212-3 AND 52.212-5 ARE ATTACHED.  ADDENDA

ARE

ARE NOT ATTACHED.

27b. CONTRACT/PURCHASE ORDER INCORPORATES BY REFERENCE FAR 52.212-4. FAR 52.212-5 IS ATTACHED.  ADDENDA

ARE

ARE NOT ATTACHED

28. CONTRACTOR IS REQUIRED TO SIGN THIS DOCUMENT AND RETURN _______________

29. AWARD OF CONTRACT: REF.  ___________________________________ OFFER

COPIES TO ISSUING OFFICE.  CONTRACTOR AGREES TO FURNISH AND

DATED ________________________________.  YOUR OFFER ON SOLICITATION

DELIVER ALL ITEMS SET FORTH OR OTHERWISE IDENTIFIED ABOVE AND ON ANY

(BLOCK 5), INCLUDING ANY ADDITIONS OR CHANGES WHICH ARE

ADDITIONAL SHEETS SUBJECT TO THE TERMS AND CONDITIONS SPECIFIED

SET FORTH HEREIN IS ACCEPTED AS TO ITEMS:

30a. SIGNATURE OF OFFEROR/CONTRACTOR

31a. UNITED STATES OF AMERICA (SIGNATURE OF CONTRACTING OFFICER)

30b. NAME AND TITLE OF SIGNER (TYPE OR PRINT)

30c. DATE SIGNED

31b. NAME OF CONTRACTING OFFICER (TYPE OR PRINT)

31c. DATE SIGNED

AUTHORIZED FOR LOCAL REPRODUCTION

(REV. NOV 2021)

PREVIOUS EDITION IS NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.212

7. FOR SOLICITATION

INFORMATION CALL:

STANDARD FORM 1449

SOLICITATION/CONTRACT/ORDER FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

OFFEROR TO COMPLETE BLOCKS 12, 17, 23, 24, & 30

149

36C24826Q0671

05-07-2026

Paul Jarret

813-436-6517

05-28-2026

13:00

EDT

36C248

Department of Veterans Affairs

Network Contracting Office 8 (NCO 8)

8875 Hidden River Pkwy Ste 160A

Tampa FL 33637

X

325413

N/A

X

673

Department of Veterans Affairs

James A. Haley Veterans Hospital (90C)

13000 Bruce B. Downs Blvd

Tampa FL 33612

36C248

Department of Veterans Affairs

Network Contracting Office 8 (NCO 8)

8875 Hidden River Pkwy

Tampa FL 33637

Department of Veterans Affairs

Financial Services Center

P.O. Box 149971

Austin TX 78714-9971

See CONTINUATION Page

Contractor shall provide Blood Glucose Monitoring Rental and

Consumables for VISN 08 in accordance with the Statement of

Need and Price Schedule.

The quantities of supplies are estimates only effective for

five year Blanket Purchase Agreement (BPA).

This requirement incorporates FAR 52.222-90

$0.00

See CONTINUATION Page

X

Paul Jarret

Table of Contents

A.1  52.212-3  OFFEROR REPRESENTATIONS AND CERTIFICATIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025) (DEVIATION FEB 2025)	1

SECTION A	19

A.2  SF 1449  SOLICITATION/CONTRACT/ORDER FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES	19

SECTION B - CONTINUATION OF SF 1449 BLOCKS	22

B.1 PRICE/COST SCHEDULE	22

ITEM INFORMATION	22

B.2 DELIVERY SCHEDULE	57

STATEMENT OF NEED	87

B.3  TERMS AND CONDITIONS	113

B.4  ADMINISTRATIVE DATA	113

B.5  PRICING DATA	114

B.6  OPTION TO EXTEND THE TERM OF THE BPA	114

B.7  GENERAL SUPPLY ORDERS	115

B.8  AUTHORIZED LIMITS	115

B.9  OBLIGATION OF FUNDS	115

B.10  PERIOD OF PERFORMANCE	115

B.11  AUTHORIZED INDIVIDUALS	115

B.12  ORDER FORMAT	116

B.13  AUTHORIZED REPRESENTATIVES	116

B.14  FEDERAL HOLIDAYS	117

B.15  INVOICES	117

B.16  PRECEDENCE	117

SECTION C - CONTRACT CLAUSES	118

C.1  52.212-4  CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2023)	118

C.2  52.216-18 ORDERING (AUG 2020)	124

C.3  52.217-8 OPTION TO EXTEND SERVICES (NOV 1999)	124

C.4  52.217-9 OPTION TO EXTEND THE TERM OF THE CONTRACT (MAR 2000)	124

C.5  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)	125

C.6  VAAR 852.211-72  TECHNICAL INDUSTRY STANDARDS (NOV 2018)	134

C.7  VAAR 852.247-71  DELIVERY LOCATION (OCT 2018)	134

C.8  VAAR 852.247-72  MARKING DELIVERABLES (OCT 2018)	135

C.9  VAAR 852.247-73  PACKING FOR DOMESTIC SHIPMENT (OCT 2018)	135

C.10  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)	135

C.11  VAAR 852.232-72 ELECTRONIC SUBMISSION OF PAYMENT REQUESTS (NOV 2018)	136

SECTION D - CONTRACT DOCUMENTS, EXHIBITS, OR ATTACHMENTS	138

SECTION E - SOLICITATION PROVISIONS	139

E.1  52.212-1  INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (SEP 2023)	139

E.2  52.240-90  SECURITY PROHIBITIONS AND EXCLUSIONS REPRESENTATIONS AND CERTIFICATIONS (NOV 2025) (DEVIATION)	144

E.3  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)	148

E.4  52.212-2  EVALUATION—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2021)	149

# SECTION B - CONTINUATION OF SF 1449 BLOCKS

## B.1 PRICE/COST SCHEDULE

### ITEM INFORMATION

| ITEM NUMBER | DESCRIPTION OF SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001 |  | 2,018,775.00 | EA | __________________ | __________________ |
|  | Freestyle Precision Pro Glucose Strips (100 ct). The price of this CLIN includes rental of glucose monitoring equipment for all VISN 08, in accordance with the below Statement of need. Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71284 |  |  |  |  |
| 0002 |  | 465.00 | EA | __________________ | __________________ |
|  | Medisense Bilevel Controls w/Ketones Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 80139 |  |  |  |  |
| 0003 |  | 60.00 | EA | __________________ | __________________ |
|  | Glucose & Ketone Calibration Assessment Kit (Linearity Kits) Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70906 |  |  |  |  |
| 0004 |  | 1,058.00 | EA | __________________ | __________________ |
|  | FreeStyle Precision Pro, System Kit Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71411 |  |  |  |  |
| 0005 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Carrying Case Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70655 |  |  |  |  |
| 0006 |  | 728.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 0007 |  | 192.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 0008 |  | 20.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 0009 |  | 10.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 0010 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Meter Maintenance Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71650 |  |  |  |  |
| 0011 |  | 7.00 | EA | __________________ | __________________ |
|  | PrecisionWeb, SYS Expanson - On Site Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71262 |  |  |  |  |
| 0012 |  | 7.00 | EA | __________________ | __________________ |
|  | Implementation/Project Management Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72167 |  |  |  |  |
| 0013 |  | 11.00 | EA | __________________ | __________________ |
|  | Prof Services, Assay Support Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72176 |  |  |  |  |
| 0014 |  | 14.00 | EA | __________________ | __________________ |
|  | Operator Training DAY/EVE Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72168 |  |  |  |  |
| 0015 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA BAY PINES Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 0016 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA MIAMI Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 0017 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA GAINESVILLE Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 0018 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA TAMPA Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 0019 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA WEST PALM Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 0020 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA PUERTO RICO Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 0021 |  | 1.00 | EA | __________________ | __________________ |
|  | RALS Direct Connect Annual Service Fee - VA ORLANDO Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71276 |  |  |  |  |
| 0022 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA BAY PINES Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 0023 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA MIAMI Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 0024 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA GAINESVILLE Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 0025 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA TAMPA Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 0026 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA WEST PALM Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 0027 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA PUERTO RICO Contract Period: Base POP Begin: 07-01-2026 POP End: 06-30-2027 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 1001 |  | 2,018,775.00 | EA | __________________ | __________________ |
|  | Freestyle Precision Pro Glucose Strips (100 ct). The price of this CLIN includes rental of glucose monitoring equipment for all VISN 08, in accordance with the below Statement of need. Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71284 |  |  |  |  |
| 1002 |  | 465.00 | EA | __________________ | __________________ |
|  | Medisense Bilevel Controls w/Ketones Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 80139 |  |  |  |  |
| 1003 |  | 60.00 | EA | __________________ | __________________ |
|  | Glucose & Ketone Calibration Assessment Kit (Linearity Kits) Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70906 |  |  |  |  |
| 1004 |  | 1,058.00 | EA | __________________ | __________________ |
|  | FreeStyle Precision Pro, System Kit Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71411 |  |  |  |  |
| 1005 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Carrying Case Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70655 |  |  |  |  |
| 1006 |  | 728.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 1007 |  | 192.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 1008 |  | 20.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 1009 |  | 10.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 1010 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Meter Maintenance Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71650 |  |  |  |  |
| 1011 |  | 7.00 | EA | __________________ | __________________ |
|  | PrecisionWeb, SYS Expanson - On Site Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71262 |  |  |  |  |
| 1012 |  | 7.00 | EA | __________________ | __________________ |
|  | Implementation/Project Management Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72167 |  |  |  |  |
| 1013 |  | 11.00 | EA | __________________ | __________________ |
|  | Prof Services, Assay Support Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72176 |  |  |  |  |
| 1014 |  | 14.00 | EA | __________________ | __________________ |
|  | Operator Training DAY/EVE Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72168 |  |  |  |  |
| 1015 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA BAY PINES Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 1016 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA MIAMI Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 1017 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA GAINESVILLE Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 1018 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA TAMPA Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 1019 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA WEST PALM Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 1020 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA PUERTO RICO Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 1021 |  | 1.00 | EA | __________________ | __________________ |
|  | RALS Direct Connect Annual Service Fee - VA ORLANDO Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71276 |  |  |  |  |
| 1022 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA BAY PINES Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 1023 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA MIAMI Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 1024 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA GAINESVILLE Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 1025 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA TAMPA Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 1026 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA WEST PALM Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 1027 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA PUERTO RICO Contract Period: Option 1 POP Begin: 07-01-2027 POP End: 06-30-2028 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 2001 |  | 2,018,775.00 | EA | __________________ | __________________ |
|  | Freestyle Precision Pro Glucose Strips (100 ct). The price of this CLIN includes rental of glucose monitoring equipment for all VISN 08, in accordance with the below Statement of need. Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71284 |  |  |  |  |
| 2002 |  | 465.00 | EA | __________________ | __________________ |
|  | Medisense Bilevel Controls w/Ketones Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 80139 |  |  |  |  |
| 2003 |  | 60.00 | EA | __________________ | __________________ |
|  | Glucose & Ketone Calibration Assessment Kit (Linearity Kits) Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70906 |  |  |  |  |
| 2004 |  | 1,058.00 | EA | __________________ | __________________ |
|  | FreeStyle Precision Pro, System Kit Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71411 |  |  |  |  |
| 2005 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Carrying Case Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70655 |  |  |  |  |
| 2006 |  | 728.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 2007 |  | 192.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 2008 |  | 20.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 2009 |  | 10.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 2010 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Meter Maintenance Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71650 |  |  |  |  |
| 2011 |  | 7.00 | EA | __________________ | __________________ |
|  | PrecisionWeb, SYS Expanson - On Site Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71262 |  |  |  |  |
| 2012 |  | 7.00 | EA | __________________ | __________________ |
|  | Implementation/Project Management Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72167 |  |  |  |  |
| 2013 |  | 11.00 | EA | __________________ | __________________ |
|  | Prof Services, Assay Support Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72176 |  |  |  |  |
| 2014 |  | 14.00 | EA | __________________ | __________________ |
|  | Operator Training DAY/EVE Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72168 |  |  |  |  |
| 2015 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA BAY PINES Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 2016 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA MIAMI Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 2017 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA GAINESVILLE Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 2018 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA TAMPA Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 2019 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA WEST PALM Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 2020 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA PUERTO RICO Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 2021 |  | 1.00 | EA | __________________ | __________________ |
|  | RALS Direct Connect Annual Service Fee - VA ORLANDO Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71276 |  |  |  |  |
| 2022 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA BAY PINES Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 2023 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA MIAMI Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 2024 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA GAINESVILLE Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 2025 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA TAMPA Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 2026 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA WEST PALM Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 2027 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA PUERTO RICO Contract Period: Option 2 POP Begin: 07-01-2028 POP End: 06-30-2029 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 3001 |  | 2,018,775.00 | EA | __________________ | __________________ |
|  | Freestyle Precision Pro Glucose Strips (100 ct). The price of this CLIN includes rental of glucose monitoring equipment for all VISN 08, in accordance with the below Statement of need. Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71284 |  |  |  |  |
| 3002 |  | 465.00 | EA | __________________ | __________________ |
|  | Medisense Bilevel Controls w/Ketones Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 80139 |  |  |  |  |
| 3003 |  | 60.00 | EA | __________________ | __________________ |
|  | Glucose & Ketone Calibration Assessment Kit (Linearity Kits) Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70906 |  |  |  |  |
| 3004 |  | 1,058.00 | EA | __________________ | __________________ |
|  | FreeStyle Precision Pro, System Kit Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71411 |  |  |  |  |
| 3005 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Carrying Case Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70655 |  |  |  |  |
| 3006 |  | 728.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 3007 |  | 192.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 3008 |  | 20.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 3009 |  | 10.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 3010 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Meter Maintenance Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71650 |  |  |  |  |
| 3011 |  | 7.00 | EA | __________________ | __________________ |
|  | PrecisionWeb, SYS Expanson - On Site Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71262 |  |  |  |  |
| 3012 |  | 7.00 | EA | __________________ | __________________ |
|  | Implementation/Project Management Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72167 |  |  |  |  |
| 3013 |  | 11.00 | EA | __________________ | __________________ |
|  | Prof Services, Assay Support Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72176 |  |  |  |  |
| 3014 |  | 14.00 | EA | __________________ | __________________ |
|  | Operator Training DAY/EVE Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72168 |  |  |  |  |
| 3015 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA BAY PINES Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 3016 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA MIAMI Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 3017 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA GAINESVILLE Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 3018 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA TAMPA Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 3019 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA WEST PALM Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 3020 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA PUERTO RICO Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 3021 |  | 1.00 | EA | __________________ | __________________ |
|  | RALS Direct Connect Annual Service Fee - VA ORLANDO Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71276 |  |  |  |  |
| 3022 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA BAY PINES Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 3023 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA MIAMI Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 3024 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA GAINESVILLE Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 3025 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA TAMPA Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 3026 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA WEST PALM Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 3027 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA PUERTO RICO Contract Period: Option 3 POP Begin: 07-01-2029 POP End: 06-30-2030 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 4001 |  | 2,018,775.00 | EA | __________________ | __________________ |
|  | Freestyle Precision Pro Glucose Strips (100 ct). The price of this CLIN includes rental of glucose monitoring equipment for all VISN 08, in accordance with the below Statement of need. Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71284 |  |  |  |  |
| 4002 |  | 465.00 | EA | __________________ | __________________ |
|  | Medisense Bilevel Controls w/Ketones Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 80139 |  |  |  |  |
| 4003 |  | 60.00 | EA | __________________ | __________________ |
|  | Glucose & Ketone Calibration Assessment Kit (Linearity Kits) Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70906 |  |  |  |  |
| 4004 |  | 1,058.00 | EA | __________________ | __________________ |
|  | FreeStyle Precision Pro, System Kit Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71411 |  |  |  |  |
| 4005 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Carrying Case Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70655 |  |  |  |  |
| 4006 |  | 728.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 4007 |  | 192.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 4008 |  | 20.00 | EA | __________________ | __________________ |
|  | Hospital Glucose Docking Station Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 70653 |  |  |  |  |
| 4009 |  | 10.00 | EA | __________________ | __________________ |
|  | LAN Tronix Terminal Server (PCx only) Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 98940 |  |  |  |  |
| 4010 |  | 1,058.00 | EA | __________________ | __________________ |
|  | Meter Maintenance Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71650 |  |  |  |  |
| 4011 |  | 7.00 | EA | __________________ | __________________ |
|  | PrecisionWeb, SYS Expanson - On Site Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71262 |  |  |  |  |
| 4012 |  | 7.00 | EA | __________________ | __________________ |
|  | Implementation/Project Management Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72167 |  |  |  |  |
| 4013 |  | 11.00 | EA | __________________ | __________________ |
|  | Prof Services, Assay Support Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72176 |  |  |  |  |
| 4014 |  | 14.00 | EA | __________________ | __________________ |
|  | Operator Training DAY/EVE Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 72168 |  |  |  |  |
| 4015 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA BAY PINES Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 4016 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA MIAMI Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 4017 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA GAINESVILLE Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 4018 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA TAMPA Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 4019 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA WEST PALM Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 4020 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Annual Support Fees - VA PUERTO RICO Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71647 |  |  |  |  |
| 4021 |  | 1.00 | EA | __________________ | __________________ |
|  | RALS Direct Connect Annual Service Fee - VA ORLANDO Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71276 |  |  |  |  |
| 4022 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA BAY PINES Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 4023 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA MIAMI Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 4024 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA GAINESVILLE Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 4025 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA TAMPA Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 4026 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA WEST PALM Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
| 4027 |  | 1.00 | EA | __________________ | __________________ |
|  | UniPOC Meter Upgrade Fees - VA PUERTO RICO Contract Period: Option 4 POP Begin: 07-01-2030 POP End: 06-30-2031 PRINCIPAL NAICS CODE: 325413 - In-Vitro Diagnostic Substance Manufacturing PRODUCT/SERVICE CODE: 6550 - In Vitro Diagnostic Substances, Reagents, Test Kits and Sets MANUFACTURER PART NUMBER (MPN): 71648 |  |  |  |  |
|  |  |  |  | GRAND TOTAL | __________________ |

## B.2 DELIVERY SCHEDULE

| ITEM NUMBER |  | SHIPPING INFORMATION |  | QUANTITY | DELIVERY DATE |
| --- | --- | --- | --- | --- | --- |
| 0001 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 2,018,775.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0002 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 465.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0003 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 60.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0004 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0005 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0006 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 728.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0007 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 192.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0008 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 20.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0009 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 10.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0010 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0011 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0012 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0013 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 11.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0014 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 14.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0015 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0016 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0017 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0018 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0019 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0020 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0021 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0022 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0023 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0024 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0025 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0026 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 0027 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1001 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 2,018,775.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 1002 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 465.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 1003 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 60.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 1004 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1005 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1006 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 728.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1007 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 192.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1008 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 20.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1009 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 10.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1010 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1011 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1012 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1013 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 11.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1014 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 14.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1015 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1016 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1017 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1018 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1019 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1020 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1021 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1022 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1023 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1024 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1025 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1026 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 1027 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2001 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 2,018,775.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 2002 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 465.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 2003 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 60.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 2004 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2005 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2006 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 728.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2007 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 192.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2008 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 20.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2009 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 10.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2010 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2011 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2012 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2013 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 11.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2014 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 14.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2015 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2016 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2017 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2018 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2019 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2020 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2021 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2022 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2023 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2024 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2025 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2026 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 2027 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3001 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 2,018,775.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 3002 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 465.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 3003 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 60.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 3004 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3005 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3006 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 728.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3007 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 192.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3008 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 20.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3009 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 10.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3010 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3011 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3012 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3013 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 11.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3014 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 14.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3015 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3016 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3017 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3018 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3019 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3020 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3021 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3022 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3023 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3024 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3025 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3026 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 3027 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4001 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 2,018,775.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 4002 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 465.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 4003 | SHIP TO: |  | Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 60.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
| 4004 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4005 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4006 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 728.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4007 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 192.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4008 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 20.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4009 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 10.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4010 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1,058.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4011 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4012 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 7.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4013 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 11.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4014 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 14.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4015 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4016 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4017 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4018 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4019 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4020 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4021 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4022 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4023 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4024 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4025 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4026 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |
| 4027 | SHIP TO: |  | James A. Haley VA Hospital Warehouse 13000 Bruce B. Downs Blvd. Tampa, FL 33612 4798 USA | 1.00 | 5-7 days ARO |
|  | MARK FOR: |  | Anna Chetlain 813.972.2000 x4914 Anna.Chetlain@va.gov |  |  |
|  | FOB: |  | DESTINATION |  |  |

## STATEMENT OF NEED

Project Name: VISN 8 Whole Blood Glucose Monitoring

- Background: The Department of Veterans Affairs, Veterans Integrated Service Network (VISN) 8, Laboratory Service, is seeking Blanket Purchase Agreement (BPA) for Point of Care Whole Blood Glucose meters/analyzers for inpatient setting at the patient bedside and outpatient clinic locations. The BPA shall be procured as Cost Per Test (CPT) Clinical Laboratory Analyzers.

  - The Contractor shall provide all equipment, reagents, standards, controls, supplies, parts, accessories, service maintenance, including network support, training, installation, shipping, and any other item required for the proper operation of its’ contractor owned analyzers and peripherals necessary for the generation of whole blood glucose cost per test (CPT) services on behalf of VISN 8. All work is to be performed in accordance with the guidelines established by Federal, State and local ordinances, with the Federal Drug Administration (FDA) and manufacturer’s guidelines, and with all terms, conditions, provisions, schedules and specifications provided herein.

  - Participating Facilities: VISN 8 facilities participating in this requirement are listed below. Additional Facilities within VISN 8 may be added to this contract with an exercise of a supplemental agreement between the CO and Contractor.  Line items within the price schedule shall reflect the overall volume of all sites below and should take into consideration the potential addition of future facilities within VISN 8.

| VISN 8 Station | Facility Name | Address |
| --- | --- | --- |
| 516 - Bay Pines | Bay Pines VA Healthcare System | 10000 Bay Pines Blvd Bay Pines, FL 33744 |
| 546 - Miami | Miami VA Healthcare System | 1201 N.W. 16th Street Miami, FL 33125 |
| 548 - West Palm Beach | West Palm Beach Healthcare System | 7305 N. Military Trail West Palm Beach, FL 33410-6400 |
| 573 - Gainesville | North Florida/South Georgia VA Healthcare System | 1601 S.W. Archer Road Gainesville, FL 32608-1197 |
| 672 - Puerto Rico | VA Caribbean Healthcare System | 10 Casia Street San Juan, PR 00921-3201 |
| 673 - Tampa | James A. Haley Veterans’ Hospital and Clinics | 13000 Bruce B. Downs Blvd Tampa, FL 33612 |
| 675 - Orlando | Orlando VA Healthcare System | 13800 Veterans Way Orlando, FL 32827 |

  - Definitions:

    - The Contractor shall be required to provide a price for each test that can be performed on its equipment. The per test price shall include costs covering:

      - five-year equipment use,

      - all reagents, standards, quality controls, supplies, consumable items, disposable items, parts, accessories and any other item required for the proper operation of the Contractor’s equipment and necessary for the generation and reporting of a test result.

      - all necessary support to keep the equipment in good operating condition (This element includes virtual and on-site support as well),

      - training for Government personnel.

      - Contractor shall provide delivery, installation, and removal of equipment at no additional charge.

      - Point of Care Whole Blood Glucose – Blood glucose monitoring in inpatient setting at the patient bedside and at outpatient clinic locations.

    - QC - Quality Controls

    - CBOC’s - Community Based Outpatient Clinics

    - Analyzer - Meter and charging station if applicable

    - Downloader - Base unit for downloading information from meter to data management system.

- Scope:

2.1 The BPA shall provide VISN 8 with whole blood glucose monitoring system for use primarily in the clinical inpatient areas of the hospital and outpatient clinic settings. The system’s salient characteristics, and identified in the requirements section, shall be composed of meters for all VISN 8 Community Based Outpatient Clinics and all VISN 8 inpatient facilities plus disposable test strips with associated control solutions, linearity solutions, carrying cases, docking/downloading station, and a data management program to properly perform required testing.

- Requirements:

  - Minimum Technical Requirements for Brand Name or Equal:

    - All equipment shall be the latest devices capable of providing the necessary testing. Remanufactured and discontinued models will not be accepted.

    - The system shall be FDA approved for waived point of care blood glucose testing.

    - The Contractor shall provide a continuously stocked inventory of reagents, standards, controls, supplies, disposables, and any other materials required to properly perform tests on the equipment such that equipment operations are not interrupted. The items shall be of the highest quality, sensitivity, specificity and tested to assure precision and accuracy. Expiration date shall be clearly marked on reagent, standards, and control containers. Unexpected changes not aligned with this requirement shall be at the expense of the contractor. Notification of any delays in shipment as well as any technical advisory, recalls and alerts, prior to or simultaneously with field alerts, shall be forwarded to the designated individuals determined at contract award.

    - The contractor’s unit shall software/middleware to allow interface compatibility with VISN 8 Universal Point-of-care (UniPOC) middleware (currently UniPOC and Remote Automated Laboratory System, RALS), capable of simultaneous data transfer from the unit to VISN 8 middleware (UniPOC AND RALS) to the Electronic Health Record (EHR) system, and all hardware/software necessary to transfer data into patient files in EHR shall be provided at no additional cost to the VA. The contractor shall provide the necessary framework to use middleware to get patient results from the instrument EHR utilized in the VA. The contractor shall provide devices to receive firmware, software, or other operational updates remotely via VISN 8 universal POC middleware (UniPOC and RALS). All the hardware provided and software shall be approved for the VA privacy and security requirements.

      - If the contractor’s unit and its middleware shall comply with the requirements stated in paragraph 3.1.2.

  - Instrument Salient Requirements:

    - Downloader and rechargers shall be provided if required as part of the testing system.

    - Scanning capability for patient armbands, operator ID, patient ID, and reagent lot numbers with capability of manual entry as a backup system.

    - Sturdy design with ergonomic features to afford ease of use (singlehanded use by operators with various sized hands.

    - Safeguards exist to ensure positive patient identification when scanning IDs or entering them manually.

    - Adequate memory to store at least 1000 results including date and time of testing as well as patient identification for result review purposes.

    - The sample requirement shall be 10 µl or smaller.

    - Results shall be available within five (5) seconds after application of sample.

    - Instructions shall be clear, concise and written in easy-to-understand plain English.

    - Backlit operations for testing in poorly lit areas.

    - Lockout feature to disable operators who are not currently valid in the system.

    - Operational lockout for absent or failed Quality Control and expired or unapproved test strips.

    - End fill top fill sample application to allow for ease in application and minimize repeat testing due to flow errors, along with a fill trigger electrode.

    - Interfering substances should be absent or minimal. The contractor shall supply list of interfering substances. Strips should not be affected by therapeutic products containing non-glucose sugars.

    - Results from the point of care system shall correlate to the main laboratory method. If the reference value is less than 100 mg/dL, the meter should have 95% of results ±12 mg/dL or if the reference value is equal or greater than 100mg/dL, the meter should be ±12.5% of reference. (Reference: CLSI POCT 12-A3:2013 Point of Care Blood Glucose Testing in Acute or Chronic Care Facilities).

    - Results shall be available in mg/dL units.

    - Meter/software shall be capable of displaying user-configurable comments for use with critical results.

    - Perform an automated check for sample quantity, temperature, and humidity variation.

    - Each instrument supplied to the VA shall include its own operator’s manual. New manuals shall be provided when there are updates, changes, or revisions to the manual.

    - Instruments shall be moveable for transport to bedside without recalibration.

    - Meter shall have the ability to be cleared of patient data prior to return to the vendor for replacement.

    - The system shall be easily able to accommodate standard infection control practices such as isolation protocols and cleaning in-between patients with most common hospital approved disinfectants and/or wipes.

    - Meter shall include a sturdy carrying case.

    - Individually foiled wrapped test strips to minimize the risk of test strip contamination and comply with infectious disease practices.

    - Rechargeable meter or powered by AA batteries so that meter will always be ready during emergency operations or in conditions when severe weather has compromised power sources.

    - Meter has replaceable components (test strip port) to allow for replacement of contaminated port. Replaceable components reduce meter replacement process of destroying a meter, which eliminates downtime from meter repairs and money.

  - Software:

    - The contractor shall have a flexible, bi-directional HL7 interface that connects through the VA EHR Point of Care interface and allows for automatic ordering of test and result entry.

    - Connectivity hardware for the interface (e.g., docking stations, etc.) shall be of a sturdy design, capable of counter or wall mounting, and be readily available at no charge.

    - Software shall be able to capture errors to prevent compromised data from reaching a patient’s medical record and alert the laboratory to deviant test results for both patients and quality control solutions.

    - The contractor’s Data Manager shall have the ability to handle feeds for positive patient identification.

    - Software shall allow export of data management reports into spreadsheet formats (preferably Excel) including results for tight glycemic control.

    - The contractor shall provide on-site support to assist with the performance of operator training and validation studies: precision, method comparison with current analyzer, accuracy (recovery), linearity (reportable range), and calibration verification. Vendor shall perform all required statistical analyses and report data in an organized, clearly comprehensible format.

    - The contractor shall provide all upgrades to the equipment hardware and operating system software, at no additional cost to the Government. The contractor shall provide technical support for the software programs required for data management and interfacing results into VISTA. These enhancements shall be delivered and installed at the medical facility within 60 days of issuance.

    - Vendor shall supply the following documentation for all analyzers and data management systems proposed to VISN 8:

      - MDS2 - Manufacturer Disclosure Statement for Medical Device Security.

      - VA Directive 6550 Appendix A- Pre-Procurement Assessment

      - FIPS-140-2 Certification for Wireless technology

      - MOU or ISA for Data Management systems that will require vendor access.

      - The contractor shall have the ability to supply servers for all VISN 8. Prices for these servers and connectivity shall be included in the quote.

      - The Data Manager shall have the ability to handle data for other point of care analyzers. Vendor should supply a list of point of care analyzers that can be connected to the system.

      - The contractor shall supply the servers that are required for the project with each facility having a separate server.

  - Testing Requirements:

    - Acceptable to the following sample types: capillary, venous, and arterial whole blood for testing.

    - Supplies shall have a sufficient shelf to provide system stability for at least 12 months.

    - Quantities of a single lot shall be available to maintain the same lot number per minimum shipment of 180,000 strips.

    - Measurement range should span range of 10 – 600 mg/dl.

    - Additional meters and docking stations shall be free of charge and independent of the number of strips used.

    - The contractor shall provide CLSI approved procedures for use in each laboratory.

    - The contractor shall provide a standing order of the same lot number sequestered for strips of at least six (6) months.

- Annual estimated quantities for each VISN 8 Site:

  - VISN 8 has provided estimated requirements for each facility below. Additional quantities for analyzers, downloaders, and consumables may be added.

| VISN 8 Station | Total Number of Analyzers | Total Number of Downloaders | Estimated Strip Usage Per Year | Middleware |
| --- | --- | --- | --- | --- |
| Bay Pines VA Healthcare System | 131 | 91 | 335,695 | UniPOC |
| Miami VA Healthcare System | 102 | 80 | 150,475 | UniPOC |
| West Palm Beach Healthcare System | 70 | 50 | 105,000 | UniPOC |
| North Florida/South Georgia VA Healthcare System | 185 | 150 | 300,000 | UniPOC |
| VA Caribbean Healthcare System | 175 | 105 | 290,000 | UniPOC |
| James A. Haley Veterans’ Hospital and Clinics | 170 | 120 | 310,000 | UniPOC |
| Orlando VA Healthcare System | 130 | 105 | 185,000 | RALS |
| Total for all VISN 8 Sites | 963 | 701 | 1,676,170 | NA |

- Training in Operating Personnel:

  - The contractor shall provide on-site support to assist with the performance of operator training and validation studies: precision, method comparison with current analyzer, accuracy (recovery), linearity (reportable range), and calibration verification. Vendor shall perform all required statistical analyses and report data in an organized, clearly comprehensible format.

  - The offeror shall provide a specific training plan for product implementation, including a description of the training and a timeline for its completion.

  - The contractor shall provide a document to be used to access user competency. The document shall be able to be used with the Talent Management System (TMS).

- Maintenance and Service:

  - Replacement meters shall be free of charge and readily available.

  - Meters that are not able to be returned to vendor for replacement due to failure to communicate caused by hardware failure (frozen meter); when data is not removable or is unable to verify that the data is removed by normal means, an alternative method (not returning to the vendor) is acceptable.

  - The offeror will provide 24/7 customer support upon award and thereafter.

  - All FDA approved updates for equipment, hardware, software, testing equipment, and reagents will be provided to VISN 8 at no charge.

  - Emergency repairs shall be performed after initial telephone notification that the equipment fails in any parameters. The contractor shall provide the Government with a designated point of contact and telephone number and shall make arrangement to enable his maintenance representative to receive such notification.

  - The contractor shall replace (replace defined as in place and functioning in the facility), at any/all locations specified in the Statement of Need (SON), any malfunctioning equipment within forty-eight (48) hours after receipt of initial telephone notification of a malfunction. The contractor shall provide coverage 24 hours per day, seven days per week including all Federal holidays. The contractor shall provide technical support service to assist in troubleshooting 24-hours per day, seven days per week including Federal holidays.

  - The contractor shall provide written report/email of notification of corrective action.

  - If the repair record of any individual piece of laboratory equipment reflects a downtime of 5% of the normal working days in one calendar month, a determination will be made by the designated representative of the Government at the using facility to replace the initial laboratory equipment with new equipment. The responsibility for maintaining the equipment furnished in good condition in accordance with manufacturer’s instruction, shall be solely that of the contractor.  Each instrument provided by the contractor shall maintain an uptime of 95% in each month of the term of the agreement.

- Delivery Locations/Hours of Work/Payments/Period of Performance:

  - Deliverables:

    - Contractor shall furnish a designated point of contact for placing orders. Delivery frequency will be determined by each individual facility. Orders shall be sent to the requested ordering service address:

    - Deliveries shall be made during normal working hours from 8:00am to 4:00pm and a copy of the packing list/slip shall be provided at the time of delivery. The packages packing list/slip shall contain the complete purchase order number, contract number, shipping address, delivery location, items/quantity ordered and items/quantity shipped. Standard orders shall be delivered within no more than 30 working days after receipt or placement of order.

    - Special handling for emergency orders of supplies: In the event that the supplies are found to be defective and unsuitable for use with the Contractor’s equipment, or the Contractor has failed to comply with the requirements for routine supply delivery, the Contractor is required to deliver the supplies within 24 hours of receipt of a verbal order for emergency delivery. If either circumstance has occurred, the Contractor shall deliver to the Government site in the most expeditious manner possible without additional cost to the Government, the necessary consumables in sufficient quantity as required to allow operation of the Contractor’s equipment for one week (under normal Government test load volume).  If additional requests for emergency supply delivery are required by the Government, they shall be honored by the Contractor until the arrival at the laboratory of the monthly standing order/routine supplies delivery.

  - Transition Period:

    - Upon award, the transition period for the awardee to have all required analyzer’s, peripherals, consumables, training, correlation studies, reagents, controls, interfaces, etc., installed and fully operational shall be within 5 months of award.  Offerors shall provide with their proposal a plan for transitioning services from the incumbent contractor to the newly awarded contractor.  Contractor’s submitted transition plan shall not exceed the required 30-day period contained herein.  Failure of the contractor to conform to the transition period shall be considered as sufficient cause to terminate contract for cause under the Termination for Cause clause of the contract. The VA shall have sole discretion in the decision to terminate for failure to comply.

  - Hours of Work:

    - The contract shall include a full-service agreement to include all necessary service calls, minimum equal to five (5) days a week, nine (9) hours a day.  Contractor shall also provide technical support via phone seven (7) days a week, twenty-four (24) hours a day.

    - Any service performed during other than normal work hours shall be approved in advance by the facility POC, COR, or CO.

    - Holidays: Only emergency service shall be provided on National Holidays and only if authorized by the facility POC, COR, CO in advance as approved in the delegation of authority.

| # New Year’s Day | # January 1st |
| --- | --- |
| # Martin Luther King’s Birthday | # Third Monday in January |
| # President’s Day | # Third Monday in February |
| # Memorial Day | # Last Monday in May |
| # Juneteenth | # June 19th |
| # Independence Day | # July 4th |
| # Labor Day | # First Monday in September |
| # Columbus Day | # Second Monday in October |
| # Veteran’s Day | # November 11th |
| # Thanksgiving Day | # Fourth Thursday in November |
| # Christmas Day | # December 25th |

  - When a National Holiday falls on a Sunday, the following Monday shall be observed as a National Holiday. When a National Holiday falls on a Saturday, the proceeding Friday is observed as a National Holiday by U.S. Government agencies.  Also included, would be any other day, specifically declared by the President of the United States of America to be a National Holiday.

  - Date/Time of delivery: Monday-Friday 7:30am-4:00pm excluding weekends and holidays.

  - Invoicing/Payment certification: The contractor shall submit all invoices into Government approved electronic system.

  - Period of Performance: The anticipated start date for this award is 07/01/2026. The requirement is for a base year (1) plus four (4) option year contractual agreement to be calculated based on a cost per test (CPT). All fees shall be inclusive.

- Safety/Security Requirements:

  - The Contractor shall comply with all applicable federal, state, and local laws and ensure performance is secure while protecting material, equipment, and supplies from damage and loss. Government security personnel shall have the express right to inspect for security violations at any time during the term of the contract. All information generated in the performance of this contract becomes the property of the Government and shall be surrendered upon request and/or completion of the contract. The Contractor shall protect against the destruction and/or misplacement of all information produced under this contract unless directed under the local policy to destroy. This includes both hard and soft copies of data. The Contractor shall not release any information (including photographs, files, public announcements, statements, denials, or confirmations) on any part of the subject matter of this contract or any phase of any program hereunder without the prior written approval by hospital director or designated representative.

- Standards of Conduct:

  - Conduct of Personnel. Contractor personnel shall conduct themselves in a professional manner (i.e., timeliness, communication; spoken and written, etc.). The Contracting Officer may require the Contractor to remove from the job site any employee working under this contract for reasons of suspected misconduct, a suspected security breach, or suspected to be under the influence of alcohol, drugs, or any other incapacitating agent. Contractor employees shall be subject to dismissal from the premises upon determination by the Contracting Officer that such action is necessary in the interests of the Government. The hospital director or designated representative has the authority to bar individuals from the Government facility. The removal from the job site or dismissal from the premises shall not relieve the Contractor of the requirement to provide sufficient personnel to perform the services as required by this performance work statement. The Government shall not reimburse the Contractor for travel and other expenses associated with the removal of personnel.

  - Contractor personnel are not authorized to carry or possess personal weapons   including, but not limited to, firearms and knives with a blade length more than three inches, while assigned under this contract.

With  Sensitive Data and Training

VA INFORMATION AND INFORMATION SYSTEM SECURITY/PRIVACY LANGUAGE

ACCESS TO VA INFORMATION AND VA INFORMATION SYSTEMS:

a. Contractors, contractor personnel, subcontractors, and subcontractor personnel shall be subject to the same Federal laws, regulations, standards, and VA Directives and Handbooks as VA and VA personnel regarding information and information system security.

b. A contractor/subcontractor shall request logical (technical) or physical access to VA information and VA information systems for their employees, subcontractors, and affiliates only to the extent necessary to perform the services specified in the contract, agreement, or task order.

c. All contractors, subcontractors, and third-party services and associates working with VA information are subject to the same investigative requirements as those of VA appointees or employees who have access to the same types of information. The level and process of background security investigations for contractors shall be in accordance with VA Directive and Handbook 0710, Personnel Suitability and Security Program. The Office for Operations, Security, and Preparedness is responsible for these policies and procedures.

d. The contractor or subcontractor shall notify the Contracting Officer immediately when an employee working on a VA system or with access to VA information is reassigned or leaves the contractor or subcontractor’s employ. The Contracting Officer shall also be notified immediately by the contractor or subcontractor prior to an unfriendly termination.

Contractor Personnel Security Requirements:

All contractor employees who require access to the Department of Veterans Affairs’ computer systems shall be the subject of a background investigation and shall receive a favorable adjudication from the VA Office of Security and Law Enforcement prior to contract performance.  This requirement is applicable to all subcontractor personnel requiring the same access.  If the investigation is not completed prior to the start date of the contract the contractor will be responsible for the actions of those individuals that provide or perform work for the VA. 

1.  Position Sensitivity – The position sensitivity has been designated as (     low     ) risk.

2.  Background Investigation – The level of background investigation commensurate with the required level of access is National Agency Check (NACI) with written inquiries.

3.  Contractor Responsibilities

a.  The contractor shall bear the expense of obtaining background investigations.  If the investigation is conducted by the Office of Personnel Management (OPM), the contractor shall reimburse the VA within 30 days. 

The web site which provides information on the cost of the security investigation is:
www.opm.gov\extra\investigate – Select Federal Investigations Notices (FIN 01-01)

b.  The contractor shall prescreen all personnel requiring access to the computer systems to ensure they maintain a U.S. citizenship and are able to read, write, speak, and understand the English language.

c.  The contractor will provide to the Contracting Officer prior to award the following:  (1) List of names of contract personnel.  (2) Social security numbers of contractor personnel.  (3) Home address of contractor personnel or the contractor address.

The Contracting Officer will submit the above information to the Office of Security and Law Enforcement, Washington, D.C.  The Office of Security and Law Enforcement will provide the necessary investigative forms (these forms are indicated in paragraph 3.d. below) to the contractor’s personnel, coordinate the background investigations with OPM and notify the Contracting Officer and contractor of the results of the investigation.

 d.  The contractor shall submit or have their employees submit the following required forms to the VA Office of Security and Law Enforcement within 30 days of receipt:

    (i) Standard From 85P, Questionnaire for Public Trust Positions
   (ii) Standard Form 85P-S, Supplemental Questionnaire for Selected Positions
  (iii) FD 258, U.S. Department of Justice Fingerprint Applicant Chart
  (iv) VA Form 0710, Authority for Release of Information Form
  (v) Optional Form 306, Declaration for Federal Employment
  (vi) Optional Form 612, Optional Application for Federal Employment

d.  The contractor, when notified of an unfavorable determination by the Government, shall withdraw the employee from consideration from working under the contract.

e. Failure to comply with the contractor personnel security requirements may result in termination of the contract for default.

VA INFORMATION CUSTODIAL LANGUAGE:

a. Information made available to the contractor or subcontractor by VA for the performance or administration of this contract or information developed by the contractor/subcontractor in performance or administration of the contract shall be used only for those purposes and shall not be used in any other way without the prior written agreement of the VA. This clause expressly limits the contractor/subcontractor's rights to use data as described in Rights in Data - General, FAR 52.227-14(d) (1).

b. VA information should not be co-mingled, if possible, with any other data on the contractors/subcontractor’s information systems or media storage systems in order to ensure VA requirements related to data protection and media sanitization can be met. If co-mingling shall be allowed to meet the requirements of the business need, the contractor shall ensure that VA’s information is returned to the VA or destroyed in accordance with VA’s sanitization requirements. VA reserves the right to conduct onsite inspections of contractor and subcontractor IT resources to ensure data security controls, separation of data and job duties, and destruction/media sanitization procedures are in compliance with VA directive requirements.

c. Prior to termination or completion of this contract, contractor/subcontractor shall not destroy information received from VA, or gathered/created by the contractor in the course of performing this contract without prior written approval by the VA. Any data destruction done on behalf of VA by a contractor/subcontractor shall be done in accordance with National Archives and Records Administration (NARA) requirements as outlined in VA Directive 6300, Records and Information Management and its Handbook 6300.1 Records Management Procedures, applicable VA Records Control Schedules, and VA Handbook 6500.1, Electronic Media Sanitization. Self-certification by the contractor that the data destruction requirements above have been met shall be sent to the VA Contracting Officer within 30 days of termination of the contract.

d. The contractor/subcontractor shall receive, gather, store, back up, maintain, use, disclose and dispose of VA information only in compliance with the terms of the contract and applicable Federal and VA information confidentiality and security laws, regulations and policies. If Federal or VA information confidentiality and security laws, regulations and policies become applicable to the VA information or information systems after execution of the contract, or if NIST issues or updates applicable FIPS or Special Publications (SP) after execution of this contract, the parties agree to negotiate in good faith to implement the information confidentiality and security laws, regulations and policies in this contract.

e. The contractor/subcontractor shall not make copies of VA information except as authorized and necessary to perform the terms of the agreement or to preserve electronic information stored on contractor/subcontractor electronic storage media for restoration in case any electronic equipment or data used by the contractor/subcontractor needs to be restored to an operating state. If copies are made for restoration purposes, after the restoration is complete, the copies shall be appropriately destroyed.

f. If VA determines that the contractor has violated any of the information confidentiality, privacy, and security provisions of the contract, it shall be sufficient grounds for VA to withhold payment to the contractor or third party or terminate the contract for default or terminate for cause under Federal Acquisition Regulation (FAR) part 12.

g. If a VHA contract is terminated for cause, the associated BAA shall also be terminated and appropriate actions taken in accordance with VHA Handbook 1600.1, Business Associate Agreements.  Absent an agreement to use or disclose protected health information, there is no business associate relationship.

h. The contractor/subcontractor shall store, transport, or transmit VA sensitive information in an encrypted form, using VA-approved encryption tools that are, at a minimum, FIPS 140-2 validated.

i. The contractor/subcontractor’s firewall and Web services security controls, if applicable, shall meet or exceed VA’s minimum requirements. VA Configuration Guidelines are available upon request.

j. Except for uses and disclosures of VA information authorized by this contract for performance of the contract, the contractor/subcontractor may use and disclose VA information only in two other situations: (i) in response to a qualifying order of a court of competent jurisdiction, or (ii) with VA’s prior written approval. The contractor/subcontractor shall refer to all requests for, demands for production of, or inquiries about, VA information and information systems to the VA contracting officer for response.

k. Notwithstanding the provision above, the contractor/subcontractor shall not release VA records protected by Title 38 U.S.C. 5705, confidentiality of medical quality assurance records and/or Title 38 U.S.C. 7332, confidentiality of certain health records pertaining to drug addiction, sickle cell anemia, alcoholism or alcohol abuse, or infection with human immunodeficiency virus. If the contractor/subcontractor is in receipt of a court order or other requests for the above-mentioned information, that contractor/subcontractor shall immediately refer such court orders or other requests to the VA contracting officer for response.

l. For service that involves the storage, generating, transmitting, or exchanging of VA sensitive information but does not require C&A or an MOU-ISA for system interconnection, the contractor/subcontractor shall complete a Contractor Security Control Assessment (CSCA) on a yearly basis and provide it to the COR.

SECURITY INCIDENT INVESTIGATION:

a. The term “security incident” means an event that has, or could have, resulted in unauthorized access to, loss or damage to VA assets, or sensitive information, or an action that breaches VA security procedures. The contractor/subcontractor shall immediately notify the COR and simultaneously, the designated ISO and Privacy Officer for the contract of any known or suspected security/privacy incidents, or any unauthorized disclosure of sensitive information, including that contained in system(s) to which the contractor/subcontractor has access.

b. To the extent known by the contractor/subcontractor, the contractor/subcontractor’s notice to VA shall identify the information involved, the circumstances surrounding the incident (including to whom, how, when, and where the VA information or assets were placed at risk or compromised), and any other information that the contractor/subcontractor considers relevant.

c. With respect to unsecured protected health information, the business associate is deemed to have discovered a data breach when the business associate knew or should have known of a breach of such information. Upon discovery, the business associate shall notify the covered entity of the breach. Notifications need to be made in accordance with the executed business associate agreement.

d. In instances of theft or break-in or other criminal activity, the contractor/subcontractor shall concurrently report the incident to the appropriate law enforcement entity (or entities) of jurisdiction, including the VA OIG and Security and Law Enforcement. The contractor, its employees, and its subcontractors and their employees shall cooperate with VA and any law enforcement authority responsible for the investigation and prosecution of any possible criminal violations associated with any incident. The contractor/subcontractor shall cooperate with VA in any civil litigation to recover VA information, obtain monetary or other compensation from a third party for damages arising from any incident, or obtain injunctive relief against any third party arising from, or related to, the incident.

LIQUIDATED DAMAGES FOR DATA BREACH:

a. Consistent with the requirements of 38 U.S.C. §5725, a contract may require access to sensitive personal information. If so, the contractor is liable to VA for liquidated damages in the event of a data breach or privacy incident involving any SPI the contractor/subcontractor processes or maintains under this contract.   However, it is the policy of the VA to forego collection of liquidated damages in the event the contractor provides payment of actual damages in an amount determined to be adequate by the agency.

b. The contractor/subcontractor shall provide notice to VA of a “security incident” as set forth in the Security Incident Investigation section above. Upon such notification, VA shall secure from a non-Department entity or the VA Office of Inspector General an independent risk analysis of the data breach to determine the level of risk associated with the data breach for the potential misuse of any sensitive personal information involved in the data breach. The term 'data breach' means the loss, theft, or other unauthorized access, or any access other than that incidental to the scope of employment, to data containing sensitive personal information, in electronic or printed form, that results in the potential compromise of the confidentiality or integrity of the data. Contractor shall fully cooperate with the entity performing the risk analysis. Failure to cooperate may be deemed a material breach and grounds for contract termination.

c.  Each risk analysis shall address all relevant information concerning the data breach, including the following:

(1)Nature of the event (loss, theft, unauthorized access);

(2)Description of the event, including:

(a)date of occurrence;

(b)data elements involved, including any PII, such as full name, social security number, date of birth, home address, account number, disability code;

(3)Number of individuals affected or potentially affected;

(4)Names of individuals or groups affected or potentially affected;

(5)Ease of logical data access to the lost, stolen or improperly accessed data in light of the degree of protection for the data, e.g., unencrypted, plain text;

(6)Amount of time the data has been out of VA control;

(7)The likelihood that the sensitive personal information will or has been compromised (made accessible to and usable by unauthorized persons);

(8)Known misuses of data containing sensitive personal information, if any;

(9)Assessment of the potential harm to the affected individuals;

(10)Data breach analysis as outlined in 6500.2 Handbook, Management of Security and Privacy Incidents, as appropriate; and

(11)Whether credit protection services may assist record subjects in avoiding or mitigating the results of identity theft based on the sensitive personal information that may have been compromised.

d.  Based on the determinations of the independent risk analysis, the contractor shall be responsible for paying to the VA liquidated damages in the amount of $37.50 for affected individual to cover the cost of providing credit protection services to affected individuals consisting of the following:

(1)Notification;

(2)One year of credit monitoring services consisting of automatic daily monitoring of at least 3 relevant credit bureau reports;

(3)Data breach analysis;

(4)Fraud resolution services, including writing dispute letters, initiating fraud alerts and credit freezes, to assist affected individuals to bring matters to resolution;

(5)One year of identity theft insurance with $20,000.00 coverage at $0 deductible; and

(6)Necessary legal expenses the subjects may incur to repair falsified or damaged credit records, histories, or financial affairs.

SECURITY CONTROLS COMPLIANCE TESTING :

On a periodic basis, VA, including the Office of Inspector General, reserves the right to evaluate any or all of the security controls and privacy practices implemented by the contractor under the clauses contained within the contract. With 10 working-days’ notice, at the request of the government, the contractor shall fully cooperate and assist in a government-sponsored security controls assessment at each location wherein VA information is processed or stored, or information systems are developed, operated, maintained, or used on behalf of VA, including those initiated by the Office of Inspector General. The government may conduct a security control assessment on shorter notice (to include unannounced assessments) as determined by VA in the event of a security incident or at any other time.

TRAINING:

a. All contractor employees and subcontractor employees requiring access to VA information and VA information systems shall complete VA Privacy and Information Security Awareness and Rules of Behavior Training and Privacy and HIPAA Training and HIPAA Training before being granted access to VA information and its systems.

(1) Sign and acknowledge (either manually or electronically) understanding of and responsibilities for compliance with the Rules of Behavior before being granted access to VA information and its systems.

b. The contractor shall provide to the contracting officer and/or the COR a copy of the training certificates and certification of signing the Rules of Behavior for each applicable employee within 1 week of the initiation of the contract and annually thereafter, as required.

c. Failure to complete the mandatory annual training and sign the Rules of Behavior annually, within the timeframe required, is grounds for suspension or termination of all physical or electronic access privileges and removal from work on the contract until such time as the training and documents are complete.

The Certification and Accreditation (C&A) requirements do not apply and a Security Accreditation Package is not required for this SOW.

*** IF APPLICABLE***

INFORMATION SYSTEM DESIGN AND DEVELOPMENT

a.	Information systems that are designed or developed for or on behalf of VA at non-VA facilities shall comply with all VA directives developed in accordance with FISMA, HIPAA, NIST, and related VA security and privacy control requirements for Federal information systems. This includes standards for the protection of electronic PHI, outlined in 45 C.F.R. Part 164, Subpart C, information and system security categorization level designations in accordance with FIPS 199 and FIPS 200 with implementation of all baseline security controls commensurate with the FIPS 199 system security categorization (reference Appendix D of VA Handbook 6500, VA Information Security Program).  During the development cycle a Privacy

Impact Assessment (PIA) shall be completed, provided to the COTR, and approved by the VA Privacy Service in accordance with Directive 6507, VA Privacy Impact Assessment.

b.	The contractor/subcontractor shall certify to the COTR that applications are fully functional and operate correctly as intended on systems using the VA Federal Desktop Core Configuration (FDCC), and the common security configuration guidelines provided by NIST or the VA. This includes Internet Explorer 7 configured to operate on Windows XP and Vista (in Protected Mode on Vista) and future versions, as required.

c.	The standard installation, operation, maintenance, updating, and patching of software shall not alter the configuration settings from the VA approved and FDCC configuration. Information technology staff shall also use the Windows Installer Service for installation to the default “program files” directory and silently install and uninstall.

d.	Applications designed for normal end users shall run in the standard user context without elevated system administration privileges.

e.	The security controls shall be designed, developed, approved by VA, and implemented in accordance with the provisions of VA security system development life cycle as outlined in NIST Special Publication 800-37, Guide for Applying the Risk Management Framework to Federal Information Systems, VA Handbook 6500, Information Security Program and VA Handbook 6500.5, Incorporating Security and Privacy in System Development Lifecycle.

f.	The contractor/subcontractor is required to design, develop, or operate a System of Records Notice (SOR) on individuals to accomplish an agency function subject to the Privacy Act of 1974, (as amended), Public Law 93-579, December 31, 1974 (5 U.S.C. 552a) and applicable agency regulations.  Violation of the Privacy Act may involve the imposition of criminal and civil penalties.

g.	The contractor/subcontractor agrees to:

(1)	Comply with the Privacy Act of 1974 (the Act) and the agency rules and regulations issued under the Act in the design, development, or operation of any system of records on individuals to accomplish an agency function when the contract specifically identifies:

(a)	The Systems of Records (SOR); and

(b)	The design, development, or operation work that the contractor/subcontractor is to perform;

(2)	Include the Privacy Act notification contained in this contract in every solicitation and resulting subcontract and in every subcontract awarded without a solicitation, when the work statement in the proposed subcontract requires the redesign, development, or operation of a SOR on individuals that is subject to the Privacy Act; and

(3)	Include this Privacy Act clause, including this subparagraph (3), in all subcontracts awarded under this contract which requires the design, development, or operation of such a SOR.

h.	In the event of violations of the Act, a civil action may be brought against the agency involved when the violation concerns the design, development, or operation of a SOR on individuals to accomplish an agency function, and criminal penalties may be imposed upon the officers or employees of the agency when the violation concerns the operation of a SOR on individuals to accomplish an agency function. For purposes of the Act, when the contract is for the operation of a SOR on individuals to accomplish an agency function, the contractor/subcontractor is considered to be an employee of the agency.

(1)	“Operation of a System of Records” means performance of any of the activities associated with maintaining the SOR, including the collection, use, maintenance, and dissemination of records.

(2)	“Record” means any item, collection, or grouping of information about an individual that is maintained by an agency, including, but not limited to, education, financial transactions, medical

history, and criminal or employment history and contains the person’s name, or identifying number, symbol, or any other identifying particular assigned to the individual, such as a fingerprint or voiceprint, or a photograph.

(3)	“System of Records” means a group of any records under the control of any agency from which information is retrieved by the name of the individual or by some identifying number, symbol, or other identifying particular assigned to the individual.

i.	The vendor shall ensure the security of all procured or developed systems and technologies, including their subcomponents (hereinafter referred to as “Systems”), throughout the life of this contract and any extension, warranty, or maintenance periods. This includes,  but is not limited to workarounds, patches, hotfixes, upgrades, and any physical components (hereafter referred to as Security Fixes) which may be necessary to fix all security vulnerabilities published or known to the vendor anywhere in the Systems, including Operating Systems and firmware.  The vendor shall ensure that Security Fixes shall not negatively impact the Systems.

j.	The vendor shall notify VA within 24 hours of the discovery or disclosure of successful exploits of the vulnerability which can compromise the security of the Systems (including the confidentiality or integrity of its data and operations, or the availability of the system). Such issues shall be remediated as quickly as is practical, but in no event longer than	days.

k.	When the Security Fixes involve installing third party patches (such as Microsoft OS patches or Adobe Acrobat), the vendor will provide written notice to the VA that the patch has been validated as not affecting the Systems within 10 working days. When the vendor is responsible for operations or maintenance of the Systems, they shall apply the Security Fixes within	days.

l.	All other vulnerabilities shall be remediated as specified in this paragraph in a timely manner based on risk, but within 60 days of discovery or disclosure. Exceptions to this paragraph (e.g. for the convenience of VA) shall only be granted with approval of the contracting officer and the VA Assistant Secretary for Office of Information and Technology.

INFORMATION SYSTEM HOSTING, OPERATION, MAINTENANCE, OR USE

a.	For information systems that are hosted, operated, maintained, or used on behalf of VA at non-VA facilities, contractors/subcontractors are fully responsible and accountable for ensuring compliance with all HIPAA, Privacy Act, FISMA, NIST, FIPS, and VA security and privacy directives and handbooks. This includes conducting compliant risk assessments, routine vulnerability scanning, system patching and change management procedures, and the completion of an acceptable contingency plan for each system. The contractor’s security control procedures shall be equivalent, to those procedures used to secure VA systems. A Privacy Impact Assessment (PIA) shall also be provided to the COTR and approved by VA Privacy Service prior to operational approval. All external Internet connections to VA’s network involving VA information shall be reviewed and approved by VA prior to implementation.

b.	Adequate security controls for collecting, processing, transmitting, and storing of Personally Identifiable Information (PII), as determined by the VA Privacy Service, shall be in place, tested, and approved by VA prior to hosting, operation, maintenance, or use of the information system, or systems by or on behalf of VA. These security controls are to be assessed and stated within the PIA and if these controls are determined not to be in place, or inadequate, a Plan of Action and Milestones (POA&M) shall be submitted and approved prior to the collection of PII.

c.	Outsourcing (contractor facility, contractor equipment or contractor staff) of systems or network operations, telecommunications services, or other managed services requires certification and accreditation (authorization) (C&A) of the contractor’s systems in accordance with VA Handbook 6500.3, Certification and Accreditation and/or the VA OCS Certification Program Office.  Government-owned (government facility or government equipment) contractor-operated systems, third party or business partner networks require memorandums of understanding and interconnection agreements (MOU-ISA) which detail what data types are shared, who has access, and the appropriate level of security controls for all systems connected to VA networks.

d.	The contractor/subcontractor’s system shall adhere to all FISMA, FIPS, and NIST standards related to the annual FISMA security controls assessment and review and update the PIA. Any deficiencies noted during this assessment shall be provided to the VA contracting officer and the ISO for entry into VA’s POA&M management process. The contractor/subcontractor shall use VA’s POA&M process to document planned remedial actions to address any deficiencies in information security policies, procedures, and practices, and the completion of those activities.  Security deficiencies shall be corrected within the timeframes approved by the government. Contractor/subcontractor procedures are subject to periodic, unannounced assessments by VA officials, including the VA Office of Inspector General. The physical security aspects associated with contractor/subcontractor activities shall also be subject to such assessments.  If major changes to the system occur that may

affect the privacy or security of the data or the system, the C&A of the system may need to be reviewed, retested and re-authorized per VA Handbook 6500.3. This may require reviewing and updating all of the documentation (PIA, System Security Plan, Contingency Plan). The Certification Program Office can provide guidance on whether a new C&A would be necessary.

e.	The contractor/subcontractor shall conduct an annual self-assessment on all systems and outsourced services as required. Both hard copy and electronic copies of the assessment shall be provided to the COTR. The government reserves the right to conduct such an assessment using government personnel or another contractor/subcontractor. The contractor/subcontractor shall take appropriate and timely action (this can be specified in the contract) to correct or mitigate any weaknesses discovered during such testing, generally at no additional cost.

f.	VA prohibits the installation and use of personally-owned or contractor/subcontractor- owned equipment or software on VA’s network.  If non-VA owned equipment shall be used to fulfill the requirements of a contract, it shall be stated in the service agreement, SOW or contract. All of the security controls required for government furnished equipment (GFE) shall be utilized in approved other equipment (OE) and shall be funded by the owner of the equipment. All remote systems shall be equipped with, and use, a VA-approved antivirus (AV) software and a personal (host-based or enclave based) firewall that is configured with a VA- approved configuration.  Software shall be kept current, including all critical updates and patches. Owners of approved OE are responsible for providing and maintaining the anti-viral software and the firewall on the non-VA owned OE.

g.	All electronic storage media used on non-VA leased or non-VA owned IT equipment  that is used to store, process, or access VA information shall be handled in adherence with VA Handbook 6500.1, Electronic Media Sanitization upon: (i) completion or termination of the contract or (ii) disposal or return of the IT equipment by the contractor/subcontractor or any person acting on behalf of the contractor/subcontractor, whichever is earlier. Media (hard drives, optical disks, CDs, back-up tapes, etc.) used by the contractors/subcontractors that contain VA information shall be returned to the VA for sanitization or destruction or the contractor/subcontractor shall self-certify that the media has been disposed of per 6500.1 requirements. This shall be completed within 30 days of termination of the contract.

h.	Bio-Medical devices and other equipment or systems containing media (hard drives, optical disks, etc.) with VA sensitive information shall not be returned to the vendor at the end of lease, for trade-in, or other purposes. The options are:

(1)	Vendor shall accept the system without the drive;

(2)	VA’s initial medical device purchase includes a spare drive which shall be installed in place of the original drive at time of turn-in; or

(3)	VA shall reimburse the company for media at a reasonable open market replacement cost at time of purchase.

(4)	Due to the highly specialized and sometimes proprietary hardware and software associated with medical equipment/systems, if it is not possible for the VA to retain the hard drive, then;

(a)	The equipment vendor shall have an existing BAA if the device being traded in has sensitive information stored on it and hard drive(s) from the system are being returned physically intact; and

(b)	Any fixed hard drive on the device shall be non-destructively sanitized to the greatest extent possible without negatively impacting system operation.  Selective clearing down to patient data folder level is recommended using VA approved and validated overwriting technologies/methods/tools. Applicable media sanitization specifications need to be pre- approved and described in the purchase order or contract.

(c)	A statement needs to be signed by the Director (System Owner) that states that the drive could not be removed and that (a) and (b) controls above are in place and completed. The ISO needs to maintain the documentation.

All Contractor, Pharmaceutical Company Representative (PCR), and Healthcare Industry Representatives (HIR) will coordinate with Contracting Officer Representative for instructions so they are in compliance with James A. Haley Veterans’ Hospital policies listed on the James A. Haley Document Management Center share point site:

HPM NO. 90-25; HEALTHCARE VENDOR ACCESS AND COMPETENCY

HPM NO. 132-04; SECURITY MANAGEMENT PROGRAM

HPM NO. 132-05; HOSPITAL IDENTIFICATION PROGRAM

HPM NO. 11-91; PHARMACEUTICAL COMPANY REPRESENTATIVES

HIR are required to report to MSDU (Room GC-003), immediately after entering the facility.  HIR will be required to sign into the monitoring system and print a badge for proper identification. .  The Healthcare Industry Representatives for Nutrition and Food Services, Office of Information and Technology, and Social Work Services are in included in this policy; vendors (HIR) for Pharmacy Services are to follow (HPM 11-91) policy. HIR shall be sponsored by a physician, a Service Chief, or their designee, for a specified date and a specified case.  HIR are not permitted in patient care areas or clinics unless a prior appointment has been made.

Pharmaceutical Company Representative (PCR) refers to anyone acting on behalf of a pharmaceutical company or its business partners for the purpose of promoting the use of items managed under the VA formulary process.  These items primarily include drugs, but to a lesser extent also include any medical supplies, nutritional supplements, and similar commodities managed under the VA formulary process.

a.  Sign-In:  PCRs may visit VA Medical care facilities no earlier than 8:00 a.m. and stay no later than 3:30 p.m., Monday through Friday, unless they receive prior approval from both the Chief of the Service that they will be visiting and the Chief of Pharmacy.  Representatives visiting the JAHVH shall sign in at the Pharmacy Administrative Office (Located in Trailer 78) and wear a visitor’s badge as well as their company’s personal name badge while in the hospital.

Vendors:  Reference Hospital Memorandum Policy Number 90-25 Healthcare Vendor Access and Competency.

Contractors and/or project managers:  Will be issued a PIV/ID badge in accordance with the facility PIV Policy.  Contactors will contact their assigned VA Contracting Officer Representative (COR) for coordination.

Contract Personnel/Sub-Contractors:  Contractors are responsible for the daily accountability and identification of all personnel assigned to their respective contract including sub-contractors. Contractors will identify personnel using the following procedures as appropriate.

Construction Project contract personnel will report to the contractor for issuance of a temporary self-adhesive   identification badge.  This badge will be issued on a daily basis and shall include the following information:  Company name, project number, date and name of individual.  Contractor will maintain a daily log of all personnel.

Contract personnel not involved in an actual construction project will report to police dispatch for issuance of a numbered badge.  A driver’s license or photo ID will be required each day upon entering the facility, in exchange for the badge, and will be given back once the badge is returned to police dispatch.  The contractor will provide Police Service with a list of names for all sub-contract personnel requiring access to the facility.  It is the responsibility of the contractor to update the list as necessary.

NPR OPC; CBOCs and Off-site Lease facilities with VA Police staffing: As above with check-in with VA Police.

Off-site Lease facilities w/o VA Police staffing: Coordinate with COR, Administrative Officer, or Service Point of Contact.

RECORDS MANAGEMENT OBLIGATIONS

1.	Applicability:  This clause applies to all Contractors whose employees create, work with, or otherwise handle Federal records, as defined in Section B, regardless of the medium in which the record exists.

2.	Definitions:

a.	“Federal record” as defined in 44 U.S.C. § 3301, includes all recorded information, regardless of form or characteristics, made or received by a Federal agency under Federal law or in connection with the transaction of public business and preserved or appropriate for preservation by that agency or its legitimate successor as evidence of the organization, functions, policies, decisions, procedures, operations, or other activities of the United States Government or because of the informational value of data in them.

b.	The term Federal record:

(1)	includes James A. Haley Veterans’ Hospital Network records.

(2)	does not include personal materials.

(3)	applies to records created, received, or maintained by Contractors pursuant to their James A. Haley network contract.

(4)	may include deliverables and documentation associated with deliverables.

3.	Requirements:

a.	Contractor shall comply with all applicable records management laws and regulations, as well as National Archives and Records Administration (NARA) records policies, including but not limited to the Federal Records Act (44 U.S.C. chs. 21, 29, 31, 33), NARA regulations at 36 CFR Chapter XII Subchapter B, and those policies associated with the safeguarding of records covered by the Privacy Act of 1974 (5 U.S.C. 552a). These policies include the preservation of all records, regardless of form or characteristics, mode of transmission, or state of completion.

b.	In accordance with 36 CFR 1222.32, all data created for Government use and delivered to, or falling under the legal control of, the Government are Federal records subject to the provisions of 44 U.S.C. chapters 21, 29, 31, and 33, the Freedom of Information Act (FOIA) (5 U.S.C. 552), as amended, and the Privacy Act of 1974 (5 U.S.C. 552a), as amended and shall be managed and scheduled for disposition only as permitted by statute or regulation.

c.	In accordance with 36 CFR 1222.32, Contractor shall maintain all records created for Government use or created in the course of performing the contract and/or delivered to, or under the legal control of the Government and shall be managed in accordance with Federal law. Electronic records and associated metadata shall be accompanied by sufficient technical documentation to permit understanding and use of the records and data.

d.	James A. Haley Veterans’ Hospital Network and its contractors are responsible for preventing the alienation or unauthorized destruction of records, including all forms of mutilation. Records may not be removed from the legal custody of James A. Haley Veterans’ Hospital Network or destroyed except for in accordance with the provisions of the agency records schedules and with the written concurrence of the Head of the Contracting Activity. Willful and unlawful destruction, damage or alienation of Federal records is subject to the fines and penalties imposed by 18 U.S.C. 2701. In the event of any unlawful or accidental removal, defacing, alteration, or destruction of records, Contractor shall report to James A. Haley Veterans’ Hospital Network. The agency shall report promptly to NARA in accordance with 36 CFR 1230.

e.	The Contractor shall immediately notify the appropriate Contracting Officer upon discovery of any inadvertent or unauthorized disclosures of information, data, documentary materials, records or equipment. Disclosure of non-public information is limited to authorized personnel with a need-to-know as described in the contract. The Contractor shall ensure that the appropriate personnel, administrative, technical, and physical safeguards are established to ensure the security and confidentiality of this information, data, documentary material, records and/or equipment is properly protected. The Contractor shall not remove material from Government facilities or systems, or facilities or systems operated or maintained on the Government’s behalf, without the express written permission of the Head of the Contracting Activity. When information, data, documentary material, records and/or equipment is no longer required, it shall be returned to James A. Haley Veterans’ Hospital Network control or the Contractor shall hold it until otherwise directed. Items returned to the Government shall be hand carried, mailed, emailed, or securely electronically transmitted to the Contracting Officer or address prescribed in the contract. Destruction of records is EXPRESSLY PROHIBITED unless in accordance with Paragraph (4).

f.	The Contractor is required to obtain the Contracting Officer's approval prior to engaging in any contractual relationship (sub-contractor) in support of this contract requiring the disclosure of information, documentary material and/or records generated under, or relating to, contracts. The Contractor (and any sub-contractor) is required to abide by Government and James A. Haley Veterans’ Hospital Network guidance for protecting sensitive, proprietary information, classified, and controlled unclassified information.

g.	The Contractor shall only use Government IT equipment for purposes specifically tied to or authorized by the contract and in accordance with James A. Haley Veterans’ Hospital Network policy.

h.	The Contractor shall not create or maintain any records containing any non-public James A. Haley Veterans’ Hospital Network information that are not specifically tied to or authorized by the contract.

i.	The Contractor shall not retain, use, sell, or disseminate copies of any deliverable that contains information covered by the Privacy Act of 1974 or that which is generally protected from public disclosure by an exemption to the Freedom of Information Act.

j.	The James A. Haley Veterans’ Hospital Network owns the rights to all data and records produced as part of this contract. All deliverables under the contract are the property of the U.S. Government for which James A. Haley Veterans’ Hospital Network shall have unlimited rights to use, dispose of, or disclose such data contained therein as it determines to be in the public interest. Any Contractor rights in the data or deliverables shall be identified as required by FAR 52.227-11 through FAR 52.227-20.

k.	Training.  All Contractor employees assigned to this contract who create, work with, or otherwise handle records are required to take [Agency]-provided records management training. The Contractor is responsible for confirming training has been completed according to agency policies, including initial training and any annual or refresher training.

[Note: To the extent an agency requires contractors to complete records management training, the agency shall provide the training to the contractor.]

4.	Flowdown of requirements to subcontractors:

a.	The Contractor shall incorporate the substance of this clause, its terms and requirements including this paragraph, in all subcontracts under this [contract vehicle], and require written subcontractor acknowledgment of same.

b.	Violation by a subcontractor of any provision set forth in this clause will be attributed to the Contractor.

## B.3  TERMS AND CONDITIONS

The Contractor agrees to the following terms of a Blanket Purchase Agreement (BPA) EXCLUSIVELY WITH the US Department of Veterans Affairs:

## B.4  ADMINISTRATIVE DATA

A Blanket Purchase Agreement (BPA) is hereby established between  and the US Department of Veterans Affairs under the following terms and conditions incorporated in this BPA:

Primary Point of Contact:

Alternate Point of Contact:

DUNS NUMBER:

Cognizant Office (Include complete address):

Department of Veterans Affairs

Network Contracting Office 8 (NCO 8)

8875 Hidden River Pkwy Ste 160A

Tampa FL 33637

## B.5  PRICING DATA

1. The prices included on the BPA list (or applicable "discounted" rates submitted in a proposal response to an RFQ resulting in award) that are in effect on the effective date of an order shall govern that order's basic performance period.  With regard to any option years, which are later exercised, the proposed option year rates as incorporated into the order award are in effect until such time, if applicable, that the contractor has been authorized a rate increase culminating from a negotiation with the Contracting Officer.

2. The BPA holder can voluntarily reduce offered prices at any time by giving 24-hour advance notice (by facsimile or electronic-mail) to the US Department of Veterans Affairs/Contracting Officer. This BPA also allows for additional discounts if a "large order" is placed at one time.  An advanced notice is not required for discounts offered for only an individual order.  Whether an order is large enough to warrant such a discount is subject to the discretion of the BPA holder.

3. The BPA holder may also increase BPA prices at any time.  Any BPA price increase shall not take effect until the US Department of Veterans Affairs Contracting Officer receives written notification (U.S. mail, facsimile, or electronic-mail).  Any order already issued shall not be affected by any change to BPA pricing.  The prices offered under this BPA will undergo annual review by the US Department of Veterans Affairs Contracting Officer.

## B.6  OPTION TO EXTEND THE TERM OF THE BPA

a. The Government may extend the term of this BPA by written notice to the Contractor at any time prior to the expiration of the BPA, provided that the Government shall give the Contractor a preliminary written notice of its intent to extend at least 15 days before the BPA expires. The preliminary notice does not commit the Government to an extension.

b. If the Government exercises this option, the extended BPA shall be considered to include this option provision.

## B.7  GENERAL SUPPLY ORDERS

A properly appointed US Department of Veterans Affairs Contracting Officer will request a quote from the Contractor based upon the requirements of the individual calls/orders, usually in the form of a Statement of Work (SOW). The information provided to the Contractor will include the place of performance, required period of performance, and other particular task requirements. Travel may be required (reimbursement of travel expenses will be IAW applicable Federal travel regulations).  The vendor will reply within 3 business days with a  quote depending on the details required by the SOW.  The Contractor may offer additional spot discounts on any order, as they deem appropriate.  All subcontractor activity must be clearly identified in each new order proposal as applicable.

## B.8  AUTHORIZED LIMITS

The Government estimates, but does not guarantee, that individual BPA Orders placed against this Agreement may reach $12,555.00/per Order. This Order Limit may be increased by mutual agreement of the parties as necessary, in whole or part.  The authorized Ceiling Limit of the Agreement is set at $3,545,540.60 over the period covered by the Agreement; this ceiling is also not a guarantee.  The Ceiling Limit may also be raised in association with Order Limit increases or other conditions which, by mutual agreement of the parties, maybe considered necessary.  Authorization for individual orders above the stated order and/or Ceiling Limits must be coordinated through the Contracting Officer before larger valued orders can be issued and prior to commencement of work.  All unauthorized work, regardless of amount, will be processed through the ratification process.

## B.9  OBLIGATION OF FUNDS

This BPA does not obligate any funds.  The Government is obligated only to the extent of authorized orders actually issued under the BPA by the Contracting Officer.

## B.10  PERIOD OF PERFORMANCE

This BPA expires on 06-30-2031 or such later ending date as determined by the exercise of any option.

## B.11  AUTHORIZED INDIVIDUALS

Individuals Authorized to Place Orders:

DVA authorizes the following entities to place orders:

## B.12  ORDER FORMAT

Orders will be placed against this BPA via e-mail, Electronic Data Interchange (EDI), FAX, or in hardcopy format.  Each individual BPA Order will describe the tasks, services and deliverables required.

## B.13  AUTHORIZED REPRESENTATIVES

The primary Contracting Officer (CO) for this Agreement is:

Paul Jarret

Department of Veterans Affairs

Network Contracting Office 8 (NCO 8)

8875 Hidden River Pkwy

Tampa, FL 33637

paul.jarrett@va.gov

The Primary Contracting Officer's Representative (COR) for projects under this Agreement is:

The Secondary Contracting Officer's Representative (COR) for projects under this Agreement is:

The Primary and/or Secondary COR will be responsible for technical monitoring of the contractor's performance and deliveries.  The COR and the Contractor's Representative shall work together to ensure that all contractual requirements are being met.  The COR will interpret specifications or technical portions of the work.  The COR is not authorized to perform, formally or informally, any of the following actions:

(1)  Promise, award, agree to award, or execute any contract, contract modification, or notice of intent that changes or may change this contract;

(2)  Waive or agree to modification of the delivery schedule;

(3)  Make any final decision on any contract matter subject to the Disputes Clause;

(4)  Terminate, for any reason, the contractor's right to proceed;

(5)  Obligate in any way, the payment of money by the Government.  Only a warranted Contracting Officer is authorized to obligate funds on this or any other contract action.

The contractor shall immediately notify the Contracting Officer in writing if the COR has taken an action (or fails to take action) or issues directions (written or oral) that the contractor considers to exceed the above limitations.

The contractor shall provide the Contracting Officer information copies of all correspondence to the COR.

## B.14  FEDERAL HOLIDAYS

Unless specifically authorized in writing by the Contracting Officer, no services will be provided and no charges will be incurred and/or billed to any order on this contract on any of the Federal Holidays listed below.

| New Year’s Day | Labor Day |
| --- | --- |
| Birthday of Martin Luther King, Jr. | Columbus Day |
| Washington’s Birthday | Veterans' Day |
| Memorial Day | Thanksgiving Day |
| Juneteenth | Christmas Day |
| Independence Day |  |

## B.15  INVOICES

a. Inspection and acceptance shall be accomplished as follows: The Government, for all services furnished under any resulting order, hereby designates the COR in the program office as the point of final inspection and acceptance.  The BPA holder will submit each invoice, including all back-up data, to the Contracting Officer (CO) for review and signature.  When the CO receives an accurate and complete invoice, he/she will return a signed copy to the BPA holder within five (5) working days.  If the invoice is incomplete or inaccurate, the CO will return the unsigned invoice to the BPA holder for correction.  The Contracting Officer will then forward the signed invoice to the Chief Financial Officer (CFO) for payment.  Final payment for each order will be accomplished by final invoice accompanied by a receiving report.

b. An itemized invoice shall be submitted to the CO at least monthly or upon expiration of this BPA, whichever occurs first, for all deliveries made during a billing period and for which payment has not been received.  Copies of delivery tickets shall support these invoices. "Approved-for-payment" invoices will be submitted to the payment address specified on each individual order issued under this BPA.

## B.16  PRECEDENCE

The Terms and conditions included in this BPA apply to all purchases made pursuant to it.  In the event of an inconsistency between the provisions of this BPA and the Contractor's invoice, the provisions of this BPA will take precedence.

# SECTION C - CONTRACT CLAUSES

## C.1  52.212-4  CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2023)

(a) Inspection/Acceptance. The Contractor shall only tender for acceptance those items that conform to the requirements of this contract. The Government reserves the right to inspect or test any supplies or services that have been tendered for acceptance. The Government may require repair or replacement of nonconforming supplies or reperformance of nonconforming services at no increase in contract price. If repair/replacement or reperformance will not correct the defects or is not possible, the Government may seek an equitable price reduction or adequate consideration for acceptance of nonconforming supplies or services.  The Government must exercise its post-acceptance rights—

(1) Within a reasonable time after the defect was discovered or should have been discovered; and

(2) Before any substantial change occurs in the condition of the item, unless the change is due to the defect in the item.

(b) Assignment. The Contractor or its assignee may assign its rights to receive payment due as a result of performance of this contract to a bank, trust company, or other financing institution, including any Federal lending agency in accordance with the Assignment of Claims Act (31 U.S.C. 3727). However, when a third party makes payment (e.g., use of the Governmentwide commercial purchase card), the Contractor may not assign its rights to receive payment under this contract.

(c) Changes. Changes in the terms and conditions of this contract may be made only by written agreement of the parties.

(d) Disputes. This contract is subject to 41 U.S.C. chapter 71, Contract Disputes. Failure of the parties to this contract to reach agreement on any request for equitable adjustment, claim, appeal or action arising under or relating to this contract shall be a dispute to be resolved in accordance with the clause at Federal Acquisition Regulation (FAR) 52.233-1, Disputes, which is incorporated herein by reference. The Contractor shall proceed diligently with performance of this contract, pending final resolution of any dispute arising under the contract.

(e) Definitions. The clause at FAR 52.202-1, Definitions, is incorporated herein by reference.

(f) Excusable delays. The Contractor shall be liable for default unless nonperformance is caused by an occurrence beyond the reasonable control of the Contractor and without its fault or negligence such as, acts of God or the public enemy, acts of the Government in either its sovereign or contractual capacity, fires, floods, epidemics, quarantine restrictions, strikes, unusually severe weather, and delays of common carriers. The Contractor shall notify the Contracting Officer in writing as soon as it is reasonably possible after the commencement of any excusable delay, setting forth the full particulars in connection therewith, shall remedy such occurrence with all reasonable dispatch, and shall promptly give written notice to the Contracting Officer of the cessation of such occurrence.

(g) Invoice.

(1) The Contractor shall submit an original invoice and three copies (or electronic invoice, if authorized) to the address designated in the contract to receive invoices. An invoice must include—

(i) Name and address of the Contractor;

(ii) Invoice date and number;

(iii) Contract number, line item number and, if applicable, the order number;

(iv) Description, quantity, unit of measure, unit price and extended price of the items delivered;

(v) Shipping number and date of shipment, including the bill of lading number and weight of shipment if shipped on Government bill of lading;

(vi) Terms of any discount for prompt payment offered;

(vii) Name and address of official to whom payment is to be sent;

(viii) Name, title, and phone number of person to notify in event of defective invoice; and

(ix) Taxpayer Identification Number (TIN). The Contractor shall include its TIN on the invoice only if required elsewhere in this contract.

(x) Electronic funds transfer (EFT) banking information.

(A) The Contractor shall include EFT banking information on the invoice only if required elsewhere in this contract.

(B) If EFT banking information is not required to be on the invoice, in order for the invoice to be a proper invoice, the Contractor shall have submitted correct EFT banking information in accordance with the applicable solicitation provision, contract clause (e.g., 52.232-33, Payment by Electronic Funds Transfer—System for Award Management, or 52.232-34, Payment by Electronic Funds Transfer—Other Than System for Award Management), or applicable agency procedures.

(C) EFT banking information is not required if the Government waived the requirement to pay by EFT.

(2) Invoices will be handled in accordance with the Prompt Payment Act (31 U.S.C. 3903) and Office of Management and Budget (OMB) prompt payment regulations at 5 CFR part 1315.

(h) Patent indemnity. The Contractor shall indemnify the Government and its officers, employees and agents against liability, including costs, for actual or alleged direct or contributory infringement of, or inducement to infringe, any United States or foreign patent, trademark or copyright, arising out of the performance of this contract, provided the Contractor is reasonably notified of such claims and proceedings.

(i) Payment.—

(1) Items accepted. Payment shall be made for items accepted by the Government that have been delivered to the delivery destinations set forth in this contract.

(2) Prompt payment. The Government will make payment in accordance with the Prompt Payment Act (31 U.S.C. 3903) and prompt payment regulations at 5 CFR part 1315.

(3) Electronic Funds Transfer (EFT). If the Government makes payment by EFT, see 52.212-5(b) for the appropriate EFT clause.

(4) Discount. In connection with any discount offered for early payment, time shall be computed from the date of the invoice. For the purpose of computing the discount earned, payment shall be considered to have been made on the date which appears on the payment check or the specified payment date if an electronic funds transfer payment is made.

(5) Overpayments. If the Contractor becomes aware of a duplicate contract financing or invoice payment or that the Government has otherwise overpaid on a contract financing or invoice payment, the Contractor shall—

(i) Remit the overpayment amount to the payment office cited in the contract along with a description of the overpayment including the—

(A) Circumstances of the overpayment (e.g., duplicate payment, erroneous payment, liquidation errors, date(s) of overpayment);

(B) Affected contract number and delivery order number, if applicable;

(C) Affected line item or subline item, if applicable; and

(D) Contractor point of contact.

(ii) Provide a copy of the remittance and supporting documentation to the Contracting Officer.

(6) Interest.

(i) All amounts that become payable by the Contractor to the Government under this contract shall bear simple interest from the date due until paid unless paid within 30 days of becoming due. The interest rate shall be the interest rate established by the Secretary of the Treasury as provided in 41 U.S.C. 7109, which is applicable to the period in which the amount becomes due, as provided in (i)(6)(v) of this clause, and then at the rate applicable for each six-month period as fixed by the Secretary until the amount is paid.

(ii) The Government may issue a demand for payment to the Contractor upon finding a debt is due under the contract.

(iii) Final decisions. The Contracting Officer will issue a final decision as required by 33.211 if—

(A) The Contracting Officer and the Contractor are unable to reach agreement on the existence or amount of a debt within 30 days;

(B) The Contractor fails to liquidate a debt previously demanded by the Contracting Officer within the timeline specified in the demand for payment unless the amounts were not repaid because the Contractor has requested an installment payment agreement; or

(C) The Contractor requests a deferment of collection on a debt previously demanded by the Contracting Officer (see 32.607-2).

(iv) If a demand for payment was previously issued for the debt, the demand for payment included in the final decision shall identify the same due date as the original demand for payment.

(v) Amounts shall be due at the earliest of the following dates:

(A) The date fixed under this contract.

(B) The date of the first written demand for payment, including any demand for payment resulting from a default termination.

(vi) The interest charge shall be computed for the actual number of calendar days involved beginning on the due date and ending on—

(A) The date on which the designated office receives payment from the Contractor;

(B) The date of issuance of a Government check to the Contractor from which an amount otherwise payable has been withheld as a credit against the contract debt; or

(C) The date on which an amount withheld and applied to the contract debt would otherwise have become payable to the Contractor.

(vii) The interest charge made under this clause may be reduced under the procedures prescribed in FAR 32.608-2 in effect on the date of this contract.

(j) Risk of loss. Unless the contract specifically provides otherwise, risk of loss or damage to the supplies provided under this contract shall remain with the Contractor until, and shall pass to the Government upon:

(1) Delivery of the supplies to a carrier, if transportation is f.o.b. origin; or

(2) Delivery of the supplies to the Government at the destination specified in the contract, if transportation is f.o.b. destination.

(k) Taxes. The contract price includes all applicable Federal, State, and local taxes and duties.

(l) Termination for the Government's convenience. The Government reserves the right to terminate this contract, or any part hereof, for its sole convenience. In the event of such termination, the Contractor shall immediately stop all work hereunder and shall immediately cause any and all of its suppliers and subcontractors to cease work. Subject to the terms of this contract, the Contractor shall be paid a percentage of the contract price reflecting the percentage of the work performed prior to the notice of termination, plus reasonable charges the Contractor can demonstrate to the satisfaction of the Government using its standard record keeping system, have resulted from the termination. The Contractor shall not be required to comply with the cost accounting standards or contract cost principles for this purpose. This paragraph does not give the Government any right to audit the Contractor's records. The Contractor shall not be paid for any work performed or costs incurred which reasonably could have been avoided.

(m) Termination for cause. The Government may terminate this contract, or any part hereof, for cause in the event of any default by the Contractor, or if the Contractor fails to comply with any contract terms and conditions, or fails to provide the Government, upon request, with adequate assurances of future performance. In the event of termination for cause, the Government shall not be liable to the Contractor for any amount for supplies or services not accepted, and the Contractor shall be liable to the Government for any and all rights and remedies provided by law. If it is determined that the Government improperly terminated this contract for default, such termination shall be deemed a termination for convenience.

(n) Title. Unless specified elsewhere in this contract, title to items furnished under this contract shall pass to the Government upon acceptance, regardless of when or where the Government takes physical possession.

(o) Warranty. The Contractor warrants and implies that the items delivered hereunder are merchantable and fit for use for the particular purpose described in this contract.

(p) Limitation of liability. Except as otherwise provided by an express warranty, the Contractor will not be liable to the Government for consequential damages resulting from any defect or deficiencies in accepted items.

(q) Other compliances. The Contractor shall comply with all applicable Federal, State and local laws, executive orders, rules and regulations applicable to its performance under this contract.

(r) Compliance with laws unique to Government contracts. The Contractor agrees to comply with 31 U.S.C. 1352 relating to limitations on the use of appropriated funds to influence certain Federal contracts; 18 U.S.C. 431 relating to officials not to benefit; 40 U.S.C. chapter 37, Contract Work Hours and Safety Standards; 41 U.S.C. chapter 87, Kickbacks; 49 U.S.C. 40118, Fly American; and 41 U.S.C. chapter 21 relating to procurement integrity.

(s) Order of precedence. Any inconsistencies in this solicitation or contract shall be resolved by giving precedence in the following order:

(1) The schedule of supplies/services.

(2) The Assignments, Disputes, Payments, Invoice, Other Compliances, Compliance with Laws Unique to Government Contracts, and Unauthorized Obligations paragraphs of this clause;

(3) The clause at 52.212-5.

(4) Addenda to this solicitation or contract, including any license agreements for computer software.

(5) Solicitation provisions if this is a solicitation.

(6) Other paragraphs of this clause.

(7) The Standard Form 1449.

(8) Other documents, exhibits, and attachments

(9) The specification.

(t) [Reserved]

(u) Unauthorized Obligations.

(1) Except as stated in paragraph (u)(2) of this clause, when any supply or service acquired under this contract is subject to any End User License Agreement (EULA), Terms of Service (TOS), or similar legal instrument or agreement, that includes any clause requiring the Government to indemnify the Contractor or any person or entity for damages, costs, fees, or any other loss or liability that would create an Anti-Deficiency Act violation (31 U.S.C. 1341), the following shall govern:

(i) Any such clause is unenforceable against the Government.

(ii) Neither the Government nor any Government authorized end user shall be deemed to have agreed to such clause by virtue of it appearing in the EULA, TOS, or similar legal instrument or agreement. If the EULA, TOS, or similar legal instrument or agreement is invoked through an “I agree” click box or other comparable mechanism (e.g., “click-wrap” or “browse-wrap” agreements), execution does not bind the Government or any Government authorized end user to such clause.

(iii) Any such clause is deemed to be stricken from the EULA, TOS, or similar legal instrument or agreement.

(2) Paragraph (u)(1) of this clause does not apply to indemnification by the Government that is expressly authorized by statute and specifically authorized under applicable agency regulations and procedures.

(v) Incorporation by reference. The Contractor’s representations and certifications, including those completed electronically via the System for Award Management (SAM), are incorporated by reference into the contract.

(End of Clause)

ADDENDUM to FAR 52.212-4 CONTRACT TERMS AND CONDITIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

Clauses that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.

The following clauses are incorporated into 52.212-4 as an addendum to this contract:

## C.2  52.216-18 ORDERING (AUG 2020)

(a) Any supplies and services to be furnished under this contract shall be ordered by issuance of delivery orders or task orders by the individuals or activities designated in the Schedule. Such orders may be issued from 07/01/2026 through 06/30/2031.

(b) All delivery orders or task orders are subject to the terms and conditions of this contract. In the event of conflict between a delivery order or task order and this contract, the contract shall control.

(c) A delivery order or task order is considered "issued" when—

(1) If sent by mail (includes transmittal by U.S. mail or private delivery service), the Government deposits the order in the mail;

(2) If sent by fax, the Government transmits the order to the Contractor’s fax number; or

(3) If sent electronically, the Government either—

(i) Posts a copy of the delivery order or task order to a Government document access system, and notice is sent to the Contractor; or

(ii) Distributes the delivery order or task order via email to the Contractor’s email address.

(d) Orders may be issued by methods other than those enumerated in this clause only if authorized in the contract.

(End of Clause)

## C.3  52.217-8 OPTION TO EXTEND SERVICES (NOV 1999)

The Government may require continued performance of any services within the limits and at the rates specified in the contract. These rates may be adjusted only as a result of revisions to prevailing labor rates provided by the Secretary of Labor. The option provision may be exercised more than once, but the total extension of performance hereunder shall not exceed 6 months. The Contracting Officer may exercise the option by written notice to the Contractor within 15 days.

“NOTE:  The specified rates under this clause will be those rates in effect under the contract each time an option is exercised under this clause.”

(End of Clause)

## C.4  52.217-9 OPTION TO EXTEND THE TERM OF THE CONTRACT (MAR 2000)

(a) The Government may extend the term of this contract by written notice to the Contractor within 15 days; provided that the Government gives the Contractor a preliminary written notice of its intent to extend at least 15 days days before the contract expires. The preliminary notice does not commit the Government to an extension.

(b) If the Government exercises this option, the extended contract shall be considered to include this option clause.

(c) The total duration of this contract, including the exercise of any options under this clause, shall not exceed five (5) years.

(End of Clause)

## C.5  52.240-91  SECURITY PROHIBITIONS AND EXCLUSIONS  (NOV 2025) (DEVIATION)

(a) Definitions. As used in this clause—

American Security Drone Act-covered foreign entity means an entity included on a list that the Federal Acquisition Security Council (FASC) develops and maintains and publishes in the System for Award Management (SAM) at https://www.sam.gov (section 1822 of Pub. L. 118-31, 41 U.S.C. 3901 note prec.).

Backhaul means intermediate links between the core network, or backbone network, and the small subnetworks at the edge of the network (e.g., connecting cell phones/towers to the core telephone network). Backhaul can be wireless (e.g., microwave) or wired (e.g., fiber optic, coaxial cable, Ethernet).

Covered application means the social networking service TikTok or any successor application or service developed or provided by ByteDance Limited or an entity owned by ByteDance Limited.

Covered article, as defined in 41 U.S.C. 4713(k), means:

(1) Information technology, as defined in 40 U.S.C. 11101, including cloud computing services of all types;

(2) Telecommunications equipment or telecommunications service, as those terms are defined in section 3 of the Communications Act of 1934 (47 U.S.C. 153);

(3) The processing of information on a Federal or non-Federal information system, subject to the requirements of the Controlled Unclassified Information program (see 32 CFR part 2002); or

(4) Hardware, systems, devices, software, or services that include embedded or incidental information technology.

Covered foreign country means The People’s Republic of China.

Covered telecommunications equipment or services means—

(1) Telecommunications equipment produced by Huawei Technologies Company or ZTE Corporation (or any subsidiary or affiliate of such entities);

(2) For the purpose of public safety, security of Government facilities, physical security surveillance of critical infrastructure, and other national security purposes, video surveillance and telecommunications equipment produced by Hytera Communications Corporation, Hangzhou Hikvision Digital Technology Company, or Dahua Technology Company (or any subsidiary or affiliate of such entities);

(3) Telecommunications or video surveillance services provided by such entities or using such equipment; or

(4) Telecommunications or video surveillance equipment or services produced or provided by an entity that the Secretary of Defense, in consultation with the Director of National Intelligence or the Director of the Federal Bureau of Investigation, reasonably believes to be an entity owned or controlled by, or otherwise connected to, the government of a covered foreign country.

Critical technology means—

(1) Defense articles or defense services included on the United States Munitions List set forth in the International Traffic in Arms Regulations under subchapter M of chapter I of title 22, Code of Federal Regulations;

(2) Items included on the Commerce Control List set forth in Supplement No. 1 to part 774 of the Export Administration Regulations under subchapter C of chapter VII of title 15, Code of Federal Regulations, and controlled—

(i) Pursuant to multilateral regimes, including for reasons relating to national security, chemical and biological weapons proliferation, nuclear nonproliferation, or missile technology; or

(ii) For reasons relating to regional stability or surreptitious listening;

(3) Specially designed and prepared nuclear equipment, parts and components, materials, software, and technology covered by part 810 of title 10, Code of Federal Regulations (relating to assistance to foreign atomic energy activities);

(4) Nuclear facilities, equipment, and material covered by part 110 of title 10, Code of Federal Regulations (relating to export and import of nuclear equipment and material);

(5) Select agents and toxins covered by part 331 of title 7, Code of Federal Regulations, part 121 of title 9 of such Code, or part 73 of title 42 of such Code; or

(6) Emerging and foundational technologies controlled pursuant to section 1758 of the Export Control Reform Act of 2018 (50 U.S.C. 4817).

FASC-prohibited unmanned aircraft system means an unmanned aircraft system manufactured or assembled by an American Security Drone Act—covered foreign entity.

FASCSA order means any of the following orders issued under the Federal Acquisition Supply Chain Security Act (FASCSA) requiring removing covered articles from executive agency information systems or excluding one or more named sources or named covered articles from executive agency procurement actions, as described in 41 CFR 201-1.303(d) and (e):

(1) The Secretary of Homeland Security may issue FASCSA orders that apply to civilian agencies, to the extent not covered by paragraph (2) or (3) of this definition. This type of FASCSA order may be referred to as a Department of Homeland Security (DHS) FASCSA order.

(2) The Secretary of Defense may issue FASCSA orders that apply to the Department of Defense (DoD) and national security systems other than sensitive compartmented information systems. This type of FASCSA order may be referred to as a DoD FASCSA order.

(3) The Director of National Intelligence (DNI) may issue FASCSA orders that apply to the intelligence community and sensitive compartmented information systems, to the extent not covered by paragraph (2) of this definition. This type of FASCSA order may be referred to as a DNI FASCSA order.

Information technology, as defined in 40 U.S.C. 11101(6)—

(1) Means any equipment or interconnected system or subsystem of equipment, used in the automatic acquisition, storage, analysis, evaluation, manipulation, management, movement, control, display, switching, interchange, transmission, or reception of data or information by the executive agency, if the equipment is used by the executive agency directly or is used by a contractor under a contract with the executive agency that requires the use—

(i) Of that equipment; or

(ii) Of that equipment to a significant extent in the performance of a service or the furnishing of a product;

(2) Includes computers, ancillary equipment (including imaging peripherals, input, output, and storage devices necessary for security and surveillance), peripheral equipment designed to be controlled by the central processing unit of a computer, software, firmware and similar procedures, services (including support services), and related resources; but

(3) Does not include any equipment acquired by a Federal contractor incidental to a Federal contract.

Intelligence community, as defined by 50 U.S.C. 3003(4), means the following—

(1) The Office of the Director of National Intelligence;

(2) The Central Intelligence Agency;

(3) The National Security Agency;

(4) The Defense Intelligence Agency;

(5) The National Geospatial-Intelligence Agency;

(6) The National Reconnaissance Office;

(7) Other offices within the Department of Defense for the collection of specialized national intelligence through reconnaissance programs;

(8) The intelligence elements of the Army, the Navy, the Air Force, the Marine Corps, the Coast Guard, the Federal Bureau of Investigation, the Drug Enforcement Administration, and the Department of Energy;

(9) The Bureau of Intelligence and Research of the Department of State;

(10) The Office of Intelligence and Analysis of the Department of the Treasury;

(11) The Office of Intelligence and Analysis of the Department of Homeland Security; or

(12) Such other elements of any department or agency as may be designated by the President, or designated jointly by the Director of National Intelligence and the head of the department or agency concerned, as an element of the intelligence community.

Interconnection arrangement means arrangements governing the physical connection of two or more networks to allow the use of another’s network to hand off traffic where it is ultimately delivered (e.g., connecting a customer of telephone provider A to a customer of telephone company B) or sharing data and other information resources.

Kaspersky Lab-covered article means any hardware, software, or service that—

(1) Is developed or provided by a Kaspersky Lab-covered entity;

(2) Includes any hardware, software, or service developed or provided in whole or in part by a Kaspersky Lab-covered entity; or

(3) Contains components using any hardware or software developed in whole or in part by a Kaspersky Lab-covered entity.

Kaspersky Lab-covered entity means—

(1) Kaspersky Lab;

(2) Any successor entity to Kaspersky Lab, including any change in name, e.g., “Kaspersky”;

(3) Any entity that controls, is controlled by, or is under common control with Kaspersky Lab; or

(4) Any entity of which Kaspersky Lab has a majority ownership.

National security system, as defined in 44 U.S.C. 3552, means any information system (including any telecommunications system) used or operated by an agency or by a contractor of an agency, or other organization on behalf of an agency—

(1) The function, operation, or use of which involves intelligence activities; involves cryptologic activities related to national security; involves command and control of military forces; involves equipment that is an integral part of a weapon or weapons system; or is critical to the direct fulfillment of military or intelligence missions, but does not include a system that is to be used for routine administrative and business applications (including payroll, finance, logistics, and personnel management applications); or

(2) Is protected at all times by procedures established for information that have been specifically authorized under criteria established by an Executive order or an Act of Congress to be kept classified in the interest of national defense or foreign policy.

Roaming means cellular communications services (e.g., voice, video, data) received from a visited network when unable to connect to the facilities of the home network either because signal coverage is too weak or because traffic is too high.

Sensitive compartmented information means classified information concerning or derived from intelligence sources, methods, or analytical processes, which is required to be handled within formal access control systems established by the Director of National Intelligence.

Sensitive compartmented information system means a national security system authorized to process or store sensitive compartmented information.

Source means a non-Federal supplier, or potential supplier, of products or services, at any tier.

Subsidiary means an entity in which more than 50 percent of the entity is owned directly by a parent corporation or through another subsidiary of a parent corporation.

Substantial or essential component means any component necessary for the proper function or performance of a piece of equipment, system, or service.

Unmanned aircraft means an aircraft that is operated without the possibility of direct human intervention from within or on the aircraft (49 U.S.C. 44801(11)).

Unmanned aircraft system means an unmanned aircraft and associated elements (including communication links and the components that control the unmanned aircraft) that are required for the operator to operate safely and efficiently in the national airspace system (49 U.S.C. 44801(12)).

(b) Prohibitions on providing or using specific products or services in performance of contract. Unless a waiver or exception applies, the Contractor is prohibited from providing any products or services to the Government or using in the performance of the contract any of the following:

(1) A covered application on any information technology owned or managed by the Government, or on any information technology used or provided by the Contractor under this contract, including equipment provided by the Contractor’s employees (section 102 of Division R of the Consolidated Appropriations Act, 2023 (Pub. L. 117-328));

(2) A Kaspersky Lab-covered article (Section 1634 of Division A of the National Defense Authorization Act for Fiscal Year 2018 (Pub. L. 115-91));

(3) Covered telecommunications equipment or services used as a substantial or essential component of any system, or as critical technology as part of any system (paragraphs (a)(1)(A) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)). This does not prohibit contractors from providing—

(i) A service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(c) Prohibition on unmanned aircraft systems manufactured or assembled by American Security Drone Act—covered foreign entities.

(1) Prohibition. The Contractor is prohibited from—

(i) Delivering any FASC-prohibited unmanned aircraft system, which includes unmanned aircraft (i.e., drones) and associated elements (sections 1823 and 1826 of American Security Drone Act of 2023, within the National Defense Authorization Act for Fiscal Year 2024, Pub. L. 118-31, Div. A, Title XVIII, Subtitle B, 41 U.S.C. 3901 note prec.);

(ii) On or after December 22, 2025, operating a FASC-prohibited unmanned aircraft system in the performance of the contract (section 1824 of Pub. L. 118-31); and

(iii) On or after December 22, 2025, using Federal funds to procure or operate a FASC-prohibited unmanned aircraft system (section 1825 of Pub. L. 118-31).

(2) Procedures. The Contractor shall search SAM for the FASC-maintained list of American Security Drone Act—covered foreign entities before proposing, or using in performance of the contract, any unmanned aircraft system. Also, the Contractor shall ensure any effort or expenditure associated with a FASC-prohibited unmanned aircraft system is consistent with a corresponding exemption, exception, or waiver determination expressly stated in the contract.

(3) Exemptions, exceptions, and waivers. The prohibitions in paragraph (c) of this clause do not apply where the agency has determined an exemption, exception, or waiver applies, and the contract indicates that such a determination has been made. See sections 1823 through 1825 and 1832 of Public Law 118-31 for statutory requirements pertaining to exemptions, exceptions, and waivers.

(d) Prohibition on using or providing specific products or services or conducting certain transactions regardless of connection to contract.

(1) Certain telecommunications and video surveillance equipment, systems, or services.

(i) Unless an applicable waiver has been issued by the Government, the Contractor cannot use any equipment, systems, or services that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system (paragraph (a)(1)(B) of section 889 of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232)).

(ii) This prohibition applies to using covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. This does not prohibit the contractor from using—

(A) A service that connects to the facilities of a third party, such as backhaul, roaming, or interconnection arrangements; or

(B) Telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(2) Office of Foreign Assets Control Restrictions.

(i) Except as authorized by the Office of Foreign Assets Control (OFAC) in the Department of the Treasury, the Contractor shall not acquire, for use in the performance of this contract, any supplies or services if any proclamation, Executive order, or statute administered by OFAC, or if OFAC’s implementing regulations at 31 CFR chapter V, would prohibit such a transaction by a person subject to the jurisdiction of the United States.

(ii) Except as authorized by OFAC, most transactions involving Cuba, Iran, and Sudan are prohibited, as are most imports from Burma or North Korea, into the United States or its outlying areas.

(A) For lists of entities and individuals subject to economic sanctions, see OFAC’s List of Specially Designated Nationals and Blocked Persons at https://home.treasury.gov/policy-issues/financial-sanctions/specially-designated-nationals-and-blocked-persons-list-sdn-human-readable-lists.

(B) For more information about these restrictions, as well as updates, see OFAC’s regulations at 31 CFR chapter V and at https://home.treasury.gov/policy-issues/office-of-foreign-assets-control-sanctions-programs-and-information.

(C) To conduct electronic screens of potential parties to regulated transactions, see the consolidated screening list at https://www.trade.gov/consolidated-screening-list, which consolidates multiple export screening lists of the Departments of Commerce, State, and the Treasury.

(3) Sudan prohibition. The Contractor is prohibited from conducting any restricted business operations in Sudan in accordance with Accountability and Divestment Act of 2007 (Pub. L. 110-174).

(4) Iran prohibitions.

(i) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, the contractor shall not engage in certain activities or transactions relating to Iran (section 6(b)(1)(A) of Iran Sanctions Act (50 U.S.C. 1701 note).

(ii) Unless an exception applies according to paragraph (d)(4)(iii) or the Government grants a waiver, contractor shall not export certain sensitive technology to Iran, as determined by the President, and has an active exclusion in SAM (22 U.S.C. 8515).

(iii) The prohibition in paragraphs (d)(4)(i) and (d)(4)(ii) do not apply if the acquisition is subject to trade agreements and the offeror certifies that all the offered products are designated country end products or designated country construction material (see part 25).

(iv) Unless an exception applies or the Government grants a waiver, contractors are prohibited from knowingly engaging in any significant transaction (i.e., over $15,000) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked according to the International Emergency Economic Powers Act (section 6(b)(1)(B) of Iran Sanctions Act (50 U.S.C. 1701 note)).

(e) Governmentwide exclusion and removal orders.

(1) Unless the Government has issued an applicable waiver, contractors shall not provide or use as part of the performance of the contract any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order as follows:

(i) For solicitations and contracts awarded by a Department of Defense contracting office, DoD FASCSA orders apply.

(ii) For all other solicitations and contracts, DHS FASCSA orders apply.

(2) The Contractor shall search for the phrase “FASCSA order” in the System for Award Management (SAM) at https://www.sam.gov to locate applicable FASCSA orders.

(3) The Government may identify in the solicitation other FASCSA orders that are not in SAM, which are effective and apply to the solicitation and resulting contract.

(4) A FASCSA order issued after the date of solicitation applies to this contract only if added by an amendment to the solicitation or modification to the contract (see FAR 40.204-1(c)).

(f)Reasonable inquiry. The contractor shall conduct a reasonable inquiry to determine if there are any prohibited products or services. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

(g) Removal of prohibited products and services. For Federal Supply Schedules, Governmentwide acquisition contracts, multi-agency contracts or any other procurement instrument intended for use by multiple agencies, upon notification from the Contracting Officer, during the performance of the contract, the Contractor shall promptly make any necessary changes or modifications to remove any product or service produced or provided by a source that this clause prohibits.

(h) General report.

(1) If the Contractor identifies or is notified by any source, (including a subcontractor at any tier), that any product or service provided or used (or to be provided or used) during contract performance does not comply with any prohibition in this clause, then the Contractor shall report the following information, or as much information is known, in writing to the contracting office as identified in paragraph (h)(2) within 72 hours:

(i) Contract number and order number, if applicable;

(ii) The specific prohibition the product or service is not complying with;

(iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);

(iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));

(v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;

(vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the contractor would like the Government to consider a waiver, and asks for such a waiver);

(vii) Whether alternative products or services are available that would comply with the prohibition;

(viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

(A) Brand;

(B) Model number, OEM number, manufacturer part number, or wholesaler number; and

(C) Item description, as applicable.

(ix) Any readily available information about mitigation actions implemented or recommended.

(2) If a report must be submitted to a contracting office, the Contractor shall submit the report as follows:

(i) If a Department of Defense contracting office, the Contractor shall report to the website at https://dibnet.dod.mil.

(ii) For all other contracting offices, the Contractor shall report to the Contracting Officer.

(iii) For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order.

(3) If the report provided does not contain any of the information required by paragraph (h)(1) of this clause, and the contractor later discovers new information that is required by paragraph (h)(1) of this clause, then the contractor shall submit a subsequent report within 72 hours of discovering the new information.

(4) The contractor shall also report the information in paragraph (h)(1) if the contractor wishes to ask for a waiver of the requirements of a new FASCSA order being applied through modification.

(i) New FASCSA orders report.

(1) During contract performance, the Contractor shall review SAM at least once every three months, or as advised by the Contracting Officer, to check for covered articles subject to FASCSA order(s), or for products or services produced by a source subject to FASCSA order(s) not currently identified under paragraph (e) of this clause.

(2) If the Contractor identifies a new FASCSA order(s) that could impact their supply chain, then the Contractor shall conduct a reasonable inquiry to identify whether a covered article or product or service produced or provided by a source subject to the FASCSA order(s) was provided to the Government or used during contract performance. The inquiry will look at any information in the entity’s possession but does not need to include an internal or third-party audit.

(3) The Contractor shall submit a report to the contracting office identified in paragraph (h)(2) of this clause if the Contractor identifies, including through any notification by a subcontractor at any tier, that a covered article or product or service produced or provided by a source was provided to the Government or used during contract performance and is subject to a FASCSA order(s). For indefinite delivery contracts, the Contractor shall report to both the contracting office for the indefinite delivery contract and the contracting office for any affected order. The Contractor shall report the following information within 72 hours for each covered article or each product or service produced or provided by a source, where the covered article or source is subject to a FASCSA order:

(i) Contract number and order number, if applicable;

(ii) Name of the covered article or source subject to a FASCSA order;

(iii) The specific FASCSA order the product or service does not comply with;

(iv) The elements of (h)(1)(iii) through (ix) of this clause.

(j) Subcontracts. The Contractor shall insert the substance of this clause, including this paragraph (j) but excluding subparagraphs (d)(1) and (i)(1), in all subcontracts and other contractual instruments, including subcontracts for acquiring commercial products or commercial services.

(End of Provision)

## C.6  VAAR 852.211-72  TECHNICAL INDUSTRY STANDARDS (NOV 2018)

(a) The Contractor shall conform to the standards established by: FDA  as to .

(b) The Contractor shall submit proof of conformance to the standard. This proof may be a label or seal affixed to the equipment or supplies, warranting that the item(s) have been tested in accordance with the standards and meet the contract requirement. Proof may also be furnished by the organization listed above certifying that the item(s) furnished have been tested in accordance with and conform to the specified standards.

(c) Offerors may obtain the standards cited in this provision by submitting a request, including the solicitation number, title and number of the publication to: FDA

(d) The offeror shall contact the Contracting Officer if response is not received within two weeks of the request.

(End of Clause)

## C.7  VAAR 852.247-71  DELIVERY LOCATION (OCT 2018)

Shipment of deliverable items, other than reports, shall be to:

Department of Veterans Affairs

James A. Haley Veterans Hospital (90C)

13000 Bruce B. Downs Blvd

Tampa  FL  33612

(End of Clause)

## C.8  VAAR 852.247-72  MARKING DELIVERABLES (OCT 2018)

(a) The contract number shall be placed on or adjacent to all exterior mailing or shipping labels of deliverable items called for by the contract.

(b) Mark deliverables, except reports, for:

(End of Clause)

## C.9  VAAR 852.247-73  PACKING FOR DOMESTIC SHIPMENT (OCT 2018)

Material shall be packed for shipment in such a manner that will insure acceptance by common carriers and safe delivery at destination. Containers and closures shall comply with regulations of carriers as applicable to the mode of transportation.

(End of Clause)

## C.10  52.252-2  CLAUSES INCORPORATED BY REFERENCE  (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

(End of Clause)

| FAR Number | Title | Date |
| --- | --- | --- |
| 52.203-17 | CONTRACTOR EMPLOYEE WHISTLEBLOWER RIGHTS | NOV 2023 |
| 52.204-13 | SYSTEM FOR AWARD MANAGEMENT—MAINTENANCE (DEVIATION) | NOV 2025 |
| 52.224-1 | PRIVACY ACT NOTIFICATION | APR 1984 |
| 52.224-2 | PRIVACY ACT | APR 1984 |
| 852.201-70 | CONTRACTING OFFICER'S REPRESENTATIVE | DEC 2022 |
| 852.203-70 | COMMERCIAL ADVERTISING | MAY 2018 |
| 852.222-71 | COMPLIANCE WITH EXECUTIVE ORDER 13899 (DEVIATION) (APR 2025) | APR 2025 |

## C.11  VAAR 852.232-72 ELECTRONIC SUBMISSION OF PAYMENT REQUESTS (NOV 2018)

(a) Definitions. As used in this clause—

(1) Contract financing payment has the meaning given in FAR 32.001;

(2) Designated agency office means the office designated by the purchase order, agreement, or contract to first receive and review invoices. This office can be contractually designated as the receiving entity. This office may be different from the office issuing the payment;

(3) Electronic form means an automated system transmitting information electronically according to the accepted electronic data transmission methods and formats identified in paragraph (c) of this clause. Facsimile, email, and scanned documents are not acceptable electronic forms for submission of payment requests;

(4) Invoice payment has the meaning given in FAR 32.001; and

(5) Payment request means any request for contract financing payment or invoice payment submitted by the contractor under this contract.

(b) Electronic payment requests. Except as provided in paragraph (e) of this clause, the contractor shall submit payment requests in electronic form. Purchases paid with a Government-wide commercial purchase card are considered to be an electronic transaction for purposes of this rule, and therefore no additional electronic invoice submission is required.

(c) Data transmission. A contractor must ensure that the data transmission method and format are through one of the following:

(1) VA’s Electronic Invoice Presentment and Payment System at the current website address provided in the contract.

(2) Any system that conforms to the X12 electronic data interchange (EDI) formats established by the Accredited Standards Center (ASC) and chartered by the American National Standards Institute (ANSI).

(d) Invoice requirements. Invoices shall comply with FAR 32.905.

(e) Exceptions. If, based on one of the circumstances in this paragraph (e), the Contracting Officer directs that payment requests be made by mail, the Contractor shall submit payment requests by mail through the United States Postal Service to the designated agency office. Submission of payment requests by mail may be required for—

(1) Awards made to foreign vendors for work performed outside the United States;

(2) Classified contracts or purchases when electronic submission and processing of payment requests could compromise the safeguarding of classified or privacy information;

(3) Contracts awarded by contracting officers in the conduct of emergency operations, such as responses to national emergencies;

(4) Solicitations or contracts in which the designated agency office is a VA entity other than the VA Financial Services Center in Austin, Texas; or

(5) Solicitations or contracts in which the VA designated agency office does not have electronic invoicing capability as described above.

(End of Clause)

| FAR Number | Title | Date |
| --- | --- | --- |
| 852.242-71 | ADMINISTRATIVE CONTRACTING OFFICER | OCT 2020 |
| 852.246-71 | REJECTED GOODS | OCT 2018 |

(End of Addendum to 52.212-4)

# SECTION D - CONTRACT DOCUMENTS, EXHIBITS, OR ATTACHMENTS

# SECTION E - SOLICITATION PROVISIONS

## E.1  52.212-1  INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (SEP 2023)

(a) North American Industry Classification System (NAICS) code and small business size standard. The NAICS code(s) and small business size standard(s) for this acquisition appear elsewhere in the solicitation. However, the small business size standard for a concern that submits an offer, other than on a construction or service acquisition, but proposes to furnish an end item that it did not itself manufacture, process, or produce is 500 employees, or 150 employees for information technology value-added resellers under NAICS code 541519, if the acquisition—

(1) Is set aside for small business and has a value above the simplified acquisition threshold;

(2) Uses the HUBZone price evaluation preference regardless of dollar value, unless the offeror waives the price evaluation preference; or

(3) Is an 8(a), HUBZone, service-disabled veteran-owned, economically disadvantaged women-owned, or women-owned small business set-aside or sole-source award regardless of dollar value.

(b) Submission of offers. Submit signed and dated offers to the office specified in this solicitation at or before the exact time specified in this solicitation. Offers may be submitted on the SF 1449, letterhead stationery, or as otherwise specified in the solicitation. As a minimum, offers must show—

(1) The solicitation number;

(2) The time specified in the solicitation for receipt of offers;

(3) The name, address, and telephone number of the offeror;

(4) A technical description of the items being offered in sufficient detail to evaluate compliance with the requirements in the solicitation. This may include product literature, or other documents, if necessary;

(5) Terms of any express warranty;

(6) Price and any discount terms;

(7) "Remit to" address, if different than mailing address;

(8) A completed copy of the representations and certifications at Federal Acquisition Regulation (FAR) 52.212-3 (see FAR 52.212-3(b) for those representations and certifications that the offeror shall complete electronically);

(9) Acknowledgment of Solicitation Amendments;

(10) Past performance information, when included as an evaluation factor, to include recent and relevant contracts for the same or similar items and other references (including contract numbers, points of contact with telephone numbers and other relevant information); and

(11) If the offer is not submitted on the SF 1449, include a statement specifying the extent of agreement with all terms, conditions, and provisions included in the solicitation. Offers that fail to furnish required representations or information, or reject the terms and conditions of the solicitation may be excluded from consideration.

(c) Period for acceptance of offers. The offeror agrees to hold the prices in its offer firm for 30 calendar days from the date specified for receipt of offers, unless another time period is specified in an addendum to the solicitation.

(d) Product samples. When required by the solicitation, product samples shall be submitted at or prior to the time specified for receipt of offers. Unless otherwise specified in this solicitation, these samples shall be submitted at no expense to the Government, and returned at the sender's request and expense, unless they are destroyed during preaward testing.

(e) Multiple offers. Offerors are encouraged to submit multiple offers presenting alternative terms and conditions, including alternative line items (provided that the alternative line items are consistent with FAR subpart 4.10), or alternative commercial products or commercial services for satisfying the requirements of this solicitation. Each offer submitted will be evaluated separately.

(f) Late submissions, modifications, revisions, and withdrawals of offers.

(1) Offerors are responsible for submitting offers, and any modifications, revisions, or withdrawals, so as to reach the Government office designated in the solicitation by the time specified in the solicitation. If no time is specified in the solicitation, the time for receipt is 4:30 p.m., local time, for the designated Government office on the date that offers or revisions are due.

(2)(i) Any offer, modification, revision, or withdrawal of an offer received at the Government office designated in the solicitation after the exact time specified for receipt of offers is "late" and will not be considered unless it is received before award is made, the Contracting Officer determines that accepting the late offer would not unduly delay the acquisition; and—

(A) If it was transmitted through an electronic commerce method authorized by the solicitation, it was received at the initial point of entry to the Government infrastructure not later than 5:00 p.m. one working day prior to the date specified for receipt of offers; or

(B) There is acceptable evidence to establish that it was received at the Government installation designated for receipt of offers and was under the Government's control prior to the time set for receipt of offers; or

(C) If this solicitation is a request for proposals, it was the only proposal received.

(ii) However, a late modification of an otherwise successful offer, that makes its terms more favorable to the Government, will be considered at any time it is received and may be accepted.

(3) Acceptable evidence to establish the time of receipt at the Government installation includes the time/date stamp of that installation on the offer wrapper, other documentary evidence of receipt maintained by the installation, or oral testimony or statements of Government personnel.

(4) If an emergency or unanticipated event interrupts normal Government processes so that offers cannot be received at the Government office designated for receipt of offers by the exact time specified in the solicitation, and urgent Government requirements preclude amendment of the solicitation or other notice of an extension of the closing date, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal Government processes resume.

(5) Offers may be withdrawn by written notice received at any time before the exact time set for receipt of offers. Oral offers in response to oral solicitations may be withdrawn orally. If the solicitation authorizes facsimile offers, offers may be withdrawn via facsimile received at any time before the exact time set for receipt of offers, subject to the conditions specified in the solicitation concerning facsimile offers. An offer may be withdrawn in person by an offeror or its authorized representative if, before the exact time set for receipt of offers, the identity of the person requesting withdrawal is established and the person signs a receipt for the offer.

(g) Contract award (not applicable to Invitation for Bids). The Government intends to evaluate offers and award a contract without discussions with offerors. Therefore, the offeror's initial offer should contain the offeror's best terms from a price and technical standpoint. However, the Government reserves the right to conduct discussions if later determined by the Contracting Officer to be necessary. The Government may reject any or all offers if such action is in the public interest; accept other than the lowest offer; and waive informalities and minor irregularities in offers received.

(h) Multiple awards. The Government may accept any item or group of items of an offer, unless the offeror qualifies the offer by specific limitations. Unless otherwise provided in the Schedule, offers may not be submitted for quantities less than those specified. The Government reserves the right to make an award on any item for a quantity less than the quantity offered, at the unit prices offered, unless the offeror specifies otherwise in the offer.

(i) Availability of requirements documents cited in the solicitation.

(1)(i) The GSA Index of Federal Specifications, Standards and Commercial Item Descriptions, FPMR Part 101-29, and copies of specifications, standards, and product descriptions can be downloaded from the ASSIST website at https://assist.dla.mil.

(ii) If the General Services Administration, Department of Agriculture, or Department of Veterans Affairs issued this solicitation, a copy of specifications, standards, and commercial item descriptions cited in this solicitation may be obtained from the address in paragraph (i)(1)(i) of this provision.

(2) Most unclassified Defense specifications and standards may be downloaded from the ASSIST website at https://assist.dla.mil.

(3) Defense documents not available from the ASSIST website may be requested from the Defense Standardization Program Office by-

(i) Using the ASSIST feedback module (https://assist.dla.mil/feedback); or

(ii) Contacting the Defense Standardization Program Office by telephone at 571-767-6688 or email at assisthelp@dla.mil.

(4) Nongovernment (voluntary) standards must be obtained from the organization responsible for their preparation, publication, or maintenance.

(j) Unique entity identifier. (Applies to all offers that exceed the micro-purchase threshold, and offers at or below the micro-purchase threshold if the solicitation requires the Contractor to be registered in the System for Award Management (SAM).) The Offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation ‘‘Unique Entity Identifier’’ followed by the unique entity identifier that identifies the Offeror’s name and address. The Offeror also shall enter its Electronic Funds Transfer (EFT) indicator, if applicable. The EFT indicator is a four-character suffix to the unique entity identifier. The suffix is assigned at the discretion of the Offeror to establish additional SAM records for identifying alternative EFT accounts (see FAR subpart 32.11) for the same entity. If the Offeror does not have a unique entity identifier, it should contact the entity designated at www.sam.gov for unique entity identifier establishment directly to obtain one. The Offeror should indicate that it is an offeror for a Government contract when contacting the entity designated at www.sam.gov for establishing the unique entity identifier.

(k) [Reserved]

(l) Debriefing. If a post-award debriefing is given to requesting offerors, the Government shall disclose the following information, if applicable:

(1) The agency's evaluation of the significant weak or deficient factors in the debriefed offeror's offer.

(2) The overall evaluated cost or price and technical rating of the successful and the debriefed offeror and past performance information on the debriefed offeror.

(3) The overall ranking of all offerors, when any ranking was developed by the agency during source selection.

(4) A summary of the rationale for award;

(5) For acquisitions of commercial products, the make and model of the product to be delivered by the successful offeror.

(6) Reasonable responses to relevant questions posed by the debriefed offeror as to whether source-selection procedures set forth in the solicitation, applicable regulations, and other applicable authorities were followed by the agency.

(End of Provision)

ADDENDUM to FAR 52.212-1 INSTRUCTIONS TO OFFERORS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

Provisions that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.

The following provisions are incorporated into 52.212-1 as an addendum to this solicitation:

To assure timely and equitable evaluation of quotes, quoters must follow the instructions contained herein. Quoters are cautioned to review their quote submissions carefully. Quotes that are determined to be incomplete during an initial compliance review performed by the contracting officer or otherwise determined non-compliant with the instructions will be removed from the competition and not considered for award.

Quotes shall consist of three (3) separately bound parts: Part I – Technical Narrative; Part II – Past Performance Information (optional – see instructions below); and Part III – Price Quote. The complete quote (including Parts I-III) is to be submitted to the contracting officer via email at paul.jarrett@va.gov by 13:00 AM Eastern on May 28, 2026. Late quotes will not be accepted.

Questions shall be submitted to the contracting officer via email at paul.jarrett@va.gov by 5:00pm Eastern on May 19, 2026. Timely submitted questions will be addressed through the issuance of a subsequent amendment. Any question submitted after the May 19, 2026 cut-off may not be addressed. The contracting officer will not respond to telephonic inquiries.

Specific Instructions:

PART I – TECHNICAL NARRATIVE

Quoters shall submit a technical narrative demonstrating that their respective equipment can perform the requirements described in the SON. Quoters’ technical narratives must address specifically how their respective quotes cover the requirements in the SON. A quoter’s technical narrative shall address the salient characteristics within this solicitation.

PART II – PAST PERFORMANCE INFORMATION

Quoters are to provide a list of up to five (5) reference contracts performed for either Federal agencies or commercial customers within the last five (5) years. Quoters are to furnish the following information for each contract listed:

1) Company/Division name

2) Product/Service

3) Contracting Agency/Customer

4) Contract Number

5) Contract Dollar Value

6) Period of Performance

7) Verified, up-to-date name, address, telephone number of the contracting officer

8) Comments regarding compliance with contract terms and conditions

9) Comments regarding any known performance deemed unacceptable to the customer, or not in accordance with the contract terms and conditions.

10)Any information currently available (letters, metrics, customer surveys, independent surveys, etc.) which demonstrates customer satisfaction with overall job performance and quality of completed services for same or similar type contract.

11)Explanation of any corrective actions taken in the past, if applicable, for substandard performance and any current performance problems such as cost overruns, extended performance periods, numerous warranty calls, etc.

PART III – PRICE QUOTE

The price quote shall include the following items:

(a) Signed SF1449 (complete blocks 17a and b, 26, 30a, 30b and 30c) along with signed amendments (if any).

(b) Completed Contract Administration Data from Section B.1 Contract Administration Data.

(c) Completed Price Schedule. The offeror shall insert proposed unit prices for each Line-Item Number (LIN), including all option periods, in the Price Schedule. The extended amount must equal the unit price multiplied by the number of units. Do not leave any LIN blank. If there is no cost for a LIN, enter $0.00 as the unit cost. Quotes that do not include pricing for all LINs in all performance periods will be considered incomplete and removed from any further consideration.

(d) The price document shall identify the necessary items for the CPT compliance. The following items shall be returned with the price quote: Packaging Structure, Unit Price, Manufacturer Part Number, Item Part Number, and Original Equipment Manufacturer (OEM) Name.

(End of Provision)

## E.2  52.240-90  SECURITY PROHIBITIONS AND EXCLUSIONS REPRESENTATIONS AND CERTIFICATIONS (NOV 2025) (DEVIATION)

(a) Definitions. As used in this provision—

Backhaul, covered article, covered telecommunications equipment or services, critical technology, FASCSA order, Intelligence community, interconnection arrangements, national security system, roaming, sensitive compartmented information, sensitive compartmented information system, source, and substantial or essential component have the meanings provided in the clause 52.240-91, Security Prohibitions and Exclusions.

Business operations means engaging in commerce in any form, including by acquiring, developing, maintaining, owning, selling, possessing, leasing, or operating equipment, facilities, personnel, products, services, personal property, real property, or any other apparatus of business or commerce.

Marginalized populations of Sudan means—

(1) Adversely affected groups in regions authorized to receive assistance under section 8(c) of the Darfur Peace and Accountability Act (Pub. L. 109-344) (50 U.S.C. 1701 note); and

(2) Marginalized areas in Northern Sudan described in section 4(9) of such Act.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted under specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended.

Sensitive technology—

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically—

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3) of the International Emergency Economic Powers Act (50 U.S.C. 1702(b)(3)).

(b) Procedures.

(1) Covered telecommunications and video surveillance. The Offeror shall review the list of excluded parties in the System for Award Management (SAM) at https://www.sam.gov for entities excluded from receiving federal awards for “covered telecommunications equipment or services.”

(2) FASCSA Orders.

(i) The Offeror shall search in SAM for the phrase “FASCSA order” for any covered article, or any products or services produced or provided by a source, if there is an applicable FASCSA order described in paragraph (e) of FAR 52.240-91, Security Prohibitions and Exclusions.

(ii) The Offeror shall review the solicitation for any FASCSA orders that are not in SAM but are effective and apply to the solicitation and resultant contract (see FAR 40.204-1(c)(2)).

(iii) FASCSA orders issued after the date of solicitation do not apply unless added by an amendment to the solicitation.

(c) Covered telecommunications equipment or services representations. By submission of its offer, the Offeror represents that, after conducting a reasonable inquiry (that looks at any information in the Offeror’s possession but does not need to include an internal or third-party audit)—

(1) It will not provide covered telecommunications equipment or services to the Government in the performance of any contract, subcontract or other contractual instrument resulting from this solicitation, except as waived by the solicitation, or as disclosed in paragraph (g); and

(2) It does not use covered telecommunications equipment or services, or use any equipment, system, or service that uses covered telecommunications equipment or services, except as waived by the solicitation, or as disclosed in paragraph (g).

(d) FASCSA Representation. By submission of this offer, the offeror represents that it has conducted a reasonable inquiry, and that the offeror does not propose to provide or use in response to this solicitation any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order in effect on the date the solicitation was issued, except as waived by the solicitation, or as disclosed in paragraph (g). A reasonable inquiry will look at any information in the offeror’s possession but does not need to include an internal or third-party audit.

(e) Sudan certification. By submission of its offer, the offeror certifies, after conducting a reasonable inquiry (that looks at any information in the offeror’s possession but does not need to include an internal or third-party audit), that the offeror does not conduct any restricted business operations in Sudan.

(f) Iran Representation and Certifications.

(1) Except as provided in paragraph (f)(2) of this provision or if a waiver has been granted in accordance with FAR 40.203-3, the offeror, after conducting a reasonable inquiry (that looks at any information in the offeror’s possession but does not need to include an internal or third-party audit), by submission of its offer—

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person (as defined at section 15 of the Iran Sanctions Act of 1996, Pub. L. 104-172, 50 U.S.C. 1701 note) owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Act. These sanctioned activities are in the areas of development of the petroleum resources of Iran, production of refined petroleum products in Iran, sale and provision of refined petroleum products to Iran, and contributing to Iran’s ability to acquire or develop certain weapons or technologies; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds $15,000 with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (50 U.S.C. 1701 et seq.) (see OFAC’s Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx)

(2) Exception for trade agreements. The representation and certification requirements of paragraph (f)(1) of this provision do not apply if—

(i) This solicitation includes a trade agreements notice or certification (e.g., 52.225-6, Trade Agreements Certificate); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products or designated country construction material.

(iii) The offeror shall email questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(g) Disclosure.

(1) If the Offeror is not able to represent compliance with the prohibitions in paragraphs (c) or (d), then the Offeror shall disclose within 72 hours to the contracting office identified in paragraph (g)(2) the following information for each product or service not compliant:

(i) Contract number and order number, if applicable;

(ii) Identification of whether this disclosure relates to paragraph (c) on covered telecommunication equipment or services, or to paragraph (d) on FASCSA orders;

(iii) A description of the products or services that the Contractor identifies or has reason to suspect is prohibited (include brand; model number, such as the original equipment manufacturer (OEM) number, manufacturer part number, or wholesaler number; and item description, as applicable);

(iv) The entity that produced the product or service (include entity name, unique entity identifier, Contractor and Government Entity (CAGE) code, facilities responsible for design, fabrication, assembly, packaging, and test of the product, and whether the entity was the OEM or a distributor (provide manufacturer codes and distributor codes used for the product));

(v) Description of the functionality of the product or service and how that functionality impacts the risk to the product or service;

(vi) An explanation of any factors relevant to determining if the product or service should be permitted by an applicable exception, exemption, or waiver (if the offeror would like the Government to consider a waiver);

(vii) Whether alternative products or services are available that would be compliant with the prohibition;

(viii) If the product or service is related to item maintenance, include the following information on the item being maintained:

(A) Brand;

(B) Model number, OEM number, manufacturer part number, or wholesaler number; and

(C) Item description, as applicable.

(ix) Any readily available information about mitigation actions undertaken or recommended.

(2) If a disclosure is required to be submitted to a contracting office, the offeror shall submit the disclosure as follows:

(i) If a Department of Defense contracting office, the offeror shall submit the disclosure to the website at https://dibnet.dod.mil.

(ii) For all other contracting offices, the Offeror shall submit the disclosure to the Contracting Officer.

(3) If the disclosure provided does not contain any of the information required by paragraph (1), and the Offeror later discovers new information that is required by paragraph (1), then the Offeror shall submit a subsequent disclosure within 72 hours of discovering the new information.

(h) Executive agency review of disclosures. The Contracting Officer will review disclosures provided in paragraph (g) to determine if any applicable waiver may be sought. The Contracting Officer may choose not to pursue a waiver and may instead make an award to an Offeror that does not require a waiver.

(End of Provision)

## E.3  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this/these address(es):

(End of Provision)

| FAR Number | Title | Date |
| --- | --- | --- |
| 52.204-7 | SYSTEM FOR AWARD MANAGEMENT—REGISTRATION (DEVIATION) | NOV 2025 |

(End of Addendum to 52.212-1)

## E.4  52.212-2  EVALUATION—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (NOV 2021)

(a) The Government will award a contract resulting from this solicitation to the responsible quoter whose quote conforms to the solicitation and is the advantageous to the Government considering the following factors:

Technical Acceptability Standard

Past Performance Factor

Price Factor

Explanation of Evaluation Approach:

Technical narratives will be evaluated as acceptable/unacceptable based on the technical acceptability standard described below. Quotes with technical narratives evaluated as technically acceptable will then be subject to a past performance/price trade-off with past performance being more important than price. Quoters that receive a rating of unacceptable for their technical narratives will not be considered for award.

Factor 1: Technical Acceptability Standard

Under the Technical Acceptability Standard, the Government will only consider the technical requirements and salient characteristics included in the quoters’ respond. The Government will evaluate a quoter’s technical narrative to determine the following:

• Whether the technical narrative demonstrates that the quoter illustrates salient characteristics.

• Whether the technical narrative demonstrates that the quoter’s capacity to perform the requirements in accordance with the SON; and

• Whether the technical narrative addresses specifically how the quote covers the requirements in the SOW.

Factor 2: Past Performance

• The Government will evaluate how well a quoter has previously performed the requirements of other relevant contracts. The Government will use information submitted in the quotes as well as other sources such as other Federal Government offices, commercial sources, and the Contractor Assessment Reporting System (CPARS) to assess performance.

• In assessing the relevancy of reference contracts, consideration will be given to the similarity of the size, scope, and complexity of the reference contract. The prior performance being considered must have a logical connection to the work described in the solicitation. The Government may consider as relevant, efforts performed for other agencies of federal, state, or local governments, and commercial customers.

• The Government will use the information gathered and evaluated to designate an overall confidence rating that a quoter will successfully perform the current requirement if awarded the contract.

Factor 3: Price

• The total evaluated price will be determined by multiplying the quantities identified for each Line-Item Number by the quoted unit price for each Line-Item Number to confirm the extended amount for each Line-Item Number. The Government will evaluate quotes for award purposes by adding the total price for all option periods to the total price for the base period. Evaluation of options shall not obligate the Government to exercise the option(s).

• Price will be evaluated for reasonableness using one or more of the techniques set forth in the FAR.

(End of Provision)

| FAR Number | Title | Date |
| --- | --- | --- |
| 852.233-70 | PROTEST CONTENT/ALTERNATIVE DISPUTE RESOLUTION | OCT 2018 |
| 852.239-75 | INFORMATION AND COMMUNICATION TECHNOLOGY ACCESSIBILITY NOTICE | FEB 2023 |

VISN 8 Whole Blood Glucose Monitoring