PAGE 1 OF

1. REQUISITION NO.

2. CONTRACT NO.

3. AWARD/EFFECTIVE DATE

4. ORDER NO.

5. SOLICITATION NUMBER

6. SOLICITATION ISSUE DATE

a. NAME

b. TELEPHONE NO.  (No Collect Calls)

8. OFFER DUE DATE/LOCAL

TIME

9. ISSUED BY

CODE

10. THIS ACQUISITION IS

UNRESTRICTED OR

SET ASIDE:

% FOR:

SMALL BUSINESS

HUBZONE SMALL

BUSINESS

SERVICE-DISABLED

VETERAN-OWNED

SMALL BUSINESS

WOMEN-OWNED SMALL BUSINESS

(WOSB) ELIGIBLE UNDER THE WOMEN-OWNED

SMALL BUSINESS PROGRAM

EDWOSB

8(A)

NAICS:

SIZE STANDARD:

11. DELIVERY FOR FOB DESTINA-

TION UNLESS BLOCK IS

MARKED

SEE SCHEDULE

12. DISCOUNT TERMS

13a.  THIS CONTRACT IS A

RATED ORDER UNDER

DPAS (15 CFR 700)

13b. RATING

14. METHOD OF SOLICITATION

RFQ

IFB

RFP

15. DELIVER TO

CODE

16. ADMINISTERED BY

CODE

17a. CONTRACTOR/OFFEROR

CODE

FACILITY CODE

18a. PAYMENT WILL BE MADE BY

CODE

TELEPHONE NO.

UEI:

EFT:

PHONE:

FAX:

17b. CHECK IF REMITTANCE IS DIFFERENT AND PUT SUCH ADDRESS IN OFFER

18b. SUBMIT INVOICES TO ADDRESS SHOWN IN BLOCK 18a UNLESS BLOCK BELOW IS CHECKED

SEE ADDENDUM

19.

20.

21.

22.

23.

24.

ITEM NO.

SCHEDULE OF SUPPLIES/SERVICES

QUANTITY

UNIT

UNIT PRICE

AMOUNT

(Use Reverse and/or Attach Additional Sheets as Necessary)

25. ACCOUNTING AND APPROPRIATION DATA

26. TOTAL AWARD AMOUNT (For Govt. Use Only)

27a. SOLICITATION INCORPORATES BY REFERENCE FAR 52.212-1, 52.212-4. FAR 52.212-3 AND 52.212-5 ARE ATTACHED.  ADDENDA

ARE

ARE NOT ATTACHED.

27b. CONTRACT/PURCHASE ORDER INCORPORATES BY REFERENCE FAR 52.212-4. FAR 52.212-5 IS ATTACHED.  ADDENDA

ARE

ARE NOT ATTACHED

28. CONTRACTOR IS REQUIRED TO SIGN THIS DOCUMENT AND RETURN _______________

29. AWARD OF CONTRACT: REF.  ___________________________________ OFFER

COPIES TO ISSUING OFFICE.  CONTRACTOR AGREES TO FURNISH AND

DATED ________________________________.  YOUR OFFER ON SOLICITATION

DELIVER ALL ITEMS SET FORTH OR OTHERWISE IDENTIFIED ABOVE AND ON ANY

(BLOCK 5), INCLUDING ANY ADDITIONS OR CHANGES WHICH ARE

ADDITIONAL SHEETS SUBJECT TO THE TERMS AND CONDITIONS SPECIFIED

SET FORTH HEREIN IS ACCEPTED AS TO ITEMS:

30a. SIGNATURE OF OFFEROR/CONTRACTOR

31a. UNITED STATES OF AMERICA (SIGNATURE OF CONTRACTING OFFICER)

30b. NAME AND TITLE OF SIGNER (TYPE OR PRINT)

30c. DATE SIGNED

31b. NAME OF CONTRACTING OFFICER (TYPE OR PRINT)

31c. DATE SIGNED

AUTHORIZED FOR LOCAL REPRODUCTION

(REV. NOV 2021)

PREVIOUS EDITION IS NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.212

7. FOR SOLICITATION

INFORMATION CALL:

STANDARD FORM 1449

SOLICITATION/CONTRACT/ORDER FOR COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES

OFFEROR TO COMPLETE BLOCKS 12, 17, 23, 24, & 30

57

None

578-26-1-6121-0006

08/01/2026

36C25226R0008

03-26-2026

Meyer, Eileen

414-844-4800 X43232

05-06-2026

10:00 Local Time

Department of Veterans Affairs

36C252

115 South 84th Street, Suite 101

Milwaukee WI 53214-1476

X

100

X

561210

$47 Million

N/A

X

Edward Hines, Jr. VA Hospital

Department of Veterans Affairs

5000 South 5th Avenue

Hines IL 60141-5000

Department of Veterans Affairs

36C252

Great Lakes Acquisition Center - HC

115 South 84th Street, Suite 101

Milwaukee WI 53214-1476

Department of Veterans Affairs

Financial Services Center

PO Box 149971

Austin TX 78714-9971

X

See CONTINUATION Page

Contractor shall provide six (6) qualified stationary

engineers/operators for the high-pressure boiler plant

plant operation and/or medical facility operations as

described in the statement of work.

Base Year:     08/01/2026 - 07/31/2027

Option Year 1: 08/01/2027 - 07/31/2028

Option Year 2: 08/01/2028 - 07/31/2029

Option Year 3: 08/01/2029 - 07/31/2030

Option Year 4: 08/01/2030 - 07/31/2031

100% SDVOSB set-aside

Service contract labor standards apply

See CONTINUATION Page

578-3660162-6121-855100-2543 010050190

X

X

X

1

Ashley Johnson

Contracting Officer

## B.1  CONTRACT ADMINISTRATION DATA  (continuation from Standard Form 1449)

OFFERORS MUST COMPLETE AND RETURN ALL INFORMATION DESIGNATED HEREIN PRIOR TO THE TIME SPECIFIED IN BLOCK 8 OF SF 1449 IN ORDER TO BE CONSIDERED FOR AWARD.

ACKNOWLEDGMENT OF AMENDMENTS:  The offeror acknowledges receipt of amendments to the Solicitation numbered and dated as follows:

AMENDMENT NO					DATE

______________________________		__________________________

______________________________		__________________________

______________________________		__________________________

- CONTRACT ADMINISTRATION:  All contract administration matters will be handled by the following individuals:

- CONTRACTOR:

CONTRACTOR NAME _____________________________________

ADDRESS ________________________________________________

CITY-STATE-ZIP __________________________________________

POINT OF CONTACT/TITLE ________________________________

PHONE NUMBER	______________________________________

FAX NUMBER	______________________________________

E-MAIL ADDRESS	______________________________________

SAM UEI NO.   ____________________________________________

CAGE CODE    _____________________________________________

CONTRACTOR’S PAST PERFORMANCE POINT OF CONTACT 
(IF DIFFERENT THAN ABOVE):

NAME: __________________________________________

EMAIL ADDRESS:_________________________________

- GOVERNMENT:  	CONTRACTING OFFICE CODE: 36C252

DEPARTMENT OF VETERANS AFFAIRS

GREAT LAKES ACQUISITION CENTER

115 S. 84TH ST., STE 100

MILWAUKEE WI 53214

- ACQUISITION OF COMMERCIAL ITEMS:

This Request for Proposal (RFP) solicitation is issued under the authority of FAR Part 15. FAR Part 13 and 14 will not be used.  From this RFP, the Government intends to award a firm-fixed-price contract where the Contractor provides a price that is not subject to any adjustment on the basis of the Contractor’s cost experience in performing the contract.

- SET-ASIDE (If any): See box 10 of STANDARD FORM 1449

- SOLICITATION TIMELINE SUMMARY:

- SITE VISIT:

It is strongly suggested that the offeror inspect the campus to be serviced to fully understand the nature of the work and the conditions under which the work is to be performed. In no case shall failure to inspect the campus constitute grounds for a claim after contract award.

SITE VISIT IS SCHEDULED FOR WEDNESDAY APRIL 8, 2026 AT 10:00 AM LOCAL TIME. ALL INTERESTED PARTIES TO MEET COR JASON ESPINOSA (708-996-3870 or 708-202-8387 x 22366).

- RFP QUESTIONS:

In order to maintain integrity of this solicitation and subsequent award date, all offerors are advised that any question-and-answer requests must be submitted in a written form via e-mail to the eileen.meyer@va.gov no later than FRIDAY APRIL 10, 2026 AT 10:00 AM LOCAL TIME.  Contracting will issue a consolidated response via solicitation amendment to https://sam.gov Contract Opportunities within 2 business days to all parties.

- SOLICITATION CLOSES/PROPOSALS DUE:

See box 8 of STANDARD FORM 1449 or most recent Amendment.

- SUBMISSION OF PROPOSAL:

See 52.212-1 Instructions to Offerors—Commercial Products and Commercial Services and addendum for specific instructions to offerors.

- CONTRACTING OFFICER AUTHORITY:

The Contracting Officer is the only person authorized to approve changes or modify any of the requirements under this contract. The Contractor shall communicate with the Contracting Officer on all matters pertaining to contract administration.  Only the Contracting Officer is authorized to make commitments or issue changes that will affect price, quantity or quality of performance of this contract.  In the event the Contractor effects any such change at the direction of any person other than the Contracting Officer, the change shall be considered to have been made without authority and no adjustment will be made in the contract price to cover any increase in cost incurred thereof.

- INVOICES:

  - All payments by the Government to the contractor will be made in accordance with: FAR 52.232-33 PAYMENT BY ELECTRONIC FUNDS TRANSFER – SYSTEM FOR AWARD MANAGEMENT (OCT 2018)

  - Invoices shall be submitted MONTHLY in accordance with: 852.232-72 ELECTRONIC SUBMISSION OF PAYMENT REQUESTS (NOV 2018)

  - Payments shall be made in arrears upon receipt of a properly prepared invoice

  - Facsimile, e-mail, and scanned documents are not acceptable forms of submission for payment requests.

  - The VA has mandated electronic invoice submission to the Veterans Affairs Financial Services Center (VAFSC). VAFSC has partnered with Tungsten Network e-Invoicing network, for submissions of all electronic invoices to VA.  Tungsten Network electronic invoicing is free to all VA vendors.  In order to submit electronic invoices, all VA vendors must register with Tungsten Network by submitting an email to VA.Registration@Tungsten-Network.com or calling  1-877-489-6135 for Enrollment.

  - Contractor shall submit an electronic invoice by the tenth (10th) of the following month services were performed to the Veterans Affairs Financial Services Center (VAFSC) e-Invoice through the website at https://portal.Tungsten-Network.com/Login.aspx.  For questions regarding the submission of VA electronic invoices, Tungsten Network customer service may be contacted at 1-877-489-6135.

  - All invoices shall reference the vendor name and address, customer name, contract number, appropriate obligation/funding order number, description of services provided, quantity, unit price, and total invoice amount (any additional info).  Invoices shall also include any payment discount terms.

  - VA’s Electronic Invoice Presentment and Payment System – The Veterans Affairs Financial Services Center (VAFSC) uses a third-party contractor, Tungsten Network e-Invoice, to transition vendors from paper to electronic invoice submission. Please go to this website: http://www.tungsten-network.com/customer-campaigns/veteransaffairs/ to begin submitting electronic invoices, free of charge.

  - As of July 1, 2020, the VA10091 form has been eliminated and the VAFSC is requiring our vendors to update and add their information in the Customer Engagement Portal (CEP) at  https://www.cep.fsc.va.gov/. This is for new vendors being added to FMS only.

  - For assistance setting up e-Invoice, the below information is provided:

* Tungsten Network e-Invoice Setup Information: 1-877-489-6135 
* Tungsten Network e-Invoice email: VA.Registration@Tungsten-Network.com
* FSC e-Invoice Contact Information: 1-877-353-9791 
* FSC e-invoice email: vafsccshd@va.gov

- FACILITY REQUIREMENTS:

In addition to any other requirements set forth in this Contract, the Contractor, including its employees, agents, and subcontractors (collectively “the Contractor”), shall comply with the following facility requirements. Failure to comply with these requirements shall be considered a material breach of this Contract and may be a violation of Federal law resulting in charges answerable in the United States District Court.

- Contractor is responsible to follow all on site facility policies.

- All VA property is considered Federal property and all Federal laws are applicable.

- It is the responsibility of the Contractor to park in the appropriate designated parking areas. Information on parking is available from the VA Police Section. The VA will not invalidate or make reimbursement for parking violations of the Contractor under any conditions.

- All VA facilities are drug free. Possession of drugs, to include Marijuana and all Marijuana bi-products are prohibited. Enclosed containers, including tool kits, shall be subject to search. Violations of VA regulations may result in citation answerable in the United States (Federal) District Court, not a local district, state, or municipal court.

- All contractor personnel are required to adhere to all VA rules and regulations.

- Smoking is prohibited on the entire campus, both inside and outside the VA Facility

- Possession of weapons is prohibited. Enclosed containers, including tool kits, shall be subject to search. Violations of VA regulations may result in citation answerable in the United States (Federal) District Court, not a local district, state, or municipal court.

- VHA DIRECTIVE 1192: This Veterans Health Administration (VHA) directive establishes policy and provides guidance for the prevention of seasonal influenza in VHA facilities through the vaccination or masking of health care personnel (HCP). AUTHORITY: Title 38 United States Code (U.S.C.) 7301(b), 7318(b). Contractor is responsible in ensuring that all aspects of this directive are implemented, including providing face masks and influenza vaccines for all employees working at a VA facility.

- SECURITY & PRIVACY CONTROL:

The Authorization & Accreditation (A&A) requirements of VHA Handbook 6500.6 do not apply to this requirement, therefore, a Security Accreditation Package is not required.  No A&A or MOU/ISA is required. Sensitive information exposure as part of this contract involves applicable security controls within the facility as part of the VA Information Security.

If there are any questions related to privacy, please have a member of your staff contact the VA Privacy Service at (202) 461-6309.  If there are any questions related to information security, please have a member of your staff contact the Office of Cyber Security at (304) 262-7733.

PIV Card:

Applies to unsupervised, full-time, logical and/or physical access for more than 6 months OR more than 180 aggregate days in a one-year period.

Defined in VA Directive 0735 as: “Personal Identity Verification (PIV) Credential: An identification card that complies with FIPS 201 and related guidance that contains a photograph and stored identity information so that the claimed identity of the cardholder can be verified by another person or an automated process. PIV credentials are issued to persons requiring routine access to VA facilities or information systems.”

All contractor employees are subject to the same level of investigation as VA employees who have access to VA Sensitive Information.  The level of background investigation commensurate with the level of access needed to perform in accordance with the statement of work is: Special Agreement Check (SAC) & National Agency Check with Inquiries (NACI).  This requirement is applicable to all subcontractor personnel requiring the same access.

- A NACI Tier 1 Background is required. FY26 NACI Tier 1 fees shall apply.

- SAC Fingerprints are required. FY26 SAC Fingerprints fees shall apply.

- Fees are the responsibility of the Contractor and shall be billed accordingly.

NOTE: The process of acquiring a PIV card for each person on this contract can take two (2) days of labor/hours; please factor this timing into the proposal/contract. The COR will provide detailed instructions.

Routine Access and Personal Identity Verification of Contractor Personnel:

The Contractor shall comply with agency personal identity verification procedures identified in the contract that implement Homeland Security Presidential Directive-12 (HSPD-12), Office of Management and Budget (OMB) guidance M-05-24 and Federal Information Processing Standards Publication (FIPS PUB) Number 201.

The Contractor shall account for all forms of Government-provided identification issued to the Contractor employees in connection with performance under this contract. The Contractor shall return such identification to the issuing agency at the earliest of any of the following, unless otherwise determined by the Government:

(1) When no longer needed for contract performance.

(2) Upon completion of the Contractor employee’s employment.

(3) Upon contract completion or termination.

The Contracting Officer may delay final payment under a contract if the Contractor fails to comply with these requirements.

It shall be the responsibility of the prime Contractor to return such identification to the VA.

## PRICE/COST SCHEDULE

### ITEM INFORMATION

| ITEM NUMBER | DESCRIPTION OF SUPPLIES/SERVICES | QUANTITY | UNIT | UNIT PRICE | AMOUNT |
| --- | --- | --- | --- | --- | --- |
| 0001 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #1 as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 0002 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #2 as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 0003 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #3 as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 0004 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #4 as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 0005 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #5 as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 0006 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #6 as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 0007 |  | 26.00 | EA | __________________ | __________________ |
|  | Contractor shall provide a written report every two (2) weeks as described in the statement of work. Contract Period: Base POP Begin: 08-01-2026 POP End: 07-31-2027 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1001 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #1 as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1002 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #2 as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1003 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #3 as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1004 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #4 as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1005 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #5 as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1006 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #6 as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 1007 |  | 26.00 | EA | __________________ | __________________ |
|  | Contractor shall provide a written report every two (2) weeks as described in the statement of work. Contract Period: Option 1 POP Begin: 08-01-2027 POP End: 07-31-2028 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2001 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #1 as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2002 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #2 as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2003 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #3 as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2004 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #4 as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2005 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #5 as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2006 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #6 as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 2007 |  | 26.00 | EA | __________________ | __________________ |
|  | Contractor shall provide a written report every two (2) weeks as described in the statement of work. Contract Period: Option 2 POP Begin: 08-01-2028 POP End: 07-31-2029 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3001 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #1 as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3002 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #2 as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3003 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #3 as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3004 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #4 as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3005 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #5 as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3006 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #6 as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 3007 |  | 26.00 | EA | __________________ | __________________ |
|  | Contractor shall provide a written report every two (2) weeks as described in the statement of work. Contract Period: Option 3 POP Begin: 08-01-2029 POP End: 07-31-2030 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4001 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #1 as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4002 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #2 as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4003 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #3 as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4004 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #4 as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4005 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #5 as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4006 |  | 2,080.00 | HR | __________________ | __________________ |
|  | Contractor shall provide stationary engineer #6 as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
| 4007 |  | 26.00 | EA | __________________ | __________________ |
|  | Contractor shall provide a written report every two (2) weeks as described in the statement of work. Contract Period: Option 4 POP Begin: 08-01-2030 POP End: 07-31-2031 PRINCIPAL NAICS CODE: 561210 - Facilities Support Services PRODUCT/SERVICE CODE: R425 - Support - Professional: Engineering/Technical |  |  |  |  |
|  |  |  |  | GRAND TOTAL | __________________ |

## B.3 STATEMENT OF WORK

Stationary Engineer Support Contract

- GENERAL OVERVIEW:

Contractor shall provide six (6) qualified stationary engineers/operators for the high-pressure boiler plant operation and/or Medical Facility Operations (generically referred to as air conditioning (AC)) operators because they are responsible for the hospital chiller plant).  The contractor shall perform building facility operations supporting engineering/mechanical functions for both the campus industrial sized Boiler Plant and the campus Hospital Buildings (Attachment 1).  Services are located at the Edward J. Hines Veteran Affairs (VA) Medical Campus located in Hines, Illinois.  The Hines Boiler Plant houses four (4) Cleaver Brooks 35,000 lb/hr water tube boilers with a normal header pressure of 125psi.  The main hospital chiller plant includes three (3) 1,200-ton Carrier Chillers which includes an exceptionally diverse array of other facility equipment that supports the hospital. The services to be provided under this contract do not require Government supervision of contractor employees and are ancillary to Hines’ mission of providing healthcare to veterans.

Coverage shall include various rotating shifts on days, evenings, and nights as well as weekdays and weekends (to include Holidays).  All buildings on campus (Attachment 1) remain in operation twenty-four (24) hours per day.

Operation of the VA Boiler Plant shall be in a safe manner.  Boiler safety shall not be compromised to maintain service (see item - Reporting Emergency Operation issues section 3.3 below).  Operators shall understand and follow VHA Directive 1810 (Attachment 2) regarding boiler plant safety and operations, and Boiler Device Safety testing manual, currently 8th edition, (Attachment 3).

VA personnel shall be operating within all buildings on campus (Attachment 1) with the Contractor’s personnel in cooperation to cover all three (3) daily shifts.  A minimum of one (1) qualified operator for each shift shall oversee all campus buildings (Attachment 1).  These shifts may be covered by any combination of contractor’s staff or VA staff.  The designated Operator on Duty whether that is VA or Contracted shall be responsible for the safe operation of the plant and equipment during their shift.

  - Performance Location:

All services shall be performed on site at Edward Hines VA Hospital at 5th Ave. & Roosevelt Road, Hines IL 60141 (Attachment 1).

  - Period of Performance:

Contract base period shall be 08/01/2026 through 07/31/2027 with renewal options for four (4) additional years.

- GENERAL REQUIREMENTS:

    - Contractor shall provide the six (6) fully qualified staff to begin working shifts full-time, within the first thirty (30) days from time of award.  Failure to meet this requirement may result in termination for default.

    - Contractor shall provide six (6) fully qualified personnel for various shifts throughout the entirety of this contract.  At a minimum, a valid City of Chicago Stationary Engineer’s License shall be required.

    - Prior to any work, each contractor shall submit a resume, formatted as a pdf, to prove a minimum of three (3) years’ experience with high pressure boilers and industrial/commercial Heating, Ventilation, and Air Conditioning (HVAC) operation experience of similar or greater size and complexity to Hines campus.  The Contracting Officer Representative (COR) and Contracting Officer (CO) shall retain the right to determine who is qualified and can request the removal of a contracted operator at any time with no additional cost to the government.  Contractor shall find a suitable replacement within two (2) weeks of any unplanned removals.

    - Each contracted operator shall work with a Qualified VA operator for forty (40) hours prior to standing a shift alone.  This cost can be billed as normal time against the entirety of this contract up to eight (8) times (eight (8) different Operators).  This allows for two (2) alternates or changes in personnel over the entire performance period.  The expectation is the contractor shall provide stable and consistent personnel.  If for any reason more than eight (8) different operators are brought in to stand shifts, the labor time of training the new operators shall be covered by the contractor.  Operator shall be deemed qualified based on completion of training and demonstration of ability to execute required tasks for the chief engineer or delegate.

    - All operators that provide services on this contract at the Boiler Plant shall also complete the VA training course Safe Steaming 1 & 2 prior to starting work.  This computer-based training is provided at no cost to the contractor.   The course takes approximately 8-10 total hours to complete and can be taken from a computer terminal provided by the VA.

    - Contractor shall be responsible for their own quality and safety.  Specific Personal Protective Equipment - Contractor workers shall wear (provided by contractor):

      - Arc rated or natural fiber long pants and long sleeve shirt.

      - Occupational Safety and Health Administration (OSHA) approved steel toed foot gear (work boots) - OSHA's foot protection standard 29 FR 1910.136 which requires that the American National Standard Institute (ANSI) standard for Men's Safety-Toe Footwear, Z41.1-1967 be met.

      - Hearing protection.

      - Eye protection.

    - OSHA Training - Contractor workers shall be trained/qualified by contractor in the following procedures as defined by:

      - OSHA Hazard Communication Training including Safety Data Sheets (SDS)

      - National Fire Protection Association (NFPA) 70E (latest edition) Standard for electrical safety in the workplace

    - All work shall be in conformance with VA Policy and Procedures, safety standards, manufacturer's/industry standards to include:

      - American Society of Mechanical Engineers (ASME) Boiler and Pressure Vessel Code, latest edition;

      - NFPA 85 Boiler and Combustion Systems Hazards Code, latest edition;

      - NFPA 70E Standard for electrical safety in the workplace, latest edition.

      - VHA Directive 1810 (1), as transmitted Jan 4, 2023, for high pressure boiler operations in Veterans Health Administration. (Attachment 2);

      - VHA Boiler and Associated Plant Safety Device Testing Manual 8th Edition (Attachment 3).

    - Every two (2) weeks a written report of the boiler plant and supporting equipment, as detailed in the “Two Week Assessment Criteria” (Attachment 4), shall be provided to the COR. The assessment shall be performed every two (2) weeks from the start of the contract until the ultimate completion date of the contract. The person assessing the plant shall have the following credentials:

      - Expertise in VA stationary engineer operations as evidenced by minimum 3 years’ experience.

      - Professional Engineering license (Note: this is a not the same as a stationary engineering license).

      - Thorough knowledge and understanding of the VHA Directive 1810 Boiler Plant Operations and the latest version of the Safety Device Test manual (currently v8).

  - Physical Qualifications:

Contractor personnel shall be able to perform:

    - Heavy work; lifting of 50 lbs. frequently and 75 lbs. occasionally.

    - Work at heights and climb ladders - Conditions of dizziness or vertigo, uncontrolled or poorly controlled insulin dependent diabetes, uncontrolled or poorly controlled seizure disorder or any condition that would interfere with alertness shall be disqualifying.

    - Work in confined spaces; A history of claustrophobia, any physical limitation(s) interfering with agility or the ability to perform work in awkward and sustained postures such as severe progressive arthritis, or body size larger than the confined space opening shall be disqualifying.

    - Work in heat – over 100 degrees F or cold down to -30°F.

    - Work in a noisy environment (shall be required to wear hearing protection when necessary).

    - Work involving potential hazardous exposures such as asbestos, machine parts, soot, dirt, grease, chemicals, oil, and fumes.

    - Ability to function safely while wearing a respirator - Work requiring an OSHA approved respirator and proper fit tested provided by the VA.

    - Standing and bending for long periods of time.

    - Ability to distinguish between audible alarms (not hearing impaired).

    - Reading warning signs/signals, at least 20/40 vision in worse eye with or without correction and 20/20 in the better eye with or without correction, and unimpaired depth perception; Be able to distinguish between colors – Red and Green.

    - If contractors are not physically capable of performing all requirements of this SOW, they will be deemed unqualified to participate in work under this contract and subsequently will not be allowed to continue.

  - Supervision:

VA shall not supervise contract workers.  Contractor shall be given a list of emergency contact numbers to call in case of emergency at the beginning of this contract.

    - The contractor shall be responsible for the actions of all personnel provided to work for VA under this contract.  If damages arise from work performed by contractor provided personnel, under the auspices of this contract, the contractor shall be responsible for all resources necessary to remedy the incident.

    - The contractor shall manage the provided operators in coordination with the VA Boiler Plant Supervisor.  Planned or unplanned leave from shift needs to immediately be brought to the attention of the VA Plant supervisor and the Operator on duty at the time.

    - The contractor shall make all reasonable efforts to find replacement operator in the event their scheduled operator cannot stand shift.

  - Reports/Documentation:

    - Payment for work under this contract is subject to the completion of daily timecards that the contractor shall compile and email every week to the Operations Supervisor and COR with a request for approval.

    - Daily check in/check out is mandatory for services performed on site. This includes all operations, repair labor, inspections, testing and/or maintenance services.  This detailed written report shall be signed by the contractor describing the specific tasks(s) performed, preventive maintenance performed, including the exact location of the system or device serviced, an itemized nomenclature list of all parts replaced (if any), including equipment identification (i.e., serial number), a description of all items requiring further attention, and the name(s) of the technician(s) performing the work.  Regardless of any wording to the contrary which may appear on the contractor's standard forms, those reports shall be conditionally accepted by the Government subject to later inspection for compliance with established standards of quality.

    - Contractor to provide emergency contacts – Contractor shall provide VA with emergency 24/7 emergency contact information to include names and telephone numbers.

  - Parts:

Any material used for repairs shall be provided by the VA as needed and upon written request.

  - Hours of Coverage:

- This contract is to provide the services of a qualified operator.  Coverage to include various rotating shifts which include days, evenings, and nights as well as weekdays and weekends (to include Holidays).

- The shift shall be established two (2) weeks in advance but is subject to change based on the needs of the plant and the discretion of the VA Boiler Plant Supervisor.

- Unless an exception is requested and approved by the COR, the requirement is to provide forty (40) hours per week for the fifty-two (52) week period of performance per operator.

- In the event overtime hours are required, the contractor shall notify the COR prior to working and obtain approval/authorization. Upon receiving this approval/authorization, the contractor will be allowed to invoice at time and a half the hourly unit rate established in the price schedule for this contract.  Contractor’s hourly pricing shall be set per the bid and award of contract.  There shall not be changes based on night or holiday differentials.

- SPECIFIC TASKS:

  - The Qualified Operator shall become responsible for all campus buildings during their shift.  The goal is to deliver steam to the various campus buildings, maintain and repair the equipment, start and stop HVAC, and other equipment as necessary to maintain indoor environmental conditions, and perform the many varied tasks as a qualified operator.

  - The below represents typical tasks that may occur during each shift, but not all tasks shall be completed each shift (Listed As Required - AR in chart below).  Contractor shall only be responsible for tasks that can be reasonably completed within the shift.  The operator shall perform the minimum duties listed in the table below as part of their daily activities.  Additionally, the operator shall be capable of and shall perform the following duties at a minimum as necessary during a shift:

    - Lighting off, warming up, placing in service, and shutting down the boilers

    - Firing on each of the available fuels; natural gas and diesel fuel oil

    - Operating all plant equipment and controls, including start-up and shutdown

    - Gradual warm-up of hot piping system and placing them into service

    - Maintaining water quality to protect the equipment and piping from damage

    - Handling malfunctions and emergency situations. To include emergency or backup generator operation.

    - Collecting and organizing the equipment and plant performance records

    - Equipment maintenance such as changing filters in air handlers; cleaning strainers; replacing broken or worn drive belts on motors; lubricating the various compressors, fans, shafts, and moving parts of other operating and standby equipment. Uses various lubricants and maintains a log of lubricant changes and requirements.

    - Equipment repairs such as replace valves up to 12inches, broken flares, repair and replace copper, steel, iron and other pipe up to 6 inches in diameter, repacking glands, adjusting expansion valves, replacing small electric motors (100hp or lower), and making temporary repairs to pipes.

    - Preparation of equipment for inspections

    - Operation and testing of all safety devices and control equipment

    - Facilitating and monitoring the receipt of fuels and supplies

    - Starts, Stops, and Adjusts HVAC equipment to maintain indoor environmental design conditions and/or maintain the safety of people and equipment.

    - Tests water in cooling towers and adds chemicals for control of alkalinity, algae, and scale formation.

While operating the Boiler Plant ensure:

|  | Record or perform task at required interval - *M-Monthly, D-Daily, S - once per Shift, H-Hourly, AR - As Required |  |
| --- | --- | --- |
| 1 | Overall plant operation (Logs shall be taken by hand even if automatic logs or SCADA system is in place) | *H |
| 2 | Record tag number of equipment with any issues | H |
| 3 | Inlet and outlet temperature and pressure of all equipment, Condensate, DA, economizer, boiler etc. | H |
| 4 | Inlet and outlet pressure of all operating pumps | H |
| 5 | Plant temperature, outside air temperature, and exhaust gas temperature (before and after economizer if installed) | H |
| 6 | Fuel flow and firing rate for each boiler online | H |
| 7 | Steam flow to the medical center | H |
| 8 | Make up water meter totalizer and condensate return rate. | H |
| 9 | Fuel train pressures and flows for each boiler that is online | H |
| 10 | Boiler pressure and temperature | H |
| 11 | Note any leaks or system problems abnormal operating conditions etc. | H |
| 12 | Header pressure, temperature, and if branches pressure and temperature of each branch leaving the plant | H |
| 13 | Other readings as required or determined by the VA medical facility | H |
| 14 | Calculated boiler combustion efficiency | S |
| 15 | Blow down water columns | D |
| 16 | Testing and adjusting water treatment | D |
| 17 | Flame scanner | M |
| 18 | Low-water cutoff (slow drain) | M |
| 19 | Fire each boiler and the pilot on the alternate fuel for 1 hour | M |
| 20 | Auxiliary low-water cut-off (slow drain) | M |
| 21 | High-water alarm | M |
| 22 | Low-water alarm | M |
| 23 | Operation of all equipment at the highest cost-effectiveness and efficiency. This means maintaining pressures, temperatures, and fuel consumption at the minimum necessary for the proper operation of the equipment, plant, and connected loads. | S |
| 24 | Re-start boiler after a safety shut down | AR |
| 25 | Take the appropriate action when there is low water alarm on boiler | AR |
| 26 | Take the appropriate action when there is loss of water in deaerator | AR |
| 27 | Take the appropriate action when there is loss of water in condensate tank | AR |
| 28 | Take the appropriate action when there is loss of electrical power | AR |
| 29 | Take the appropriate action when there is loss of water supplied to boiler room, | AR |
| 30 | Take the appropriate action when there is a loss of water to one boiler | AR |
| 31 | Bypass water around deaerator | AR |
| 32 | Bypass water around condensate tank | AR |
| 33 | Bypass water around softener | AR |
| 34 | Perform mud drum blowdown | AR |
| 35 | Regenerate water softener (this may require filling with salt) | AR |
| 36 | Take the appropriate action when there is a CO/Combustible alarm in boiler plant | AR |
| 37 | Ability to understand and follow- standard and emergency Boiler and Boiler Plant operating procedures. | AR |
| 38 | Respond to alarms: fire, emergency generator, medical Air/Oxygen/Vacuum, etc. | AR |

While Operating Hospital Facilities ensure:

| Start Shift |  |
| --- | --- |
| Read Log Book | Daily |
| Check BAS Controls/Log | Daily |
| Check basement Mechanical Room | Daily |
| Secondary Loop Pumps Bundles | Daily |
| HW Glycol Loop Pumps Bundles | Daily |
| Chilled Water Loop | Daily |
| Chiller 1 | Daily |
| Chiller 2 | Daily |
| Chiller 3 | Daily |
| Chemical Feed Station | Daily |
| Electrical Vault Unit | Daily |
| 4 Pipe HW Bundles | Daily |
| 4 Pipe Chilled water loop | Daily |
| Various Exhaust systems | Daily |
| Check Penthouse A | Daily |
| Check AC 100 AHU and Mechanicals | Daily |
| Check MICU AHU and Mechanicals | Daily |
| Check MICU Chiller | Daily |
| Check MICU ISO Exhausts | Daily |
| Check Penthouse SPS | Daily |
| Check SPS AHU | Daily |
| Check SPS Exhaust and cart wash exhaust | Daily |
| Check East Lower/Upper Roof | Daily |
| Check Cardiac Cath AHU | Daily |
| Check Eye Clinic AHU | Daily |
| Check Penthouse B | Daily |
| Check SICU AHU and Mechanicals | Daily |
| Check SICU Chiller | Daily |
| Check SICU ISO Exhausts | Daily |
| Check Pharmacy AHU and Mechanicals | Daily |
| Check Pharmacy Chiller | Daily |
| Check GU AHU and Mechanicals | Daily |
| Check GU Chiller | Daily |
| Check GU Exhaust | Daily |
| Check AC100 Exhaust | Daily |
| Check Penthouse Mechanicals | Daily |
| Check South Roof | Daily |
| Check S4 AHU | Daily |
| Check S5 AHU | Daily |
| Check Penthouse C | Daily |
| Check MRI Condensing units | Daily |
| Check Outside Exhaust Fans | Daily |
| Check Acute Surgery AHU and Mechanicals | Daily |
| Check Acute Surgery Chiller | Daily |
| Check Kitchen Air Handler | Daily |
| Check Penthouse Mechanicals | Daily |
| Check West Lower/Upper Roof | Daily |
| Check Condensing units for X-Ray | Daily |
| Check Penthouse D | Daily |
| Check Day Surgery Air Handler and Mechanicals | Daily |
| Check Front Lobby Air Handler and Mechanicals | Daily |
| Check Lower Pent House Exhaust Systems | Daily |
| Check Penthouse Mechanicals | Daily |
| Check 16th floor Penthouse | Daily |
| Check Endoscopy AHU | Daily |
| Check S1 AHU and Mechanicals | Daily |
| Check S2 AHU and Mechanicals | Daily |
| Check Elevator Equipment Room | Daily |
| Check EF16 for ISO rooms and Chemo | Daily |
| Check Penthouse Mechanicals | Daily |
| Check Building Mechanical Spaces | Daily |
| Check 12th Floor AHU and Mechanicals | Daily |
| Check 11th Floor AHU and Mechanicals | Daily |
| Check 11th Floor Chemo Room | Daily |
| Check 9th Floor AHU and Mechanicals | Daily |
| Check 970 Chemo Room | Daily |
| Check 8th Floor AHU and Mechanicals | Daily |
| Check 8th floor Isolation rooms | Daily |
| Check 7th Floor AHU and Mechanicals | Daily |
| Check 6th Floor AHU and Mechanicals | Daily |
| Check 5th Floor AHU and Mechanicals | Daily |
| Check 2nd Floor Mechanical Exhaust Systems and Mechanicals | Daily |
| Check 2nd Floor "Bohn" chiller bundle room | Daily |
| Check 1st Floor Pharmacy | Daily |
| Check Cardiac Cath Equipment Room | Daily |
| Check MRI Mechanicals | Daily |
| Check LINAC area Aqua Snap | Daily |
| Check Kitchen Equipment Room Mechanicals and Walk-Ins | Daily |
| Check Morgue | Daily |
| Check ER Mechanicals | Daily |
| Check Blood Lab Space | Daily |
| Check X-Ray/Radiology Space | Daily |
| Check Stone Space Equipment | Daily |
| Check LINAC Chillers | Daily |
| Check LINAC AHU | Daily |
| Check Med Gas / Med VAC | Daily |
| End Shift | Daily |
| Documentation | Daily |

  - Reporting Emergency Operation issues – if any issues arise that cannot be resolved in a timely manner that shall result in the loss of steam pressure or volume – contractor worker shall immediately contact the VA list of contacts until someone is reached, normally this is the Boiler Plant Supervisor 1st, Operations Supervisor 2nd, Assistant Chief 3rd, and Chief Engineer 4th.

  - Notice of shift Change: VA shall give contractor 2 weeks’ notice prior to requesting shift change (move to another shift).

  - Billing shall be based on the number of actual hours worked.  If the contractor does not provide the hours of service, they cannot invoice for that work.  If the contract end date arrives or contract is otherwise terminated, the contractor shall not be entitled to the remaining contract value.

- REPORTING REQUIREMENTS:

    - To receive approval on any invoicing by the contractor, the COR/CO shall be provided with complete documentation of daily worker logs and any reports generated by the work.

    - Non-Functioning Safety Devices – Non-functioning safety device shall be reported immediately to the VA Boiler Plant Supervisor and be followed up with via email.  It shall also be documented each shift in the daily log and shall state any additional work to make the plant operate safely.

    - Complete daily logs – Contract workers shall review daily logs with the operator standing shift before them prior at the beginning of each shift and document any significant actions such as: any equipment failures, repairs made, operational difficulties, unusual operational conditions etc. each shift.  Documentation shall include any non-functioning safety device/s.  Similarly, the operator shall review the same information with the operator following them on shift.

- USE OF GOVERNMENT EQUIPMENT:

  - The Contractor shall not allow his/her employees, including subcontractor employees, to open desk drawers, cabinets, or to use office equipment, including the use of non-pay telephones for any purpose other than required for normal performance of duties in this contract.

  - Contractor shall not attempt to access VA information or computer systems that are not part of this contract.  Only the boiler and associated plant equipment computer systems are authorized (no access to patient information).

- PERFORMANCE STANDARDS:

    - The COR is responsible for monitoring the contractor’s performance.

    - Performance deficiencies identified during the term of the contract shall be documented by the COR and reported to the contractor and CO.  Upon notification of deficiencies or deficient performance, the contractor shall be given a reasonable time to take corrective action. All deficiencies and deficient performance shall be documented and shall be corrected by the contractor within the timeframe specified within the Contract Deficiency Report or Cure Notice.  The contractor shall notify the CO and COR when corrections have been made.  Failure to meet the required service or performance level may result in low performance ratings, possible recommendation to not exercise an option, and/or possible termination of the contract.

    - To minimize the performance management burden, simplified surveillance methods shall be used by the Government to evaluate contractor performance when appropriate.  The primary methods of surveillance are random monitoring, which shall be performed by the Boiler Plant Supervisor or designated representative.  Acceptance Testing on each repair shall be performed in the presence of the Boiler Plant Supervisor or designated representative.

# SECTION C - CONTRACT CLAUSES

  - FAR 52.212-4 CONTRACT TERMS AND CONDITIONS—COMMERCIAL ITEMS (NOV 2023) is incorporated by reference.

ADDENDUM to FAR 52.212-4 CONTRACT TERMS AND CONDITIONS--COMMERCIAL ITEMS:

  - 52.252-2 CLAUSES INCORPORATED BY REFERENCE (FEB 1998)

This contract incorporates one or more clauses by reference, with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. Also, the full text of a clause may be accessed electronically at this/these address(es):

http://www.acquisition.gov/far/index.html http://www.va.gov/oamm/oa/ars/policyreg/vaar/index.cfm

# The following clauses are incorporated by reference:

52.204-9	PERSONAL IDENTITY VERIFICATION OF	(JAN 2011)

CONTRACTOR PERSONNEL

52.204-13	SYSTEM FOR AWARD MANAGEMENT 		(OCT 2018)

MAINTENANCE

52.204-18	COMMERCIAL AND GOVERNMENT ENTITY	(AUG 2020)

52.223-2	REPORTING OF BIOBASED PRODUCTS UNDER (MAY 2024)

SERVICE AND CONSTRUCTION CONTRACTS (DEVIATION FEB 2025)

52.223-5	POLLUTION PREVENTION AND 			(MAY 2024)

RIGHT-TO-KNOW INFORMATION

52.223-10	WASTE REDUCTION PROGRAM			(MAY 2024)

(DEVIATION FEB 2025)

52.228-5	INSURANCE – WORK ON GOVERNMENT		(JAN 1997)

INSTALLATION

52.229-3	FEDERAL, STATE, AND LOCAL TAXES		(FEB 2013)

52.237-2	PROTECTION OF GOVERNMENT 			(APR 1984)

BUILDINGS, EQUIPMENT, AND VEGETATION

852.201-70	CONTRACTING OFFICER’S REPRESENTATIVE	(DEC 2022)

852.203-70	COMMERCIAL ADVERTISING			(MAY 2018)

852.204-70	PERSONAL IDENTITY VERIFICATION OF	(MAY 2020)

CONTRACTOR PERSONNEL		(DEVIATION FEB 2026)

852.219-70	VA SMALL BUSINESS SUBCONTRACTING 	(JAN 2023)

PLAN MINIMUM REQUIREMENTS		(DEVIATION)

852.219-73	VA NOTICE TO TOTAL SET-ASIDE FOR 		(JAN 2023)

CERTIFIED SERVICE-DISABLED VETERAN-	(DEVIATION)

OWNED SMALL BUSINESSES

852.222-71	COMPLIANCE WITH EXECUTIVE ORDER 	(APR 2025)

13899							(DEVIATION)

852.232-72	ELECTRONIC SUBMISSION OF PAYMENT	(NOV 2018)

REQUESTS

852.242-71	ADMINISTRATIVE CONTRACTING OFFICER	(OCT 2020)

  - 52.217-8 OPTION TO EXTEND SERVICES (NOV 1999)

The Government may require continued performance of any services within the limits and at the rates specified in the contract. These rates may be adjusted only as a result of revisions to prevailing labor rates provided by the Secretary of Labor. The option provision may be exercised more than once, but the total extension of performance hereunder shall not exceed 6 months. The Contracting Officer may exercise the option by written notice to the Contractor within 5 calendar days before contract’s performance period ends.  The ‘specified’ rates under this clause will be those rates in effect under the contract each time an option is exercised under this clause.

(End of Clause)

  - 52.217-9 OPTION TO EXTEND THE TERM OF THE CONTRACT (MAR 2000)

a) The Government may extend the term of this contract by written notice to the Contractor within 5 calendar days of contract expiration; provided that the Government gives the Contractor a preliminary written notice of its intent to extend at least 15 calendar days of contract expiration. The preliminary notice does not commit the Government to an extension.

b) If the Government exercises this option, the extended contract shall be considered to include this option clause.

c) The total duration of this contract, including the exercise of any options under this clause, shall not exceed five (5) years.

(End of Clause)

  - CL-120 SUPPLEMENTAL INSURANCE REQUIREMENTS

In accordance with FAR 28.307-2 and FAR 52.228-5, the following minimum coverage shall apply to this contract:

(a)  Workers' compensation and employers liability:  Contractors are required to comply with applicable Federal and State workers' compensation and occupational disease statutes.  If occupational diseases are not compensable under those statutes, they shall be covered under the employer's liability section of the insurance policy, except when contract operations are so commingled with a Contractor's commercial operations that it would not be practical to require this coverage.  Employer's liability coverage of at least $100,000 is required, except in States with exclusive or monopolistic funds that do not permit workers' compensation to be written by private carriers.

(b)  General Liability: $500,000.00 per occurrences.

(c)  Automobile liability: $200,000.00 per person; $500,000.00 per occurrence and $20,000.00 property damage.

(d)  The successful bidder must present to the Contracting Officer, prior to award, evidence of general liability insurance without any exclusionary clauses for asbestos that would void the general liability coverage.

(End of Clause)

  - 852.204-72 PERSONNEL VETTING AND CREDENTIALING. (MARCH 2026)

(a) Definitions. As used in this clause – VA Information system is the same as information system and means, pursuant to 38 U.S.C. 5727, a discrete set of information resources organized for the collection, processing, maintenance, use, sharing, dissemination, or disposition of information whether automated or manual. VA sensitive information means all VA data, on any storage media or in any form or format, which requires protection due to the risk of harm that could result from inadvertent or deliberate disclosure, alteration, or destruction of the information and includes sensitive personal information. The term includes information where improper use or disclosure could adversely affect the ability of VA to accomplish its mission, proprietary information, records about individuals requiring protection under various confidentiality provisions such as the Privacy Act and the HIPAA Privacy Rule, and information that can be withheld under the Freedom of Information Act. Examples of VA sensitive information include the following: individually-identifiable medical, benefits, and personnel information; financial, budgetary, research, quality assurance, confidential commercial, critical infrastructure, investigatory, and law enforcement information; information that is confidential and privileged in litigation such as information protected by the deliberative process privilege, attorney work-product privilege, and the attorney-client privilege; and other information which, if released, could result in violation of law or harm or unfairness to any individual or group, or could adversely affect the national interest or the conduct of Federal programs.

(b) General. Contractor personnel assigned to work for or on behalf of VA must undergo a background investigation commensurate with the risk and sensitivity level designation associated with the work to be performed at the level indicated in the contract. The Contractor and subcontractors shall comply with VA Directive/Handbook 0710, Personnel Security and Suitability Program, which can be accessed at: https://vaww.va.gov/vapubs/index.cfm

(c) Risk and Sensitivity Levels. The following table identifies the risk and sensitivity levels that apply to any personnel providing services under this contract. *VA Administrations, organizations and staff offices will use the OPM Position Designation Tool.

Stationary Engineer is Designated as a Non-Sensitive Position - Tier 1/Low Risk

All tasks for stationary engineers are considered Tier 1 /Low risk.

Security clearances are granted to individuals with a specific requirement for access to classified material (for example, Confidential, Secret and Top Secret). Contractor personnel that are required to obtain a security clearance will be subject to a Tier 3 or Tier 5 investigation. The following sensitivity designations have been assigned for the identified Tier 3 and Tier 5 required by this contract: Tier 3: [Contracting Officer to enter “Non-Critical” or “Not Applicable” if no positions are identified as Tier 3] Tier 5: [Contracting Officer to enter either Critical Sensitive and/or Special Sensitive, or “Not Applicable” if no positions are identified as Tier 5]

(d) Fitness. The results from a background investigation are used to determine if an individual’s fitness is sufficient for that individual to perform work for or on behalf of VA in the position identified in this contract. Contractor fitness determinations are made in accordance with 5 CFR Part 731.202. Fitness requirements for employment are separate and distinct from job qualifications. If a Contractor or subcontractor employee is found to be unsuitable or unfit to provide services under this contract, the Contractor shall immediately remove the employee from working on this contract and take those necessary steps that restrict the employee’s logical access to VA data, information, VA sensitive information, or information technology or VA information systems containing such data or information systems containing such data or information.

The Contractor shall advise the employee that they are not permitted to access any VA controlled building or real property in relation to this contract. The removal of an unfit Contractor or subcontractor employee does not alleviate the Contractor from satisfying the requirements of this contract. The Government will not reimburse the Contractor for any costs associated with the recruitment/replacement of an employee or subcontractor employee who is found to be unfit.

(e) Identification Cards. The Government will provide a Personal Identification Verification (PIV) card or other identification card, as necessary, to fit Contractor personnel who require physical access to VA facilities and/or logical access to VA data, information, VA sensitive information, or information technology or VA information systems containing such data or information. Contractor and subcontractor personnel shall prominently display their PIV/identification card on their persons while working at a VA facility and shall present their PIV/identification card for inspection upon request by a VA official. The Contractor must surrender the employee or subcontractor employee’s PIV/identification card in accordance with the requirements set forth in Directive/Handbook 0735 when any of the following events occur: 1. When no longer needed for contract performance.

2. Upon completion of the Contractor/subcontractor employee’s employment.

3. Upon contract completion or termination.

(f) Lost/stolen. Immediately upon detection, the Contractor shall report a lost or stolen PIV/identification card to the Government authorities as identified in Directive/Handbook 0735. Within 48 hours of reporting the lost/stolen PIV/identification card, the Contractor shall submit to the Program Manager an incident report that describes the relevant facts and circumstances regarding the loss/theft. If the loss/theft was reported by the Contractor to the local police, the Contractor shall further submit a copy of the final police report to the Program Manager within 48 hours of the report being made available by the local police department. The Government will not reimburse the Contractor for any costs that result from lost/stolen PIV/identification card(s).

(g) Regular Reporting. The Contractor shall submit a status report to PIV Sponsor within 5 working days after the end of each calendar quarter and as requested by the Government in order to initiate contract closeout procedures. The report must provide the status of each contractor/subcontractor employee who is required to have a PIV/identification card during the performance of the contract. The report shall identify the Contractor and the contract number, and list the following status for each contractor/subcontractor employee who holds a PIV/identification card under this contract:

1.Contractor/subcontractor employee name.

2. Name of VA facility where Contractor/subcontractor employee works, if applicable.

3. Date background check submitted for Contractor/subcontractor employee.

4. Date PIV/identification card issued to Contractor/subcontractor employee.

5. Contractor/subcontractor employee’s PIV/identification card number, as applicable.

6. Date Contractor/subcontractor employee no longer has need for PIV/identification card.

7. Date Contractor notified VA that PIV/identification card is no longer required.

8. Date Contractor returned PIV/identification card was returned to VA.

(h) Flow down of clause. The Contractor shall include the substance of this clause in subcontracts, third-party agreements, and BAA’s, in which subcontractors, third-party servicers/employees, and business associates will perform functions where they will have physical access to a VA facility or logical access to VA data, information, VA sensitive information, or information technology or VA information system containing such data or information.

(End of clause)

  - VAAR 852.219-75 VA NOTICE OF LIMITATIONS ON SUBCONTRACTING - CERTIFICATE OF COMPLIANCE FOR SERVICES AND CONSTRUCTION (JAN 2023) (DEVIATION)

(a) Pursuant to 38 U.S.C. 8127(k)(2), the offeror certifies that -

(1) If awarded a contract (see FAR 2.101 definition), it will comply with the limitations on subcontracting requirement as provided in the solicitation and the resultant contract, as follows:

(i) X Services. In the case of a contract for services (except construction), the contractor will not pay more than 50% of the amount paid by the government to it to firms that are not VIP-listed SDVOSBs as set forth in 852.219-73 or VOSBs as set forth in 852.219-74. Any work that a similarly situated VIP-listed subcontractor further subcontracts will count towards the 50% subcontract amount that cannot be exceeded. Other direct costs may be excluded to the extent they are not the principal purpose of the acquisition and small business concerns do not provide the service as set forth in 13 CFR 125.6.

(ii) □ General construction. In the case of a contract for general construction, the contractor will not pay more than 85% of the amount paid by the government to it to firms that are not VIP-listed SDVOSBs as set forth in 852.219-73or VOSBs as set forth in 852.219-74. Any work that a similarly situated VIP-listed subcontractor further subcontracts will count towards the 85% subcontract amount that cannot be exceeded. Cost of materials are excluded and not considered to be subcontracted.

(iii) □ Special trade construction contractors. In the case of a contract for special trade contractors, the contractor will not pay more than 75% of the amount paid by the government to it to firms that are not VIP-listed SDVOSBs as set forth in 852.219-73 or VOSBs as set forth in 852.219-74. Any work that a similarly situated subcontractor further subcontracts will count towards the 75% subcontract amount that cannot be exceeded. Cost of materials are excluded and not considered to be subcontracted.

(2) The offeror acknowledges that this certification concerns a matter within the jurisdiction of an Agency of the United States. The offeror further acknowledges that this certification is subject to Title 18, United States Code, Section 1001, and, as such, a false, fictitious, or fraudulent certification may render the offeror subject to criminal, civil, or administrative penalties, including prosecution.

(3) If VA determines that an SDVOSB/VOSB awarded a contract pursuant to 38 U.S.C. 8127 did not act in good faith, such SDVOSB/VOSB shall be subject to any or all of the following:

(i) Referral to the VA Suspension and Debarment Committee;

(ii) A fine under section 16(g)(1) of the Small Business Act (15 U.S.C. 645(g)(1)); and

(iii) Prosecution for violating section 1001 of title 18.

(b) The offeror represents and understands that by submission of its offer and award of a contract it may be required to provide copies of documents or records to VA that VA may review to determine whether the offeror complied with the limitations on subcontracting requirement specified in the contract. Contracting officers may, at their discretion, require the contractor to demonstrate its compliance with the limitations on subcontracting at any time during performance and upon completion of a contract if the information regarding such compliance is not already available to the contracting officer. Evidence of compliance includes, but is not limited to, invoices, copies of subcontracts, or a list of the value of tasks performed.

(c) The offeror further agrees to cooperate fully and make available any documents or records as may be required to enable VA to determine compliance with the limitations on subcontracting requirement. The offeror understands that failure to provide documents as requested by VA may result in remedial action as the Government deems appropriate.

(d) Offeror completed certification/fill-in required. The formal certification must be completed, signed and returned with the offeror's bid, quotation, or proposal. The Government will not consider offers for award from offerors that do not provide the certification, and all such responses will be deemed ineligible for evaluation and award.

Certification

I hereby certify that if awarded the contract, [insert name of offeror] will comply with the limitations on subcontracting specified in this clause and in the resultant contract. I further certify that I am authorized to execute this certification on behalf of [insert name of offeror].

Printed Name of Signee: ____________________________

Printed Title of Signee: _____________________________

Signature: ________________________________________

Date: ____________________________

Company Name and Address: ________________________

(End of clause)

(End of Addendum to 52.212-4)

  - 52.212-5 CONTRACT TERMS AND CONDITIONS REQUIRED TO IMPLEMENT STATUTES OR EXECUTIVE ORDERS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025)

(a) The Contractor shall comply with the following Federal Acquisition Regulation (FAR) clauses, which are incorporated in this contract by reference, to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

(1) 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (Jan 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)).

(2) 52.204-23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab Covered Entities (Dec 2023) (Section 1634 of Pub. L. 115-91).

(3) 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (Nov 2021) (Section 889(a)(1)(A) of Pub. L. 115-232).

(4) 52.209-10, Prohibition on Contracting with Inverted Domestic Corporations (Nov 2015).

(5) 52.232-40, Providing Accelerated Payments to Small Business Subcontractors (Mar 2023) ( 31 U.S.C. 3903 and 10 U.S.C. 3801).

(6)   52.233-3, Protest After Award (Aug 1996) (31 U.S.C. 3553).

(7)   52.233-4, Applicable Law for Breach of Contract Claim (Oct 2004) (Public Laws 108-77 and 108-78 ( 19 U.S.C. 3805 note)).

(b) The Contractor shall comply with the FAR clauses in this paragraph (b) that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

[Contracting Officer check as appropriate.]

X (1) 52.203-6, Restrictions on Subcontractor Sales to the Government (Jun 2020), with Alternate I (Nov 2021) (41 U.S.C. 4704 and 10 U.S.C. 4655).

X (2) 52.203-13, Contractor Code of Business Ethics and Conduct (Nov 2021) (41 U.S.C. 3509)).

(3) 52.203-15, Whistleblower Protections under the American Recovery and Reinvestment Act of 2009 (Jun 2010) (Section 1553 of Pub. L. 111-5). (Applies to contracts funded by the American Recovery and Reinvestment Act of 2009.)

X (4) 52.203-17, Contractor Employee Whistleblower Rights (Nov 2023) ( 41 U.S.C. 4712); this clause does not apply to contracts of DoD, NASA, the Coast Guard, or applicable elements of the intelligence community—see FAR 3.900(a).

X (5) 52.204-10, Reporting Executive Compensation and First-Tier Subcontract Awards (Jun 2020) (Pub. L. 109-282) ( 31 U.S.C. 6101 note).

__ (6) [Reserved].

X (7) 52.204-14, Service Contract Reporting Requirements (Oct 2016) (Pub. L. 111-117, section 743 of Div. C).

__ (8) 52.204-15, Service Contract Reporting Requirements for Indefinite-Delivery Contracts (Oct 2016) (Pub. L. 111-117, section 743 of Div. C).

X (9) 52.204-27, Prohibition on a ByteDance Covered Application (Jun 2023) (Section 102 of Division R of Pub. L. 117-328).

__ (10) 52.204-28, Federal Acquisition Supply Chain Security Act Orders—Federal Supply Schedules, Governmentwide Acquisition Contracts, and Multi-Agency Contracts. (Dec 2023) ( Pub. L. 115–390, title II).

__ (11) (i) 52.204-30, Federal Acquisition Supply Chain Security Act Orders—Prohibition. (Dec 2023) ( Pub. L. 115–390, title II).

__ (ii) Alternate I (Dec 2023) of 52.204-30.

X (12) 52.209-6, Protecting the Government's Interest When Subcontracting With Contractors Debarred, Suspended, Proposed for Debarment, or Voluntarily Excluded. (Jan 2025) ( 31 U.S.C. 6101 note).

X (13) 52.209-9, Updates of Publicly Available Information Regarding Responsibility Matters (Oct 2018) ( 41 U.S.C. 2313).

__ (14) [Reserved].

__ (15) 52.219-3, Notice of HUBZone Set-Aside or Sole-Source Award (Oct 2022) ( 15 U.S.C. 657a).

__ (16) 52.219-4, Notice of Price Evaluation Preference for HUBZone Small Business Concerns (Oct 2022) (if the offeror elects to waive the preference, it shall so indicate in its offer) (15 U.S.C. 657a).

__ (17) [Reserved]

X (18) (i) 52.219-6, Notice of Total Small Business Set-Aside (Nov 2020) (15 U.S.C. 644).

__ (ii) Alternate I (Mar 2020) of 52.219-6.

__ (19) (i) 52.219-7, Notice of Partial Small Business Set-Aside (Nov 2020) (15 U.S.C. 644).

__ (ii) Alternate I (Mar 2020) of 52.219-7.

X (20) 52.219-8, Utilization of Small Business Concerns (Jan 2025)( 15 U.S.C. 637(d)(2) and (3)).

X (21) (i) 52.219-9, Small Business Subcontracting Plan (Jan 2025) ( 15 U.S.C. 637(d)(4)).

__ (ii) Alternate I (Nov 2016) of 52.219-9.

__ (iii) Alternate II (Nov 2016) of 52.219-9.

__ (iv) Alternate III (Jun 2020) of 52.219-9.

__ (v) Alternate IV (Jan 2025) of 52.219-9.

__ (22) (i) 52.219-13, Notice of Set-Aside of Orders (Mar 2020) (15 U.S.C. 644(r)).

__ (ii) Alternate I (Mar 2020) of 52.219-13.

(23) 52.219-14, Limitations on Subcontracting (Oct 2022) (15 U.S.C. 657s).

X (24) 52.219-16, Liquidated Damages—Subcontracting Plan (Sep 2021) (15 U.S.C. 637(d)(4)(F)(i)).

(25) 52.219-27, Notice of Set-Aside for, or Sole-Source Award to, Service-Disabled Veteran-Owned Small Business (SDVOSB) Concerns Eligible Under the SDVOSB Program (Feb 2024) (15 U.S.C. 657f).

X (26) (i) 52.219-28, Postaward Small Business Program Rerepresentation (Jan 2025) (15 U.S.C. 632(a)(2)).

__ (ii) Alternate I (Mar 2020) of 52.219-28.

__ (27) 52.219-29, Notice of Set-Aside for, or Sole-Source Award to, Economically Disadvantaged Women-Owned Small Business Concerns (Oct 2022) (15 U.S.C. 637(m)).

__ (28) 52.219-30, Notice of Set-Aside for, or Sole-Source Award to, Women-Owned Small Business Concerns Eligible Under the Women-Owned Small Business Program (Oct 2022) (15 U.S.C. 637(m)).

X (29) 52.219-32, Orders Issued Directly Under Small Business Reserves (Mar 2020) ( 15 U.S.C. 644(r)).

__ (30) 52.219-33, Nonmanufacturer Rule (Sep 2021) ( 15 U.S.C. 637(a)(17)).

X (31) 52.222-3, Convict Labor (Jun 2003) (E.O. 11755).

__ (32) 52.222-19, Child Labor—Cooperation with Authorities and Remedies (Jan 2025)( E.O. 13126).

X (33) 52.222-21, Prohibition of Segregated Facilities (Apr 2015).

X (34) (i) 52.222-26, Equal Opportunity (Sep 2016) (E.O. 11246).

__ (ii) Alternate I (Feb 1999) of 52.222-26.

X (35) (i) 52.222-35, Equal Opportunity for Veterans (Jun 2020) ( 38 U.S.C. 4212).

X (ii) Alternate I (Jul 2014) of 52.222-35.

X (36) (i) 52.222-36, Equal Opportunity for Workers with Disabilities (Jun 2020) ( 29 U.S.C. 793).

__ (ii) Alternate I (Jul 2014) of 52.222-36.

X (37) 52.222-37, Employment Reports on Veterans (Jun 2020) ( 38 U.S.C. 4212).

X (38) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (Dec 2010) (E.O. 13496).

X (39) (i) 52.222-50, Combating Trafficking in Persons (Oct 2025) (22 U.S.C. chapter 78 and E.O. 13627).

__ (ii) Alternate I (Mar 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O. 13627).

X (40) 52.222-54, Employment Eligibility Verification (Jan 2025) ( Executive Order 12989). (Not applicable to the acquisition of commercially available off-the-shelf items or certain other types of commercial products or commercial services as prescribed in FAR 22.1803.)

__ (41) (i) 52.223-9, Estimate of Percentage of Recovered Material Content for EPA–Designated Items (May 2008) ( 42 U.S.C. 6962(c)(3)(A)(ii)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

__ (ii) Alternate I (May 2008) of 52.223-9 (42 U.S.C. 6962(i)(2)(C)). (Not applicable to the acquisition of commercially available off-the-shelf items.)

__ (42) 52.223-11, Ozone-Depleting Substances and High Global Warming Potential Hydrofluorocarbons (May 2024) ( 42 U.S.C. 7671, et seq.).

__ (43) 52.223-12, Maintenance, Service, Repair, or Disposal of Refrigeration Equipment and Air Conditioners (May 2024) ( 42 U.S.C. 7671, et seq.).

__ (44) 52.223-20, Aerosols (May 2024) ( 42 U.S.C. 7671, et seq.).

__ (45) 52.223-21, Foams (May 2024) ( 42 U.S.C. 7671, et seq.).

X (46) 52.223-23, Sustainable Products and Services (May 2024)(DEVIATION FEB 2025) ( E.O. 14057, 7 U.S.C. 8102, 42 U.S.C. 6962, 42 U.S.C. 8259b, and 42 U.S.C. 7671l).

__ (47) (i) 52.224-3 Privacy Training (Jan 2017) ( 5 U.S.C. 552 a).

__ (ii) Alternate I (Jan 2017) of 52.224-3.

__ (48) (i) 52.225-1, Buy American-Supplies (Oct 2022) (41 U.S.C. chapter 83).

__ (ii) Alternate I (Oct 2022) of 52.225-1.

__ (49) (i) 52.225-3, Buy American-Free Trade Agreements-Israeli Trade Act (NOV 2023) ( 19 U.S.C. 3301 note, 19 U.S.C. 2112 note, 19 U.S.C. 3805 note, 19 U.S.C. 4001 note, 19 U.S.C. chapter 29 (sections 4501-4732), Public Law 103-182, 108-77, 108-78, 108-286, 108-302, 109-53, 109-169, 109-283, 110-138, 112-41, 112-42, and 112-43.

__ (ii) Alternate I [Reserved].

__ (iii) Alternate II (Jan 2025) of 52.225-3.

__ (iv) Alternate III (Feb 2024) of 52.225-3.

__ (v) Alternate IV (Oct 2022) of 52.225-3.

__ (50) 52.225-5, Trade Agreements (NOV 2023) ( 19 U.S.C. 2501, et seq., 19 U.S.C. 3301 note).

X (51) 52.225-13, Restrictions on Certain Foreign Purchases (Feb 2021) (E.O.’s, proclamations, and statutes administered by the Office of Foreign Assets Control of the Department of the Treasury).

__ (52) 52.225-26, Contractors Performing Private Security Functions Outside the United States (Oct 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. Subtitle A, Part V, Subpart G Note).

__ (53) 52.226-4, Notice of Disaster or Emergency Area Set-Aside (Nov 2007) (42 U.S.C. 5150).

__ (54) 52.226-5, Restrictions on Subcontracting Outside Disaster or Emergency Area (Nov 2007) (42 U.S.C. 5150).

X (55) 52.226-8, Encouraging Contractor Policies to Ban Text Messaging While Driving (May 2024) ( E.O. 13513).

X (56) 52.229-12, Tax on Certain Foreign Procurements (Feb 2021).

__ (57) 52.232-29, Terms for Financing of Purchases of Commercial Products and Commercial Services (Nov 2021) (41 U.S.C. 4505, 10 U.S.C. 3805).

__ (58) 52.232-30, Installment Payments for Commercial Products and Commercial Services (Nov 2021) (41 U.S.C. 4505, 10 U.S.C. 3805).

X (59) 52.232-33, Payment by Electronic Funds Transfer-System for Award Management (Oct2018) ( 31 U.S.C. 3332).

__ (60) 52.232-34, Payment by Electronic Funds Transfer-Other than System for Award Management (Jul 2013) (31 U.S.C. 3332).

__ (61) 52.232-36, Payment by Third Party (May 2014) (31 U.S.C. 3332).

__ (62) 52.239-1, Privacy or Security Safeguards (Aug 1996) ( 5 U.S.C. 552a).

X (63) 52.240-1, Prohibition on Unmanned Aircraft Systems Manufactured or Assembled by American Security Drone Act-Covered Foreign Entities (Nov 2024) (Sections 1821-1826, Pub. L. 118-31, 41 U.S.C. 3901 note prec.).

__ (64) 52.242-5, Payments to Small Business Subcontractors (Jan 2017) (15 U.S.C. 637(d)(13)).

__ (65) (i) 52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (Nov 2021) ( 46 U.S.C. 55305 and 10 U.S.C. 2631).

__ (ii) Alternate I (Apr 2003) of 52.247-64.

__ (iii) Alternate II (Nov 2021) of 52.247-64.

(c) The Contractor shall comply with the FAR clauses in this paragraph (c), applicable to commercial services, that the Contracting Officer has indicated as being incorporated in this contract by reference to implement provisions of law or Executive orders applicable to acquisitions of commercial products and commercial services:

[Contracting Officer check as appropriate.]

X (1) 52.222-41, Service Contract Labor Standards (Aug 2018) (41 U.S.C. chapter67).

X (2) 52.222-42, Statement of Equivalent Rates for Federal Hires (May 2014) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

STATIONARY ENGINEER, WG -10, $38.41/hour + 30% Fringe Benefits

This is not a Wage Determination. This is for informational purposes only.

X (3) 52.222-43, Fair Labor Standards Act and Service Contract Labor Standards-Price Adjustment (Multiple Year and Option Contracts) (Aug 2018) (29 U.S.C. 206 and 41 U.S.C. chapter 67).

__ (4) 52.222-44, Fair Labor Standards Act and Service Contract Labor Standards-Price Adjustment (May 2014) ( 29U.S.C.206 and 41 U.S.C. chapter 67).

__ (5) 52.222-51, Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment-Requirements (May 2014) (41 U.S.C. chapter 67).

__ (6) 52.222-53, Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services-Requirements (May 2014) (41 U.S.C. chapter 67).

X (7) 52.222-55, Minimum Wages for Contractor Workers Under Executive Order 14026 (Jan 2022).

X (8) 52.222-62, Paid Sick Leave Under Executive Order 13706 (Jan 2022) (E.O. 13706).

__ (9) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (Jun 2020) (42 U.S.C. 1792).

__ (10) 52.247-69, Reporting Requirement for U.S.-Flag Air Carriers Regarding Training to Prevent Human Trafficking (Jan 2025) ( 49 U.S.C. 40118(g)).

(d) Comptroller General Examination of Record. The Contractor shall comply with the provisions of this paragraph (d) if this contract was awarded using other than sealed bid, is in excess of the simplified acquisition threshold, as defined in FAR 2.101, on the date of award of this contract, and does not contain the clause at 52.215-2, Audit and Records-Negotiation.

(1) The Comptroller General of the United States, or an authorized representative of the Comptroller General, shall have access to and right to examine any of the Contractor’s directly pertinent records involving transactions related to this contract.

(2) The Contractor shall make available at its offices at all reasonable times the records, materials, and other evidence for examination, audit, or reproduction, until 3 years after final payment under this contract or for any shorter period specified in FAR subpart 4.7, Contractor Records Retention, of the other clauses of this contract. If this contract is completely or partially terminated, the records relating to the work terminated shall be made available for 3 years after any resulting final termination settlement. Records relating to appeals under the disputes clause or to litigation or the settlement of claims arising under or relating to this contract shall be made available until such appeals, litigation, or claims are finally resolved.

(3) As used in this clause, records include books, documents, accounting procedures and practices, and other data, regardless of type and regardless of form. This does not require the Contractor to create or maintain any record that the Contractor does not maintain in the ordinary course of business or pursuant to a provision of law.

(e) (1) Notwithstanding the requirements of the clauses in paragraphs (a), (b), (c), and (d) of this clause, the Contractor is not required to flow down any FAR clause, other than those in this paragraph (e)(1), in a subcontract for commercial products or commercial services. Unless otherwise indicated below, the extent of the flow down shall be as required by the clause-

(i) 52.203-13, Contractor Code of Business Ethics and Conduct (Nov 2021) (41 U.S.C. 3509).

(ii) 52.203-17, Contractor Employee Whistleblower Rights (Nov 2023) ( 41 U.S.C. 4712).

(iii) 52.203-19, Prohibition on Requiring Certain Internal Confidentiality Agreements or Statements (Jan 2017) (section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions)).

(iv) 52.204-23, Prohibition on Contracting for Hardware, Software, and Services Developed or Provided by Kaspersky Lab Covered Entities (Dec 2023) (Section 1634 of Pub. L. 115-91).

(v) 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment. (Nov 2021) (Section 889(a)(1)(A) of Pub. L. 115-232).

(vi) 52.204-27, Prohibition on a ByteDance Covered Application (Jun 2023) (Section 102 of Division R of Pub. L. 117-328).

(vii) (A) 52.204–30, Federal Acquisition Supply Chain Security Act Orders—Prohibition. (Dec 2023) ( Pub. L. 115–390, title II).

(B) Alternate I (Dec 2023) of 52.204–30.

(viii) 52.219-8, Utilization of Small Business Concerns (Jan 2025) ( 15 U.S.C. 637(d)(2) and (3)), in all subcontracts that offer further subcontracting opportunities. If the subcontract (except subcontracts to small business concerns) exceeds the applicable threshold specified in FAR 19.702(a) on the date of subcontract award, the subcontractor must include 52.219-8 in lower tier subcontracts that offer subcontracting opportunities.

(ix) 52.222-21, Prohibition of Segregated Facilities (Apr 2015).

(x) 52.222-26, Equal Opportunity (Sep 2016) (E.O. 11246).

(xi) 52.222-35, Equal Opportunity for Veterans (Jun 2020) (38 U.S.C. 4212).

(xii) 52.222-36, Equal Opportunity for Workers with Disabilities (Jun 2020) (29 U.S.C. 793).

(xiii) 52.222-37, Employment Reports on Veterans (Jun 2020) (38 U.S.C. 4212).

(xiv) 52.222-40, Notification of Employee Rights Under the National Labor Relations Act (Dec 2010) (E.O. 13496). Flow down required in accordance with paragraph (f) of FAR clause 52.222-40.

(xv) 52.222-41, Service Contract Labor Standards (Aug 2018) ( 41 U.S.C. chapter 67).

(xvi) (A) 52.222-50, Combating Trafficking in Persons (Oct 2025) (22 U.S.C. chapter 78 and E.O. 13627).

(B) Alternate I (Mar 2015) of 52.222-50 (22 U.S.C. chapter 78 and E.O. 13627).

(xvii) 52.222-51, Exemption from Application of the Service Contract Labor Standards to Contracts for Maintenance, Calibration, or Repair of Certain Equipment-Requirements (May 2014) (41 U.S.C. chapter 67).

(xviii) 52.222-53, Exemption from Application of the Service Contract Labor Standards to Contracts for Certain Services-Requirements (May 2014) (41 U.S.C. chapter 67).

(xix) 52.222-54, Employment Eligibility Verification (Jan 2025) ( E.O. 12989).

(xx) 52.222-55, Minimum Wages for Contractor Workers Under Executive Order 14026 (Jan 2022).

(xxi) 52.222-62, Paid Sick Leave Under Executive Order 13706 (Jan 2022) (E.O. 13706).

(xxii)

(A) 52.224-3, Privacy Training (Jan 2017) ( 5 U.S.C. 552a).

(B) Alternate I (Jan 2017) of 52.224-3.

(xxiii) 52.225-26, Contractors Performing Private Security Functions Outside the United States (Oct 2016) (Section 862, as amended, of the National Defense Authorization Act for Fiscal Year 2008; 10 U.S.C. Subtitle A, Part V, Subpart G Note).

(xxiv) 52.226-6, Promoting Excess Food Donation to Nonprofit Organizations (Jun 2020) (42 U.S.C. 1792). Flow down required in accordance with paragraph (e) of FAR clause 52.226-6.

(xxv) 52.232-40, Providing Accelerated Payments to Small Business Subcontractors (Mar 2023) ( 31 U.S.C. 3903 and 10 U.S.C. 3801). Flow down required in accordance with paragraph (c) of 52.232-40.

(xxvi) 52.240-1, Prohibition on Unmanned Aircraft Systems Manufactured or Assembled by American Security Drone Act-Covered Foreign Entities (Nov 2024) (Sections 1821-1826, Pub. L. 118-31, 41 U.S.C. 3901 note prec.).

(xxvii)   52.247-64, Preference for Privately Owned U.S.-Flag Commercial Vessels (Nov 2021) ( 46 U.S.C. 55305 and 10 U.S.C. 2631). Flow down required in accordance with paragraph (d) of FAR clause 52.247-64.

(2) While not required, the Contractor may include in its subcontracts for commercial products and commercial services a minimal number of additional clauses necessary to satisfy its contractual obligations.

(End of clause)

SECTION D - CONTRACT DOCUMENTS, EXHIBITS, OR ATTACHMENTS

- Hines VA Campus site plan (Attachment 1)

- VHA Directive 1810 (Attachment 2)

- Boiler Safety Device Testing Manual 8th Edition February 2024 (Attachment 3)

- Two-week onsite assessment (Attachment 4)

- Cook County WD 2015-5017 Rev-31 dated 12032025

## SECTION E - SOLICITATION PROVISIONS

## E.1 52.212-1 INSTRUCTIONS TO OFFERORS – COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (SEP 2023) (Tailored)

(a) North American Industry Classification System (NAICS) code and small business size standard. The NAICS code(s) and small business size standard(s) for this acquisition appear elsewhere in the solicitation. However, the small business size standard for a concern that submits an offer, other than on a construction or service acquisition, but proposes to furnish an end item that it did not itself manufacture, process, or produce is 500 employees, or 150 employees for information technology value-added resellers under NAICS code 541519, if the acquisition—

(1) Is set aside for small business and has a value above the simplified acquisition threshold;

(2) Uses the HUBZone price evaluation preference regardless of dollar value, unless the offeror waives the price evaluation preference; or

(3) Is an 8(a), HUBZone, service-disabled veteran-owned, economically disadvantaged women-owned, or women-owned small business set-aside or sole-source award regardless of dollar value.

(b) Submission of offers. Submit signed and dated offers to the office specified in this solicitation at or before the exact time specified in this solicitation. Offers may be submitted on the SF 1449, letterhead stationery, or as otherwise specified in the solicitation. As a minimum, offers must show—

(1) The solicitation number;

(2) The time specified in the solicitation for receipt of offers;

(3) The name, address, and telephone number of the offeror;

(4) A technical description of the items being offered in sufficient detail to evaluate compliance with the requirements in the solicitation. This may include product literature, or other documents, if necessary;

(5) Terms of any express warranty;

(6) Price and any discount terms;

(7) "Remit to" address, if different than mailing address;

(8) A completed copy of the representations and certifications at Federal Acquisition Regulation (FAR) 52.212-3 (see FAR 52.212-3(b) for those representations and certifications that the offeror shall complete electronically);

(9) Acknowledgment of Solicitation Amendments;

(10) Past performance information, when included as an evaluation factor, to include recent and relevant contracts for the same or similar items and other references (including contract numbers, points of contact with telephone numbers and other relevant information); and

(11) If the offer is not submitted on the SF 1449, include a statement specifying the extent of agreement with all terms, conditions, and provisions included in the solicitation. Offers that fail to furnish required representations or information, or reject the terms and conditions of the solicitation may be excluded from consideration.

(c) Period for acceptance of offers. The offeror agrees to hold the prices in its offer firm for 30 calendar days from the date specified for receipt of offers, unless another time period is specified in an addendum to the solicitation.

(d) Product samples. When required by the solicitation, product samples shall be submitted at or prior to the time specified for receipt of offers. Unless otherwise specified in this solicitation, these samples shall be submitted at no expense to the Government, and returned at the sender's request and expense, unless they are destroyed during preaward testing.

(e) Multiple offers. Offerors are encouraged to submit multiple offers presenting alternative terms and conditions, including alternative line items (provided that the alternative line items are consistent with FAR subpart 4.10), or alternative commercial products or commercial services for satisfying the requirements of this solicitation. Each offer submitted will be evaluated separately.

(f) Late submissions, modifications, revisions, and withdrawals of offers.

(1) Offerors are responsible for submitting offers, and any modifications, revisions, or withdrawals, so as to reach the Government office designated in the solicitation by the time specified in the solicitation. If no time is specified in the solicitation, the time for receipt is 4:30 p.m., local time, for the designated Government office on the date that offers or revisions are due.

(2)(i) Any offer, modification, revision, or withdrawal of an offer received at the Government office designated in the solicitation after the exact time specified for receipt of offers is "late" and will not be considered unless it is received before award is made, the Contracting Officer determines that accepting the late offer would not unduly delay the acquisition; and—

(A) If it was transmitted through an electronic commerce method authorized by the solicitation, it was received at the initial point of entry to the Government infrastructure not later than 5:00 p.m. one working day prior to the date specified for receipt of offers; or

(B) There is acceptable evidence to establish that it was received at the Government installation designated for receipt of offers and was under the Government's control prior to the time set for receipt of offers; or

(C) If this solicitation is a request for proposals, it was the only proposal received.

(ii) However, a late modification of an otherwise successful offer, that makes its terms more favorable to the Government, will be considered at any time it is received and may be accepted.

(3) Acceptable evidence to establish the time of receipt at the Government installation includes the time/date stamp of that installation on the offer wrapper, other documentary evidence of receipt maintained by the installation, or oral testimony or statements of Government personnel.

(4) If an emergency or unanticipated event interrupts normal Government processes so that offers cannot be received at the Government office designated for receipt of offers by the exact time specified in the solicitation, and urgent Government requirements preclude amendment of the solicitation or other notice of an extension of the closing date, the time specified for receipt of offers will be deemed to be extended to the same time of day specified in the solicitation on the first work day on which normal Government processes resume.

(5) Offers may be withdrawn by written notice received at any time before the exact time set for receipt of offers. Oral offers in response to oral solicitations may be withdrawn orally. If the solicitation authorizes facsimile offers, offers may be withdrawn via facsimile received at any time before the exact time set for receipt of offers, subject to the conditions specified in the solicitation concerning facsimile offers. An offer may be withdrawn in person by an offeror or its authorized representative if, before the exact time set for receipt of offers, the identity of the person requesting withdrawal is established and the person signs a receipt for the offer.

(g) Contract award (not applicable to Invitation for Bids). The Government intends to evaluate offers and award a contract without discussions with offerors. Therefore, the offeror's initial offer should contain the offeror's best terms from a price and technical standpoint. However, the Government reserves the right to conduct discussions if later determined by the Contracting Officer to be necessary. The Government may reject any or all offers if such action is in the public interest; accept other than the lowest offer; and waive informalities and minor irregularities in offers received.

(h) Multiple awards. The Government may accept any item or group of items of an offer, unless the offeror qualifies the offer by specific limitations. Unless otherwise provided in the Schedule, offers may not be submitted for quantities less than those specified. The Government reserves the right to make an award on any item for a quantity less than the quantity offered, at the unit prices offered, unless the offeror specifies otherwise in the offer.

(i) Availability of requirements documents cited in the solicitation.

(1)(i) The GSA Index of Federal Specifications, Standards and Commercial Item Descriptions, FPMR Part 101-29, and copies of specifications, standards, and product descriptions can be downloaded from the ASSIST website at https://assist.dla.mil.

(ii) If the General Services Administration, Department of Agriculture, or Department of Veterans Affairs issued this solicitation, a copy of specifications, standards, and commercial item descriptions cited in this solicitation may be obtained from the address in paragraph (i)(1)(i) of this provision.

(2) Most unclassified Defense specifications and standards may be downloaded from the ASSIST website at https://assist.dla.mil.

(3) Defense documents not available from the ASSIST website may be requested from the Defense Standardization Program Office by-

(i) Using the ASSIST feedback module (https://assist.dla.mil/feedback); or

(ii) Contacting the Defense Standardization Program Office by telephone at 571-767-6688 or email at assisthelp@dla.mil.

(4) Nongovernment (voluntary) standards must be obtained from the organization responsible for their preparation, publication, or maintenance.

(j) Unique entity identifier. (Applies to all offers that exceed the micro-purchase threshold, and offers at or below the micro-purchase threshold if the solicitation requires the Contractor to be registered in the System for Award Management (SAM).) The Offeror shall enter, in the block with its name and address on the cover page of its offer, the annotation ‘‘Unique Entity Identifier’’ followed by the unique entity identifier that identifies the Offeror’s name and address. The Offeror also shall enter its Electronic Funds Transfer (EFT) indicator, if applicable. The EFT indicator is a four-character suffix to the unique entity identifier. The suffix is assigned at the discretion of the Offeror to establish additional SAM records for identifying alternative EFT accounts (see FAR subpart 32.11) for the same entity. If the Offeror does not have a unique entity identifier, it should contact the entity designated at www.sam.gov for unique entity identifier establishment directly to obtain one. The Offeror should indicate that it is an offeror for a Government contract when contacting the entity designated at www.sam.gov for establishing the unique entity identifier.

(k) [Reserved]

(l) Debriefing. If a post-award debriefing is given to requesting offerors, the Government shall disclose the following information, if applicable:

(1) The agency's evaluation of the significant weak or deficient factors in the debriefed offeror's offer.

(2) The overall evaluated cost or price and technical rating of the successful and the debriefed offeror and past performance information on the debriefed offeror.

(3) The overall ranking of all offerors, when any ranking was developed by the agency during source selection.

(4) A summary of the rationale for award;

(5) For acquisitions of commercial products, the make and model of the product to be delivered by the successful offeror.

(6) Reasonable responses to relevant questions posed by the debriefed offeror as to whether source-selection procedures set forth in the solicitation, applicable regulations, and other applicable authorities were followed by the agency.

(End of Provision)

ADDENDUM to FAR 52.212-1 INSTRUCTIONS TO OFFERORS—COMMERCIAL ITEMS

Provisions that are incorporated by reference (by Citation Number, Title, and Date), have the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available.

The following provisions are incorporated into 52.212-1 as an addendum to this solicitation:

ELIGIBILITY

This procurement is 100% set aside for Service-Disabled Veteran Owned Small Businesses (SDVOSBs).

All SDVOSB offerors must be listed as verified by the Small Business Administration website (SBA) in order to submit an offer in response to this solicitation in accordance with VAAR 819.7003.

See 52.212-2 Evaluation – Commercial Items for basis of award

PROPOSAL PREPARATION INSTRUCTIONS

To assure timely and equitable evaluation of proposals, offerors must follow the instructions contained herein for proposal submissions. Proposals must be complete, self-sufficient, and respond directly to the requirements of this solicitation.

FAILURE TO PROVIDE ANY OF THE INFORMATION REQUESTED IN THIS SECTION MAY RESULT IN YOUR PROPOSAL BEING EXCLUDED FROM FURTHER CONSIDERATION FOR AWARD.

Required Documentation

Offerors shall submit proposal by email to eileen.meyer@va.gov by the solicitation due date. Please limit graphics or excessive large files during proposal submission. The VA is not responsible for late responses due to undelivered e-mails.

As part of their proposal, offerors shall submit the following information:

- Price Proposal:

a. Complete SCHEDULE OF SUPPLIES/SERVICES AND PRICES/COSTS

b. Fill in SF 1449 blocks 17a, 30a, 30b, and 30c on Page 1.

c. Contractor information on page 2

d. Completed clause fill-ins for VAAR 852.219-75

e. Completed Provision fill-ins for FAR 52.204-24, as applicable

f. Completed Provision fill-ins for FAR 52.209-7

g. Completed Provision fill-ins for FAR 52.212-3

h. Completed Price Schedule

i. Certificate of Liability Insurance

j. Current and active SAM registration (please note that an inactive SAM will result in a non-responsive/technically unacceptable proposal and shall not be eligible for award).

k. Current and active DSBS/SBA certification for SDVOSB eligibility.

*VA has a maximum allowable incoming email size limitation including attachments of seven megabytes. Offerors submitting responses via email which exceed seven megabytes shall split their response into multiple email messages so as to not exceed the maximum allowable email size limitation.  The VA is not responsible for late responses due to undelivered e-mails that exceed seven megabytes.

- Technical Capability:

- Offeror shall submit resumes of at least three (3) proposed stationary engineers that meet or exceed the requirements of the Statement of Work who will perform service under this contract.

- Offeror shall submit copies of a valid city of Chicago stationary engineers license for the proposed stationary engineers who will perform service under this contract.

- Specific to the assessment report requirement (SOW section 2.0 – General Requirements), offeror shall submit the following:

  - Professional engineers license.

  - Three (3) years’ experience in VA stationary engineer operations.

- Offeror shall submit confirmation that the Limitations of Subcontracting (LOS) can be met, should they apply. This confirmation shall include a narrative explanation of how they will be met.

- Experience:

  - Offeror shall provide a narrative that describes experience, how offeror will ensure qualified staff is in place within thirty (30) days of contract award, and proof that offeror has been providing stationary engineer support staff as described in the Statement of Work at a medical facility of the similar size as procuring facility. Narrative/proof shall include a list of companies/agencies where the contractor has provided personnel for these same services in the past. This narrative/proof shall not exceed two (2) pages.

NOTE: If subcontractor(s) are used, they shall be approved by the CO; the Contractor shall submit any proposed change in Subcontractor(s) to the CO for approval/disapproval.  The contractor shall be fully staffed within thirty (30) days of contract award. All personnel shall receive close and continuing first-line supervision by the contractor.

Offerors shall also submit the following documentation with their proposal:

Proof of Registration in SAM in accordance with FAR 52.204-7 System for Award Management (OCT 2018)

TYPE OF CONTRACT: Firm-Fixed-Price (FFP)

E.2  52.252-1  SOLICITATION PROVISIONS INCORPORATED BY REFERENCE  (FEB 1998)

This solicitation incorporates one or more solicitation provisions by reference (by Citation Number, Title, and Date), with the same force and effect as if they were given in full text. Upon request, the Contracting Officer will make their full text available. The offeror is cautioned that the listed provisions may include blocks that must be completed by the offeror and submitted with its quotation or offer. In lieu of submitting the full text of those provisions, the offeror may identify the provision by paragraph identifier and provide the appropriate information with its quotation or offer. Also, the full text of a solicitation provision may be accessed electronically at this/these address(es):

http://www.acquisition.gov/far/index.html

http://www.va.gov/oamm/oa/ars/policyreg/vaar/index.cfm

## The following provisions are incorporated by reference:

52.204-7	SYSTEM FOR AWARD MANAGEMENT	(NOV 2024)

52.204-16	COMMERCIAL AND GOVERNMENT 	(AUG 2020)

ENTITY CODE REPORTING

52.229-11	TAX ON CERTAIN FOREIGN 		(JUN 2020)

PROCUREMENTS – NOTICE AND

REPRESENTATION

52.237-1	SITE VISIT					(APR 1984)

852.233-70 	PROTEST CONTENT/ALTERNATIVE 	(OCT 2018)

DISPUTE RESOLUTION

852.233-71 	ALTERNATE PROTEST PROCEDURE 	(OCT 2018)

E.3 52.204-24 REPRESENTATION REGARDING CERTAIN TELECOMMUNICATIONS AND VIDEO SURVEILLANCE SERVICES OR EQUIPMENT (NOV 2021)

The Offeror shall not complete the representation at paragraph (d)(1) of this provision if the Offeror has represented that it "does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument" in paragraph (c)(1) in the provision at 52.204-26, Covered Telecommunications Equipment or Services—Representation, or in paragraph (v)(2)(i) of the provision at 52.212-3, Offeror Representations and Certifications-Commercial Products or Commercial Services. The Offeror shall not complete the representation in paragraph (d)(2) of this provision if the Offeror has represented that it "does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services" in paragraph (c)(2) of the provision at 52.204-26, or in paragraph (v)(2)(ii) of the provision at 52.212-3.

(a) Definitions. As used in this provision—

Backhaul, covered telecommunications equipment or services, critical technology, interconnection arrangements, reasonable inquiry, roaming, and substantial or essential component have the meanings provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

(b) Prohibition.

(1) Section 889(a)(1)(A) of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232) prohibits the head of an executive agency on or after August 13, 2019, from procuring or obtaining, or extending or renewing a contract to procure or obtain, any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system. Nothing in the prohibition shall be construed to—

(i) Prohibit the head of an executive agency from procuring with an entity to provide a service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Cover telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(2) Section 889(a)(1)(B) of the John S. McCain National Defense Authorization Act for Fiscal Year 2019 (Pub. L. 115-232) prohibits the head of an executive agency on or after August 13, 2020, from entering into a contract or extending or renewing a contract with an entity that uses any equipment, system, or service that uses covered telecommunications equipment or services as a substantial or essential component of any system, or as critical technology as part of any system. This prohibition applies to the use of covered telecommunications equipment or services, regardless of whether that use is in performance of work under a Federal contract. Nothing in the prohibition shall be construed to—

(i) Prohibit the head of an executive agency from procuring with an entity to provide a service that connects to the facilities of a third-party, such as backhaul, roaming, or interconnection arrangements; or

(ii) Cover telecommunications equipment that cannot route or redirect user data traffic or cannot permit visibility into any user data or packets that such equipment transmits or otherwise handles.

(c) Procedures. The Offeror shall review the list of excluded parties in the System for Award Management (SAM) (https://www.sam.gov) for entities excluded from receiving federal awards for "covered telecommunications equipment or services".

(d) Representation. The Offeror represents that—

(1) It □ will, □ will not provide covered telecommunications equipment or services to the Government in the performance of any contract, subcontract or other contractual instrument resulting from this solicitation. The Offeror shall provide the additional disclosure information required at paragraph (e)(1) of this section if the Offeror responds "will" in paragraph (d)(1) of this section; and

(2) After conducting a reasonable inquiry, for purposes of this representation, the Offeror represents that—

It □ does, □ does not use covered telecommunications equipment or services, or use any equipment, system, or service that uses covered telecommunications equipment or services. The Offeror shall provide the additional disclosure information required at paragraph (e)(2) of this section if the Offeror responds "does" in paragraph (d)(2) of this section.

(e) Disclosures.

(1) Disclosure for the representation in paragraph (d)(1) of this provision. If the Offeror has responded "will" in the representation in paragraph (d)(1) of this provision, the Offeror shall provide the following information as part of the offer:

(i) For covered equipment—

(A) The entity that produced the covered telecommunications equipment (include entity name, unique entity identifier, CAGE code, and whether the entity was the original equipment manufacturer (OEM) or a distributor, if known);

(B) A description of all covered telecommunications equipment offered (include brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); and

(C) Explanation of the proposed use of covered telecommunications equipment and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(1) of this provision.

(ii) For covered services—

(A) If the service is related to item maintenance: A description of all covered telecommunications services offered (include on the item being maintained: Brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); or

(B) If not associated with maintenance, the Product Service Code (PSC) of the service being provided; and explanation of the proposed use of covered telecommunications services and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(1) of this provision.

(2) Disclosure for the representation in paragraph (d)(2) of this provision. If the Offeror has responded "does" in the representation in paragraph (d)(2) of this provision, the Offeror shall provide the following information as part of the offer:

(i) For covered equipment—

(A) The entity that produced the covered telecommunications equipment (include entity name, unique entity identifier, CAGE code, and whether the entity was the OEM or a distributor, if known);

(B) A description of all covered telecommunications equipment offered (include brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); and

(C) Explanation of the proposed use of covered telecommunications equipment and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(2) of this provision.

(ii) For covered services—

(A) If the service is related to item maintenance: A description of all covered telecommunications services offered (include on the item being maintained: Brand; model number, such as OEM number, manufacturer part number, or wholesaler number; and item description, as applicable); or

(B) If not associated with maintenance, the PSC of the service being provided; and explanation of the proposed use of covered telecommunications services and any factors relevant to determining if such use would be permissible under the prohibition in paragraph (b)(2) of this provision.

(End of provision)

## E.4  52.204-29  FEDERAL ACQUISITION SUPPLY CHAIN SECURITY ACT ORDERS—REPRESENTATION AND DISCLOSURES (DEC 2023)

(a) Definitions. As used in this provision, Covered article, FASCSA order, Intelligence community, National security system, Reasonable inquiry, Sensitive compartmented information, Sensitive compartmented information system, and Source have the meaning provided in the clause 52.204–30, Federal Acquisition Supply Chain Security Act Orders— Prohibition.

(b) Prohibition. Contractors are prohibited from providing or using as part of the performance of the contract any covered article, or any products or services produced or provided by a source, if the prohibition is set out in an applicable Federal Acquisition Supply Chain Security Act (FASCSA) order, as described in paragraph (b)(1) of FAR 52.204–30, Federal Acquisition Supply Chain Security Act Orders—Prohibition.

(c) Procedures. (1) The Offeror shall search for the phrase ‘‘FASCSA order’’ in the System for Award Management (SAM)(https://www.sam.gov) for any covered article, or any products or services produced or provided by a source, if there is an applicable FASCSA order described in paragraph (b)(1) of FAR 52.204–30, Federal Acquisition Supply Chain Security Act Orders—Prohibition.

(2) The Offeror shall review the solicitation for any FASCSA orders that are not in SAM, but are effective and do apply to the solicitation and resultant contract (see FAR 4.2303(c)(2)).

(3) FASCSA orders issued after the date of solicitation do not apply unless added by an amendment to the solicitation.

(d) Representation. By submission of this offer, the offeror represents that it has conducted a reasonable inquiry, and that the offeror does not propose to provide or use in response to this solicitation any covered article, or any products or services produced or provided by a source, if the covered article or the source is prohibited by an applicable FASCSA order in effect on the date the solicitation was issued, except as waived by the solicitation, or as disclosed in paragraph (e).

(e) Disclosures. The purpose for this disclosure is so the Government may decide whether to issue a waiver. For any covered article, or any products or services produced or provided by a source, if the covered article or the source is subject to an applicable FASCSA order, and the Offeror is unable to represent compliance, then the Offeror shall provide the following information as part of the offer:

(1) Name of the product or service provided to the Government;

(2) Name of the covered article or source subject to a FASCSA order;

(3) If applicable, name of the vendor, including the Commercial and Government Entity code and unique entity identifier (if known), that supplied the covered article or the product or service to the Offeror;

(4) Brand;

(5) Model number (original equipment manufacturer number, manufacturer part number, or wholesaler number);

(6) Item description;

(7) Reason why the applicable covered article or the product or service is being provided or used;

(f) Executive agency review of disclosures. The contracting officer will review disclosures provided in paragraph (e) to determine if any waiver may be sought. A contracting officer may choose not to pursue a waiver for covered articles or sources otherwise subject to a FASCSA order and may instead make an award to an offeror that does not require a waiver.

(End of Provision)

E.5 52.209-7 INFORMATION REGARDING RESPONSIBILITY MATTERS (OCT 2018)

(a) Definitions. As used in this provision—

Administrative proceeding means a non-judicial process that is adjudicatory in nature in order to make a determination of fault or liability (e.g., Securities and Exchange Commission Administrative Proceedings, Civilian Board of Contract Appeals Proceedings, and Armed Services Board of Contract Appeals Proceedings). This includes administrative proceedings at the Federal and State level but only in connection with performance of a Federal contract or grant. It does not include agency actions such as contract audits, site visits, corrective plans, or inspection of deliverables.

Federal contracts and grants with total value greater than $10,000,000 means—

(1) The total value of all current, active contracts and grants, including all priced options; and

(2) The total value of all current, active orders including all priced options under indefinite-delivery, indefinite-quantity, 8(a), or requirements contracts (including task and delivery and multiple-award Schedules).

Principal means an officer, director, owner, partner, or a person having primary management or supervisory responsibilities within a business entity (e.g., general manager; plant manager; head of a division or business segment; and similar positions).

(b) The offeror □ has □ does not have current active Federal contracts and grants with total value greater than $10,000,000.

(c) If the offeror checked "has" in paragraph (b) of this provision, the offeror represents, by submission of this offer, that the information it has entered in the Federal Awardee Performance and Integrity Information System (FAPIIS) is current, accurate, and complete as of the date of submission of this offer with regard to the following information:

(1) Whether the offeror, and/or any of its principals, has or has not, within the last five years, in connection with the award to or performance by the offeror of a Federal contract or grant, been the subject of a proceeding, at the Federal or State level that resulted in any of the following dispositions:

(i) In a criminal proceeding, a conviction.

(ii) In a civil proceeding, a finding of fault and liability that results in the payment of a monetary fine, penalty, reimbursement, restitution, or damages of $5,000 or more.

(iii) In an administrative proceeding, a finding of fault and liability that results in–

(A) The payment of a monetary fine or penalty of $5,000 or more; or

(B) The payment of a reimbursement, restitution, or damages in excess of $100,000.

(iv) In a criminal, civil, or administrative proceeding, a disposition of the matter by consent or compromise with an acknowledgment of fault by the Contractor if the proceeding could have led to any of the outcomes specified in paragraphs (c)(1)(i), (c)(1)(ii), or (c)(1)(iii) of this provision.

(2) If the offeror has been involved in the last five years in any of the occurrences listed in (c)(1) of this provision, whether the offeror has provided the requested information with regard to each occurrence.

(d) The offeror shall post the information in paragraphs (c)(1)(i) through (c)(1)(iv) of this provision in FAPIIS as required through maintaining an active registration in the System for Award Management, which can be accessed via https://www.sam.gov (see 52.204-7).

(End of provision)

## E.6  52.216-1 TYPE OF CONTRACT (APR 1984)

The Government contemplates award of a Firm-Fixed-Price contract resulting from this solicitation.

(End of Provision)

E.7  52.233-2 SERVICE OF PROTEST (SEP 2006)

(a) Protests, as defined in section 33.101 of the Federal Acquisition Regulation, that are filed directly with an agency, and copies of any protests that are filed with the Government Accountability Office (GAO), shall be served on the Contracting Officer (addressed as follows) by obtaining written and dated acknowledgment of receipt from 115 S. 84th Street, Milwaukee, WI 53214.

(b) The copy of any protest shall be received in the office designated above within one day of filing a protest with the GAO.

(End of provision)

(End of Addendum to 52.212-1)

E.8  52.212-2  EVALUATION--COMMERCIAL ITEMS (NOV 2021)

Prior to evaluating proposals under the non-price and price evaluation factors, the government will conduct an initial compliance review to determine whether offerors have complied strictly with all solicitation instructions. Proposals which do not strictly comply with all solicitation instructions shall be rejected and will not be evaluated under the non-price and price evaluation factors.

Proposals shall be all-inclusive and not refer or require the government to external communication mediums to supplement the proposal. To be eligible for award, the submitted proposal must conform to the solicitation requirements, including all stated terms, conditions, representations, certifications, and all other information required by the submission instructions of FAR 52.212-1 and its addendum, to include proper of completion of VAAR 852.819-75 and FAR 52.209-7, FAR 52.212-3, and FAR 52.204-24 (if the offeror’s representations in FAR 52.212-3(v)(2)(i) and (ii) require as much).

(a) The Government will award a contract resulting from this solicitation to the responsible offeror whose offer conforming to the solicitation will be most advantageous to the Government, price and other factors considered. The following factors shall be used to evaluate offers:

- Price

- Technical Capability - See Addendum to 52.212-1 for information that shall be submitted for evaluation under this factor.

- Experience

- Past Performance

Technical capability, experience, and past performance, when combined, are significantly more important than price.

(b) Options. The Government will evaluate offers for award purposes by adding the total price for all options (including optional Contract Line Items, if applicable) to the total price for the basic requirement. The Government may determine that an offer is unacceptable if the option prices are significantly unbalanced. For the purposes of the award of this Contract, the Government intends to evaluate the option to extend services, provided under FAR 52.217-8, as follows: The evaluation will consider the possibility that the option can be exercised at any time, and can be exercised in increments of one to six months, but for no more than a total of six months during the life of the contract.  The evaluation will assume that the prices for any option exercised under FAR 52.217-8 will be at the same rates as those in effect under the contract. The evaluation will therefore assume that the addition of the price or prices of any possible extension or extensions under FAR 52.217-8 to the total price for the basic requirement and the total price for the priced options has the same effect on the total price of all proposals relative to each other, and will not affect the ranking of proposals based on price, unless, after reviewing the proposals, the Government determines that there is a basis for finding otherwise. Evaluation of options shall not obligate the Government to exercise the option(s).

(c) Evaluation Approach. The Government intends to evaluate offers and award a contract without discussions with Offerors. If it is determined to it is necessary to conduct discussions, rationale for doing so shall be documented in the contract file under FAR 15.306(a)(3). This is a competitive procurement using the best value tradeoff source selection process identified in FAR Part 15.101-1. The Government reserves the right to consider a proposal other than the lowest price that provides additional benefit(s). Proposals may exceed minimum requirements of the solicitation. The Government reserves the right to select a proposal that provides benefit to the Government that exceeds the minimum requirements of the solicitation but is not required to do so. Each response must meet the minimum requirements of the solicitation. The Government is not requesting or accepting alternate proposals. The evaluation will consider the following:

- Price: The offer should contain the Offeror's best terms from a price standpoint.  The government shall utilize this factor to evaluate for price reasonableness.

- Technical Capability: The government will utilize this factor to evaluate the offeror’s proposal response to the minimum proposal submission requirements specified in the FAR 52.212-1 addendum titled “2. Technical Capability.”.

- Experience: The government will utilize this factor to evaluate the offeror’s proposal response to the minimum proposal submission requirements specified in the FAR 52.212-1 addendum paragraph titled “3. Experience.”.

- Past Performance: The government will utilize this factor to evaluate the offeror’s past performance history of providing services substantially similar in size, scope, and magnitude of the services required by this Solicitation. In addition to considering proposal information provided by an offeror, the government may consider the contracting officer’s knowledge of and previous experience with the supply or service being acquired; customer surveys, and past performance questionnaire replies; Contractor Performance Assessment Reporting System (CPARS) at http://www.cpars.gov/; or any other reasonable basis. Offerors with no relevant past performance history will not be evaluated favorably nor unfavorably.

(d) A written notice of award or acceptance of an offer, mailed or otherwise furnished to the successful offeror within the time for acceptance specified in the offer, shall result in a binding contract without further action by either party. Before the offer's specified expiration time, the Government may accept an offer (or part of an offer), whether or not there are negotiations after its receipt, unless a written notice of withdrawal is received before award.

(End of Provision)

E.9  52.212-3  OFFEROR REPRESENTATIONS AND CERTIFICATIONS—COMMERCIAL PRODUCTS AND COMMERCIAL SERVICES (OCT 2025)

The Offeror shall complete only paragraph (b) of this provision if the Offeror has completed the annual representations and certification electronically in the System for Award Management (SAM) accessed through https://www.sam.gov. If the Offeror has not completed the annual representations and certifications electronically, the Offeror shall complete only paragraphs (c) through (v) of this provision.

(a) Definitions. As used in this provision—

Covered telecommunications equipment or services has the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Economically disadvantaged women-owned small business (EDWOSB) concern means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States and who are economically disadvantaged in accordance with 13 CFR part 127, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300. It automatically qualifies as a women-owned small business eligible under the WOSB Program.

Forced or indentured child labor means all work or service—

(1) Exacted from any person under the age of 18 under the menace of any penalty for its nonperformance and for which the worker does not offer himself voluntarily; or

(2) Performed by any person under the age of 18 pursuant to a contract the enforcement of which can be accomplished by process or penalties.

Highest-level owner means the entity that owns or controls an immediate owner of the offeror, or that owns or controls one or more entities that control an immediate owner of the offeror. No entity owns or exercises control of the highest level owner.

Immediate owner means an entity, other than the offeror, that has direct control of the offeror. Indicators of control include, but are not limited to, one or more of the following: ownership or interlocking management, identity of interests among family members, shared facilities and equipment, and the common use of employees.

Inverted domestic corporation, means a foreign incorporated entity that meets the definition of an inverted domestic corporation under 6 U.S.C. 395(b), applied in accordance with the rules and definitions of 6 U.S.C. 395(c).

Manufactured end product means any end product in product and service codes (PSCs) 1000-9999, except—

(1) PSC 5510, Lumber and Related Basic Wood Materials;

(2) Product or Service Group (PSG) 87, Agricultural Supplies;

(3) PSG 88, Live Animals;

(4) PSG 89, Subsistence;

(5) PSC 9410, Crude Grades of Plant Materials;

(6) PSC 9430, Miscellaneous Crude Animal Products, Inedible;

(7) PSC 9440, Miscellaneous Crude Agricultural and Forestry Products;

(8) PSC 9610, Ores;

(9) PSC 9620, Minerals, Natural and Synthetic; and

(10) PSC 9630, Additive Metal Materials.

Place of manufacture means the place where an end product is assembled out of components, or otherwise made or processed from raw materials into the finished product that is to be provided to the Government. If a product is disassembled and reassembled, the place of reassembly is not the place of manufacture.

Predecessor means an entity that is replaced by a successor and includes any predecessors of the predecessor.

Reasonable inquiry has the meaning provided in the clause 52.204-25, Prohibition on Contracting for Certain Telecommunications and Video Surveillance Services or Equipment.

Restricted business operations means business operations in Sudan that include power production activities, mineral extraction activities, oil-related activities, or the production of military equipment, as those terms are defined in the Sudan Accountability and Divestment Act of 2007 (Pub. L. 110-174). Restricted business operations do not include business operations that the person (as that term is defined in Section 2 of the Sudan Accountability and Divestment Act of 2007) conducting the business can demonstrate—

(1) Are conducted under contract directly and exclusively with the regional government of southern Sudan;

(2) Are conducted pursuant to specific authorization from the Office of Foreign Assets Control in the Department of the Treasury, or are expressly exempted under Federal law from the requirement to be conducted under such authorization;

(3) Consist of providing goods or services to marginalized populations of Sudan;

(4) Consist of providing goods or services to an internationally recognized peacekeeping force or humanitarian organization;

(5) Consist of providing goods or services that are used only to promote health or education; or

(6) Have been voluntarily suspended."Sensitive technology"—

Sensitive technology—

(1) Means hardware, software, telecommunications equipment, or any other technology that is to be used specifically—

(i) To restrict the free flow of unbiased information in Iran; or

(ii) To disrupt, monitor, or otherwise restrict speech of the people of Iran; and

(2) Does not include information or informational materials the export of which the President does not have the authority to regulate or prohibit pursuant to section 203(b)(3)of the International Emergency Economic Powers Act ( 50 U.S.C. 1702(b)(3)).

Service-disabled veteran-owned small business (SDVOSB) concern means a small business concern—

(1)

(i) Not less than 51 percent of which is owned and controlled by one or more service-disabled veterans or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more service-disabled veterans; and

(ii) The management and daily business operations of which are controlled by one or more service-disabled veterans or, in the case of a service-disabled veteran with permanent and severe disability, the spouse or permanent caregiver of such veteran; or

(2) A small business concern eligible under the SDVOSB Program in accordance with 13 CFR part 128 (see subpart 19.14).

(3) Service-disabled veteran, as used in this definition, means a veteran as defined in 38 U.S.C. 101(2), with a disability that is service connected, as defined in 38 U.S.C. 101(16), and who is registered in the Beneficiary Identification and Records Locator Subsystem, or successor system that is maintained by the Department of Veterans Affairs’ Veterans Benefits Administration, as a service-disabled veteran.

Service-disabled veteran-owned small business (SDVOSB) concern eligible under the SDVOSB Program means an SDVOSB concern that—

(1) Effective January 1, 2024, is designated in the System for Award Management (SAM) as certified by the Small Business Administration (SBA) in accordance with 13 CFR 128.300; or

(2) Has represented that it is an SDVOSB concern in SAM and submitted a complete application for certification to SBA on or before December 31, 2023.

Service-disabled veteran-owned small business (SDVOSB) Program means a program that authorizes contracting officers to limit competition, including award on a sole-source basis, to SDVOSB concerns eligible under the SDVOSB Program.

Small business concern—

(1) Means a concern, including its affiliates, that is independently owned and operated, not dominant in its field of operation, and qualified as a small business under the criteria in 13 CFR part 121 and size standards in this solicitation.

(2) Affiliates, as used in this definition, means business concerns, one of whom directly or indirectly controls or has the power to control the others, or a third party or parties control or have the power to control the others. In determining whether affiliation exists, consideration is given to all appropriate factors including common ownership, common management, and contractual relationships. SBA determines affiliation based on the factors set forth at 13 CFR 121.103.

Small disadvantaged business concern, consistent with 13 CFR 124.1001, means a small business concern under the size standard applicable to the acquisition, that—

(1) Is at least 51 percent unconditionally and directly owned (as defined at 13 CFR 124.105) by—

(i) One or more socially disadvantaged (as defined at13 CFR 124.103) and economically disadvantaged (as defined at 13 CFR 124.104) individuals who are citizens of the United States; and

(ii) Each individual claiming economic disadvantage has a net worth not exceeding the threshold at 13 CFR 124.104(c)(2) after taking into account the applicable exclusions set forth at 13 CFR124.104(c)(2); and

(2) The management and daily business operations of which are controlled (as defined at 13.CFR 124.106) by individuals, who meet the criteria in paragraphs (1)(i) and (ii) of this definition.

Subsidiary means an entity in which more than 50 percent of the entity is owned—

(1) Directly by a parent corporation; or

(2) Through another subsidiary of a parent corporation

Successor means an entity that has replaced a predecessor by acquiring the assets and carrying out the affairs of the predecessor under a new name (often through acquisition or merger). The term "successor" does not include new offices/divisions of the same company or a company that only changes its name. The extent of the responsibility of the successor for the liabilities of the predecessor may vary, depending on State law and specific circumstances.

Veteran-owned small business concern means a small business concern—

(1) Not less than 51 percent of which is owned and controlled by one or more veterans (as defined at 38 U.S.C. 101(2)) or, in the case of any publicly owned business, not less than 51 percent of the stock of which is owned by one or more veterans; and

(2) The management and daily business operations of which are controlled by one or more veterans.

Women-owned business concern means a concern which is at least 51 percent owned by one or more women; or in the case of any publicly owned business, at least 51 percent of its stock is owned by one or more women; and whose management and daily business operations are controlled by one or more women

Women-owned small business concern means a small business concern—

(1) That is at least 51 percent owned by one or more women; or, in the case of any publicly owned business, at least51 percent of the stock of which is owned by one or more women; and

(2) Whose management and daily business operations are controlled by one or more women.

Women-owned small business (WOSB) concern eligible under the WOSB Program (in accordance with 13 CFR part 127), means a small business concern that is at least 51 percent directly and unconditionally owned by, and the management and daily business operations of which are controlled by, one or more women who are citizens of the United States, and the concern is certified by SBA or an approved third-party certifier in accordance with 13 CFR 127.300.

(b)

(1) Annual Representations and Certifications. Any changes provided by the Offeror in paragraph (b)(2) of this provision do not automatically change the representations and certifications in SAM.

(2) The offeror has completed the annual representations and certifications electronically in SAM accessed through http://www.sam.gov. After reviewing SAM information, the Offeror verifies by submission of this offer that the representations and certifications currently posted electronically at FAR 52.212-3, Offeror Representations and Certifications-Commercial Products and Commercial Services, have been entered or updated in the last 12 months, are current, accurate, complete, and applicable to this solicitation (including the business size standard(s) applicable to the NAICS code(s) referenced for this solicitation), at the time this offer is submitted and are incorporated in this offer by reference (see FAR 4.1201), except for paragraphs __.

[Offeror to identify the applicable paragraphs at (c) through (v) of this provision that the offeror has completed for the purposes of this solicitation only, if any.

These amended representation(s) and/or certification(s) are also incorporated in this offer and are current, accurate, and complete as of the date of this offer.

Any changes provided by the offeror are applicable to this solicitation only, and do not result in an update to the representations and certifications posted electronically on SAM.]

(c) Offerors must complete the following representations when the resulting contract is for supplies to be delivered or services to be performed in the United States or its outlying areas, or when the contracting officer has applied part  19 in accordance with 19.000(b)(1)(ii). Check all that apply.

(1) Small business concern. The offeror represents as part of its offer that—

(i) It □ is, □ is not a small business concern; or

(ii) It □ is, □ is not a small business joint venture that complies with the requirements of 13 CFR 121.103(h) and 13 CFR 125.8(a) and (b). [ The offeror shall enter the name and unique entity identifier of each party to the joint venture: ____________.]

(2) Veteran-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents as part of its offer that it □ is, □ is not a veteran-owned small business concern.

(3) SDVOSB concern. [Complete only if the offeror represented itself as a veteran-owned small business concern in paragraph (c)(2) of this provision.] The offeror represents that it □ is, □ is not an SDVOSB concern.

(4) SDVOSB concern joint venture eligible under the SDVOSB Program. The offeror represents that it □ is, □ is not an SDVOSB joint venture eligible under the SDVOSB Program that complies with the requirements of 13 CFR 128.402. [Complete only if the offeror represented itself as an SDVOSB concern in paragraph (c)(3) of this provision.] [The offeror shall enter the name and unique entity identifier of each party to the joint venture: ____________.]

(5) Small disadvantaged business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it □ is, □ is not a small disadvantaged business concern as defined in 13 CFR 124.1001.

(6) Women-owned small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it □ is, □ is not a women-owned small business concern.

(7) WOSB joint venture eligible under the WOSB Program. The offeror represents that it □ is, □ is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [ The offeror shall enter the name and unique entity identifier of each party to the joint venture: ____________.]

(8) Economically disadvantaged women-owned small business (EDWOSB) joint venture. The offeror represents that it □ is, □ is not a joint venture that complies with the requirements of 13 CFR 127.506(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: ____________.]

Note to paragraphs (c)(9) and (10): Complete paragraphs (c)(9) and (10) only if this solicitation is expected to exceed the simplified acquisition threshold.

(9) Women-owned business concern (other than small business concern). [Complete only if the offeror is a women-owned business concern and did not represent itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents that it □ is a women-owned business concern.

(10) Tie bid priority for labor surplus area concerns. If this is an invitation for bid, small business offerors may identify the labor surplus areas in which costs to be incurred on account of manufacturing or production (by offeror or first-tier subcontractors) amount to more than 50 percent of the contract price:____________

(11) HUBZone small business concern. [Complete only if the offeror represented itself as a small business concern in paragraph (c)(1) of this provision.] The offeror represents, as part of its offer, that–

(i) It □ is, □ is not a HUBZone small business concern listed, on the date of this representation, as having been certified by SBA as a HUBZone small business concern in the Dynamic Small Business Search and SAM, and will attempt to maintain an employment rate of HUBZone residents of 35 percent of its employees during performance of a HUBZone contract (see 13 CFR 126.200(e)(1)); and

(ii) It □ is, □ is not a HUBZone joint venture that complies with the requirements of 13 CFR 126.616(a) through (c). [The offeror shall enter the name and unique entity identifier of each party to the joint venture: ______.] Each HUBZone small business concern participating in the HUBZone joint venture shall provide representation of its HUBZone status.

(d) Representations required to implement provisions of Executive Order 11246-

(1) Previous contracts and compliance. The offeror represents that-

(i) It □ has, □ has not participated in a previous contract or subcontract subject to the Equal Opportunity clause of this solicitation; and

(ii) It □ has, □ has not filed all required compliance reports.

(2) Affirmative Action Compliance. The offeror represents that-

(i) It □ has developed and has on file, □ has not developed and does not have on file, at each establishment, affirmative action programs required by rules and regulations of the Secretary of Labor (41 CFR parts 60-1 and 60-2), or

(ii) It □ has not previously had contracts subject to the written affirmative action programs requirement of the rules and regulations of the Secretary of Labor.

(e) Certification Regarding Payments to Influence Federal Transactions (31 http://uscode.house.gov/  U.S.C. 1352). (Applies only if the contract is expected to exceed $200,000.) By submission of its offer, the offeror certifies to the best of its knowledge and belief that no Federal appropriated funds have been paid or will be paid to any person for influencing or attempting to influence an officer or employee of any agency, a Member of Congress, an officer or employee of Congress or an employee of a Member of Congress on his or her behalf in connection with the award of any resultant contract. If any registrants under the Lobbying Disclosure Act of 1995 have made a lobbying contact on behalf of the offeror with respect to this contract, the offeror shall complete and submit, with its offer, OMB Standard Form LLL, Disclosure of Lobbying Activities, to provide the name of the registrants. The offeror need not report regularly employed officers or employees of the offeror to whom payments of reasonable compensation were made.

(f) Buy American Certificate. (Applies only if the clause at Federal Acquisition Regulation (FAR) 52.225-1, Buy American-Supplies, is included in this solicitation.)

(1)

(i) The Offeror certifies that each end product, except those listed in paragraph (f)(2) of this provision, is a domestic end product and that each domestic end product listed in paragraph (f)(3) of this provision contains a critical component.

(ii) The Offeror shall list as foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select “no”.

(iii) The Offeror shall separately list the line item numbers of domestic end products that contain a critical component (see FAR 25.105).

(iv) The terms “commercially available off-the-shelf (COTS) item,” “critical component,” “domestic end product,” "end product," "foreign end product," and "United States" are defined in the clause of this solicitation entitled "Buy American-Supplies."

(2) Foreign End Products:

| Line Item No. | Country of Origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |
| ______________ | _________________ | _________________ |
| ______________ | _________________ | _________________ |
| ______________ | _________________ | _________________ |

[List as necessary]

(3) Domestic end products containing a critical component:

Line Item No. ___

[List as necessary]

(4) The Government will evaluate offers in accordance with the policies and procedures of FAR part  25.

(g)

(1) Buy American-Free Trade Agreements-Israeli Trade Act Certificate. (Applies only if the clause at FAR 52.225-3, Buy American-Free Trade Agreements-Israeli Trade Act, is included in this solicitation.)

(i)

(A) The Offeror certifies that each end product, except those listed in paragraph (g)(1)(ii) or (iii) of this provision, is a domestic end product and that each domestic end product listed in paragraph (g)(1)(iv) of this provision contains a critical component.

(B) The terms "Bahraini, Moroccan, Omani, Panamanian, or Peruvian end product," "commercially available off-the-shelf (COTS) item," "critical component," "domestic end product," "end product," "foreign end product," "Free Trade Agreement country," "Free Trade Agreement country end product," "Israeli end product," and "United States" are defined in the clause of this solicitation entitled "Buy American-Free Trade Agreements-Israeli Trade Act."

(ii) The Offeror certifies that the following supplies are Free Trade Agreement country end products (other than Bahraini, Moroccan, Omani, Panamanian, or Peruvian end products) or Israeli end products as defined in the clause of this solicitation entitled "Buy American-Free Trade Agreements-Israeli Trade Act."

Free Trade Agreement Country End Products (Other than Bahraini, Moroccan, Omani, Panamanian, or Peruvian End Products) or Israeli End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| ______________ | _________________ |
| ______________ | _________________ |
| ______________ | _________________ |

[List as necessary]

(iii) The Offeror shall list those supplies that are foreign end products (other than those listed in paragraph (g)(1)(ii) of this provision) as defined in the clause of this solicitation entitled "Buy American-Free Trade Agreements-Israeli Trade Act." The Offeror shall list as other foreign end products those end products manufactured in the United States that do not qualify as domestic end products. For those foreign end products that do not consist wholly or predominantly of iron or steel or a combination of both, the Offeror shall also indicate whether these foreign end products exceed 55 percent domestic content, except for those that are COTS items. If the percentage of the domestic content is unknown, select “no”.

Other Foreign End Products:

| Line Item No. | Country of Origin | Exceeds 55% domestic content (yes/no) |
| --- | --- | --- |
| ______________ | ______________ | ______________ |
| ______________ | ______________ | ______________ |
| ______________ | ______________ | ______________ |

[List as necessary]

(iv) The Offeror shall list the line item numbers of domestic end products that contain a critical component (see FAR 25.105).

Line Item No. ___

[List as necessary]

(v) The Government will evaluate offers in accordance with the policies and procedures of FAR part  25.

(2) Buy American-Free Trade Agreements-Israeli Trade Act Certificate, Alternate II. If Alternate II to the clause at FAR 52.225-3 is included in this solicitation, substitute the following paragraph (g)(1)(ii) for paragraph (g)(1)(ii) of the basic provision:

(g)(1)(ii) The offeror certifies that the following supplies are Israeli end products as defined in the clause of this solicitation entitled “Buy American—Free Trade Agreements—Israeli Trade Act”:

Israeli End Products:

Line Item No.

____________

______________

______________

[List as necessary]

(3) Buy American-Free Trade Agreements-Israeli Trade Act Certificate, Alternate III. If Alternate III to the clause at 52.225-3 is included in this solicitation, substitute the following paragraphs (g)(1)(i)(B) and (g)(1)(ii) for paragraphs (g)(1)(i)(B) and (g)(1)(ii) of the basic provision:

(g)(1)(i)(B) The terms “Korean end product”, “commercially available off-the-shelf (COTS) item,” “critical component,” “domestic end product,” “end product,” “foreign end product,” “Free Trade Agreement country,” “Free Trade Agreement country end product,” “Israeli end product,” and “United States” are defined in the clause of this solicitation entitled “Buy American—Free Trade Agreements—Israeli Trade Act.”

(g)(1)(ii) The Offeror certifies that the following supplies are Korean end products or Israeli end products as defined in the clause of this solicitation entitled “Buy American—Free Trade Agreements—Israeli Trade Act”:

Korean End Products or Israeli End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| __________________ | __________________ |
| __________________ | __________________ |
| __________________ | __________________ |

[List as necessary]

(4) Trade Agreements Certificate. (Applies only if the clause at FAR 52.225-5, Trade Agreements, is included in this solicitation.)

(i) The offeror certifies that each end product, except those listed in paragraph (g)(4)(ii) of this provision, is a U.S.-made or designated country end product, as defined in the clause of this solicitation entitled "Trade Agreements."

(ii) The offeror shall list as other end products those end products that are not U.S.-made or designated country end products.

Other End Products:

| Line Item No. | Country of Origin |
| --- | --- |
| __________________ | __________________ |
| __________________ | __________________ |
| __________________ | __________________ |

[List as necessary]

(iii) The Government will evaluate offers in accordance with the policies and procedures of FAR part  25. For line items covered by the WTO GPA, the Government will evaluate offers of U.S.-made or designated country end products without regard to the restrictions of the Buy American statute. The Government will consider for award only offers of U.S.-made or designated country end products unless the Contracting Officer determines that there are no offers for such products or that the offers for such products are insufficient to fulfill the requirements of the solicitation.

(h) Certification Regarding Responsibility Matters (Executive Order 12689). (Applies only if the contract value is expected to exceed the simplified acquisition threshold.) The offeror certifies, to the best of its knowledge and belief, that the offeror and/or any of its principals–

(1) □ Are, □ are not presently debarred, suspended, proposed for debarment, or declared ineligible for the award of contracts by any Federal agency;

(2) □ Have, □ have not, within a three-year period preceding this offer, been convicted of or had a civil judgment rendered against them for: commission of fraud or a criminal offense in connection with obtaining, attempting to obtain, or performing a Federal, state or local government contract or subcontract; violation of Federal or state antitrust statutes relating to the submission of offers; or commission of embezzlement, theft, forgery, bribery, falsification or destruction of records, making false statements, tax evasion, violating Federal criminal tax laws, or receiving stolen property;

(3) □ Are, □ are not presently indicted for, or otherwise criminally or civilly charged by a Government entity with, commission of any of these offenses enumerated in paragraph (h)(2) of this clause; and

(4) □ Have, □ have not, within a three-year period preceding this offer, been notified of any delinquent Federal taxes in an amount that exceeds the threshold at 9.104-5(a)(2) for which the liability remains unsatisfied.

(i) Taxes are considered delinquent if both of the following criteria apply:

(A) The tax liability is finally determined. The liability is finally determined if it has been assessed. A liability is not finally determined if there is a pending administrative or judicial challenge. In the case of a judicial challenge to the liability, the liability is not finally determined until all judicial appeal rights have been exhausted.

(B) The taxpayer is delinquent in making payment. A taxpayer is delinquent if the taxpayer has failed to pay the tax liability when full payment was due and required. A taxpayer is not delinquent in cases where enforced collection action is precluded.

(ii) Examples.

(A) The taxpayer has received a statutory notice of deficiency, under I.R.C. §6212, which entitles the taxpayer to seek Tax Court review of a proposed tax deficiency. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek Tax Court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(B) The IRS has filed a notice of Federal tax lien with respect to an assessed tax liability, and the taxpayer has been issued a notice under I.R.C. §6320 entitling the taxpayer to request a hearing with the IRS Office of Appeals contesting the lien filing, and to further appeal to the Tax Court if the IRS determines to sustain the lien filing. In the course of the hearing, the taxpayer is entitled to contest the underlying tax liability because the taxpayer has had no prior opportunity to contest the liability. This is not a delinquent tax because it is not a final tax liability. Should the taxpayer seek tax court review, this will not be a final tax liability until the taxpayer has exercised all judicial appeal rights.

(C) The taxpayer has entered into an installment agreement pursuant to I.R.C. §6159. The taxpayer is making timely payments and is in full compliance with the agreement terms. The taxpayer is not delinquent because the taxpayer is not currently required to make full payment.

(D) The taxpayer has filed for bankruptcy protection. The taxpayer is not delinquent because enforced collection action is stayed under 11 U.S.C. §362 (the Bankruptcy Code).

(i) Certification Regarding Knowledge of Child Labor for Listed End Products (Executive Order 13126). [The Contracting Officer must list in paragraph (i)(1) any end products being acquired under this solicitation that are included in the List of Products Requiring Contractor Certification as to Forced or Indentured Child Labor, unless excluded at 22.1503(b).]

(1) Listed end products.

| Listed End Product | Listed Countries of Origin |
| --- | --- |
| ___________________ | ___________________ |
| ___________________ | ___________________ |

(2) Certification. [If the Contracting Officer has identified end products and countries of origin in paragraph (i)(1) of this provision, then the offeror must certify to either (i)(2)(i) or (i)(2)(ii) by checking the appropriate block.]

☐ (i) The offeror will not supply any end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product.

☐ (ii) The offeror may supply an end product listed in paragraph (i)(1) of this provision that was mined, produced, or manufactured in the corresponding country as listed for that product. The offeror certifies that it has made a good faith effort to determine whether forced or indentured child labor was used to mine, produce, or manufacture any such end product furnished under this contract. On the basis of those efforts, the offeror certifies that it is not aware of any such use of child labor.

(j) Place of manufacture. (Does not apply unless the solicitation is predominantly for the acquisition of manufactured end products.) For statistical purposes only, the offeror shall indicate whether the place of manufacture of the end products it expects to provide in response to this solicitation is predominantly-

(1) □ In the United States (Check this box if the total anticipated price of offered end products manufactured in the United States exceeds the total anticipated price of offered end products manufactured outside the United States); or

(2) □ Outside the United States.

(k) Certificates regarding exemptions from the application of the Service Contract Labor Standards (Certification by the offeror as to its compliance with respect to the contract also constitutes its certification as to compliance by its subcontractor if it subcontracts out the exempt services.) [The contracting officer is to check a box to indicate if paragraph (k)(1) or (k)(2) applies.]

☐ (1)   Maintenance, calibration, or repair of certain equipment as described in FAR 22.1003-4(c)(1). The offeror □ does □ does not certify that–

(i) The items of equipment to be serviced under this contract are used regularly for other than Governmental purposes and are sold or traded by the offeror (or subcontractor in the case of an exempt subcontract) in substantial quantities to the general public in the course of normal business operations;

(ii) The services will be furnished at prices which are, or are based on, established catalog or market prices (see FAR 22.1003-4(c)(2)(ii)) for the maintenance, calibration, or repair of such equipment; and

(iii) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract will be the same as that used for these employees and equivalent employees servicing the same equipment of commercial customers.

☐ (2)   Certain services as described in FAR 22.1003-4(d)(1). The offeror □ does □ does not certify that-

(i) The services under the contract are offered and sold regularly to non-Governmental customers, and are provided by the offeror (or subcontractor in the case of an exempt subcontract) to the general public in substantial quantities in the course of normal business operations;

(ii) The contract services will be furnished at prices that are, or are based on, established catalog or market prices (see FAR 22.1003-4(d)(2)(iii));

(iii) Each service employee who will perform the services under the contract will spend only a small portion of his or her time (a monthly average of less than 20 percent of the available hours on an annualized basis, or less than 20 percent of available hours during the contract period if the contract period is less than a month) servicing the Government contract; and

(iv) The compensation (wage and fringe benefits) plan for all service employees performing work under the contract is the same as that used for these employees and equivalent employees servicing commercial customers.

(3) If paragraph (k)(1) or (k)(2) of this clause applies–

(i) If the offeror does not certify to the conditions in paragraph (k)(1) or (k)(2) and the Contracting Officer did not attach a Service Contract Labor Standards wage determination to the solicitation, the offeror shall notify the Contracting Officer as soon as possible; and

(ii) The Contracting Officer may not make an award to the offeror if the offeror fails to execute the certification in paragraph (k)(1) or (k)(2) of this clause or to contact the Contracting Officer as required in paragraph (k)(3)(i) of this clause.

(l) Taxpayer Identification Number (TIN) ( 26 U.S.C. 6109, 31 U.S.C. 7701). (Not applicable if the offeror is required to provide this information to the SAM to be eligible for award.)

(1) All offerors must submit the information required in paragraphs (l)(3) through (l)(5) of this provision to comply with debt collection requirements of 31 U.S.C. 7701(c) and 3325(d), reporting requirements of 26 U.S.C. 6041, 6041A, and 6050M, and implementing regulations issued by the Internal Revenue Service (IRS).

(2) The TIN may be used by the Government to collect and report on any delinquent amounts arising out of the offeror’s relationship with the Government ( 31 U.S.C. 7701(c)(3)). If the resulting contract is subject to the payment reporting requirements described in FAR 4.904, the TIN provided hereunder may be matched with IRS records to verify the accuracy of the offeror’s TIN.

(3) Taxpayer Identification Number (TIN).

☐TIN: ________________________________.

☐TIN has been applied for.

☐TIN is not required because:

☐Offeror is a nonresident alien, foreign corporation, or foreign partnership that does not have income effectively connected with the conduct of a trade or business in the United States and does not have an office or place of business or a fiscal paying agent in the United States;

☐Offeror is an agency or instrumentality of a foreign government;

☐Offeror is an agency or instrumentality of the Federal Government.

(4) Type of organization.

☐Sole proprietorship;

☐Partnership;

☐Corporate entity (not tax-exempt);

☐Corporate entity (tax-exempt);

☐Government entity (Federal, State, or local);

☐Foreign government;

☐International organization per 26 CFR1.6049-4;

☐Other ________________________________.

(5) Common parent.

☐Offeror is not owned or controlled by a common parent;

☐Name and TIN of common parent:

Name ________________________________.

TIN _________________________________.

(m) Restricted business operations in Sudan. By submission of its offer, the offeror certifies that the offeror does not conduct any restricted business operations in Sudan.

(n) Prohibition on Contracting with Inverted Domestic Corporations.

(1) Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with either an inverted domestic corporation, or a subsidiary of an inverted domestic corporation, unless the exception at 9.108-2(b) applies or the requirement is waived in accordance with the procedures at 9.108-4.

(2) Representation. The Offeror represents that–

(i) It □ is, □ is not an inverted domestic corporation; and

(ii) It □ is, □ is not a subsidiary of an inverted domestic corporation.

(o) Prohibition on contracting with entities engaging in certain activities or transactions relating to Iran.

(1) The offeror shall e-mail questions concerning sensitive technology to the Department of State at CISADA106@state.gov.

(2) Representation and Certifications. Unless a waiver is granted or an exception applies as provided in paragraph (o)(3) of this provision, by submission of its offer, the offeror-

(i) Represents, to the best of its knowledge and belief, that the offeror does not export any sensitive technology to the government of Iran or any entities or individuals owned or controlled by, or acting on behalf or at the direction of, the government of Iran;

(ii) Certifies that the offeror, or any person owned or controlled by the offeror, does not engage in any activities for which sanctions may be imposed under section 5 of the Iran Sanctions Act; and

(iii) Certifies that the offeror, and any person owned or controlled by the offeror, does not knowingly engage in any transaction that exceeds the threshold at FAR 25.703-2(a)(2) with Iran’s Revolutionary Guard Corps or any of its officials, agents, or affiliates, the property and interests in property of which are blocked pursuant to the International Emergency Economic Powers Act (et seq.) (see OFAC’s Specially Designated Nationals and Blocked Persons List at https://www.treasury.gov/resource-center/sanctions/SDN-List/Pages/default.aspx).

(3) The representation and certification requirements of paragraph (o)(2) of this provision do not apply if-

(i) This solicitation includes a trade agreements certification (e.g., 52.212-3(g) or a comparable agency provision); and

(ii) The offeror has certified that all the offered products to be supplied are designated country end products.

(p) Ownership or Control of Offeror. (Applies in all solicitations when there is a requirement to be registered in SAM or a requirement to have a unique entity identifier in the solicitation).

(1) The Offeror represents that it □ has or □ does not have an immediate owner. If the Offeror has more than one immediate owner (such as a joint venture), then the Offeror shall respond to paragraph (2) and if applicable, paragraph (3) of this provision for each participant in the joint venture.

(2) If the Offeror indicates "has" in paragraph (p)(1) of this provision, enter the following information:

Immediate owner CAGE code: ____________________.

Immediate owner legal name: _____________________.

(Do not use a "doing business as" name)

Is the immediate owner owned or controlled by another entity: □ Yes or □ No.

(3) If the Offeror indicates "yes" in paragraph (p)(2) of this provision, indicating that the immediate owner is owned or controlled by another entity, then enter the following information:

Highest-level owner CAGE code: __________________.

Highest-level owner legal name: ___________________.

(Do not use a "doing business as" name)

(q) Representation by Corporations Regarding Delinquent Tax Liability or a Felony Conviction under any Federal Law.

(1) As required by sections 744 and 745 of Division E of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235), and similar provisions, if contained in subsequent appropriations acts, The Government will not enter into a contract with any corporation that–

(i) Has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability, where the awarding agency is aware of the unpaid tax liability, unless an agency has considered suspension or debarment of the corporation and made a determination that suspension or debarment is not necessary to protect the interests of the Government; or

(ii) Was convicted of a felony criminal violation under any Federal law within the preceding 24 months, where the awarding agency is aware of the conviction, unless an agency has considered suspension or debarment of the corporation and made a determination that this action is not necessary to protect the interests of the Government.

(2) The Offeror represents that–

(i) It is □ is not □ a corporation that has any unpaid Federal tax liability that has been assessed, for which all judicial and administrative remedies have been exhausted or have lapsed, and that is not being paid in a timely manner pursuant to an agreement with the authority responsible for collecting the tax liability; and

(ii) It is □ is not □ a corporation that was convicted of a felony criminal violation under a Federal law within the preceding 24 months.

(r) Predecessor of Offeror. (Applies in all solicitations that include the provision at 52.204-16, Commercial and Government Entity Code Reporting.)

(1) The Offeror represents that it □ is or □ is not a successor to a predecessor that held a Federal contract or grant within the last three years.

(2) If the Offeror has indicated "is" in paragraph (r)(1) of this provision, enter the following information for all predecessors that held a Federal contract or grant within the last three years (if more than one predecessor, list in reverse chronological order):

Predecessor CAGE code: (or mark "Unknown").

Predecessor legal name: ____.

(Do not use a "doing business as" name).

(s) [Reserved].

(t) Public Disclosure of Greenhouse Gas Emissions and Reduction Goals. Applies in all solicitations that require offerors to register in SAM ( 12.301(d)(1)).

(1) This representation shall be completed if the Offeror received $7.5 million or more in contract awards in the prior Federal fiscal year. The representation is optional if the Offeror received less than $7.5 million in Federal contract awards in the prior Federal fiscal year.

(2) Representation. [Offeror to check applicable block(s) in paragraph (t)(2)(i) and (ii)].

(i) The Offeror (itself or through its immediate owner or highest-level owner) □ does, □ does not publicly disclose greenhouse gas emissions, i.e., makes available on a publicly accessible website the results of a greenhouse gas inventory, performed in accordance with an accounting standard with publicly available and consistently applied criteria, such as the Greenhouse Gas Protocol Corporate Standard.

(ii) The Offeror (itself or through its immediate owner or highest-level owner) □ does, □ does not publicly disclose a quantitative greenhouse gas emissions reduction goal, i.e., make available on a publicly accessible website a target to reduce absolute emissions or emissions intensity by a specific quantity or percentage.

(iii) A publicly accessible website includes the Offeror's own website or a recognized, third-party greenhouse gas emissions reporting program.

(3) If the Offeror checked "does" in paragraphs (t)(2)(i) or (t)(2)(ii) of this provision, respectively, the Offeror shall provide the publicly accessible website(s) where greenhouse gas emissions and/or reduction goals are reported:____________.

(u)

(1) In accordance with section 743 of Division E, Title VII, of the Consolidated and Further Continuing Appropriations Act, 2015 (Pub. L. 113-235) and its successor provisions in subsequent appropriations acts (and as extended in continuing resolutions), Government agencies are not permitted to use appropriated (or otherwise made available) funds for contracts with an entity that requires employees or subcontractors of such entity seeking to report waste, fraud, or abuse to sign internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting such waste, fraud, or abuse to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information.

(2) The prohibition in paragraph (u)(1) of this provision does not contravene requirements applicable to Standard Form 312 (Classified Information Nondisclosure Agreement), Form 4414 (Sensitive Compartmented Information Nondisclosure Agreement), or any other form issued by a Federal department or agency governing the nondisclosure of classified information.

(3) Representation. By submission of its offer, the Offeror represents that it will not require its employees or subcontractors to sign or comply with internal confidentiality agreements or statements prohibiting or otherwise restricting such employees or subcontractors from lawfully reporting waste, fraud, or abuse related to the performance of a Government contract to a designated investigative or law enforcement representative of a Federal department or agency authorized to receive such information (e.g., agency Office of the Inspector General).

(v) Covered Telecommunications Equipment or Services-Representation. Section 889(a)(1)(A) and section 889 (a)(1)(B) of Public Law 115-232.

(1) The Offeror shall review the list of excluded parties in the System for Award Management (SAM) ( https://www.sam.gov) for entities excluded from receiving federal awards for "covered telecommunications equipment or services".

(2) The Offeror represents that–

(i) It □ does, □ does not provide covered telecommunications equipment or services as a part of its offered products or services to the Government in the performance of any contract, subcontract, or other contractual instrument.

(ii) After conducting a reasonable inquiry for purposes of this representation, that it □ does, □ does not use covered telecommunications equipment or services, or any equipment, system, or service that uses covered telecommunications equipment or services.

(End of Provision)

See attached document: P07 - Cook County WD 2015-5017 Rev-31 12.03.2025.

See attached document: Attachment 3 Boiler Safety Device Testing Manual 8th Edition February 2024.

See attached document: Attachment 1 Hines VA Campus Site Plan.

See attached document: Attachment 4 Two Week Onsite Assessment.

See attached document: Attachment 2 VHA Directive 1810.