## Fire Sprinkler System
Appendix A - Fire Supression Systems to be Inspected:
Park Name: | Kalaupapa National Historical Park, Molokai
Park Unit | [10 empty] | Number | Number | Number | Date | Required
| FMSS |  |  | Bldg. Use | Wet Pipe | If Wet, | Dry Pipe | Pre-action | Agent Release | Number | of | of | of | of | Inspection
| Asset ID | Building | Sq. Ft | Office, Shop, | Sprinkler | Antifreeze | Sprinkler | Sprinkler | Panel/Control | of | Tamper | Flow | Sprinkler | Last | Cycle
Facility Name | Number | Number | (Facility) | Housing, etc. | (Y/N) | (Y/N) | (Y/N) | (Y/N) | (Make/Model) | Risers | Switches | Switches | Heads | Inspection | 5yr due
Approx
Bayview Home Residence | 57580 | 1BV | 3700 | Vacant | Y | N | N | N | N/A | 1 | 0 | 1 | 30+attic |  | 2025
NPS Resource Office | 57581 | 6BV | 3000 | Office | Y | N | N | N | N/A | 1 | 0 | 1 | 28+attic |  | 2025
Bayview Home Residence 2 | 57584 | 2BV | 3700 | Housing | Y | N | N | N | N/A
Bayview Home Residence 3 | 57585 | 3BV | 3700 | Mixed Use | Y | N | N | N | N/A | 1 | 0 | 1 | 65+attics |  | 2025
Bayview Home Dining Hall | 57602 | 5BV | 1344 | Dining Hall | Y | N | N | N | N/A
Recreation Hall | 58320 | 23M | 4000 | Social Hall | Y | N | N | N | N/A | 1 | 0 | 1 | 20+attic |  | 2025
Dormitory | 58325 | 28M | 3500 | Housing | Y | N | N | N | N/A | 1 | 0 | 1 | 20+attic |  | 2025
Sister's Convent | 58541 | 15BH | 3600 | Housing | Y | N | N | N | N/A | 1 | 0 | 1 | 32+attic |  | 2025
St. Elizabeth's Chapel | 58543 | 16BH | 672 | Chapel | Y | N | N | N | N/A | 1 | 0 | 1 | 8 |  | 2025
St. Philomena Church | 58852 | 711 | 2520 | Church | Y | N | N | N | N/A | 1 | 2 | 1 | 24+Bell tower |  | 2025
Siloama Church | 58859 | 710 | 800 | Church | Y | N | N | N | N/A | 1 | 2 | 1 | 16+attic/spire |  | 2025
Curatorial Storage Facility | 93491 | 657 | 6864 | Office/Storage | Y | N | N | N | N/A | 1 | 1 | 1 | 66 |  | 2025

## Fire Alarm System
Appendix A - Fire Alarm Systems to be Inspected:
Park Name
Park Unit | [8 empty] | Number of | # of
|  |  |  | Fire Alarm | Number of | Number of | Number of | Number of | Notification | WF
| FMSS | Building | Sq. Ft | Control Panel | Remote | Smoke | Heat | Manual | Devices | Tampers
Facility Name | Asset ID # | Number | (Facility) | (Make/Model) | Annunciators | Detectors | Detectors | Pull Stations | (Horns/Strobes)
Curatorial Storage Facility | 93491 | 657 | 6864 | FCI-Model FC-6324 | 0 | 1 | 0 | 8 | 7-H/S-1-S-1-Bell | 1-WF-1T