RFIs and Responses, 12639526Q0088

1. PEMB Construction: For the bracing between Grids 2 and 3 (as generated by the building manufacturer) at Grid Lines A&D, would the USDA prefer the standard X-Bracing between the steel frames at the  vertical sections, or would the USDA prefer Portal Frames, which would add the proper tension required in the mentioned areas and would not impede any foot traffic to the Kennel. Information on the Portal Framing can be found at Steelconstruction.info/portal frames.

X-bracing

2. On page C300, Key Note 16, intercept the BP Line and move it from the building's footprint. Does this BP line belong to the Utility Power Company or the customer? If the BP line belongs to the customer, is the intercept and re-routing the responsibility of the contractor performing the work?

For 2 & 3. The buried power appears to belong to the customer. Attached are documents our surveyor obtained from the power company showing a connection to the existing veterinary/office building on site. The work noted in the drawing will need to be coordinated with the utility company and is performed by the contractor.

3. On page C300, Key Notes 3 and 17, intercept the BP Line to supply power to the utility-supplied transformer. Does this BP line belong to the Utility Power Company or the customer? If the BP line belongs to the customer, is the intercept and supply power the responsibility of the contractor performing the work?

4. According to plumbers the boiler is way oversize. Would you want us to provide a cost savings for a smaller one just as a VE option? Are ProPress copper fittings acceptable?

Please quote the equipment size based on drawings and specifications.  The press seal type of copper fittings are currently listed on P002 plumbing specifications. Press seal type of copper fittings are also covered in spec section 232113.

5. The sliding doors located at both North and South ends of the CMU portion of the building do not seem to have any mention in the specs. Please advise on preference for style and finishes including hardware.

The barn doors are 10’ W x 8’ H, constructed with a steel frame/ plywood core and are to have painted galvanneal steal cladding. The door hardware is a box track slider rail, hook and eye lock and cane floor bolt.