Vendor shall certify that item quoted meets the capabilities, features and specifications listed below and that vendor can assume all contractor responsibilities stated below by initialing at the bottom.  In order to be considered for award, this must be completed and submitted with the vendor quote.

| TECHNICAL CAPABILITES STATEMENT |  |  |
| --- | --- | --- |
| General Specifications for CLIN/ITEM 0001 through 0003 |  |  |
| Shall be provided with the following capabilities, features and specifications: | Yes | No |
| Please check yes or no next to each listing/description. CLIN 0001 Quantity: 2 each EMERSON BY FLEXIM METER TRANSMITTER FOR THE MEASUREMENT OF: LIQUIDS GENERAL PURPOSE NO EXPLOSION PROTECTION NON-INTRINSICALLY SAFE NO ADDITIONAL CERTIFICATE MEASURING CHANNELS: 2 3% ACCURACY OF MEASURED FLOWRATE PROVIDED WITH TRANSMITTER: OPERATING INSTRUCTIONS, ENGLISH, CARRYING CASE PIPE MOUNTING FIXTURE POWER SUPPLY UNITS -100 TO 230 V AC, 50/60 HZ, POWER CABLE MAINS CABLE FOR CHARGING AND POWER SUPPLY UNIT (FOR USA) DATA TRANSMISSION KIT MEASURING TAPE - 9 FT, OUTPUT ADAPTER WITH SIGNAL CABLE, 2 CURRENT OUTPUTS P/N DE6-F601GP-NNNNN-2PG3-NN.CS2 CERTIFICATE OF COMPLIANCE CLAUSE INVOKED ---------------------------------------------------------------------------------------------------------------- CLIN 0002 Quantity: 2 each EMERSON BY FLEXIM TRANSDUCER CLAMP-ON TRANSDUCER TRD-FSQ-NNNN-NNNL-003 CDQ1NZ7 TRANSDUCER CALIBRATION WITH APERTURE CALIBRATION 6 MEASURING POINTS, INCLUDING CALIBRATION CERTIFICATE (FACTORY CALIBRATION, NO ACCREDITED REPORT) FOR THE MEASUREMENT OF: LIQUIDS TYP: SHEAR WAVE TRANSDUCER FREQUENCY WITH COUPLING FOILS AND COUPLING COMPOUND. CERTIFICATE OF COMPLIANCE CLAUSE INVOKED ---------------------------------------------------------------------------------------------------------------- CLIN 0003 Quantity: 2 each EMERSON BY FLEXIM MOUNTING FRAME FASTENING SHOES INCLUDING RAIL FOR TRANSDUCER FREQUENCY Q – 4 MHZ MEASUREMENT ARRANGEMENT: DIAGONAL P/N MOU-FSQ-DS-C0250 CERTIFICATE OF COMPLIANCE CLAUSE INVOKED |  |  |

TECHNICAL CAPABILITY/CONTRACTOR RESPONSIBILITY CERTIFICATION

Vendor hereby certifies that vendor’s item meets or exceeds all specifications and contractor responsibilities stated in this solicitation, in their entirety, with no exceptions. _________(Initials Vendor Representative )

DATE:  _________________________________________