5. PROJECT NUMBER (if applicable)

CODE

7. ADMINISTERED BY

2. AMENDMENT/MODIFICATION NUMBER

CODE

6. ISSUED BY

8. NAME AND ADDRESS OF CONTRACTOR

4. REQUISITION/PURCHASE REQ. NUMBER

3. EFFECTIVE DATE

9A. AMENDMENT OF SOLICITATION NUMBER

9B. DATED

PAGE        OF     PAGES

10A. MODIFICATION OF CONTRACT/ORDER NUMBER

10B. DATED

BPA NO.

1. CONTRACT ID CODE

FACILITY CODE

CODE

Offers must acknowledge receipt of this amendment prior to the hour and date specified in the solicitation or as amended, by one of the following methods:

The above numbered solicitation is amended as set forth in Item 14.  The hour and date specified for receipt of Offers

E. IMPORTANT:

is extended,

(a) By completing Items 8 and 15, and returning __________ copies of the amendment; (b) By acknowledging receipt of this amendment on each copy of the

offer submitted; or (c) By separate letter or electronic communication which includes a reference to the solicitation and amendment numbers.  FAILURE OF YOUR

ACKNOWLEDGMENT TO BE RECEIVED AT THE PLACE DESIGNATED FOR THE RECEIPT OF OFFERS PRIOR TO THE HOUR AND DATE SPECIFIED MAY

is not extended.

12. ACCOUNTING AND APPROPRIATION DATA

(REV. 11/2016)

is required to sign this document and return ___________ copies to the issuing office.

is not,

A. THIS CHANGE ORDER IS ISSUED PURSUANT TO:    (Specify authority)   THE CHANGES SET FORTH IN ITEM 14 ARE MADE IN THE CONTRACT ORDER NO. IN ITEM 10A.

15C. DATE SIGNED

B. THE ABOVE NUMBERED CONTRACT/ORDER IS MODIFIED TO REFLECT THE ADMINISTRATIVE CHANGES

SET FORTH IN ITEM 14, PURSUANT TO THE AUTHORITY OF FAR 43.103(b).

RESULT IN REJECTION OF YOUR OFFER.  If by virtue of this amendment you desire to change an offer already submitted, such change may be made by letter

or electronic communication, provided each letter or electronic communication makes reference to the solicitation and this amendment, and is received prior to

the opening hour and date specified.

C. THIS SUPPLEMENTAL AGREEMENT IS ENTERED INTO PURSUANT TO AUTHORITY OF:

D. OTHER

Contractor

16C. DATE SIGNED

14. DESCRIPTION OF AMENDMENT/MODIFICATION

16B. UNITED STATES OF AMERICA

Except as provided herein, all terms and conditions of the document referenced in Item 9A or 10A, as heretofore changed, remains unchanged and in full force and effect.

15A. NAME AND TITLE OF SIGNER

16A. NAME AND TITLE OF CONTRACTING OFFICER

15B. CONTRACTOR/OFFEROR

STANDARD FORM 30

PREVIOUS EDITION NOT USABLE

Prescribed by GSA - FAR (48 CFR) 53.243

(Type or print)

(Type or print)

(Organized by UCF section headings, including solicitation/contract subject matter where feasible.)

(Number, street, county, State and ZIP Code)

(If other than Item 6)

(Specify type of modification and authority)

(such as changes in paying office, appropriation date, etc.)

(If required)

(SEE ITEM 11)

(SEE ITEM 13)

(X)

CHECK

ONE

13. THIS ITEM APPLIES ONLY TO MODIFICATIONS OF CONTRACTS/ORDERS,

IT MODIFIES THE CONTRACT/ORDER NO. AS DESCRIBED IN ITEM 14.

11. THIS ITEM ONLY APPLIES TO AMENDMENTS OF SOLICITATIONS

AMENDMENT OF SOLICITATION/MODIFICATION OF CONTRACT

(Signature of person authorized to sign)

(Signature of Contracting Officer)

1

4

0003

04-27-2026

657-23-104JC

36C255

Department of Veterans Affairs

Network Contracting Office (NCO) 15

3450 S 4th Street Trafficway

Leavenworth KS 66048

36C255

Department of Veterans Affairs

Network Contracting Office (NCO) 15

3450 S 4th Street Trafficway

Leavenworth KS 66048

To all Offerors/Bidders

36C25526R0098

03-30-2026

X

X

X

1

657-23-104JC, Prepare Site for New Computed Tomography, Unit Room A259.

The above solicitation is hereby amended as follows:

A. To provide answers to bidders' questions. (attached)

B. To provide new CT equipment cuts (New CT - Naeotom Alpha typical Final). (attached)

All Terms and Conditions of this solicitation remain the same.

Matthew D. Finley

Contracting Officer

657-23-104JC, Prepare Site for New Computed Tomography, Unit Room A259

QUESTIONS AND ANSWERS FROM SITE VISIT AT ST LOUIS, JOHN COCHRAN DIVISION, VAMC

(April 10, 2026)

1. Please confirm project will not be tax exempt.

Answer: Correct, project will not be tax exempt

Special Note regarding FAR 52.229-3: Federal, State and Local Taxes: Offerors are hereby notified that all state and local sales or use taxes for construction materials must be included in their bid or proposal price.  It is solely the responsibility of the offeror to include all other applicable taxes in their bid or proposal price as well. The Government has determined that for this acquisition it cannot take advantage of any sales or use tax exemptions that may be available to it under applicable state law.  Under no circumstances will any Contractor be designated as an agent of the Government for purposes of any tax exemption, nor will the Government authorize any Contractor's use of any tax exemption directly applicable to the Government under this procurement. A price change request upon award relating to the inclusion of state and local sales or use taxes will not be accepted.

2. Please advise if the designated SSHO and Competent Person role can be fulfilled by the site superintendent or will the SSHO and Competent Person role be a full time separate person?

Answer: The superintendent may serve as the safety officer, but not project manager or quality control manager. The project manager can be the same individual as the quality control manager or safety officer, but not all 3. No more than two positions may be held by the same person.

3. Is the General contractor required to include cost for submittal exchange?

Answer: Yes, the GC is responsible for maintaining submittal exchange, i.e. Procore, etc. throughout the duration of the project.

4. Will GC be responsible for floor protection while equipment vendor removes existing and installs new CT Scanners?

Answer: Yes, as noted on A610: GC to provide uniform weight distribution to accommodate new CT machine and rigging load to minimize the point load on existing concrete.  GC is responsible for providing floor protection.

5. If GC is to provide floor protection, please specify what material will need to be used.

Answer: GC to determine best material to provide uniform weight distribution to minimize point load on the existing concrete as noted on sheet A610.

6. Will the GC be responsible for supplying the crane and platform used for CT Scanner install?

Answer: Yes, GC will be responsible and shall coordinate needs with CT manufacturer/installer.

7. Will core drilling need to be done at night?

Answer: In the event that noise disrupts the medical center operations, the Contractor shall stop the work immediately as directed by the VA COR and will work during the hours that have the least impact on the patient and staff at no additional cost to the government.

8. Reference - 01 45 00 3.4B & 01 45 00 3.1: Confirm if the Onsite Superintendent can cover the role of Quality Control Manager.

Answer: The superintendent may serve as the safety officer, but not project manager or quality control manager. The project manager can be the same individual as the quality control manager or safety officer, but not all 3. No more than two positions may be held by the same person.

9. Reference - 01 35 26: Confirm that Onsite Superintendent can cover safety role as long as qualifications are met.

Answer: The superintendent may serve as the safety officer, but not project manager or quality control manager. The project manager can be the same individual as the quality control manager or safety officer, but not all 3. No more than two positions may be held by the same person.

10. Reference - Spec 01 00 00: Confirm that work is to be performed during normal business hours limited to shutdowns and Drilling after hours?

Answer: In the event that noise disrupts the medical center operations, the Contractor shall stop the work immediately as directed by the VA COR and will work during the hours that have the least impact on the patient and staff at no additional cost to the government.

11. Reference – Phasing: Confirm that Existing CT can be stored onsite to allow for one mobilization of the curtain wall removal.

Answer: Yes.

12. Reference – CT Removal: Confirm Crane is to be provided by CT installers and not the GC.

Answer: GC will be responsible and shall coordinate needs with CT manufacturer/installer.

13. Reference - New CT Data: Please provide new CT product data for size and to confirm if doors will have to be removed for transport.

Answer: Please see attached New CT – Naeotom Alpha typical Final.

14. Reference – AD 102: Confirm whether temporary containment systems, such as Starc wall panels, are acceptable in lieu of a 1-hour-rated hard barrier during construction. 1 hour framed wall will cause damage to flooring in hallway requiring patching of flooring system.

Answer: The Infection Prevention (IP) Team has confirmed that Starc wall for containments are good.

15. Reference – A600: Finish Schedule on A600 calls for a rubber base, but details call out for an integral base from the SWV. Confirm that it is an integral base and not a rubber base.

Answer: Answer:  Detail is correct.  Where Seemless Welded Vinyl flooring is installed, the base should be integral.

16. Reference - G005 Note M: Confirm if VA has performed radiation study to determine the required lead thickness for pricing.

Answer: The VA is conducting the shielding design. The info will be made available on or before May 7, 2026.

17. Reference – E-502: This sheet notes that all information is based on generic equipment data. When will site specific drawings be available with locations of connections shown to confirm final conduit and conductor requirements.

Answer: Design was based of the CT equipment that was ultimately purchased by the VA.  Information on the drawing should match manufacture requirements.

ATTACHMENTS

See attached document: S06-657-23-104JC-New CT - Naeotom Alpha typical Final 04242026.