THIS IS A SOURCES SOUGHT NOTICE ONLY.  This is not a solicitation for bids, proposals, proposal abstracts, or quotations.  The purpose of this Sources Sought Notice is to obtain information regarding the availability and capability of qualified sources to perform services for a future procurement that may result in a contract with the Government.  This source sought notice is part of a market research effort and is unrestricted.  Additionally, this notice applies to those firms capable of fulfilling the requirement in accordance with the Statement of Work and Salient Characteristics herein. The responses received from interested contractors will assist the Government in determining the appropriate acquisition approach.

Provide “Surgical Simulation System Replacements” IAW attached Statement of Work to the Veterans Integrated Service Network 23 (VISN 23) locations specified below;

•	VA Fargo Address: 2101 Elm St NE, Fargo, ND 58102

•	VA Minneapolis Address: 1 Veterans Dr, Minneapolis, MN 55417

Potential sources having the capabilities necessary to provide the above services which meet all the requirements outlined in the attached statement of work and salient characteristics are invited to respond to this Sources Sought Notice via e-mail to scott.morrison2@va.gov no later than noted in the RFI.  No telephone inquiries will be accepted.

Responses should include the following information:

Company name, address, and business size; point of contact name, phone number, and e-mail address; A capability statement addressing the requirements in the attached Statement of Work to include:

- References for similar PRODUCT previously provided with similar characteristics as outlined in the Statement of Work.

NAICS Code 339113 is applicable to determine business size standard.

This Sources Sought Notice does not obligate the Government to award a contract or otherwise pay for the information provided in response. The Government reserves the right to use information provided by respondents for any purpose deemed necessary and legally appropriate. The Government will treat any information received as proprietary and will not share such information with other companies.  Any organization responding to this Sources Sought Notice should ensure that its response is complete and sufficiently detailed to allow the Government to determine the organization's qualifications to perform the work. Respondents are advised that the Government is under no obligation to acknowledge receipt of the information received or provide feedback to respondents with respect to any information submitted. The Government may or may not issue a solicitation as a result of this announcement.  There is no solicitation available at this time.

The Department of Veterans Affairs (VA), Sioux Falls, SD, Network Contracting Office (NCO) 23, is conducting market research to identify potential sources that can provide the following:

To be eligible for consideration, the vendor must provide the equipment specified below for each site.

- VA Fargo: ENDO Mentor Suite Platform

  - Interchangeable cartridge for inserting scopes

  - At least a 27” touchscreen w/ a FHD resolution (1920x1080) and wireless keyboard and mouse

  - GI scope hangers with clips to hang the scope insertion

  - Triple foot switch to utilize in the modules for actions

  - Must include the following endoscopes:

    - Colonoscope

    - Duodenoscope

    - Bronchoscope

  - Any necessary tools/accessories such as Master tool and additional red/blue wires used for endoscopic retrograde cholangio pancreatography (ERCP) modules

  - Dimensions: Length: 130-186 cm (max), Height: 135-180 cm (max), Width 57-87cm (max), Weight:500lbs (max)

  - Must include the following Basic and Advance Modules for SAGES Fundamentals of Endoscopic Surgery (FES) testing, as required by the American Board of Surgery (ABS) for all general surgery residency graduates in North America

    - Endo Suite Basic GI

    - Endo Suite Bronch

    - ERCP I and II Module

    - EUS Educational and Tasks Modules

    - Essential EBUS Module

    - GI Endoscopy Fundamental Skills (EFS)

    - Emergency Bronchoscopy Module

    - Sigmoidoscopy Module

    - Diagnostic Bronchoscopy Module

    - Colonoscopy I and II module

    - Cyberscopy Module

    - Gastroscopy I and II Module

    - GI Endoscopy Skills Competition Module

- VA Minneapolis: Angio Mentor Flex Pro

  - High performance laptop with 17in touch screen monitor for interface

  - 24in flat touch screen monitor for fluoroscopy and ultrasound

  - Wireless mouse

  - Dual access configuration, capable of cascading 3 tools simultaneously in each simulation unit

  - Triple foot switch to utilize in the modules for actions (such as X-ray and CINE)

  - Force feedback devices

  - Control box with two joysticks for simulated table and C-arm control

  - Modules needed:

    - Lower extremities CTO

    - Carotid stenting

    - EVAR Repair (AAA)

    - TEVAR Repair (TAA)

    - Advanced TEVAR

    - Angio Aortic Repair

    - Cardio Basic Skills

    - EP Basic Skills

    - Endovascular Basic Skills

    - Angio Peripheral Arterial and Venous

    - C-Arm Basics

    - Flex Pro EDU

- VA Minneapolis: Arthro Mentor II

  - High performance PC with a 24in flat touch screen monitor

  - Double foot pedal

  - Height adjustable platform

  - Knee, hip, and shoulder models

  - Simulated endoscopic camera, probe, and grasper

  - Modules needed:

    - Complete shoulder Arthroscopy

    - Advanced knee

    - FAST

    - Hip Diagnostics

- VA Minneapolis: GI Mentor Express

  - High performance laptop with at least a 16in screen

  - Must be portable

  - Must include a colonoscope

  - Any necessary tools/accessories such as GI Master tool device and a foot pedal

  - Modules needed:

    - GI Endoscopy – Fundamental Skills Training

    - Cyberscopy

    - Colonoscopy I and II

    - Gastroscopy I and II

- All laptops and PCs must receive the latest supported operating system

- Must provide all installation services required to complete the projects. These services should include, but are not limited to, project management, product upgrade, installation, travel to and from the VA facilities.

- Must remove the current simulation systems used at VA Fargo and Minneapolis. Equipment details are on Appendix A.

- If the equipment is offered a trade in value, the vendor must coordinate with the site’s system administrator to properly remove the equipment from the facility.

- The offeror will include separate line items for the hardware, hardware installation, project management, and implementations. These should be clearly delineated in separate line-items, even if some are zero-cost. This purchase will include all equipment, materials, design services, installation labor, implementation services, training (if applicable) and incidental materials/labor/services to fully replace the surgical simulation systems at VA Fargo and at VA Minneapolis.

# Implementation/Project Management Services

Implementation Services shall include, but are not limited to, a project manager, a detailed project timeline with defined roles and responsibilities (including contractor-provided and VA resources), on-site installation coordination of all equipment, software and accessories, and schedule for Go-Live. The contractor shall perform the onsite setup, including system diagnostics and calibration procedures, as well as provide training.

- VISN 23 has designated points of contact (POCs) for each facility that shall be provided upon award.  The contractor shall work with these individuals to implement the technology.

- The contractor shall hold a kickoff meeting with the designated POCs for each facility.  The project management plan and communications plan shall be reviewed at the kickoff meeting.  Discussion about the site order and schedule for implementation will begin at the kick-off meeting.

- The project manager shall hold periodic project meetings as needed with the facility POCs and the VISN Contracting Officer’s Representative (COR).

- The contractor shall collaborate with site POCs to minimize interference with normal operations.

# Places of Performance

The contractor will deliver and pick up the requested products to the Fargo and Minneapolis VA Medical Centers.

- VA Fargo Address: 2101 Elm St NE, Fargo, ND 58102

- VA Minneapolis Address: 1 Veterans Dr, Minneapolis, MN 55417

# Delivery Requirements

The Contractor shall coordinate in advance with on-site designated facility POC(s) and COR delivery of equipment to the final destination and obtain the appropriate Supply Chain Management POC to include in the communication plan.  All equipment must be processed through Supply Chain Management prior to going to final destination. The Contractor shall make any changes to the delivery schedule at the request of facility POC(s) and COR. The Contractor shall provide delivery, shipping and tracking information to the facility POC(s) and COR in advance before equipment arrival at the facility.

The Contractor is responsible for inventorying materials prior to delivery to VA sites to check for accuracy in quantity and part number.  The Contractor shall deliver materials to the job site in the appropriate protective containers or packager, clearly labeled with the contractor’s name, address, equipment make and model and serial identification numbers, and Purchase Order (PO) number and facility Technical POC.

In the case of multiple container deliveries, a statement readable near the VA PO number shall indicate total number of containers for the complete shipment (i.e., “Package 1 of 2”), clearly readable on manifests and external shipping labels.  Facility POC (s) may reject items that do not conform to any of these requirements.

The Contractor shall provide shipping to return any defective repairs from VA Facilities to the Contractor. There shall be no additional cost to the Government for shipping

# Installation Requirements

Contractor shall coordinate with facility POCs to minimize interruption of normal operations. Contractor shall provide and wear attire that is appropriate to the areas they occupy, for example, Bunny Suit, shoe covers, hats, beard covers, face masks, etc. All waste will be removed by the contractor.  Contractor shall work with onsite staff to limit interference with all clinical activities.

# Warranty

The contractor shall provide a minimum one-year warranty on newly installed equipment. The warranty period shall begin after VA authorized personnel have accepted the products delivery, installation, and functionality. In addition, contractor shall indicate availability and cost of extended parts warranty options.

If your firm is capable of providing this service, please fully complete each section of the survey below and email this response to scott.morrison2@va.gov.

Company Name: _____________________________________________________________

Company Address: ___________________________________________________________

DUNS Number: _____________________________________________________________

Point of Contact: ____________________________________________________________

Phone Number: _____________________________________________________________

Email Address: _____________________________________________________________

Socio-economic Classification in Accordance with NAICS Code 339113: (check all that apply)

☐ Small Business

☐ Service Disabled Veteran Owned Small Business (SDVOSB)

☐ Verified SDVOSB by www.vip.vetbiz.gov

☐ Veteran Owned Small Business (VOSB)

☐ Verified VOSB by www.vip.vetbiz.gov

☐ Small Disadvantage Business

☐ Women-owned Small Business

☐ Economically Disadvantaged Small Business

☐ HUBZone

☐ 8(a) Certified

Company’s Capability Statement:

## DISCLAIMER

This RFI is issued solely for information and planning purposes only and does not constitute a solicitation.  All information received in response to this RFI that is marked as proprietary will be handled accordingly.  In accordance with FAR 15.201(e), responses to this notice are not offers and cannot be accepted by the Government to form a binding contract.  Responders are solely responsible for all expenses associated with responding to this RFI.