SUPPLIES OR SERVICES & PRICES / COSTS

Operational Assistance Services of Small Flow Treatment Facility

# PRICE SCHEDULE: Contractor shall furnish all materials, labor, testing / sampling, transportation / lodging, and services necessary to assist National Cemetery of the Alleghenies in the operation of its sewage disposal treatment system. The aforementioned is intended to briefly describe the services involved. All services described in the Schedule, including all specifications, addenda, terms, and conditions of the solicitation, shall form the complete scope of work.

Type & Term of Contract:  The period of performance will begin on the date of award and continue for one year, with the option to renew annually for up to (4) additional one-year periods, as defined in the contract terms.

| Base Period: From Date of Award thru One Year |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLIN | DESCRIPTION | QTY | UNIT | UNIT COST | TOTAL COST |
| 0001 | Bi-Monthly Preventative Maintenance: Provide all parts, labor, testing, sampling, and services for the operation of a subsurface sewage treatment system (outlined in Section A3). | 12 | MO | $ ________ | $__________ |
| 0002 | Cleanout of Wastewater Treatment system | 2 | EA | $_________ | $_________ |
| 0003 | Complete and file (AMR) | 1 | EA | $_________ | $_________ |
| 0004 | Unclog Grinder/Transfer Pump | 6 | EA | $_________ | $_________ |
| Grand Total Estimated Cost: |  |  |  |  | $ ___________ |

| Option Year 1: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLIN | DESCRIPTION | QTY | UNIT | UNIT COST | TOTAL COST |
| 10001 | Bi-Monthly Preventative Maintenance: Provide all parts, labor, testing, sampling, and services for the operation of a subsurface sewage treatment system (outlined in Section A3). | 12 | MO | $ ________ | $__________ |
| 10002 | Cleanout of Wastewater Treatment system. | 2 | EA | $_________ | $_________ |
| 10003 | Complete and file (AMR) | 1 | EA | $_________ | $_________ |
| 10004 | Unclog Grinder/Transfer Pump | 6 | EA |  |  |
| Grand Total Estimated Cost: |  |  |  |  | $ ___________ |

| Option Year 2: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLIN | DESCRIPTION | QTY | UNIT | UNIT COST | TOTAL COST |
| 20001 | Bi-Monthly Preventative Maintenance: Provide all parts, labor, testing, sampling, and services for the operation of a subsurface sewage treatment system (outlined in Section A3). | 12 | MO | $ ________ | $__________ |
| 20002 | Cleanout of Wastewater Treatment system. | 2 | EA | $________ | $_________ |
| 20003 | Complete and file (AMR) | 1 | EA | $________ | $_________ |
| 20004 | Unclog Grinder/Transfer Pump | 6 | EA | $________ | $_________ |
| Grand Total Estimated Cost: |  |  |  |  | $ ___________ |

| Option Year 3: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLIN | DESCRIPTION | QTY | UNIT | UNIT COST | TOTAL COST |
| 30001 | Bi-Monthly Preventative Maintenance: Provide all parts, labor, testing, sampling, and services for the operation of a subsurface sewage treatment system (outlined in Section A3). | 12 | MO | $ ________ | $__________ |
| 30002 | Cleanout of Wastewater Treatment system | 2 | EA | $_________ | $_________ |
| 30003 | Complete and file (AMR) | 1 | EA | $_________ | $_________ |
| 30004 | Unclog Grinder/Transfer Pump | 6 | EA | $_________ | $_________ |
| Grand Total Estimated Cost: |  |  |  |  | $ ___________ |

| Option Year 4: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CLIN | DESCRIPTION | QTY | UNIT | UNIT COST | TOTAL COST |
| 40001 | Provide all parts, labor, testing, sampling, and services for the operation of a subsurface sewage treatment system, including two site visits per month, as outlined in Section A3 of the contract. | 12 | MO | $ ________ | $__________ |
| 40002 | Cleanout of Wastewater Treatment system. | 2 | EA | $_________ | $_________ |
| 40003 | Complete and file (AMR) | 1 | EA | $_________ | $_________ |
| 40004 | Unclog Grinder/Transfer Pump | 6 | EA | $_________ | $_________ |
| Grand Total Estimated Cost: |  |  |  |  | $ ___________ |

SUMMARY GRAND TOTAL

| BASE PERIOD + ALL OPTION YEARS: | $ _______________________________ |
| --- | --- |

(End of Price Schedule)