## BID FORM
Proj. Name: | XTLF 20-1018 Replace Outside Runway PAPIs
ITEM | DESCRIPTION | TOTAL
1 | General Conditions
2 | New conduit runs to new PAPI pads, including trenching between new PAPI pads and handholes
3 | New concrete pads and mow strips
4 | New Constant Current Regulators, other electrical gear and PAPI fixtures
5 | Finish grading around new pads, including sod and associated establishment of sod by watering
6 | Removal of existing PAPI fixtures
7 | Total Cost (sum of lines 1 thru 6)
Contractor's Acknowlegement of addendums recieved
Time: | Total Contract Duration, not to exceed 530 calendar days.
Contractor's Company Name:
Contractor's Point of Contact
Address:
Phone Number:
E-mail address:
Instructions for Bid Items
ITEM | DESCRIPTION
1 | Bid to include General Conditions, but is not limited too, the costs incurred by the general contractor to manage the project.
2 | Bid to include new conduit runs to new PAPI pads, including trenching between new PAPI pads and handholes, new conductors and connections to new gear along with demolition of gear inside in facility F197.
3 | Bid to include new concrete pads and mow strips, including, but not limited to excavation, compaction, and other materials for a complete and useable pad.
4 | Bid to include new Constant Current Regulators, other electrical gear and PAPI fixtures, including delivery of products and labor to install gear.
5 | Bid to include finish grading around new pads, including sod and associated establishment of sod by watering includes, but is not limited to restoring the site to original or better conditions by grading the areas around the new PAPI concrete pads per the plans and installtion of new sod. Sod must be watered to ensure stand is established to 75% of the total area.
6 | Bid to include removal of existing PAPI fixtures includes, but is not limited to the removal of the existing fixtures, after Vance AFB an the FAA have certified and accepted the new PAPIs. This line item should also include the removal of the conductors from the existing PAPIs to the dead end at the exiting manholes.
7 | Total Cost (sum of lines 1 thru 6)