Residential Drinking Water Lab Testing Scope of Work

Cape Town Consulate

1. Purpose and Regulatory Framework

This scope of work establishes requirements for residential drinking water laboratory testing at the Cape Town Consulate residents in accordance with 15 FAM 957.5, Drinking Water Quality Program Requirements, which requires posts to provide potable water that is microbiologically and chemically safe to drink at all Department of State-owned or leased facilities abroad where employees work and post family members reside.

2. Testing Standards

All water samples shall be analyzed in accordance with:

- SANS 241 (South African National Standard for Drinking Water) - Full analysis required

- Enterococci testing - As specified microbiological indicator

3. Scope of Testing

3.1 Microbiological Analysis

- Total coliforms

- E. coli

- Enterococci (specifically required)

- Other microbiological parameters as specified in SANS 241

3.2 Chemical Analysis (Full SANS 241)

- Physical parameters (pH, turbidity, conductivity, total dissolved solids)

- Inorganic chemicals (nitrates, fluoride, chloride, sulfate, etc.)

- Heavy metals (lead, copper, arsenic, mercury, cadmium, chromium, etc.)

- Organic compounds as specified in SANS 241

- Disinfection by-products (if applicable)

4. Laboratory Requirements

The contracted laboratory shall:

- Be accredited for SANS 241 testing

- Provide Statement of Conformity for all samples submitted

- Use approved analytical methods consistent with SANS 241

- Maintain chain of custody documentation

- Provide results within agreed timeframes

5. Deliverables

For each sample submitted, the laboratory shall provide:

- Complete analytical results for all parameters tested

- Statement of Conformity indicating compliance or non-compliance with SANS 241 limits

- Quality assurance/quality control data

- Method references

- Laboratory accreditation documentation

- Signed and dated reports

### 5. Quantity of Services

The contractor shall provide residential drinking water sampling and laboratory testing services for a total of thirty-three (33) residential properties.

- This requirement is a one-time (once-off) service.

- Each property shall be treated as an individual sampling location requiring full testing in accordance with this Scope of Work.

- The quoted price shall include all costs associated with sampling, transportation, laboratory analysis, and reporting for all 33 properties.