AMENDMENT 0001

QUESTIONS AND ANSWERS

Solicitation: 36C24826Q0653

Cubicle Privacy Curtain Panels and Mesh Panels

Q1: Supply-only vs. installation/removal requirement

A1: This requirement is for manufacture, supply, and delivery only. Removal of existing curtains and installation/hanging of new curtains and mesh panels is not included.

Q2: Delivery location and final placement

A2: All items shall be delivered to the Lake City VAMC Industrial Laundry Facility (619 S. Marion Avenue, Lake City, FL 32025). The Government will handle internal distribution and installation.

Q3: Delivery schedule / phased delivery

A3: The Government anticipates delivery within 30 days after receipt of order (ARO). Phased delivery may be accepted; however, offerors shall clearly state their proposed delivery schedule. Delivery timelines will be evaluated for reasonableness.

Q4: Fabric/color requirement — Tessuto Lakeside

A4: Tessuto Lakeside is identified as a salient characteristic. Offerors may propose an equal fabric/color, provided it meets all performance requirements identified in the Statement of Need.

Q5: Sample or fabric approval

A5: Samples are not required with the initial quote. The Government may request samples or product submittals after award and prior to production.

Q6: Snap-panel system compatibility

A6: The proposed system must be compatible with existing VA curtain track and snap systems. Offerors may propose any system that meets the stated requirements and compatibility.

Q7: Mesh panel specifications

A7: The following are mandatory requirements:

- Size: 66” W x 32” H

- Color: White

- Mesh openings: ½ inch

- Header grommets: approximately 6” on center

- Footer snaps: approximately 4.75” on center

- Compatibility with snap-panel curtain system

Q8: Antimicrobial documentation

A8: Acceptable documentation includes manufacturer certification, product data sheets, or third-party test reports demonstrating compliance.

Q9: NFPA 701 documentation

A9: Documentation is not required with the initial quote but shall be provided after award prior to production.

Q10: Labeling requirements

A10: Labeling requirements apply to fabric curtain panels only, not mesh panels.

Q11: Manufacturer / nonmanufacturer certification

A11: Offerors shall comply with VAAR 852.219-76. SDVOSB offerors may supply products manufactured by another company in accordance with the SBA Nonmanufacturer Rule Class Waiver for NAICS 314120. The manufacturer is not required to be a small business under this waiver.

Q12: Country of origin / domestic manufacturing

A12: Standard FAR commercial product provisions apply. No additional domestic manufacturing requirement is imposed beyond those provisions.

Q13: Award basis / all-or-none pricing

A13: The Government intends to make one award for all CLINs. Offerors shall provide pricing for both CLIN 0001 and CLIN 0002.

Q14: Required offer contents

A14: Offers shall include:

- Completed pricing for all CLINs

- Technical description/product literature demonstrating compliance

- Delivery timeframe

- Warranty and maintenance/cleaning information

- Completed representations and certifications, including VAAR 852.219-76

Q15: Question deadline / amendments

A15: All questions shall be submitted by the date specified in the solicitation. Responses will be provided via formal amendment to SAM.gov.

Q16: Fabric availability – Tessuto Lakeside unavailable / proposed alternates

A16: Tessuto Lakeside is identified as the salient characteristic. Offerors may propose an equal fabric/color, provided it meets all performance requirements identified in the Statement of Need.

The Government will not evaluate or pre-approve specific fabric patterns prior to award.

Offerors shall:

- Identify the proposed fabric in their quote

- Provide product literature demonstrating compliance

The Government reserves the right to request samples after award and prior to production for approval by the VA Interior Designer.

Q17: Fabric manufacturer identification

A17: The Government has not specified a particular manufacturer.

This requirement is brand name or equal. Offerors may propose products from any manufacturer, provided they meet all requirements of the Statement of Need.