## Total Count
Shop Area | Total Jobs
Comm Shop | 38
Davis Electric | 24
Electrical Tools | 43
Elect-Test | 43
Elevator Tools | 21
HEM Tools | 55
Mech Engineering | 20
Parker Dam | 35
Tool Room | 103
Over All Total | 382

## Comm Shop
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | AeroFlex | 3500A | Portable Radio Test Set | 1000406151
2 | AeroFlex | 3920 | Digital Radio Test Set | 1000662593
3 | AFL | C840 | Fiber Optic Certification Tester | 2C226SX003
4 | AFL | C840 | Fiber Optic Certification Tester | 2C226SX004
5 | Ameritec | AM-48 | Transmission Test Set | 3290293
6 | Bird | SH-60S-TC | Signal Hawk 9kHz-6GHz | 1201010300299
7 | Bird | SK-4000 | SiteHawk 85-4000 MHz | 14125010400446
8 | BK Precision | 1856D | 3.5 GHz Counter | 332H20210
9 | BK Precision | 5390 | Handheld Digital Multimeter | 70910002
10 | Electrodata | T1-LITE | T1 Tester / Analyzer | 1962
11 | Fluke | 1625 | Earth/Ground Tester | 101603351B4
12 | Fluke | 177 | True RMS Multimeter | 13300137
13 | Fluke | 200 Probe | IntelliTone Pro | 1117127
14 | Fluke | 200 Probe | IntelliTone Pro | 1117084
15 | Fluke | 337 | Clamp meter | 90265312
16 | Fluke | 635A | QuickBERT-T1 | 1336001
17 | Fluke | 87 Series III | True RMS Mulitmeter | 81140078
18 | Fluke | 87 Series V | Digital Multimeter | 90690371
19 | Fluke | 97 | Scopemeter | DM589029
20 | Fluke | 990DSL | Copper Pro Loop Tester - TDR | 2052001
21 | Fluke | DSP-4300 | Cable Analyzer | 8465041
22 | Fluke | DSP-4300SR | Network Smart Remote | 8465041
23 | Fluke | EI-162AC | Inducing Current Transformer 0.1-1200A | A157023
24 | Fluke | EI-162X | Current Clamp | A157022
25 | Fluke | MicroScanner2 | Cable Verifier | 1147156
26 | Fluke | MicroScanner2 | Cable Verifier | 1147328
27 | Fluke | OptiFiber | Optical power Meter Test Set | 9084004
28 | Fluke | SimpliFiber Pro | Fiber Optical Power Meter | 1644226
29 | Fluke | SimpliFiber Pro | Fiber Optical Power Meter | 1645402
30 | Fluke | SimpliFiber Pro | Fiber Optical Power Meter | 1644233
31 | Hewlett-Packard | 53131A | 225 MHz Universal Counter | 3404A02377
32 | Megger | CFL535F | Cable Fault Locator | 6411-012/061106/1645
33 | Simpson | 260 Series 8 | Multimeter | 0178827
34 | Tektronix | TBS1052C | Digital Oscilloscope | C021869
35 | Telewave | 44D | Digital Watt Meter | 1936AF0618
36 | Telewave | 44DL | Digital Watt Meter | 1925TG0269
37 | TTC | T-Berd 310 | Communications Analyzer | 6647
38 | TTC | T-Berd 310 | Communications Analyzer | 6646
Total Price
38

## Davis Electric
Count | Model | OEM | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | 202 | Ametek | Dry Block Temp Calibrator (50°C to 250°C) | 014798-001148
2 | 287 | Fluke | Digital Multimeter | 34140088
3 | 289 | Fluke | Digital Multimeter | 20010290
4 | 373 | Fluke | AC Clamp Meter | 46800101
5 | 373 | Fluke | AC Clamp Meter | 46800107
6 | 373 | Fluke | AC Clamp Meter | 46800111
7 | 373 | Fluke | AC Clamp Meter | 45820031
8 | 707 | Fluke | Loop Calibrator | 8738136
9 | 1587 | Fluke | Insulation Multimeter | 45630069
10 | 6505 | AEMC Instruments | Megohmmeter | 131039TFDV
11 | 1550B | Fluke | High Voltage Insulation Tester | 8846061
12 | 1630-2 FC | Fluke | Earth Ground Clamp | 41200045WS
13 | 275HVD | AEMC Instruments | Non-Contact High Voltage Detector | A182768
14 | 43B | Fluke | Power Quality Analyzer | DM9360122
15 | 440-20 | Phenix Technologies | 40kV DC Dielectric Tester | 08-4889
16 | 712B | Fluke | RTD Calibrator | 33920012
17 | 85 Series III | Fluke | True RMS Multimeter | 75940422
18 | 87 Series V | Fluke | Digital Multimeter | 93090439
19 | 87 Series V | Fluke | Digital Multimeter | 93090365
20 | Celltron Advanced | MIDTRONICS | Battery Tester | 0606440056
21 | CLM-1000 | Greenlee Test Instruments | Cable Length Meter | 101137262
22 | DLRO 10X | Megger | Digital Low Resistance Ohmmeter | 101019305
23 | DLRO 200-115 | Megger | Digital Low Resistance Ohmmeter | 1418
24 | TDR500 | Megger | Time Domain Reflectometer | 101137262
Total Price
24

## Electrical Tools
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | Fluke | 337 | Clamp meter | 90265311
2 | Fluke | 337 | Clamp meter | 594100704
3 | Fluke | 337 | Clamp meter | 594700593
4 | Fluke | 376 | Clamp Meter | 28821379WS
5 | Fluke | 376 | Clamp Meter | 28821371WS
6 | Fluke | 376 | Clamp Meter | 28821377WS
7 | Fluke | 376 | Clamp Meter | 28821373WS
8 | Fluke | 1520 | Megohmmeter | 81970014
9 | Fluke | 1520 | Megohmmeter | 81970030
10 | Fluke | 1587 | Insulation Multimeter | 22520048
11 | Fluke | 1587 | Insulation Multimeter | 22520049
12 | AEMC Instruments | 6240 | Micro-Ohmmeter | 191607QHDV
13 | AEMC Instruments | 6240 | Micro-Ohmmeter | 216054 GDDV
14 | Fluke | 376 FC | TRMS Clamp Meter | 41340632WS
15 | Fluke | 376 FC | TRMS Clamp Meter | 41340638WS
16 | Fluke | 376 FC | TRMS Clamp Meter | 41340631WS
17 | Fluke | 712B | RTD Calibrator | 40500017
18 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600820
19 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600819
20 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600802
21 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600801
22 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600805
23 | CDI | 752MFRMH | 75 Ft/Lbs | 0119120053
24 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600787
25 | Fluke | 87 series V | Digital Multimeter | 90830287
26 | Fluke | 87 Series V | Digital Multimeter | 31570029
27 | Fluke | 87 Series V | Digital Multimeter | 89860320
28 | Fluke | 87 Series V | Digital Multimeter | 41520168
29 | Fluke | 87 Series V | Digital Multimeter | 31420421
30 | Fluke | 87 Series V | Digital Multimeter | 39180198
31 | Fluke | 87 Series V | Digital Multimeter | 31570061
32 | Fluke | 87 Series V | Digital Multimeter | 41520164
33 | Fluke | 87 Series V | Digital Multimeter | 30040616
34 | Fluke | 87 Series V | Digital Multimeter | 90690370
35 | Fluke | 87 Series V | Digital Multimeter | 31570035
36 | Vanguard Instruments Inc | ACCU-OHM 200 Series 2 | 10 -200A DC Digital Micro-Ohm Meter | 40207
37 | Multi-Amp | MG-25A | 2.5K DC MegOhmMeter | MV-1581
38 | VLF HIPOT Instruments | PFT-301CM | HI-POT High Voltage Tester 30KV | 065
39 | Snap-On | QD2FR75 | Torque Wrench | 1006320456
40 | Snap-On | QJR2100E | Torque Wrench | 06910049969
41 | Fluke | T5-1000 | Clamp Meter | 40432101WS
42 | UTICA | TCI-150RA | Torque Wrench | A190212
43 | UTICA | TCI-250R | 250 IN. LB. Torque Wrench | A190213
Total Price
43

## Elect-Test
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | AMPROBE | ACDC-1000A | Clamp Meter | 0061466
2 | AMPROBE | ACDC-1000A | Clamp Meter | 125573
3 | AMPROBE | ACDC-1000A | Clamp Meter | 044886
4 | EXTECH Instruments | 380942 | Clamp Meter | 07010219
5 | EXTECH Instruments | 380942 | Clamp Meter | 06450692
6 | Fluke | 189 | Digital Multimeter | 90600609
7 | Fluke | 189 | Digital Multimeter | 90630109
8 | Fluke | 189 | Digital Multimeter | 90630111
9 | Fluke | 190-502 | 2CH 500MHz 5GS/s Scopemeter | 27415601
10 | Fluke | 199 | Scope Meter | DM7500202
11 | Fluke | 289 | Digital Multimeter | 14950001
12 | Fluke | 289 | Digital Multimeter | 38500156
13 | Fluke | 289 | Digital Multimeter | 29790033
14 | Fluke | 289 | Digital Multimeter | 33570135
15 | Fluke | 289 | Digital Multimeter | 38540015
16 | Fluke | 337 | Clamp meter | 594700590
17 | Fluke | 337 | Clamp meter | 594700589
18 | Fluke | 772 | MilliAmp Process Clamp Meter | 19230064
19 | Fluke | 772 | MilliAmp Process Clamp Meter | 19230069
20 | Fluke | 789 | Process Meter | 95380057
21 | Fluke | 789 | Process Meter | 17300080
22 | Fluke | 789 | Process Meter | 34520068
23 | Fluke | 87 Series III | True RMS Mulitmeter | 80400132
24 | Fluke | 87 Series V | Digital Multimeter | 88850404
25 | General Radio | 1433-T | .01-1K Ohms Decade Box | 0179096
26 | General Resistance Instruments | RTD-100 | Resistance Temperature Detector Simulator | 3015
27 | IET | 1433-10 | 1 K ohm Decade Resistor | D3-07492514
28 | IET | 1433-12 | Decade Resistor | D3-07482487
29 | Megger | MIT420 | Megohmeter | 101043688
30 | Megger | MIT420 | Megohmeter | 090809/4317
31 | Omicron | C-Probe 1 | Current Probe | 239091 DLV
32 | Omicron | C-Probe 1 | Current Probe | 239083 DLV
33 | Omicron | C-Probe 1 | Current Probe | 239072 DLV
34 | Salisbury | 4344 | AC Voltage Detector | A157774
35 | Salisbury | 4344 | AC Voltage Detector | A168218
36 | Salisbury | 4344 | AC Voltage Detector | A138122
37 | Simpson | 260 | Volt-Ohm-Meter | A128672
38 | Simpson | 260 | Volt-Ohm-Meter | A182773
39 | Yokogawa | CL220 | Digital Clamp Meter | JKRA234
40 | Yokogawa | CL220 | Digital Clamp Meter | JKGC244
41 | Yokogawa | CL220 | Digital Clamp Meter | JKGC063
42 | Yokogawa | CL220 | Digital Clamp Meter | JKGC062
43 | Yokogawa | CL220 | Digital Clamp Meter | JKGC061
Total Price
43

## Elevator Tools
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | Fluke | 337 | Clamp meter | 594700595
2 | Fluke | 345 | PQ Clamp Meter | 94010001
3 | Fluke | 787 | Process Meter | 98930012
4 | Fluke | 1587 | Insulation Multimeter | 35200007
5 | Fluke | 9040 | Phase Rotation Indicator | 34700033WS
6 | S & K | 74015 | 150 FT LBs Torque Wrench | 955991
7 | Mitutoyo | 103-135 | 0 - 1" inch | HT1700-69150
8 | Sturtevant Richmont | 3 SDR 75 F | 75 Ft-LBs Forward 3/8 | A157762
9 | Fluke | 376 FC | TRMS Clamp Meter | 41340637WS
10 | Fluke | 87 Series V | Digital Multimeter | 90690369
11 | Fluke | 87 Series V | Digital Multimeter | 90830286
12 | Fluke | 902FC | HVAC Clamp Meter True RMS | 43660935WS
13 | Fluke | 902FC | HVAC Clamp Meter True RMS | 43660933WS
14 | BlackMAX | BTLDTW | Digital Torque Wrench | T201700436
15 | UTICA | DA3250 F | 250 FT - LBS Torque Tool | 0202182
16 | Dillon | Dynamometer |  | E 05700
17 | Dillon | Dynamometer |  | E 05517
18 | Fluke | i400 | AC Current Clamp | 32060915
19 | Fluke | i410 | AC/DC Current Clamp 600V | 88300916
20 | Fieldpiece | SSX34 | Superheat and Subcooling for AC | A190209
21 | Seekonk | TSF-150 | 150 FT - LBS TorQ Gage | A190205
Total Price
21

## HEM Tools
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | Starrett | 120 | Dial Caliper | 17328956
2 | Starrett | 123 | Vernier Calipers | A184380
3 | Starrett | 128 | 0-1" Micrometer Head | A138156
4 | Starrett | 128 | 0-1" Micrometer Head | A190191
5 | Starrett | 196 | Dial Indicator | A168213
6 | Starrett | 226 | 2-3" Outside Micrometer | 0240682
7 | Starrett | 239 | 2-3 inch Mic | A125859
8 | Starrett | 254 | Vernier Height Gage | A125901
9 | Starrett | 436 | 1-12" Micrometer set | 1567
10 | Starrett | 436.1 | 0-1 inch Mic | A190197
11 | Starrett | 440 | Depth Micrometer Set | 0002259
12 | Starrett | 443 | Nine pc Depth Micrometer Set | USBR-2294
13 | Starrett | 443 | Nine pc Depth Micrometer Set | A125879
14 | Starrett | 724 | Interchangable Anvil Micrometer | 48628
15 | Starrett | 724 | Interchangable Anvil Micrometer | 48630
16 | Starrett | 724 | Interchangable Anvil Micrometer | 1974
17 | Starrett | 724 | Interchangable Anvil Micrometer | 48626
18 | Starrett | 724 | Interchangable Anvil Micrometer | 48627
19 | Mitutoyo | 103-217 | 2-3 inch Mic | A125856
20 | Heiland Research Corp | 12" - SPTL | 12" Special Precision Triangle Level | A190184
21 | Heiland Research Corp | 12" - SPTL | 12" Special Precision Triangle Level | A190183
22 | Starrett | 1202-8 | 8" Slide Dial Caliper | GG803026
23 | Starrett | 124 BZ | 2-12" Solid-Rod Inside Micrometer Set | A190193
24 | Starrett | 199-15 | 15" Master Precision Level | A190186
25 | Starrett | 199-15 | 15" Master Precision Level | A190185
26 | Starrett | 25-111 | .025" range Dial Indicator | A168202
27 | Starrett | 25-131 | .125" Range Dial Indicator | A168203
28 | Starrett | 25-131 | .125" Range Dial Indicator | A190196
29 | Starrett | 25-441 | 1.0" Range Dial Indicator | A173010
30 | Starrett | 25-441 | 1.0" Range Dial Indicator | A190199
31 | Starrett | 25-441 | 1.0" Range Dial Indicator | A173009
32 | Starrett | 25-441 | 1.0" Range Dial Indicator | A190198
33 | Starrett | 25-441 | 1.0" Range Dial Indicator | A173003
34 | Starrett | 3089Z-131-26J | 2-6" Bore Gage | HT1365-75894
35 | Mitutoyo | 368-918 | 0.8-2.0" Tri Micrometer Set | A157026
36 | SPI | 4.0-5.0" Bore Gage | 4" to 5" Tri Mic | 0179961
37 | Brown & Sharpe | 599-281-4 | 1.6"-4.0" Inside Tri-Micrometer Set | A166957
38 | Brown & Sharpe | 599-281-4 | 1.6"-4.0" Inside Tri-Micrometer Set | 179102
39 | Tesa | 599-281-50 | 5-6" Inside Tri-Micrometer | A184378
40 | Brown & Sharpe | 599-281-6 | 5-6" Inside Tri-Micrometer | A190189
41 | Brown & Sharpe | 599-281-7 | 6-7" Inside Tri-Micrometer | A190188
42 | Brown & Sharpe | 599-281-8 | 7-8" Inside Tri-Micrometer | A190187
43 | SPI | 7" to 8" Tri Mic | 7" to 8" Tri Mic | 179759
44 | Starrett | 798B-12/300 | 12" Electronic Caliper | 17121653
45 | Tesa | 8.0-9.0" Bore Gage | 8" to 9" Tri Micrometer/Bore Gage | 177995
46 | Starrett | 823E | 4-40" Inside Tubular Micrometer | HT1691-69426
47 | Starrett | 84-134-6 | 5.000" - 8.125" Dial Bore Gage | A141840
48 | Starrett | 98-12 | 12" Machine Level | A190180
49 | Starrett | 98-12 | 12" Machine Level | A190181
50 | Starrett | 98-12 | 12" Machine Level | A190182
51 | Starrett | 98-18 | 18" Machine Level | A190190
52 | Starrett | S78XTCZ | .250" - .375" Internal Micrometer Set | A190176
53 | Starrett | S78XTDZ | .375" - .750" Internal Micrometer Set | A190178
54 | Starrett | S78XTEZ | .750" - 2" Inside Micrometer Set | A190177
55 | Starrett | S78XTFZ | 2" - 4" Inside Micrometer Set | A190179
Total Price
55

## Mech Engineering
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | Starrett | 445 | Depth Micrometer | A189698
2 | Fluke | 707 | Loop Calibrator | 7981275
3 | Fluke | 789 | Process Meter | 26260039
4 | Fluke | 789 | Process Meter | 41780122
5 | Fluke | 2700G | 300 psi, 2MPa Reference Pressure Gauge | 2940072
6 | Starrett | 798B-6/150 | 6'/150mm Digital Caliper | 18/520146
7 | Fluke | 87 Series III | True RMS Mulitmeter | 81630058
8 | Fluke | 87 Series III | True RMS Mulitmeter | 78050363
9 | Fluke | 87 Series V | Digital Multimeter | 41500202
10 | Fluke | 87 Series V | Digital Multimeter | 27170286
11 | Fluke | 87 Series V | Digital Multimeter | 10130023
12 | GE Druck | DPI 104 | 300 psi g Pressure Gauge | 4181903
13 | Pioneer Electric & Research Corp | DS-12V | Porta-Strobe | 80009
14 | Agilent | E3641A | DC Power Supply | MY40002952
15 | Leica | E7500i | Laser Distance Meter 660ft | 1081620135
16 | FLIR | FLIR C2 | Thermal Camera | 720038782
17 | FLIR | FLIR C2 | Thermal Camera | 720037756
18 | Pacific Laser Systems | PLS5 | Plumb Level Square | 035282
19 | ProtMex | PT6708 | Digital Sound Level Meter | H12A-H43949
20 | Fluke | PV350 | Pressure/Vacuum Transducer | 107510052
Total Price
20

## Tool Room
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | AMPROBE | RS-1 | Analog Clamp Meter | 1172-67464
2 | AMPROBE | RS-1007 | AC Clamp Meter | 00302783
3 | AMPROBE | RS-1007 | AC Clamp Meter | 00301333
4 | AMPROBE | YT-525100 | AC Volt-Ammeter | 998
5 | Armstrong | 65-154 | 100-600 FT LBS Torque Wrench | 0202178
6 | Brown & Sharpe | 603 | Depth Micrometer | 981
7 | CDI | 752MFRMH | 75 Ft/Lbs | 1015600806
8 | CDI | 752MFRMH | 75 Ft/Lbs | 0516700418
9 | CDI | 752MFRMH | 75 Ft/Lbs | 0516700943
10 | CDI | 752MFRMH | 75 Ft/Lbs | 0516700955
11 | CDI | 752MFRMH | 75 Ft/Lbs | 0119120098
12 | CDI | 752MFRMH | 75 Ft/Lbs | 0516700956
13 | CDI | 752MFRMH | 75 Ft/Lbs | 0516700957
14 | EXTECH Instruments | 380942 | Clamp Meter | 06320853
15 | EXTECH Instruments | 380942 | Clamp Meter | 07010215
16 | EXTECH Instruments | 380942 | Clamp Meter | 07010211
17 | EXTECH Instruments | 380942 | Clamp Meter | 07010212
18 | Fluke | 1503 | Insulation Tester | 96720053
19 | Fluke | 1503 | Insulation Tester | 96720055
20 | Fluke | 1587 | Insulation Multimeter | 24160121
21 | Fluke | 1587 | Insulation Multimeter | 22520054
22 | Fluke | 189 | Digital Multimeter | 90630112
23 | Fluke | 337 | Clamp meter | 594700597
24 | Fluke | 337 | Clamp meter | 594700588
25 | Fluke | 345 | PQ Clamp Meter | USBR-2190
26 | Fluke | 376 | Clamp Meter | 28821376WS
27 | Fluke | 376 | Clamp Meter | 28821372WS
28 | Fluke | 52 K/J | Digital Thermometer | 5445046
29 | Fluke | 787 | Process Meter | 98930013
30 | Fluke | 789 | Process Meter | 17300076
31 | Fluke | 789 | Process Meter | 93970060
32 | Fluke | 87 Series III | True RMS Mulitmeter | 81300105
33 | Fluke | 87 Series III | True RMS Mulitmeter | 81630055
34 | Fluke | 87 Series V | Digital Multimeter | 90830288
35 | Fluke | 87 Series V | Digital Multimeter | 90830285
36 | Fluke | 87 Series V | Digital Multimeter | 90690372
37 | Fluke | 87 Series V | Digital Multimeter | 41450177
38 | Fluke | 87 Series V | Digital Multimeter | 41520167
39 | Fluke | i410 | AC/DC Current Clamp 600V | 51200223
40 | Klein Tools | 57000 | Torque wrench - 75 ft-lbs | A138129
41 | Mitutoyo | 505-645-50 | 12 inch Caliper | A125866
42 | Mitutoyo | 536-741 | 8" Knife Egde Dial Caliper | 404992
43 | NSK | 100mm Mic. | 75-100mm Micrometer | IH4567
44 | NSK | 100mm Mic. | 75-100mm Micrometer | HC2025
45 | NSK | 25mm Mic. | 0-25mm Micrometer | K42352
46 | NSK | 25mm Mic. | 0-25mm Micrometer | K42381
47 | NSK | 50mm Mic. | 25-50mm Micrometer | KL0766
48 | NSK | 50mm Mic. | 25-50mm Micrometer | KL0742
49 | NSK | 75mm Mic. | 50-75mm Micrometer | KL0811
50 | NSK | 75mm Mic. | 50-75mm Micrometer | KL0696
51 | Proto | 6071-1 | 1200-6000 IN LB Torque Wrench | A126564
52 | Raytek | Raynger PM | IR Noncontact Thermometer | 1A498J
53 | Raytek | Raynger ST | Noncontact Thermometer | 2088440101-0005
54 | Raytek | ST81 | Infrared Thermometer | 38190257WS
55 | Scherr-Tumico Inc. | 16-0167 | 0 - 6" Inch Caliper | USBR-1114
56 | Scherr-Tumico Inc. | Inside Micrometer | 1½-10" Inside Micrometer | 0048522
57 | Simpson | 260 | Volt-Ohm-Meter | TT0018653207
58 | Simpson | 260 | Volt-Ohm-Meter | TT0018643207
59 | Snap-On | QC1R200 | Torque Wrench | 0797101175
60 | Snap-On | QD275 | Torque Wrench | 1813
61 | Snap-On | QJR3200C | Torque Wrench | 12920026080
62 | SPI | 12-349-7 | 0-1" Outside Micrometer | 040479144
63 | Starrett | 120A | 0-6 inch Caliper | A190229
64 | Starrett | 120A | 0-6 inch Caliper | A125869
65 | Starrett | 123 | Vernier Calipers | HT1116-69746
66 | Starrett | 123 | Vernier Calipers | HT1116-35950
67 | Starrett | 124 Series | Inside Micrometers | 37496
68 | Starrett | 196 | Dial Indicator | 0211120
69 | Starrett | 234 Series | Inch Setting Standard | A138159
70 | Starrett | 25-111 | .025" range Dial Indicator | 211042-001
71 | Starrett | 25-111 | .025" range Dial Indicator | A190239
72 | Starrett | 25-111 | .025" range Dial Indicator | 211041-001
73 | Starrett | 25-131 | .125" Range Dial Indicator | 211042-002
74 | Starrett | 25-131 | .125" Range Dial Indicator | A190237
75 | Starrett | 25-131 | .125" Range Dial Indicator | 211040-002
76 | Starrett | 25-131 | .125" Range Dial Indicator | 211041-002
77 | Starrett | 25-441 | 1.0" Range Dial Indicator | A190231
78 | Starrett | 25-441 | 1.0" Range Dial Indicator | A190238
79 | Starrett | 25-441 | 1.0" Range Dial Indicator | 211042-003
80 | Starrett | 25-441 | 1.0" Range Dial Indicator | 211040-003
81 | Starrett | 25-441 | 1.0" Range Dial Indicator | A125886
82 | Starrett | 25-441 | 1.0" Range Dial Indicator | A173007
83 | Starrett | 25-441/5 | Dial Indicator | 44402
84 | Starrett | 25-441/5 | Dial Indicator | A125892
85 | Starrett | 25-441/5 | Dial Indicator | A138180
86 | Starrett | 25-441/5 | Dial Indicator | A125885
87 | Starrett | 25-441/5 | Dial Indicator | 44402
88 | Starrett | 25-441/5 | Dial Indicator | 37026
89 | Starrett | 25-441/5 | Dial Indicator | 37026
90 | Starrett | 25-441/5 | Dial Indicator | 37026
91 | Starrett | 436 | 1-12" Micrometer set | 68613
92 | Starrett | 436XRL-10 | 9-10" Micrometer | 68614
93 | Starrett | 436XRL-12 | 11-12" Micrometer | 68615
94 | Starrett | 436XRL-5 | 4-5" Micrometer | 68611
95 | Starrett | 436XRL-6 | 5-6" Micrometer | 68612
96 | Starrett | 436XRL-7 | 6-7" Micrometer | 37524
97 | Starrett | 436XRL-7 | 6-7" Micrometer | 37523
98 | Starrett | 445 | Depth Micrometer | 717
99 | Starrett | 711 | Last Word Dial indicator | A130995
100 | Starrett | 711-T1 | Test Indicator | 0211129
101 | Starrett | 823E | 4-40" Inside Tubular Micrometer | 37489
102 | Starrett | 823E | 4-40" Inside Tubular Micrometer | 69431
103 | Vis | 0 - 12" | Micrometer Set 0-12 Inch | A138491
Total Price
103

## Parker Dam
Count | OEM | Model | Description(Short) | S/N | Price for Calibration FY 2026-2027 | Price for Calibration FY 2027-2028 | Price for Calibration FY 2028-2029 | Price for Calibration FY 2029-2030 | Price for Calibration FY 2030-2031
1 | Fluke | 32 | Clamp Meter | 64954950
2 | Jofra | 202 | Dry Block Temp Calibrator (50°C to 250°C) | 912425
3 | Fluke | 289 | Digital Multimeter | 40090069
4 | Fluke | 381 | Remote Display TRMS Clamp Meter | 54810383MV
5 | Fluke | 707 | Loop Calibrator | 5884612
6 | Norbar | 1785 | 3/8" Sq. Dr. Insulated Torque Wrench | 79108315899
7 | Fluke | 9040 | Phase Rotation Indicator | 47990096WS
8 | Gear Wrench | 85055 | 600 FT-LB Torque wrench | 110941039
9 | Dillon | 1000 LB. Cap. | Dynamometer | AP31256
10 | CDI | 1503MFRPH | Torque Wrench | 0322904238
11 | CDI | 1503MFRPH | Torque Wrench | 0322904239
12 | CDI | 1503MFRPH | Torque Wrench | 0322904240
13 | CDI | 1503MFRPH | Torque Wrench | 0322904241
14 | CDI | 1503MFRPH | Torque Wrench | 0322904242
15 | Fluke | 712B | RTD Calibrator | 34340025
16 | Fluke | 87 Series V | Digital Multimeter | 15860096
17 | Fluke | 87 Series V | Digital Multimeter | 33380234
18 | Fluke | 87 Series V | Digital Multimeter | 20700061
19 | Fluke | 87 Series V | Digital Multimeter | 33380192
20 | Fluke | 87 Series V | Digital Multimeter | 35480306
21 | Omega | CL355A | Ambient to 400'C Dry Block Calibrator | 796440-04
22 | Greenlee Test Instruments | CS-8000 | Circuit Seeker (Tx and RX) | 2107
23 | Druck | DPI 104 | 300 psi g Pressure Gauge | 5684043
24 | Keller | LEO 1 (600PSI) | 600 PSI Digital Gauge | 40173
25 | Multi-Volt | MG251-A | Digital MegOhmMeter | 9401061085
26 | Megger | MIT1025 | 10KV Insulation Tester | 101745464
27 | Raytek | Raynger ST | Noncontact Thermometer | A190243
28 | Fluke | T5-1000 | Clamp Meter | 92090578
29 | Fluke | T5-1000 | Clamp Meter | 28550045WS
30 | Fluke | T5-1000 | Clamp Meter | 28980667WS
31 | Fluke | T5-1000 | Clamp Meter | 87300279
32 | Fluke | T5-1000 | Clamp Meter | 28550291WS
33 | UTICA | TCI-750R-1/2 | 150-750 IN. LB. Torque Wrench | A182787
34 | Intercomp | TL6000 | Dynamometer | 0208CG10776
35 | Dillon | 30007-0059 | Dynamometer | D5880
Total Price
35