## SCOPE OF WORK

Product/service required: Cummins generator spart part

Date quotation/proposal needed by: May 15-2025

Date product/service needed by: TBD

Detailed Description:

- One (1) - DISPLAY PANEL CUMMINS 300-6314-01 PCC2.2 HMI220

- Three (3) - 2 Wire Pressure Sender ES2P-100 05-70-1858 for Murphy 05701858

- Two (2) - Neeseelily PCB Assembly 0327-1507 327-1507 03271507 Compatible with Cummins ONAN Dynamo Governo

- Two (2) - CUMMINS CONTROLLER PCC 1302 PART NO. 0327-1617-01 PCB ASSEMBLY

- Three (3) - UL A031B582 GENSET START/STOP RELAY CARD, For Generator

- Four (4) - Cummins Relay Card Relay, Control (A049F209) 0307-3197 A031B582 0307-3195, For Generator/Diesel Engine

- One (1) – Actuator 12V A061N417 For Cummins 8250-1505 for Woodward

- One (1) – Woodward 8250-1504 82501504 8250 1504 Actuator 12VDC Model  0250-12A2UC11S1 Cummins A061N421

Contract Type: Open Market

SAM Registration Compliance: It is mandatory to be registered and/or in process to be registered on SAM (www.sam.gov) in order to submit a commercial and technical proposal.

The vendor must request or obtain an NCAGE as part of the mandatory SAM registration process at the following link https://eportal.nspa.nato.int/Codification/CageTool/request-new-cage

Meet or Exceed? Offers must meet or exceed requested specifications described here

Award type: Purchase Order

Evaluation criteria: lowest price, technically-acceptable, with routine maintenance and services included in the contract. Please kindly share technical offer and commercial offer separately.

Offer request : 30-net pay

Offer validity: 30 days

Applicable FAR clauses: The selected Offeror must comply with all applicable FAR clauses. Please see final contracting instrument for a complete list, the full text of which may be accessed electronically at http://www.acqnet.gov/far.

Contracting Authority: This request for quotation does not constitute a contract with the U.S. government. Per FAR 1.602, the sole representative of the Government authorized to enter into an agreement is a warranted Contracting Officer. The selected Offeror must ensure that a valid obligating document (e.g., Government Purchase Order) signed by a Contracting Officer is in place before commencement of work. Any and all modifications after the commencement of work must likewise be authorized by a Contracting Officer.

Delivery: within 30 days

Shipping: N/A

CAHIER DES CHARGES

Produit/service requis : Piece Détachées pour Générateur Cummins

Date limite pour la soumission du devis/proposition : 15 Mai 2025

Date de besoin du produit/service : À déterminer

### Description détaillée :

- Un (1) - DISPLAY PANEL CUMMINS 300-6314-01 PCC2.2 HMI220

- Trois (3) - 2 Wire Pressure Sender ES2P-100 05-70-1858 for Murphy 05701858

- Deux (2) - Neeseelily PCB Assembly 0327-1507 327-1507 03271507 Compatible with Cummins ONAN Dynamo Governo

- Deux (2) - CUMMINS CONTROLLER PCC 1302 PART NO. 0327-1617-01 PCB ASSEMBLY

- Trois (3) - UL A031B582 GENSET START/STOP RELAY CARD, For Generator

- Quatre (4) - Cummins Relay Card Relay, Control (A049F209) 0307-3197 A031B582 0307-3195, For Generator/Diesel Engine

- Un (1) – Actuator 12V A061N417 For Cummins 8250-1505 for Woodward

- Un (1) – Woodward 8250-1504 82501504 8250 1504 Actuator 12VDC Model  0250-12A2UC11S1 Cummins A061N421

### Type de contrat : Marché ouvert

### Conformité à l'enregistrement SAM :

Il est obligatoire d'être enregistré et/ou en cours d'enregistrement sur SAM (www.sam.gov) afin de soumettre une proposition commerciale et technique.

Le fournisseur doit demander ou obtenir un NCAGE dans le cadre du processus obligatoire d'enregistrement sur SAM via le lien suivant :
https://eportal.nspa.nato.int/Codification/CageTool/request-new-cage

### Conformité aux spécifications :

Les offres doivent répondre ou dépasser les spécifications demandées.

### Type d'attribution : Bon de commande

### Critères d'évaluation :

- Prix le plus bas

- Conformité technique

- Maintenance et services de routine inclus dans le contrat

Merci de bien vouloir soumettre séparément l'offre technique et l'offre commerciale.

### Conditions de paiement : Paiement sous 30 jours nets

### Validité de l’offre : 30 jours

### Clauses FAR applicables :

Le soumissionnaire sélectionné doit se conformer à toutes les clauses FAR applicables. La liste complète des clauses applicables peut être consultée en ligne à l'adresse suivante : http://www.acqnet.gov/far.

### Autorité contractante :

Cette demande de devis ne constitue pas un contrat avec le gouvernement des États-Unis. Conformément à FAR 1.602, le seul représentant du gouvernement habilité à conclure un contrat est un agent contractant dûment mandaté. Le soumissionnaire sélectionné doit s'assurer qu'un document engageant valide (ex. : bon de commande gouvernemental) signé par un agent contractant est en place avant le début des travaux. Toute modification après le démarrage des travaux doit également être autorisée par un agent contractant.

### Délai de livraison : 30 jours

### Expédition : N/A