PERFORMANCE WORK STATEMENT

for

USCG Base Ketchikan

1300 Stedman Street

Ketchikan, AK 99901-6698

Base Ketchikan Potable Water System Backflow Preventer – Annual Inspection and Testing

Located at

U.S. Coast Guard Base

Ketchikan, AK.

1.0 GENERAL

- 1.1 Background: United States Coast Guard (USCG) Base Ketchikan requires annual inspection, testing, and certification for its potable water system backflow preventers to ensure compliance with federal and local regulations, maintain system integrity, and protect the health and safety of base personnel.

- 1.2 Scope: The Contractor shall provide all necessary equipment, labor, materials, and supervision to perform annual inspection, testing, certification, and reporting for all backflow prevention assemblies listed in this PWS. This is a non-personnel services contract. The Government will not exercise any supervision or control over the contract service providers.

- 1.3 Objective: The objective of this contract is to ensure all backflow prevention assemblies at USCG Base Ketchikan are functioning correctly, are certified in accordance with all applicable standards, and that any deficiencies are documented and reported to the Government for corrective action.

- 1.4 Applicable Documents:

  - Manufacturers’ Specifications for each backflow preventer.

  - Ketchikan Municipal Code.

  - NFPA 25: Standard for the Inspection, Testing, and Maintenance of Water-Based Fire Protection Systems.

2.0 SPECIFIC REQUIREMENTS/TASKS

The Contractor shall perform the following tasks for all backflow preventers listed in Paragraph 2.1.

- 2.1 Task One: Inspection and Testing. The Contractor shall conduct annual inspection and testing on all backflow prevention assemblies listed below.

  - 2.1.1 Equipment List:

| Location | Brand | Size |
| --- | --- | --- |
| Hard Pier | Watts 909 | 2.5" |
| Hard Pier | Watts 909 | 2.5" |
| Hard Pier | Watts 909 | 2.5" |
| IPF North Shop | Watts 909 M1 QT | 2" |
| IPF North Shop | Watts 909 M1 QT | 2" |
| IPF Boiler Room | Watts 007M3 QT | 3/4" |
| STA Boat House | Watts 909 M1 QT RP | 1.5" |
| STA Boat House | Watts 009 QT RP | 3/4" |
| Admin Boiler Room | FEBCO 825Y | 1" |
| North Shop Industrial | Watts 007 M1 QT | 2" |
| Warehouse Boiler room | FEBCO | 1.5" |
| MAT Boiler Room | AMGS COLT 200 DC | 6" |
| Medical Boiler | Watts LF 009 M2 QT | 1.5" |
| Medical Boiler | Watts LF 009 M3 QT | 3/4" |
| Galley Boiler | Watts LF 009 M2 QT | 1" |
| UPH Boiler | Watts LF 009 M3 QT | 3/4" |
| FRC Pier Supply | Watts | 4" |
| Hard Pier #3 | Watts | 2.5" |
| Lower Base Main | Wilkins | 6" |
| ADMIN Sprinkler | AMES | 6" |
| PIER #2 | Watts | 1.5" |
| Lower Station Boat House | Watts | 2" |

- 2.2 Task Two: Reporting. The Contractor must provide a detailed report of the work performed.

- 2.3 Task Three: Deficiency Quoting. For any assembly that fails inspection or is found to be deficient, the Contractor must provide a written quote for the necessary repairs.

3.0 CONTRACTOR PERSONNEL

- 3.1 Qualified Personnel: The Contractor must provide certified and qualified personnel to perform all requirements specified in this PWS. The Contractor must provide proof of technician certification/license to the Contracting Officer's Representative (COR) upon request and include it with the final report deliverable.

4.0 OTHER APPLICABLE CONDITIONS

- 4.1 Period of Performance: The period of performance is a base period with four (4) one-year option periods.

  - Base Period: July 1, 2026, through September 30, 2026

  - Option Period One: October 1, 2026, through September 30, 2027

  - Option Period Two: October 1, 2027, through September 30, 2028

  - Option Period Three: October 1, 2028, through September 30, 2029

  - Option Period Four: October 1, 2029, through September 30, 2030

- 4.2 Place of Performance: The work will be performed at USCG Base Ketchikan, 1300 Stedman Street, Ketchikan, AK 99901.

- 4.3 Hours of Operation: The Contractor shall perform all work during normal base work hours (0730 to 1700 Monday-Thursday, 0730 to 1530 Friday), excluding Federal holidays. Work outside normal hours requires prior approval from the Contracting Officer (KO).

- 4.4 Site Visit: A site visit may be arranged. Offerors desiring a site visit should coordinate with the Technical Point of Contact (POC), who is the Facilities Department Chief Warrant Officer. Contact information for the Technical POC will be provided by the KO.

- 4.5 Security: The Contractor, their employees, and any sub-contractors shall become familiar with and obey all Base regulations. A Government escort will be provided for all on-site work.

5.0 GOVERNMENT FURNISHED RESOURCES

- 5.1 Utilities: Electrical power is available on the site.

- 5.2 Access: The Government will provide access to all required work areas and equipment.

- 5.3 Escort: The Government will provide an escort for all on-site activities.

6.0 DELIVERABLES

| Item | PWS Ref. | Deliverable | Due Date | Distribution |
| --- | --- | --- | --- | --- |
| 1 | 2.2 | Final Inspection & Testing Report | Within 15 days of work completion | COR, KO |
| 2 | 2.3 | Quote for Deficiencies | Included with Final Report | COR, KO |
| 3 | 3.1 | Proof of Technician Certification | Included with Final Report | COR, KO |

7.0 PERFORMANCE REQUIREMENTS SUMMARY (PRS)

| Service Output (PWS Ref.) | Performance Objective | Acceptable Quality Level (AQL) | Method of Surveillance |
| --- | --- | --- | --- |
| Inspection & Testing (2.1) | All 23 backflow preventers are inspected and tested annually per applicable standards. | 100% of listed devices are tested. | 100% Inspection of Final Report |
| Final Report (2.2, 6.0) | The final report is complete, accurate, and submitted on time. It must be in PDF format and include: - Verified equipment information (mfg, model, serial #) - List of all devices tested - Any code violations/deficiencies found - A completed, technician-signed form for each device. | 95% of reports are submitted on time with no more than 1 request for correction per report. | Direct Observation; Review of Deliverables. |
| Deficiency Quoting (2.3, 6.0) | A quote is provided for every device that fails inspection. | 100% of failed devices have a corresponding repair quote. | 100% Inspection of Final Report. |

8.0 RECOMMENDED CLIN STRUCTURE

Based on the final PWS, the following Contract Line Item Number (CLIN) structure is recommended:

| CLIN | Description | Type | Qty | Unit |
| --- | --- | --- | --- | --- |
| 0001 | Base Year: Annual Backflow Preventer Inspection & Testing | FFP | 1 | Job |
| 1001 | Option Year 1: Annual Backflow Preventer Inspection & Testing | FFP | 1 | Job |
| 2001 | Option Year 2: Annual Backflow Preventer Inspection & Testing | FFP | 1 | Job |
| 3001 | Option Year 3: Annual Backflow Preventer Inspection & Testing | FFP | 1 | Job |
| 4001 | Option Year 4: Annual Backflow Preventer Inspection & Testing | FFP | 1 | Job |