Statement of Need

Traka Box Electronic Key System and Accessories or Equal

Eastern Colorado Health Care System

Aurora, CO

29 January 2026

- Purpose

The purpose of this requirement is to deliver an Electronic Key System with all components to the Eastern Colorado Health Care System, located at 1700 N. Wheeling Street, Aurora, CO 80045.

- Scope

  - The Contractor shall deliver all items listed in the Price/Cost Schedule of the RFQ.

  - All items must meet all salient characteristics defined in section 2.5.

  - Installation must meet manufacturer specifications.

2.5	ITEM specifications and Salient Characteristics

2.5.1.	Detailed Item Description Example: See RFQ Price/Cost Schedule for requirement.

Technical Specifications/Salient Characteristics:

• Keys are readily available 24/7

• Access by authorized users only

• Full audit trail of all users and key transactions

• Securely store and manage up to 180 keys (or up to 360 keys using double-density strips) in 1 unit or up to 720 keys using extension units

• 7” capacitive touch screen for accurate input

• Easy access via a wide range of identification methods

• Battery backup with no data loss in the event of long term power failure

• Operates entirely independently of your IT system with no network, PC or external connection required

• Standalone ‘plug and play’ system

• USB port for import/export of reports via memory stick

• Automatic data backup to removable SD card

• Full network capability and management through TrakaWEB or equal.

• Centralized administration and reporting

• Browser-based for remote administration

• Integrate with existing access control and third-party systems to provide centralized control and visibility

  - DELIVERY AND INSTALLATION

    - DELIVERY

      - Delivery Timeframe: within 30 days of award unless specified differently within scope of contract.

      - Delivery Location:  Contractor shall deliver all equipment to the Eastern Colorado Health Care System, 1700 N. Wheeling Street, Aurora, CO 80045

      - Delivery Markings:  Contractor shall deliver items in manufacturer's original sealed containers with manufactures’s name marked thereon.  Deliveries shall be marked with the PO and contract number.

      - Delivery and Installation will be coordinated through the On-Site Point of Contact (POC).  POCs for delivery and install are: Contracting Office.

  - OPERATION AND MAINTENANCE MANUALS

    - Binders - Quantity (2) each for items identified in section 2.5

    - Digital Copies - Quantity (1) each for items identified in section 2.5.

    - Deliver compilation of all manufacturer recommended maintenance schedule and operation materials packaged in binder(s) to On-Site Point of Contact upon completion of installation.

  - SECURITY REQUIREMENTS

    - Security background checks are not required.

  - WARRANTY

    - The contractor shall provide all manufacturer(s) warranties on all parts and labor at time of delivery.

    - The warranties shall include all travel and shipping costs associated with any warranty repair.