THIS REQUEST IS FOR SOURCES SOUGHT AND IS ISSUED SOLELY FOR INFORMATION AND PLANNING PURPOSES ONLY AND DOES NOT CONSTITUTE A SOLICITATION.

THE SUBMISSION OF PRICING, CAPABILITIES FOR PLANNING PURPOSES, AND OTHER MARKET INFORMATION IS HIGHLY ENCOURAGED AND ALLOWED UNDER THIS REQUEST IN ACCORDANCE WITH (IAW) FAR 15.201(e).

DISCLAIMER

This Sources Sought Notice is issued solely for information and planning purposes only and does not constitute a solicitation.  All information received in response to this Sources Sought Notice is marked as proprietary and will be handled accordingly. IAW FAR 15.201(e), responses to this notice are not offers and cannot be accepted by the Government to form a binding contract. Responders are solely responsible for all expenses associated with responding to this Sources Sought Notice.

SOURCES SOUGHT DESCRIPTION

This is NOT a solicitation announcement. This is a Sources Sought Notice only. The purpose of this Sources Sought Notice is to gain knowledge of potential qualified sources and their size classification relative to NAICS code 561621 (size standard of $25M). Responses to this Sources Sought Notice will be used by the Government to make appropriate acquisition decisions. After review of the responses to this Sources Sought Notice, a solicitation announcement may be published. Responses to this sources sought synopsis are not considered adequate responses for a solicitation announcement.

PLACE OF PERFORMANCE

DEFENSE SUPPLY CENTER-COLUMBUS

BLDG 2

Whitehall, OH

DESCRIPTION OF WORK

- Background

The Defense Logistics Agency (DLA) requires a comprehensive renovation of the existing access control system located in Building 2 at the DLA facility in Columbus, OH. The purpose of this project is to replace the outdated infrastructure with a modern, secure CCURE 9000 access control system to enhance security, improve operational efficiency, and ensure compliance with current standards.

2.0 Scope of Work

The contractor shall provide all necessary labor, materials, equipment, and supervision to successfully execute the renovation of the access control system. The scope of this project includes the procurement, installation, configuration, and testing of all components as detailed below.

2.1 System Hardware and Software Installation
The contractor shall:

- Install one (1) new Workstation equipped with the necessary CCURE 9000 management software. The workstation computer tower shall be placed and securely housed within a locked computer tower cage.

- Set up two (2) new Computer Monitors for the system's command and control station.

- Procure and install one (1) appropriate Operating System License for the workstation.

- Install one (1) network switch to support the new access control infrastructure.

2.2 Network Infrastructure and Cabling
The contractor shall:

- Run three (3) new Network Cat 6 cables to support the SIPR partition, the control station in the secure room, and one spare line for future use.

- Install and terminate three (3) RJ45 Jacks at the designated locations for network connectivity.

- Perform complete network mapping and configuration for all new components. This is estimated to require forty (40) hours of labor.

2.3 System Security and Network Isolation

- The CCURE 9000 access control system must operate as a strictly isolated, standalone system. The contractor shall ensure that the system (including the workstation, switch, and all peripherals) remains entirely disconnected and air-gapped from the internet, the DLA enterprise network, and any other external or internal networks at all times.

2.4 System Peripherals
The contractor shall:

- Install four (4) OMNIKEY Desktop Enrollment Readers. These are to be located at the SIPR partition, the main control station, with two provided as spares.

The information identified above is intended to be descriptive, not restrictive and to indicate the quality of the supplies/services that will be satisfactory. It is the responsibility of the interested source to demonstrate to the government that the interested parties can provide the supplies/services that fulfill the required specifications.

ELIGIBILITY

If your organization has the potential capacity to perform these contract services, please provide the following information: 1) Organization name, address, email address, Web site address, telephone number, and size and type of ownership for the organization; and 2) Tailored capability statements addressing the particulars of this effort, with appropriate documentation supporting claims of organizational and staff capability. If significant subcontracting or teaming is anticipated in order to deliver technical capability, organizations should address the administrative and management structure of such arrangements.

If you are interested and are capable of providing the sought out supplies/services, please provide the requested information as well as the information indicated below. Response to this notice should include company name, address, point of contact, size of business pursuant to the following questions:

- Please indicate the size status and representations of your business, such as but not limited to: Service Disabled Veteran Owned Small Business (SDVOSB), Veteran Owned Small Business (VOSB), Hubzone, Woman Owned Small Business (WOSB), Large Business, etc.)?

- Is your company considered small under the NAICS code identified under this RFI?

- Are you the manufacturer, distributor, or an equivalent solution to the items being referenced above?

- Will the items you will be providing manufactured domestically in the United States or are they foreign manufactured items?

- Please review salient characteristics/statement of work (if applicable) and provide feedback or suggestions. If none, please reply as N/A.

- Please provide your Sam.gov Unique Entity ID number.

The Government will evaluate market information to ascertain potential market capacity to: 1) provide services consistent, in scope and scale, with those described in this notice and otherwise anticipated; 2) secure and apply the full range of corporate financial, human capital, and technical resources required to successfully perform similar requirements; 3) implement a successful project management plan that includes: compliance with tight program schedules; cost containment; meeting and tracking performance; hiring and retention of key personnel and risk mitigation; and 4) provide services under a performance based service acquisition contract.

Your response to this Sources Sought, including any capabilities statement, shall be electronically submitted, on or prior to the designated due date, to the Contract Specialist, Brice Royer, in either Microsoft Word or Portable Document Format (PDF), via email brice.a.royer.mil@army.mil & noah.m.beasley.mil@army.mil